## Vienna 08
Owner Name | NRG Energy Incorporated
Station Name | Vienna Power Station
Unit Name | Vienna 08
NERC Region | MAAC
State | MD
Fuel Type | Fuel Oil No. 6
Capacity | 162 MW
Start Date | 2001-10-11
End Date | 2001-10-14
Comments | Unit is down with Generator Problem.
SIC | 4931
Plant ID | 1015555
Unit ID | 1005937
Outage ID | 18636

## Palo Verde 02 R7
Owner Name | Arizona Public Service Company
Station Name | Palo Verde Nuclear Power Station
Unit Name | Palo Verde 02 R7
NERC Region | WSCC
State | AZ
Fuel Type | Nuclear
Capacity | 1,403 MW
Start Date | 2001-10-11
End Date | 2001-10-14
Comments | CEA Changeout
SIC | 4911
Plant ID | 1015283
Unit ID | 1007874
Outage ID | 18635