## Point Beach 01
Owner Name | Wisconsin Electric Power
Station Name | Point Beach Nuclear Power Station
Unit Name | Point Beach 01
NERC Region | MAIN
State | WI
Fuel Type | Nuclear
Capacity | 524 MW
Start Date | 2001-10-17
End Date | 2001-11-30
Comments | Derated 30% until 10/18 due to transmission lines and derated 15-20% until end of November due to pump work.
SIC | 4911
Plant ID | 1012289
Unit ID | 1005914
Outage ID

## Braidwood 02
Owner Name | Exelon Nuclear
Station Name | Braidwood Nuclear Power Station
Unit Name | Braidwood 02
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 1,225 MW
Start Date | 2001-10-16
End Date | 2001-10-19
Comments | Unit is currently @ 65% for generator work.
SIC | 4931
Plant ID | 1016362
Unit ID | 1007402
Outage ID | 18678

## Duane Arnold 01
Owner Name | Alliant-IES Utilities Incorporated
Station Name | Duane Arnold Nuclear Power Station
Unit Name | Duane Arnold 01
NERC Region | MAIN
State | IA
Fuel Type | Nuclear
Capacity | 597 MW
Start Date | 2001-10-17
End Date | 2001-10-20
Comments | Tripped-Electrical Problems
SIC | 4911
Plant ID | 1012744
Unit ID | 1004913
Outage ID | 18671

## Big Stone 01
Owner Name | Otter Tail Power Company
Station Name | Big Stone Power Station
Unit Name | Big Stone 01
NERC Region | MAPP
State | SD
Fuel Type | Coal
Capacity | 475 MW
Start Date | 2001-10-17
End Date | 2001-10-23
Comments | HP Boiler Wash and Steam Tie-in to Ethanol Plant.
SIC | 4911
Plant ID | 1014376
Unit ID | 1007246
Outage ID | 18669

## Nine mile point 01
Owner Name | Niagara Mohawk Powe Company
Station Name | Nine Mile Point Nuclear Power Station
Unit Name | NineMile Point 01
NERC Region | NPCC
State | NY
Fuel Type | Nuclear
Capacity | 642 MW
Start Date | 2001-10-15
End Date | 2001-10-19
Comments | Unit in hot standby
SIC | 4911
Plant ID | 1514373
Unit ID | 1005757
Outage ID | 18672

## Jim Bridger 04
Owner Name | PacifiCorp
Station Name | Jim Bridger Power Station
Unit Name | Jim Bridger 04
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 578 MW
Start Date | 2001-10-16
End Date | 2001-10-20
Comments | Lost part of a cell in their cooling tower
SIC | 4911
Plant ID | 1015362
Unit ID | 1007978
Outage ID | 18663