## El Segundo 03
Owner Name | El Segundo Power LLC
Station Name | El Segundo Power Station
Unit Name | Unit 03
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 342 MW
Start Date | 2001-10-08
End Date | 2001-11-22
Prv. Start Date | 2001-10-08
Prv. End Date | 2001-10-21
Comments | Extensive boiler problems
SIC | 4931
Plant ID | 1013744
Unit ID | 1006016
Outage ID | 18613

## Duane Arnold 01
Owner Name | Alliant-IES Utilities Incorporated
Station Name | Duane Arnold Nuclear Power Station
Unit Name | Duane Arnold 01
NERC Region | MAIN
State | IA
Fuel Type | Nuclear
Capacity | 597 MW
Start Date | 2001-10-17
End Date | 2001-10-23
Prv. Start Date | 2001-10-17
Prv. End Date | 2001-10-21
Comments | Electrical Problems
SIC | 4911
Plant ID | 1012744
Unit ID | 1004913
Outage ID | 18671

## Pirkey 01
Owner Name | AEP - Southwestern Electric Power Company
Station Name | Henry W Pirkey Power Station
Unit Name | Pirkey 01
NERC Region | SPP
State | TX
Fuel Type | Coal / Natural Gas
Capacity | 721 MW
Start Date | 2001-10-22
End Date | 2001-12-02
Prv. Start Date | 2001-10-23
Prv. End Date | 2001-12-03
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1013980
Unit ID | 1004188
Outage ID | 11204

## Catawba 02
Owner Name | Duke Energy Corporation
Station Name | Catawba Nuclear Power Station
Unit Name | Catawba 02
NERC Region | SERC
State | SC
Fuel Type | Nuclear
Capacity | 1205 MW
Start Date | 2001-09-15
End Date | 2001-10-23
Prv. Start Date | 2001-09-15
Prv. End Date | 2001-10-20
Comments | Refueling
SIC | 4911
Plant ID | 1013575
Unit ID | 1008375
Outage ID | 10871

## Indian Point 02
Owner Name | Entergy Nuclear Generation Company
Station Name | Indian Point II Nuclear Power Station
Unit Name | Indian Point 02
NERC Region | NPCC
State | NY
Fuel Type | Nuclear
Capacity | 1,310 MW
Start Date | 2001-10-26
End Date | 2001-11-05
Prv. Start Date | 2001-10-27
Prv. End Date | 2001-11-06
Comments | Turbine Work
SIC | 4911
Plant ID | 1008426
Unit ID | 1004365
Outage ID | 7477

## Collins 03
Owner Name | Midwest Generating LLC
Station Name | Collins Power Station
Unit Name | Unit 03
NERC Region | MAIN
State | IL
Fuel Type | Nat. gas/Fuel Oil
Capacity | 519 MW
Start Date | 2001-10-08
End Date | 2001-10-24
Prv. Start Date | 2001-10-08
Prv. End Date | 2001-10-21
Comments | Minor insp.
SIC | 4911
Plant ID | 1014082
Unit ID | 1005615
Outage ID | 16283

## Hammond 02
Owner Name | Georgia Power Company
Station Name | Hammond Power Station
Unit Name | Hammond 02
NERC Region | SERC
State | GA
Fuel Type | Coal
Capacity | 125 MW
Start Date | 2001-10-19
End Date | 2001-12-09
Prv. Start Date | 2001-09-22
Prv. End Date | 2001-10-01
Comments | Boiler/Burner
SIC | 4911
Plant ID | 1516000
Unit ID | 1004514
Outage ID | 8710

## Stryker Creek 01
Owner Name | TXU
Station Name | Stryker Creek Power Station
Unit Name | Unit 01
NERC Region | ERCOT
State | TX
Fuel Type | Nat. gas/Fuel Oil
Capacity | 177 MW
Start Date | 2001-11-02
End Date | 2001-11-15
Prv. Start Date | 2001-10-19
Prv. End Date | 2001-11-01
Comments | Boiler insp.
SIC | 4911
Plant ID | 1000059
Unit ID | 1008591
Outage ID | 17978

## Braidwood 02
Owner Name | Exelon Nuclear
Station Name | Braidwood Nuclear Power Station
Unit Name | Braidwood 02
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 1,225 MW
Start Date
End Date | 2001-10-23
Prv. Start Date
Prv. End Date
Comments | Generator work; Braidwood is moving up from 78% and should be at full power by end of day on Tuesday.
SIC | 4911
Plant ID | 1016362
Unit ID | 1007403
Outage ID

## Hatch 02
Owner Name | Georgia Power Company
Station Name | Edwin I Hatch Nuclear Power Station
Unit Name | Hatch 02
NERC Region | SERC
State | GA
Fuel Type | Nuclear
Capacity | 865 MW
Start Date | 2001-09-15
End Date | 2001-10-23
Prv. Start Date | 2001-09-15
Prv. End Date | 2001-10-19
Comments | Failed startup due to maintenance difficulties.
SIC | 4911
Plant ID | 1012040
Unit ID | 1004272
Outage ID | 8185