## Peach Bottom 02
Owner Name | PECO Energy Company
Station Name | Peach Bottom Nuclear Power Station
Unit Name | Peach Bottom 02
NERC Region | MAAC
State | PA
Fuel Type | Nuclear
Capacity | 1152 MW
Start Date | 2001-10-23
End Date | 2001-10-26
Comments | Main Generator
SIC | 4931
Plant ID | 1000282
Unit ID | 1005385
Outage ID | 7538

## Beckjord 05
Owner Name | Cinergy Corporation
Station Name | Walter C Beckjord Power Station
Unit Name | Beckjord 05
NERC Region | ECAR
State | OH
Fuel Type | Coal
Capacity | 240 MW
Start Date | 2001-10-09
End Date | 2001-11-03
Comments | Boiler problems
SIC | 4911
Plant ID | 1013762
Unit ID | 1003874
Outage ID | 18708

## JM Stuart 03
Owner Name | Dayton Power & Light
Station Name | JM Stuart Generating Station
Unit Name | JM Stuart 03
NERC Region | ECAR
State | OH
Fuel Type | Coal (Bituminous)
Capacity | 610 MW
Start Date | 2001-10-22
End Date | 2001-10-24
Comments | Booster pump
SIC | 4911
Plant ID | 1018004
Unit ID | 1017600
Outage ID | 18704