## Centralia 01
Owner Name | TransAlta Corporation
Station Name | Centralia Power Station
Unit Name | Centralia 01
NERC Region | WSCC
State | WA
Fuel Type | Coal
Capacity | 730 MW
Start Date | 2001-10-24
End Date | 2001-10-24
Comments | Back up from a tube leak, expecting to be at 100% on Friday.
SIC | 4911
Plant ID | 1000384
Unit ID | 1008608
Outage ID | 18724

## Martins Creek 04
Owner Name | PPL Martins Creek LLC
Station Name | Martins Creek Power Station
Unit Name | Martins Creek 04
NERC Region | MAAC
State | PA
Fuel Type | Nat. gas/Fuel Oil
Capacity | 851 MW
Start Date | 2001-10-23
End Date | 2001-10-26
Comments | Tube leak
SIC | 4911
Plant ID | 1503204
Unit ID | 1005499
Outage ID | 18726

## Rockport 02
Owner Name | American Electric Power
Station Name | Rockport Power Station
Unit Name | Rockport 02
NERC Region | ECAR
State | IN
Fuel Type | Coal
Capacity | 1300
Start Date | 2001-10-24
End Date | 2001-10-28
Comments | End date is an estimate
SIC | 4911
Plant ID | 1010400
Unit ID | 1004663
Outage ID | 18722