## East Bend 02
Owner Name | Cinergy Corporation
Station Name | East Bend Power Station #2
Unit Name | East Bend 02
NERC Region | ECAR
State | KY
Fuel Type | Coal
Capacity | 648 MW
Start Date | 2001-10-26
End Date | 2001-10-28
Comments | Rotor Repairs
SIC | 4911
Plant ID | 1018350
Unit ID | 1006479
Outage ID | 18740

## Beckjord 01&02
Owner Name | Cinergy Corporation
Station Name | Walter C. Beckjord
Unit Name | Beckjord 01&02
NERC Region | ECAR
State | OH
Fuel Type | Coal
Capacity | 100 MW 01&100 MW 02
Start Date | 2001-10-26
End Date | 2001-10-29
Comments | These two units are online, but running at reduced capacity 30% due to bad coal that is not burning as efficiently as normal. Should have problem resolved by Mon.
SIC | 4911
Plant ID | 1013762
Unit ID | 01-1003870, 02-1003871
Outage ID

## Waukegan 07
Owner Name | Midwest Generation LLC
Station Name | Waukegan Fossil Station
Unit Name | Waukegan 07
NERC Region | MAIN
State | IL
Fuel Type | Coal
Capacity | 326 MW
Start Date | 2001-10-23
End Date | 2001-10-27
Comments | Tube leak.
SIC | 4911
Plant ID | 1013831
Unit ID | 1005812
Outage ID | 18739

## Joliet 29 Unit 07
Owner Name | Midwest Generation Company
Station Name | Joliet 29 Power Station
Unit Name | Unit 07
NERC Region | MAIN
State | IL
Fuel Type | Coal
Capacity | 660 MW
Start Date | 2001-10-22
End Date | 2001-10-29
Comments | Transmission line problem
SIC | 4931
Plant ID | 1507809
Unit ID | 1005795
Outage ID | 18737