## Pleasant Prairie 01
Owner Name | Wisconsin Electric Power Company
Station Name | Pleasant Prairie Power Station
Unit Name | Pleasant Prairie 01
NERC Region | MAIN
State | WI
Fuel Type | Coal
Capacity | 617 MW
Start Date | 2001-10-22
End Date | 2001-11-20
Prv. Start Date | 2001-10-27
Prv. End Date | 2001-11-25
Comments | Coal
SIC | 4911
Plant ID | 1012915
Unit ID | 1005900
Outage ID | 17340

## Vermillion 01
Owner Name | Dynegy Midwest Generation
Station Name | Vermillion Power Station
Unit Name | Vermillion 01
NERC Region | MAIN
State | IL
Fuel Type | Natural Gas
Capacity | 74 MW
Start Date | 2001-10-26
End Date | 2001-12-06
Prv. Start Date | 2001-10-26
Prv. End Date | 2001-11-08
Comments | Boiler/Major O/H
SIC | 4931
Plant ID | 1513048
Unit ID | 1006381
Outage ID | 13529

## Rockport 02
Owner Name | American Electric Power
Station Name | Rockport Power Station
Unit Name | Rockport 02
NERC Region | ECAR
State | IN
Fuel Type | Coal
Capacity | 1300 MW
Start Date | 2001-10-24
End Date | 2001-10-26
Prv. Start Date | 2001-10-24
Prv. End Date | 2001-10-28
Comments | Tripped/ tube leak. Unit came back online early this morning
SIC | 4911
Plant ID | 1010400
Unit ID | 1004663
Outage ID | 18722