## Four Corners 05
Owner Name | Arizona Public Service
Station Name | Four Corners Power Station
Unit Name | Four Corners 05
NERC Region | WSCC
State | NW
Fuel Type | Coal
Capacity | 818 MW
Start Date | 2001-10-31
End Date | 2001-11-02
Comments | Maint. Said they had a Boiler Problem going on. Should not be more than a couple of days.
SIC | 4911
Plant ID | 1523368
Unit ID | 1007555
Outage ID | 18767