## River Bend 01
Owner Name | Entergy Gulf States Incorporated
Station Name | River Bend Nuclear Power Station
Unit Name | River Bend 01
NERC Region | SERC
State | LA
Fuel Type | Nuclear
Capacity | 1,036 MW
Start Date | 2001-10-26
End Date | 2001-10-30
Prv. Start Date | 2001-10-26
Prv. End Date | 2001-11-04
Comments | Seal Problem on research pumps already at 100%
SIC | 4911
Plant ID | 1004408
Unit ID | 1004548
Outage ID | 18742

## Comanche 02
Owner Name | Public Service Company of Colorado
Station Name | Comanche Power Station
Unit Name | Comanche 02
NERC Region | WSCC
State | CO
Fuel Type | Coal / Natural Gas
Capacity | 350 MW
Start Date | 2001-10-01
End Date | 2001-11-02
Prv. Start Date | 2001-10-01
Prv. End Date | 2001-10-30
Comments | LP Turbine Inspection
SIC | 4911
Plant ID | 1016426
Unit ID | 1007115
Outage ID | 11897

## Salem 01
Owner Name | PSEG Power LLC
Station Name | Salem Nuclear Power Station
Unit Name | Salem 01
NERC Region | MAAC
State | NJ
Fuel Type | Nuclear
Capacity | 1,170 MW
Start Date | 2001-09-24
End Date | 2001-11-04
Prv. Start Date | 2001-09-24
Prv. End Date | 2001-10-30
Comments | Valve Repairs
SIC | 4931
Plant ID | 1018459
Unit ID | 1004455
Outage ID | 18526

## Ravenswood 01
Owner Name | KeySpan Energy
Station Name | Ravenswood Power Station
Unit Name | Unit 1
NERC Region | NPCC
State | NY
Fuel Type | Natural Gas
Capacity | 400 MW
Start Date | 2001-10-05
End Date | 2001-12-16
Prv. Start Date | 2001-10-05
Prv. End Date | 2001-10-31
Comments
SIC | 4931
Plant ID | 1516826
Unit ID | 1004328
Outage ID | 18595

## Ravenswood 03
Owner Name | KeySpan Energy
Station Name | Ravenswood Power Station
Unit Name | Unit 03
NERC Region | NPCC
State | NY
Fuel Type | Natural Gas
Capacity | 1,027 MW
Start Date | 2002-04-05
End Date | 2002-06-13
Prv. Start Date | 2001-11-05
Prv. End Date | 2002-01-13
Comments | The outag has been pushed off for at least six months if not a year.
SIC | 4931
Plant ID | 1516826
Unit ID | 1004335
Outage ID | 15886

## Leland Olds 01
Owner Name | Basin Electric Power
Station Name | Leland Olds Power Station
Unit Name | Leland Olds 01
NERC Region | MAPP
State | ND
Fuel Type | Coal
Capacity | 216 MW
Start Date | 2001-09-14
End Date | 2001-11-13
Prv. Start Date | 2001-09-14
Prv. End Date | 2001-10-26
Comments | Boiler/Major O/H
SIC | 4911
Plant ID | 1014227
Unit ID | 1007280
Outage ID | 8515