## North Valmy 02
Owner Name | Sierra Pacific Power Company
Station Name | North Valmy Power Station
Unit Name | North Valmy 02
NERC Region | WSCC
State | NV
Fuel Type | Coal
Capacity | 267 MW
Start Date | 2001-11-08
End Date | 2001-11-10
Comments | Had a steam leak and blew pin. Maybe two weeks depending on if they find the pin.
SIC | 4911
Plant ID | 1016358
Unit ID | 1006334
Outage ID | 18844

## Gerald Gentleman 02
Owner Name | Nebraska Public Power
Station Name | Gerald Gentleman Power Station
Unit Name | Gerald Gentleman 02
NERC Region | MAPP
State | NE
Fuel Type | Coal
Capacity | 681 MW
Start Date | 2001-11-06
End Date | 2001-11-10
Comments | Boiler Problerm
SIC | 4911
Plant ID | 1014369
Unit ID | 1008639
Outage ID | 18833

## Diablo Canyon 01
Owner Name | Pacific Gas and Electric Company
Station Name | Diablo Canyon Nuclear Power Station
Unit Name | Diablo Canyon 01
NERC Region | WSCC
State | CA
Fuel Type | Nuclear
Capacity | 1,137 MW
Start Date | 2001-11-07
End Date | 2001-11-11
Comments | Due to a vibration in the unit, which caused a crack. They are doing tunnel scraping, bracing, and welding.
SIC | 4911
Plant ID | 1016043
Unit ID | 1004942
Outage ID | 18832