## Gerald Gentleman 02
Owner Name | Nebraska Public Power
Station Name | Gerald Gentleman Power Station
Unit Name | Gerald Gentleman 02
NERC Region | MAPP
State | NE
Fuel Type | Coal
Capacity | 681 MW
Start Date | 2001-11-06
End Date | 2001-11-10
Comments | Boiler Problerm
SIC | 4911
Plant ID | 1014369
Unit ID | 1008639
Outage ID | 18833

## Diablo Canyon 01
Owner Name | Pacific Gas and Electric Company
Station Name | Diablo Canyon Nuclear Power Station
Unit Name | Diablo Canyon 01
NERC Region | WSCC
State | CA
Fuel Type | Nuclear
Capacity | 1,137 MW
Start Date | 2001-11-07
End Date | 2001-11-11
Comments | Due to a vibration in the unit, which caused a crack. They are doing tunnel scraping, bracing, and welding.
SIC | 4911
Plant ID | 1016043
Unit ID | 1004942
Outage ID | 18832