## Millstone 03
Owner Name | Dominion Resourcces
Station Name | Millstone Nuclear Power Station
Unit Name | Millstone 03
NERC Region | NPCC
State | CT
Fuel Type | Nuclear
Capacity | 1,253 MW
Start Date
End Date
Comments | Unit is derated to 20% and will be doing repairs at this level they are not planning on the unit coming off-line as of now. They hope to start ramping up by Monday.
SIC | 4911
Plant ID | 1512472
Unit ID | 1008267
Outage ID

## Diablo Canyon 01
Owner Name | Pacific Gas and Electric Company
Station Name | Diablo Canyon Nuclear Power Station
Unit Name | Diablo Canyon 01
NERC Region | WSCC
State | CA
Fuel Type | Nuclear
Capacity | 1,137 MW
Start Date | 2001-11-09
End Date | 2001-11-13
Comments | Derated 50% now due to a vibration in the unit. Will be at 0% starting late Friday or early Saturday for repairs.
SIC | 4911
Plant ID | 1016043
Unit ID | 1004942
Outage ID | 18832

## North Valmy 02
Owner Name | Sierra Pacific Power Company
Station Name | North Valmy Power Station
Unit Name | North Valmy 02
NERC Region | WSCC
State | NV
Fuel Type | Coal
Capacity | 267 MW
Start Date | 2001-11-08
End Date | 2001-11-10
Comments | Had a steam leak and blew pin. Maybe two weeks depending on if they find the pin.
SIC | 4911
Plant ID | 1016358
Unit ID | 1006334
Outage ID | 18844

## Gerald Gentleman 02
Owner Name | Nebraska Public Power
Station Name | Gerald Gentleman Power Station
Unit Name | Gerald Gentleman 02
NERC Region | MAPP
State | NE
Fuel Type | Coal
Capacity | 681 MW
Start Date | 2001-11-06
End Date | 2001-11-10
Comments | Boiler Problerm
SIC | 4911
Plant ID | 1014369
Unit ID | 1008639
Outage ID | 18833