## Surry 01
Owner Name | Dominion Virginia Power
Station Name | Surry Nuclear Power Station
Unit Name | Surry 01
NERC Region | SERC
State | VA
Fuel Type | Nuclear
Capacity | 860 MW
Start Date | 2001-10-13
End Date | 2001-12-07
Prv. Start Date | 2001-10-13
Prv. End Date | 2001-11-11
Comments | Refuel
SIC | 4911
Plant ID | 1013047
Unit ID | 1006282
Outage ID | 12011

## Gerald Gentleman 02
Owner Name | Nebraska Public Power
Station Name | Gerald Gentleman Power Station
Unit Name | Gerald Gentleman 02
NERC Region | MAPP
State | NE
Fuel Type | Coal
Capacity | 681 MW
Start Date | 2001-11-06
End Date | 2001-11-08
Prv. Start Date | 2001-11-06
Prv. End Date | 2001-11-10
Comments | Unit had a boiler problem
SIC | 4911
Plant ID | 1014369
Unit ID | 11008639
Outage ID | 18833