## Coffeen 02
Owner Name | AmerenEnergy Generating Company
Station Name | Coffeen Power Station
Unit Name | Coffeen 02
NERC Region | MAIN
State | IL
Fuel Type | Coal
Capacity | 617 MW
Start Date | 2001-09-23
End Date | 2001-11-21
Prv. Start Date | 2001-09-23
Prv. End Date | 2001-11-17
Comments | SCR Installation / Turbine and Gen. Work
SIC | 4931
Plant ID | 1015163
Unit ID | 1005566
Outage ID | 6791

## Braidwood 02
Owner Name | Exelon Nuclear
Station Name | Braidwood Nuclear Power Station
Unit Name | Braidwood 02
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 1,225 MW
Start Date | 2001-11-07
End Date | 2001-11-16
Prv. Start Date | 2001-11-07
Prv. End Date | 2001-11-14
Comments | Generator work, hoping to bring unit back online Friday.
SIC | 4931
Plant ID | 1016362
Unit ID | 1007403
Outage ID | 18785

## Seabrook 01
Owner Name | Northeast Utilties
Station Name | Seabrook Nuclear Power Station
Unit Name | Seabrook 01
NERC Region | NPCC
State | NH
Fuel Type | Nuclear
Capacity | 1,242 MW
Start Date | 2001-11-11
End Date | 2001-11-13
Prv. Start Date | 2001-11-12
Prv. End Date | 2001-11-13
Comments | Steam leak patch work was completed earlier than expected. Ramping back up now, should be at 100% later today.
SIC | 4911
Plant ID | 1015015
Unit ID | 1008197
Outage ID

## Coleto Creek 01
Owner Name | AEP- Central Power & Light
Station Name | Coleto Creek Power Station
Unit Name | Coleto Creek 01
NERC Region | ERCOT
State | TX
Fuel Type | Coal
Capacity | 570 MW
Start Date | 2001-10-07
End Date | 2001-11-16
Prv. Start Date | 2001-10-07
Prv. End Date | 2001-11-10
Comments | Turb, boiler
SIC | 4911
Plant ID | 1014048
Unit ID | 1005555
Outage ID | 7392

## Lon C. Hill 04
Owner Name | AEP - Central Power and Light Company
Station Name | Lon C. Hill Power Station
Unit Name | Lon C. Hill 04
NERC Region | ERCOT
State | TX
Fuel Type | Natural Gas
Capacity | 261 MW
Start Date | 2001-10-28
End Date | 2001-11-18
Prv. Start Date | 2001-10-26
Prv. End Date | 2001-11-08
Comments | Annual Maintenance.
SIC | 4911
Plant ID | 1018116
Unit ID | 1008097
Outage ID | 18876

## Spurlock 02
Owner Name | East Kentucky Power Company
Station Name | H. L. Spurlock Power Station
Unit Name | Spurlock 02
NERC Region | ECAR
State | KY
Fuel Type | Coal
Capacity | 508 MW
Start Date | 2001-09-24
End Date | 2002-01-15
Prv. Start Date | 2001-09-24
Prv. End Date | 2001-11-18
Comments | Having complications with SCR tie-in
SIC | 4911
Plant ID | 1014316
Unit ID | 1006482
Outage ID | 16533