## Greene County 01
Owner Name | Alabama Power Company
Station Name | Greene County Power Station
Unit Name | Greene County 01
NERC Region | SERC
State | AL
Fuel Type | Coal
Capacity | 299 MW
Start Date | 2002-01-04
End Date | 2002-01-31
Prv. Start Date | 2001-11-02
Prv. End Date | 2001-11-29
Comments | Replace Condenser
SIC | 4911
Plant ID | 1006899
Unit ID | 1006843
Outage ID | 17643

## Conemaugh 02
Owner Name | PSEG Power LLC
Station Name | Conemaugh Power Station
Unit Name | Conemaugh 02
NERC Region | MAAC
State | PA
Fuel Type | Coal
Capacity | 936 MW
Start Date | 2001-09-21
End Date | 2001-11-21
Prv. Start Date | 2001-09-21
Prv. End Date | 2001-11-23
Comments | Turbine Overhaul
SIC | 4931
Plant ID | 1017267
Unit ID | 1004350
Outage ID | 10367

## R D Green 02
Owner Name | Western Kentucky Energy
Station Name | R D Green Power Station
Unit Name | R D Green 02
NERC Region | ECAR
State | KY
Fuel Type | Coal
Capacity | 264 MW
Start Date | 2001-11-04
End Date | 2001-11-19
Prv. Start Date | 2001-11-04
Prv. End Date | 2001-12-15
Comments | Valve work on Boiler
SIC | 4931
Plant ID | 1012562
Unit ID | 1006381
Outage ID | 16417