## Crockett 01 ST
Owner Name | NRG Energy Incorporated
Station Name | Crockett Cogeneration
Unit Name | Unit 01 ST
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 85 MW
Start Date | 2001-11-14
End Date | 2001-11-18
Comments | Combustion Turbine Failure
SIC | 4931
Plant ID | 1014756
Unit ID | 1010464
Outage ID | 18914

## Crockett 01
Owner Name | NRG Energy Incorporated
Station Name | Crockett Cogeneration
Unit Name | Unit 01 GT/HRSG
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 171 MW
Start Date | 2001-11-14
End Date | 2001-11-18
Comments | Combustion Turbine Failure
SIC | 4931
Plant ID | 1014756
Unit ID | 1010460
Outage ID | 18913

## Little Gypsy 03
Owner Name | Entergy Louisiana
Station Name | Little Gypsy Power Station
Unit Name | Little Gypsy 03
NERC Region | SERC
State | LA
Fuel Type | Natural Gas
Capacity | 582 MW
Start Date | 11//12/01
End Date | 2001-11-16
Comments | Doing Valve work
SIC | 4911
Plant ID | 1004665
Unit ID | 1005182
Outage ID | 18912

## Canal 01
Owner Name | Mirant Canal LLC
Station Name | Canal Power Station
Unit Name | Canal 01
NERC Region | NPCC
State | MA
Fuel Type | Fuel Oil
Capacity | 585 MW
Start Date | 2001-11-15
End Date | 2001-11-17
Comments | Unit is down with boiler problem/ tube leak
SIC | 4931
Plant ID | 1016546
Unit ID | 1007501
Outage ID | 18910