## Canal 01
Owner Name | Mirant Canal LLC
Station Name | Canal Power Station
Unit Name | Canal 01
NERC Region | NPCC
State | MA
Fuel Type | Fuel Oil
Capacity | 585 MW
Start Date | 2001-11-15
End Date | 2001-11-17
Comments | Unit is down with boiler problem/ tube leak
SIC | 4931
Plant ID | 1016546
Unit ID | 1007501
Outage ID | 18910