## Riverside 01
Owner Name | AEP - Public Service Company of Oklahoma
Station Name | Riverside Power Station
Unit Name | Riverside 01
NERC Region | SPP
State | OK
Fuel Type | Natural Gas / Fuel Oil
Capacity | 472 MW
Start Date | 2001-11-30
End Date | 2001-12-13
Prv. Start Date | 2001-11-15
Prv. End Date | 2001-11-28
Comments | Boiler / Valve Work
SIC | 4911
Plant ID | 1009107
Unit ID | 1007284
Outage ID | 1175

## Baxter Wilson 02
Owner Name | Entergy Mississippi Inc.
Station Name | Baxter Wilson Power Station
Unit Name | Unit 02
NERC Region | SERC
State | MS
Fuel Type | Nat. gas/ Fuel Oil
Capacity | 783 MW
Start Date | 2001-10-21
End Date | 2002-01-04
Prv. Start Date | 2001-10-14
Prv. End Date | 2001-11-24
Comments | Major O/H
SIC | 4911
Plant ID | 1017000
Unit ID | 1007640
Outage ID | 17110

## Trinidad 06
Owner Name | TXU Electric
Station Name | Trinidad Power Station
Unit Name | Unit 06
NERC Region | ERCOT
State | TX
Fuel Type | Natural Gas / Fuel Oil
Capacity | 239 MW
Start Date | 2001-10-19
End Date | 2001-11-18
Prv. Start Date | 2001-10-19
Prv. End Date | 2001-11-15
Comments | Control Upgrade / Boiler Work
SIC | 4911
Plant ID | 1000538
Unit ID | 1008669
Outage ID | 12034