## Canadys 03
Owner Name | South Carolina Electric & Gas Co.
Station Name | Canadys Power Station
Unit Name | Canadys 03
NERC Region | SERC
State | SC
Fuel Type | Coal/ Nat. gas
Capacity | 218 MW
Start Date | 2001-11-02
End Date | 2001-11-27
Prv. Start Date | 2001-11-02
Prv. End Date | 2001-11-22
Comments | Precipitator work.
SIC | 4911
Plant ID | 1011854
Unit ID | 1008419
Outage ID | 16912

## Contra Costa 07
Owner Name | Mirant California, LLC
Station Name | Contra Costa Power Station
Unit Name | Contra Costa 07
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 359 MW
Start Date | 9/4/
End Date | 2001-11-21
Prv. Start Date | 2001-09-04
Prv. End Date | 2001-11-26
Comments | Turbine Overhaul
SIC | 4931
Plant ID | 1000299
Unit ID | 1004622
Outage ID | 18298

## Cooper Nuclear 01
Owner Name | Nebraska Public Power
Station Name | Cooper Nuclear Power Station
Unit Name | Cooper 01
NERC Region | MAPP
State | NE
Fuel Type | Nuclear
Capacity | 836 MW
Start Date | 2001-11-03
End Date | 2001-12-14
Prv. Start Date | 2001-11-03
Prv. End Date | 2001-12-02
Comments | Refuel
SIC | 4911
Plant ID | 1014366
Unit ID | 1008642
Outage ID | 7457

## Ravenswood 01
Owner Name | Keyspan Ravenswood Inc.
Station Name | Ravenswood Power Station
Unit Name | Ravenswood 01
NERC Region | NPCC
State | NY
Fuel Type | Coal
Capacity | 400 MW
Start Date | 2001-10-05
End Date | 11/19/1/01
Prv. Start Date | 2001-10-05
Prv. End Date | 2002-01-04
Comments | Boiler/Major O/H
SIC | 4931
Plant ID | 1516826
Unit ID | 1004328
Outage ID | 18595