## Sooner 01
Owner Name | OG&E Electric Services
Station Name | Sooner Power Station
Unit Name | Sooner 01
NERC Region | SPP
State | OK
Fuel Type | Coal
Capacity | 568 MW
Start Date | 2001-10-08
End Date | 2001-11-24
Prv. Start Date | 2001-10-08
Prv. End Date | 2001-12-02
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1013000
Unit ID | 1006549
Outage ID | 12579

## Colstrip 03 update
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 03
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 2001-11-24
End Date | 2001-11-28
Prv. Start Date | 2001-11-24
Prv. End Date | 2001-11-26
Comments | Unit was ramping back up and they found a tube leak, causing it to go back down.
SIC | 4931
Plant ID | 1015370
Unit ID | 1007494
Outage ID | 18968