## PG&E Samples
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
2001-12-12 | SLX-TW | 12-12-01-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2001-12-12 | PGE-TW2 | 12-12-01-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2001-12-12 | PGE-Top3 | 12-12-01-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2001-12-12 | PGE-Top4 | 12-12-01-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2001-12-12 | PGE-A6 | 12-12-01-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2001-12-12 | PGE-B6 | 12-12-01-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2001-12-12 | PGE-84.10A | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2001-12-12 | PGE-63.26A | 12-12-01-L | 8 oz |  |  | 2 PPM | PG&E's 36" Line A
2001-12-12 | PGE-63.26B | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-12-12 | PGE-26.15A | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2001-12-12 | PGE-26.15B | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-12-12 | PGE-15.33A | 12-12-01-L | 8 oz |  |  | 2 PPM | PG&E's 36" Line A
2001-12-12 | PGE 10.84A | 12-12-01-L | 8 oz |  |  | 2 PPM | PG&E's 36" Line A
2001-12-12 | PGE 10.47B | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-12-12 | PGE 8.58A | 12-12-01-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2001-12-12 | PGE- 0.55B | 12-12-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-12-12 | PGE-TW4 | 12-12-01-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2001-12-12 | PGE-TW5 | 12-12-01-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2001-12-12 | PGE-TW6 | 12-12-01-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
| SLX-TW | [5 empty] | Solexol Plant
TW's Filter Scrubber at TW/PG&E
| PGE-TW2 | [5 empty] | Metering Station
PG&E's Seperator at PG&E's
| PGE-Top3 | [5 empty] | Compressor Station 1000 gal tank
Directly off PG&Es seperator
| PGE-Top4 | [5 empty] | At PG&Es Compressor station
PG&E's Line A TCS
| PGE-A6 | [5 empty] | Downstream Scrubber
PG&E's Line B TCS
| PGE-B6 | [5 empty] | Downstream Scrubber
| PGE-84.10A | [5 empty] | PG&Es 36" Line A
| PGE-63.26A | [5 empty] | PG&Es 36" Line A
| PGE-63.26B | [5 empty] | PG&E's 36" Line B
| PGE-26.15A | [5 empty] | PG&Es 36" Line A
| PGE-26.15B | [5 empty] | PG&E's 36" Line B
| PGE-15.33A | [5 empty] | PG&Es 36" Line A
| PGE 10.84A | [5 empty] | PG&Es 36" Line A
| PGE 10.47B | [5 empty] | PG&E's 36" Line B
| PGE 8.58A | [5 empty] | PG&E's 36" Line B
| PGE- 0.55B | [5 empty] | PG&E's 36" Line B
| PGE-TW4 | [5 empty] | TW 20" 1st Siphon
| PGE-TW5 | [5 empty] | TW 20" 2nd siphon
| PGE-TW6 | [5 empty] | TW 20" 3rd Siphon