## Mojave 01
Owner Name | Southern California Edison Company
Station Name | Mojave Power Station
Unit Name | Mojave 01
NERC Region | WSCC
State | NV
Fuel Type | Coal
Capacity | 818 MW
Start Date | 2001-12-15
End Date | 2001-12-19
Comments | Unit tripped due to boiler leak
SIC | 4911
Plant ID | 1015381
Unit ID | 1006329
Outage ID | 19224