## Watts Bar 01
Owner Name | Tennessee Valley Authority
Station Name | Watts Bar Nuclear Power Station
Unit Name | Watts Bar 01
NERC Region | SERC
State | TN
Fuel Type | Nuclear
Capacity | 1,270 MW
Start Date | 2001-12-20
End Date | 2001-12-21
Comments | Turbine pump problem. Expected to be on line tomorrow, and be at full power in a couple of days.
SIC | 4911
Plant ID | 1000407
Unit ID | 1003708
Outage ID | 19260

## Mount Storm 01
Owner Name | Dominion Virginia Power
Station Name | Mount Storm Power Station
Unit Name | Mount Storm 01
NERC Region | SERC
State | WV
Fuel Type | Coal
Capacity | 570 MW
Start Date | 2001-12-19
End Date | 2001-12-22
Comments | The unit came back up from outage, then went back down with a tube leak.
SIC | 4911
Plant ID | 1012617
Unit ID | 1008143
Outage ID | 19257