## Budget
New Albany | [12 empty] | PRELIMINARY BUDGET
Expense Analysis Summary | [12 empty] | NOT YET APPROVED
FINAL 2001 BUDGET
| 2001-01-01 | 2001-02-01 | 2001-03-01 | 2001-04-01 | 2001-05-01 | 2001-06-01 | 2001-07-01 | 2001-08-01 | 2001-09-01 | 2001-10-01 | 2001-11-01 | 2001-12-01 | Total
Mobilization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operations & Maintenance:
O&M Expenses
Aux Fuel System (Liquid Fuel) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Handling Sstem (Gas) | 0 | 500 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 4540
Aux Boiler System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam T/G System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Condensate System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Feedwater System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Pollution Control System | 2800 | 2800 | 2800 | 7800 | 2800 | 2800 | 2800 | 4500 | 14800 | 3800 | 2800 | 2800 | 53300
Combustion Air System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fire Protection System | 0 | 0 | 700 | 1440 | 0 | 0 | 700 | 0 | 0 | 0 | 1500 | 3200 | 7540
Wastewater System | 0 | 0 | 0 | 300 | 300 | 300 | 0 | 300 | 300 | 300 | 0 | 0 | 1800
Recirculating Water System | 0 | 0 | 0 | 500 | 500 | 600 | 100 | 200 | 100 | 200 | 0 | 500 | 2700
Chemical Feed System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Utilities & HVAC System | 500 | 0 | 0 | 2000 | 500 | 500 | 500 | 500 | 0 | 0 | 0 | 300 | 4800
Electrical Distribution System | 500 | 6500 | 500 | 25500 | 500 | 500 | 500 | 5500 | 500 | 500 | 500 | 5500 | 47000
Steam Distribution System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Control System | 0 | 0 | 0 | 1200 | 3000 | 0 | 0 | 0 | 3000 | 1200 | 0 | 10000 | 18400
Plant Consumable Supplies | 3600 | 4400 | 3000 | 28000 | 3600 | 4200 | 7200 | 4500 | 3000 | 25000 | 3600 | 20680 | 110780
Plant G&A | 10035 | 10035 | 20035 | 10035 | 19601 | 19601 | 19601 | 19601 | 19601 | 25035 | 14035 | 14035 | 201250
Reimbursable Labor | 74447 | 74447 | 74447 | 74447 | 106504 | 74447 | 74447 | 74447 | 74447 | 74447 | 106519 | 74447 | 957493
Tools & Equipment | 4281 | 4181 | 4181 | 9880 | 4281 | 4281 | 4281 | 4281 | 4281 | 13420 | 4281 | 6004 | 67633
Potable Water | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 14400
Phone Service | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 36000
Cell Phones & Pagers | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 2880
Other Utilities | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 5040
Raw Water System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Instrument/Service Air | 0 | 0 | 400 | 800 | 100 | 0 | 0 | 200 | 100 | 0 | 0 | 700 | 2300
Gas T/G System | 2001-01-01: 27633; 2001-02-01: 27633; 2001-03-01: 27633; 2001-10-01: 27633; 2001-11-01: 27633; 2001-12-01: 27633.3333 | 165800
HRSG System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Client Requests | 2001-01-01: 0; 2001-06-01: 0; 2001-07-01: 0; 2001-08-01: 0; 2001-09-01: 0 | 0 | GT Major Maintenance & CAPEX
Electricity - Fixed Component | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 30400 | 364800
Subtotal Fixed O&M | 159056 | 165756 | 168956 | 199182 | 176946 | 142489 | 145389 | 149289 | 155389 | 208815 | 196128 | 201059.3333 | 2068456
Variable O&M
Demineralized Water System | 0 | 0 | 0 | 250 | 10580 | 10080 | 10080 | 10580 | 10330 | 10080 | 10080 | 750 | 72810
Electricity - Variable Component | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 7600 | 91200
Subtotal Variable O&M | 7600 | 7600 | 7600 | 7850 | 18180 | 17680 | 17680 | 18180 | 17930 | 17680 | 17680 | 8350 | 164010
O&M Management Fee | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 17682 | 212184
Total O&M | 184338 | 191038 | 194238 | 224714 | 212808 | 177851 | 180751 | 185151 | 191001 | 244177 | 231490 | 227091.3333 | 2444650
Owner's Expense:
Insurance | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 22783 | 273396
Interconnection Fees | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 8583 | 102996
Spare Parts Useage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Misc | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 24000
0
Subtotal - Owner's Expense | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 33366 | 400392
Taxes
Property Taxes | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 488796
Franchise Taxes | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
Subtotal - Taxes | 40733 | 40733 | 40733 | 40733 | 40833 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 40733 | 488896
Total Expenses | 258437 | 265137 | 268337 | 298813 | 287007 | 251950 | 254850 | 259250 | 265100 | 318276 | 305589 | 301190.3333 | 3333938
This budget reflects Enron North America Corp.'s estimate for 2001 operating expenses.

## CAPEX
NEW POWER I, LLC.
R.000172
BUDGET MONITORING REPORT
| 12 | OPERATING MONTHS
| 2001 | OPERATING YEAR
670 | Detailed PI |  | 2001-01-01 | 2001-02-01 | 2001-03-01 | 2001-04-01 | 2001-05-01 | 2001-06-01 | 2001-07-01 | 2001-08-01 | 2001-09-01 | 2001-10-01 | 2001-11-01 | 2001-12-01 | 2001
671 | Breakdown | Account / Subaccount | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | BUDGET | TOTALS
672
673 | PI 38: CAPITAL EXPENDITURES
674
675 | 0100 | PROJECT #1 | 75000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75000
676 | 0101 | PROJECT #2 | 0 | 30700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 30700
677 | 0102 | PROJECT #3 | 0 | 0 | 70000 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 70000
678 | 0103 | PROJECT #4 | 0 | 0 | 0 | 20000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
679 | 0104 | PROJECT #5 | 0 | 0 | 0 |  | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10000
680 | 0105 | PROJECT #6 | 0 | 0 | 175000 | 175000 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 350000
681 | 0106 | PROJECT #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
682 | 0107 | PROJECT #8 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
683 | 0108 | PROJECT #9 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
684 | 0109 | PROJECT #10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
685
686 | TOTAL |  | 75000 | 30700 | 245000 | 195000 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 555700
687
688 |  |  | 2001-11-01: 2000 Budget = | 0
689
690 |  |  | 2001-11-01: Difference = | 555700
691 | PI - 38 |  | 2001-04-01: Monthly; 2001-05-01: Comment
692 |  |  | 2001-03-01: Annual; 2001-04-01: Amount; 2001-05-01: or
693 |  | Planning Section | 2001-03-01: Amount; 2001-04-01: (if equal); 2001-05-01: Note #
694
695 | 0100 | PROJECT #1- | 2001-03-01: 75000; 2001-05-01: Replace flame scanners with the BF Goodrich type
696 | 0101 | PROJECT #2 | 2001-03-01: 30700; 2001-05-01: Warehouse and Drum storage 40x60x18
697 | 0102 | PROJECT #3 | 2001-03-01: 70000; 2001-05-01: Install transmitters on all unit
698 | 0103 | PROJECT #4- | 2001-03-01: 20000; 2001-05-01: Gas recirc line for winter operation
699 | 0104 | PROJECT #5 - | 2001-03-01: 10000; 2001-05-01: Mercapitan bleed off burner
700 | 0105 | PROJECT #6 | 2001-03-01: 350000; 2001-05-01: Generator # 5 Repair, partial rewind
701 | 0106 | PROJECT #7 | 2001-03-01: 0
702 | 0107 | PROJECT #8 | 2001-03-01: 0
703 | 0108 | PROJECT #9 | 2001-03-01: 0
704 | 0109 | PROJECT #10 | 2001-03-01: 0
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
Note on C15: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C16: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C17: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C18: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C19: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C20: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C21: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C22: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C23: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C24: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C35: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C36: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C37: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C38: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C39: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C40: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C41: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C42: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C43: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED
Note on C44: CONTACT OEC ACCOUNTING WHEN A PROJECT IS DEFINED AND NEEDS TO BE ADDED