## 2001 CMCSC Summary
| On Peak Load Flow Base Case Data With Adjustments for Self Serve | [7 empty] | To be loaded into ERCOT Congestion Management System
CM Zone Name | Total Number of Load Flow Buses | Number of Load Buses | Load Total MW | Number of Offline Generation Buses | Offline Generation Total Pmax MW | Number of Online Generation Buses | Online Generation Total Pmax MW | Total Generation Capacity MW | Average Weighted Shift Factor on Commercially Significant Constraint #1 - 1430 GRAHAM 345kV to 1436 PARKER 345kV ckt 1 | Average Weighted Shift Factor on Commercially Significant Constraint #2 - 46020 LIMESTONE 345 kV to 2428 WATERMILL 345 kV ckt1
South2001 | 2356 | 1419 | 32876.875 | 66 | 6041.7 | 226 | 39171.836 | 45213.536 | 0.0043621 | -0.016744
West2001 | 956 | 539 | 3729.443 | 22 | 1715 | 41 | 5323 | 7038 | 0.27292 | -0.11087
North2001 | 1685 | 957 | 20692.081 | 19 | 1982 | 83 | 20009 | 21991 | -0.012935 | -0.12466
ERCOT | 4997 | 2915 | 57298.399 | 107 | 9738.7 | 350 | 64503.836 | 74242.536