## Preschedule
2001-04-16
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
LOAD (Incl,RGC,CFE) | 510 | 501 | 499 | 506 | 541 | 589 | 635 | 681 | 737 | 782 | 802 | 818 | 840 | 854 | 860 | 854 | 840 | 817 | 816 | 880 | 848 | 753 | 686 | 623 |  | 0 | 0 | 0 | 0 | 0 | 828.18 | 0 | 0 | 815.875 | 0 | 0 | 812.13 | 0 | 0 | 804.9075 | 0 | 0 | 793.1375 | 0 | 0 | 773.8775 | 0 | 0 | 796.615 | 0 | 0 | 869.91 | 0 | 0 | 869.375 | 0 | 0 | 853.5925 | 0 | 0 | 803.57 | 0 | 0 | 726.2625 | 0 | 0 | 650.025
TNP | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Purchases
Incremental Purchases | [13 empty] | 0
4C Prescheduled | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4C Balancing |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4C Direct Bill
4C Real-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | -25 | -25 | -25 | 0 | -25 | -25 | -75 | -90 | 0 | 0 | 0 | 0
PV Prescheduled | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0
PV Balancing
PV Direct Bill
PV Real-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -75 | -115 | -115 | -115 | -115 | -115 | 0 | 0 | 0
Hidalgo Prescheduled | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hidalgo Real-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Artesia Direct Bill | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103
Artesia Prescheduled
Artesia Real-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sales
IID (150 MW) | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 130 | 130 | 140 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
PNM (56 MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental Sales | [13 empty] | .
4C PRESCHEDULED | 25 | 25 | 25 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25
4C BALANCING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4C Direct Bill | [21 empty] | 0
4C REAL-TIME | 0 | 0 | 0 | 0 | 45 | 60 | 80 | 80 | 80 | 50 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV PRESCHEDULED | 25 | 25 | 25 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25
PV BALANCING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV Direct Bill | 25 | 25 | 103 | 103 | 103 | 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 103
PV REAL-TIME | 12 | 92 | 87 | 87 | 127 | 127 | 187 | 187 | 12 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
Hidalgo Prescheduled | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hidalgo Real-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Artesia Prescheduled | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Artesia Balancing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Artesia Real-time | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Obligations | 732 | 803 | 874 | 881 | 1001 | 1064 | 1047 | 1103 | 984 | 1009 | 1014 | 1030 | 1027 | 1029 | 1035 | 1029 | 1015 | 992 | 991 | 1055 | 1023 | 928 | 1014 | 1006
GENERATION
[25 empty] | Capacity | MMBtu/Day
NEWMAN 1 (30-70) | 38 | 38 | 38 | 37 | 41 | 39 | 41 | 46 | 65 | 63 | 63 | 60 | 58 | 65 | 65 | 52 | 41 | 41 | 34 | 39 | 38 | 39 | 75 | 61 | 80 | #VALUE!
NEWMAN 2 (25-78) | 35 | 36 | 35 | 35 | 40 | 42 | 38 | 74 | 75 | 75 | 73 | 70 | 75 | 75 | 69 | 64 | 34 | 34 | 34 | 37 | 38 | 37 | 77 | 75 | 78 | #VALUE!
NEWMAN 3 (31-103) | 40 | 40 | 40 | 40 | 66 | 100 | 95 | 99 | 38 | 70 | 89 | 94 | 77 | 75 | 97 | 55 | 37 | 37 | 37 | 50 | 73 | 89 | 101 | 95 | 103 | #VALUE!
GT 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | #VALUE!
GT 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | #VALUE!
GT1+ST1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | #VALUE!
GT2+ST1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 100 | 97 | 96 | 99 | 101 | 95 | 91 | 84 | 89 | 67 | 100 | 100 | 99 | 99 | 97 | 108 | #VALUE!
NEWMAN 4 (115-190) | 121 | 112 | 130 | 135 | 209 | 212 | 207 | 209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212 | #VALUE!
COPPER | 19 | 13 | 16 | 16 | 18 | 32 | 27 | 47 | 66 | 67 | 64 | 62 | 66 | 65 | 64 | 55 | 54 | 29 | 15 | 17 | 21 | 26 | 33 | 53 | 68 | #VALUE!
RIO GRANDE 6 (20-48) | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 36 | 38 | 38 | 38 | 38 | 38 | 38 | 29 | 27 | 28 | 28 | 28 | 28 | 48 | #VALUE!
RIO GRANDE 7 (14-44) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | #VALUE!
RIO GRANDE 8 (65-130) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130 | #VALUE!
PV UNIT 1 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 198
PV UNIT 2 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 198
PV UNIT 3 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 134 | 134 | 133 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 134 | 133 | 133 | 133 | 133 | 198
4 CORNERS UNIT 4 | 31 | 31 | 81 | 80 | 105 | 105 | 105 | 104 | 105 | 105 | 105 | 105 | 105 | 105 | 104 | 105 | 104 | 105 | 105 | 105 | 105 | 105 | 105 | 95 | 52
4 CORNERS UNIT 5 | [24 empty] | 52
Position | 82 | 0 | -1 | -5 | 11 | -1 | -4 | 9 | 5 | 2 | 7 | 33 | 19 | 22 | 24 | 8 | 19 | 23 | 22 | 28 | -3 | -3 | 6 | 0 | 2416 | #VALUE!
| 814 | 803 | 873 | 876 | 1012 | 1063 | 1043 | 1112 | 989 | 1011 | 1021 | 1063 | 1046 | 1051 | 1059 | 1037 | 1034 | 1015 | 1013 | 1083 | 1020 | 925 | 1020 | 1006 | #VALUE! | #VALUE!
Imports
Artesia 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total Costs: | #VALUE!
Palo Verde 510 | 227 | 150 | 77 | 77 | 37 | 37 | 92 | 85 | 258 | 248 | 237 | 250 | 238 | 249 | 249 | 324 | 364 | 364 | 364 | 365 | 364 | 249 | 121 | 66
Four Corners 124 | 6 | 6 | 56 | 55 | 35 | 20 | 25 | 24 | 25 | 55 | 80 | 0 | 130 | 130 | 129 | 105 | 129 | 130 | 180 | 195 | 105 | 105 | 80 | 70
Total NM 645 | 233 | 156 | 133 | 132 | 72 | 57 | 117 | 109 | 283 | 303 | 317 | 250 | 368 | 379 | 378 | 429 | 493 | 494 | 544 | 560 | 469 | 354 | 201 | 136
Total | 233 | 156 | 133 | 132 | 72 | 57 | 117 | 109 | 283 | 303 | 317 | 250 | 368 | 379 | 378 | 429 | 493 | 494 | 544 | 560 | 469 | 354 | 201 | 136
Unloaded Generation | #VALUE! | 514 | 494 | 490 | 379 | 328 | 348 | 278 | 298 | 276 | 266 | 262 | 179 | 261 | 252 | 325 | 392 | 412 | 464 | 409 | 382 | 362 | 267 | 271
Spin Reserves 7% | #VALUE! | 35 | 35 | 35 | 38 | 41 | 48 | 52 | 55 | 56 | 57 | 59 | 60 | 60 | 60 | 59 | 57 | 57 | 62 | 59 | 53 | 48 | 44 | #REF!
| Hourly On-Peak | Hourly Off-Peak | 1 Day On-Peak | 1 Day Off-Peak | BOM On-Peak | BOM Off-Peak
Greenley
PV
4 Corners
SPS interface
Prescheduled Sales | 160 | 160 | 160 | 160 | 160 | 160 | 120 | 130 | 130 | 140 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 200 | 200
W. Ave. Sale Price | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Prescheduled Purch. | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
W. Ave. Purch. Price | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| MW | W.Ave $
Total Sales | 3680 | #REF!
Total Purchases | #REF! | #REF!
[24 empty] | Actual: | #VALUE!
[24 empty] | Test: | #VALUE!
Scratch Area | [23 empty] | Difference: | #VALUE!
4 Corners Unit 4 | 31 | 31 | 81 | 80 | 105 | 105 | 105 | 104 | 105 | 105 | 105 | 0 | 105 | 105 | 104 | 105 | 104 | 105 | 105 | 105 | 105 | 105 | 105 | 95 | 28830.1104
Test: | 103 | 52 | 2 | 2 | 2 | 2 | 52 | 52 | 52 | 52 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 52 | 52 | 52 | 52 | 21037.4819
Difference: | 72 | 21 | -79 | -78 | -103 | -103 | -53 | -52 | -53 | -53 | -2 | 103 | -2 | -2 | -1 | -2 | -1 | -2 | -2 | -2 | -53 | -53 | -53 | -43 | 7792.6285
4 Corners Unit 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF!
Test: | 50 | [23 empty] | 653.744
Difference: | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF!
PV Unit 1 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 19495.008
Test: | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 29260.8
Difference: | 67 | 66 | 66 | 66 | 66 | 66 | 67 | 66 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | -9765.792
PV Unit 2 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 133 | 19495.008
Test: | 194 | 194 | 194 | 194 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | 28504.896
Difference: | 61 | 60 | 60 | 60 | 61 | 61 | 62 | 61 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | -9009.888
PV Unit 3 | 133 | 134 | 134 | 134 | 134 | 134 | 133 | 134 | 134 | 134 | 133 | 133 | 134 | 133 | 133 | 133 | 133 | 133 | 133 | 134 | 133 | 133 | 133 | 133 | 19519.392
Test: | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 29260.8
Difference: | 67 | 66 | 66 | 66 | 66 | 66 | 67 | 66 | 66 | 66 | 67 | 67 | 66 | 67 | 67 | 67 | 67 | 67 | 67 | 66 | 67 | 67 | 67 | 67 | -9741.408
Newman 1 | 31 | 38 | 38 | 37 | 41 | 39 | 41 | 46 | 65 | 63 | 63 | 60 | 58 | 65 | 65 | 52 | 41 | 34 | 34 | 34 | 34 | 39 | 75 | 61 | 1154 | 40 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(30-70) Test: | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 720 | .
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Newman 2 | 35 | 36 | 35 | 35 | 40 | 42 | 38 | 74 | 75 | 75 | 73 | 70 | 75 | 75 | 69 | 64 | 34 | 34 | 34 | 37 | 38 | 37 | 77 | 75 | 1277 | 50 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(25-78) Test: | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 744
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Newman 3 | 40 | 40 | 40 | 40 | 66 | 100 | 95 | 99 | 38 | 70 | 89 | 94 | 77 | 75 | 97 | 55 | 37 | 37 | 37 | 50 | 73 | 89 | 101 | 95 | 1634 | 66 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(31-103) Test: | [24 empty] | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GT 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
Test: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GT 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
Test: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GT1+ST1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(48-XX) Test: | [24 empty] | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GT2+ST1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 100 | 97 | 96 | 99 | 101 | 95 | 91 | 84 | 89 | 67 | 100 | 100 | 99 | 99 | 97 | 1523 | 70 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
Test: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 100 | 97 | 96 | 99 | 101 | 95 | 91 | 84 | 89 | 67 | 100 | 100 | 99 | 99 | 97 | 1523
| #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Newman 4 | 121 | 112 | 130 | 135 | 209 | 212 | 207 | 209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335 | 70 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(115-190) Test: | 115 | 115 | 135 | 135 | 135 | 135 | 130 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 185 | 185 | 170 | 165 | 145 | 145 | 3160
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Copper | 19 | 13 | 16 | 16 | 18 | 32 | 27 | 47 | 66 | 67 | 64 | 62 | 66 | 65 | 64 | 55 | 54 | 29 | 15 | 0 | 0 | 0 | 33 | 53 | 881 | 50 MW Max
1.96 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(XX-XX) Test: | 0 | 13 | 16 | 16 | 18 | 32 | 27 | 47 | 66 | 67 | 64 | 62 | 66 | 65 | 64 | 55 | 54 | 29 | 15 |  |  |  | 33 | 53 | 862
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Rio Grande 6 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 36 | 38 | 38 | 38 | 38 | 38 | 38 | 29 | 27 | 28 | 28 | 28 | 28 | 740 | 20 MW Max
2.09 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(20-48) Test: | [24 empty] | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Rio Grande 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 MW Max
2.09 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(14-44) Test: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Rio Grande 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 MW Max
2.09 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Spin Res
(65-130) Test: | 56 | 56 | 56 | 56 | 65 | 75 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 85 | 110 | 90 | 65 | 56 | 56 | 1498
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Difference: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Total Actual MW | 704 | 700 | 770 | 773 | 909 | 960 | 940 | 1009 | 886 | 908 | 918 | #REF! | 918 | 923 | 931 | 859 | 791 | 765 | 720 | 753 | 777 | 796 | 917 | 903
Total Test MW | 979 | 891 | 864 | 864 | 876 | 900 | 921 | 926 | 1054 | 1046 | 1091 | 1088 | 1095 | 1096 | 1089 | 1076 | 1068 | 1048 | 1111 | 1154 | 1068 | 1037 | 1041 | 1059 |  | #VALUE!
Total MW-Test MW. | 275 | 191 | 94 | 91 | -33 | -60 | -19 | -83 | 168 | 138 | 173 | #REF! | 177 | 173 | 158 | 217 | 277 | 283 | 391 | 401 | 291 | 241 | 124 | 156 | #REF!
Net Position after sales (taken from row 53) | 82 | 0 | -1 | -5 | 11 | -1 | -4 | 9 | 5 | 2 | 7 | 33 | 19 | 22 | 24 | 8 | 19 | 23 | 22 | 28 | -3 | -3 | 6 | 0 | 303
Excess Generation | 357 | 191 | 93 | 86 | -22 | -61 | -23 | -74 | 173 | 140 | 180 | #REF! | 196 | 195 | 182 | 225 | 296 | 306 | 413 | 429 | 288 | 238 | 130 | 156 | #REF!
[25 empty] | #REF! | gen. net
SPINNING RESERVES MUST BE AL LEAST 101 MW
Actual Spinning Res. | 549 | 543 | 487 | 484 | 348 | 297 | 317 | 248 | 355 | 324 | 311 | 308 | 313 | 310 | 296 | 364 | 425 | 456 | 479 | 414 | 391 | 371 | 314 | 326
Test Spinning Res. | 179 | 280 | 318 | 318 | 315 | 301 | 261 | 246 | 128 | 136 | 91 | 94 | 87 | 86 | 93 | 106 | 114 | 134 | 100 | 18 | 84 | 90 | 141 | 123
IID+CFE+PNM | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Recommendations for 2/16 include: | [5 empty] | Total Savings for 2/16 |  |  | #VALUE!
| 1. Turn off RG6& RG7 | [5 empty] | Two-way cycling cost $786 |  |  | 524 | (spread over 3 days)
2. Meet load requirements with N4, FC and RG8
3. Keep N1 and N2 at minimum all day, ramp up as needed
4. Keep sales between 50 and100 MW, and keep units ramped down to avoid selling power at a loss
5. Given this scenario, EPE will still generate an excess of 427 MW for the 24 hour period
EPE's Response:
RG 7 down
Overgenerated by large margin
Note on A167: TELLS ME HOW MANY MEGAWATTS THEY SHOULD CUT BACK
Note on A168: TELLS ME HOW LONG OR SHORT I AM WITH RESPECT TO THE IDEAL POSITION
Note on B58: Pac cancelled 78mgw schedule. They wouldn't pick it up Linder
Note on M58: LHarasin: Spinning reserves of 25MW bought
Note on N58: LHarasin: Spinning reserves of 25MW bought
Note on O58: LHarasin: Spinning reserves of 25MW bought
Note on P58: LHarasin: Spinning reserves of 25MW bought
Note on Q58: LHarasin: Spinning reserves of 25MW bought
Note on R58: LHarasin: Spinning reserves of 25MW bought
Note on S58: LHarasin: Spinning reserves of 25MW bought
Note on T58: Smerriss: Spinning reserves of 25MW bought
Note on U58: Smerriss: Spinning reserves of 25MW bought
Note on Z169: Amount of generation remaining after ALL obligations
EPE Data .xls
Spinning Reserves
Import EPE File

## Deals
Counter Party | Type | Delivery Point | Price | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Total Volume | Total Billing | Position
IID | FirmT | PV |  | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 130 | 130 | 140 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 3280 | 0 | sell | 120 | 0 | 0 | 140 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 150 | 0 | 0 | 130 | 0 | 0 | 110 | 0 | 0 | 90 | 0 | 0 | 150
TNP | FirmT |  |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 600 | 0 | sell
PNM | Cont | LC | [25 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
SPS |  | Artesia |  | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -103 | -2472 | 0 | buy
SRP |  | PV | [25 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
CISO/PAC |  | PV |  | 3: 78; 4: 78; 5: 78; 6: 78; 23: 78; 24: 78 | 468 | 0 | sell
SRP |  | PV |  | 1: 22; 2: 22; 3: 22; 4: 22; 5: 22; 6: 22; 23: 22; 24: 22 | 176 | 0 | sell
NEVP/SRP |  | PV |  | 1: 3; 2: 3; 3: 3; 4: 3; 5: 3; 6: 3; 23: 3; 24: 3 | 24 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
LIST ALL SALES BELOW
leave this row blank
CALPX | Pre | PV | -0.25 | [24 empty] | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | [24 empty] | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 3: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 4: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 5: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 6: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 7: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 8: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 9: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 10: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 11: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 12: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 13: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 14: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 15: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 16: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 17: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 18: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 19: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 20: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 21: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 22: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 23: 0 | 0 | 0 | sell
CALPX | Pre | PV | -0.25 | 1: 0; 24: 0 | 0 | 0 | sell
[28 empty] | 0 | 0
CALPX | Pre | 4C | -0.25 | [24 empty] | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | [24 empty] | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 3: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 4: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 5: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 6: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 7: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 8: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 9: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 10: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 11: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 12: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 13: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 14: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 15: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 16: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 17: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 18: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 19: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 20: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 21: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 22: 0 | 0 | 0 | sell
CALPX | Pre | 4C | -0.25 | 23: 0 | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
LADWP | PRE | PV | 140 | 1: 25; 2: 25; 3: 25; 4: 25; 5: 25; 6: 25; 23: 25; 24: 25 | 200 | 28000 | sell
APS | Pre | 4C | 135 | 1: 25; 2: 25; 3: 25; 4: 25; 5: 25; 6: 25; 23: 25; 24: 25 | 200 | 27000 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
EPMI/CISO | Econ | PV | 30 | 1: 12; 2: 12; 3: 12; 4: 12; 5: 12; 6: 12 | 72 | 2160 | sell
EPMI/CISO | Firm | PV | 80 | 7: 12; 8: 12; 9: 12 | 36 | 2880 | sell
EPMI/CISO | Firm | PV | 125 | 10: 12; 11: 12 | 24 | 3000 | sell
EPMI/CISO | Firm | PV | 150 | 12: 12; 13: 12 | 24 | 3600 | sell
EPMI/CISO | Firm | 4C | 125 | 10: 50; 11: 25 | 75 | 9375 | sell
EPMI/CISO | Firm | 4C | 150 | 12: 25 | 25 | 3750 | sell
LADWP | Econ | PV | 0 | 2: 80 | 80 | 0 | sell
LADWP | Econ | PV | 10 | 3: 75; 4: 75; 5: 75 | 225 | 2250 | sell
LADWP | Econ | PV | 20 | 6: 75; 7: 75 | 150 | 3000 | sell
LADWP | Econ | PV | 60 | 8: 75 | 75 | 4500 | sell
LADWP | Econ | PV | 90 | 24: 55 | 55 | 4950 | sell
SRP | Econ | PV | 40 | 5: 40; 6: 40 | 80 | 3200 | sell
SRP | Econ | PV | 60 | 7: 100; 8: 100 | 200 | 12000 | sell
PNM | Econ | 4C | 80 | 5: 45; 6: 60 | 105 | 8400 | sell
PSCO | Econ | 4C | 80 | 7: 80; 8: 80; 9: 80 | 240 | 19200 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
SRP | Firm | PV | 140 | 12: -13 | -13 | -1820 | buy
LADWP | Firm | PV | 400 | 16: -25 | -25 | -10000 | buy
APS | Econ | PV | 200 | 16: -50; 17: -50; 18: -50; 19: -50; 20: -50; 21: -50 | -300 | -60000 | buy
PNM | Firm | PV | 225 | 17: -15; 18: -15; 19: -15; 20: -15; 21: -15 | -75 | -16875 | buy
IID | Firm | PV | 250 | 17: -50; 18: -50; 19: -50; 20: -50; 21: -50 | -250 | -62500 | buy
PAC | Firm | 4C | 400 | 19: -50; 20: -65 | -115 | -46000 | buy
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
[28 empty] | 0 | 0 | sell
PAC/spin | Firm | 4C | 10 | 12: -25; 13: -25; 14: -25; 15: -25; 17: -25; 18: -25; 19: -25; 20: -25 | -200 | -2000 | buy
leave this row blank
AZ3
Total Price
Hour |  | TMM | Price | 1: Sale
PST | MST |  |  | 1: -0.25; 2: Buy; 21: Total per Model
24 | 1 | 1 |  | 1: -0.25; 2: 0.56
1 | 2 | 1 |  | 1: -0.25; 2: 0.56; 21: EPE Sales to EPMI | 1866 | 137265
2 | 3 | 1 |  | 1: -0.25; 2: 0.56; 21: EPE Purch from EPMI | -978 | -199195
3 | 4 | 1 |  | 1: -0.25; 2: 0.56
4 | 5 | 1 |  | 1: -0.25; 2: 0.56; 21: Total Ancillary Services Purchases per Model
5 | 6 | 1 |  | 1: -0.25; 2: 0.56
6 | 7 | 1 |  | 1: -0.25; 2: 0.56; 21: EPE Purch from EPMI | 0 | 0
7 | 8 | 1 |  | 1: -0.25; 2: 0.56
8 | 9 | 1 |  | 1: -0.25; 2: 0.56
9 | 10 | 1 |  | 1: -0.25; 2: 0.56
10 | 11 | 1 |  | 1: -0.25; 2: 0.56
11 | 12 | 1 |  | 1: -0.25; 2: 0.56
12 | 13 | 1 |  | 1: -0.25; 2: 0.56
13 | 14 | 1 |  | 1: -0.25; 2: 0.56
14 | 15 | 1 |  | 1: -0.25; 2: 0.56
15 | 16 | 1 |  | 1: -0.25; 2: 0.56
16 | 17 | 1 |  | 1: -0.25; 2: 0.56
17 | 18 | 1 |  | 1: -0.25; 2: 0.56
18 | 19 | 1 |  | 1: -0.25; 2: 0.56
19 | 20 | 1 |  | 1: -0.25; 2: 0.56
20 | 21 | 1 |  | 1: -0.25; 2: 0.56
21 | 22 | 1 |  | 1: -0.25; 2: 0.56
22 | 23 | 1 |  | 1: -0.25; 2: 0.56
23 | 24 | 1 |  | 1: -0.25; 2: 0.56
24 | 1 | 1 |  | 2: 0.56
AZ2
Total Price
Hour |  | TMM |  | 1: Sale; 3: Settlement Adder thru March 31, 1999
PST | MST |  |  | 1: -0.25; 2: Buy; 3: 4.4%; 4: Predicted Final Price; 8: NB: March 13, 1999 Max Settlement charge will rise to 5.3%+4% for a total of 9.3%.
24 | 1 | 1 |  | 1: -0.25; 2: 0.56; 4: a
1 | 2 | 1 |  | 1: -0.25; 2: 0.56
2 | 3 | 1 |  | 1: -0.25; 2: 0.56
3 | 4 | 1 |  | 1: -0.25; 2: 0.56
4 | 5 | 1 |  | 1: -0.25; 2: 0.56
5 | 6 | 1 |  | 1: -0.25; 2: 0.56
6 | 7 | 1 |  | 1: -0.25; 2: 0.56
7 | 8 | 1 |  | 1: -0.25; 2: 0.56
8 | 9 | 1 |  | 1: -0.25; 2: 0.56
9 | 10 | 1 |  | 1: -0.25; 2: 0.56
10 | 11 | 1 |  | 1: -0.25; 2: 0.56
11 | 12 | 1 |  | 1: -0.25; 2: 0.56
12 | 13 | 1 |  | 1: -0.25; 2: 0.56
13 | 14 | 1 |  | 1: -0.25; 2: 0.56
14 | 15 | 1 |  | 1: -0.25; 2: 0.56; 3: .
15 | 16 | 1 |  | 1: -0.25; 2: 0.56
16 | 17 | 1 |  | 1: -0.25; 2: 0.56
17 | 18 | 1 |  | 1: -0.25; 2: 0.56
18 | 19 | 1 |  | 1: -0.25; 2: 0.56
19 | 20 | 1 |  | 1: -0.25; 2: 0.56
20 | 21 | 1 |  | 1: -0.25; 2: 0.56
21 | 22 | 1 |  | 1: -0.25; 2: 0.56
22 | 23 | 1 |  | 1: -0.25; 2: 0.56
23 | 24 | 1 |  | 1: -0.25; 2: 0.56
24 | 1 | 1 |  | 2: 0.56
Note on A8: Amrad
Note on D19: NOTE TO SELF. The CALPX lines are hidden. They are rows 16-64.
Note on F10: PAC Cancelled Tag Power Linder
Note on J88: 60mgw integrated to 45 started at 04:15 Linder
Note on Q101: LHarasin: 25 MW buy on the half integrated to a 13
Add Row (ctrl-a)
Prescheduled EPE March
El Paso email sent to Jeff Miller, John Forney and Phill Platter. A copy of this email can be found in O:\Portland\WestDesk\California\Customer PX Bids\EPE\
This information is transposed into the California position in the morning. (see Cali packet)
After the auction a copy of what was awarded is given to the person doing the preschedule aand this spreadsheet is adjusted accordingly. If there is any discrepency, refer to the California packet or California packet spreadsheet.
Settlement Adder is an estimate based on a CISO memo sent to market participants on 3/5/99. These are in addition to the actual TMM that are published on the web. So far these have only applied to the Four Corners-Moenkopi Eldorado 500 KV path and not to the PV schedules.

## Fuel
MUST be updated DAILY
MAY be updated DAILY
MUST be updated MONTHLY
SAN JUAN |  |  |  | WAHA
Interstate Spot Price |  | 1.455 |  | Intrastate Spot Price |  | 1.515
Interstate Fixed Price (RG) |  | 2.09 |  | Intrastate Fixed Price |  | 1.96
Interstate Fixed Price (NM) |  | 2.09
Units Using Interstate Gas Prices |  |  |  |  | Weighted | Cost of
|  | % Fixed | % Spot | MMBtus | Avg. Price | Gas Burn
| Rio Grande 8 | 100% | 0% | #VALUE! | 2.09 | #VALUE!
| Rio Grande 7 | 100% | 0% | #VALUE! | 2.09 | #VALUE!
| Rio Grande 6 | 100% | 0% | #VALUE! | 2.09 | #VALUE!
| Total |  |  | #VALUE! |  | #VALUE!
Units Using Intrastate Gas Prices
| Copper | 100% | 0% | #VALUE! | 1.96 | #VALUE!
Interstate Cheaper than Intrastate? yes = 1, no = -
Units Using Either Interstate or Intrastate Gas Prices | [7 empty] | Fixed | Spot
| Newman 4 | 100% | 0% | #VALUE! | 1.96 | #VALUE! |  | 0 | 1
| GT1+ST1 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| GT2+ST1 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| Newman 3 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| Newman 2 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| Newman 1 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| GT 1 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
| GT 2 | 100% | 0% | #VALUE! | 1.96 | #VALUE!
|  |  |  | #VALUE! |  | #VALUE!
| Total |  |  | #VALUE! |  | #VALUE!
ANALYSIS OF CURRENT MONTH WEIGHTED AVERAGE PRICES
February
INTERSTATE
Supplier |  | Base Price |  | Volume |  | Rio Grande | Newman |  | Total Dollars Rio Grande | Total Dollars Newman
USGT | SJ Inside FERC FOM | 2.09 |  | 15000 |  | 0 | 15000 |  | 0 | 940500
Duke | 1/1-12/31/98 price not given (SJ) | 2.09 |  | 10000 |  | 10000 | 0 |  | 627000 | 0
Cook | 4/1-11/30/98 Fixed or FOM Float (SJ) | 2.09 |  | 15050 |  | 15050 | 0 |  | 943635 | 0
PNM | 4/1-11/30/98 Fixed or FOM Float (SJ) | 2.09 |  | 10000 |  | 10000 | 0 |  | 627000 | 0
KN | 1/1/97-12/31/01 NGI Bid Week Index (Waha) | 1.96 |  | 56100 |  | 0 | 56100 |  | 0 | 3298680
Spot Purchases | ? |  |  | 0 |  | 0 | 0 |  | 0 | 0
[6 empty] | 35050 | 71100 |  | 2197635 | 4239180
[8 empty] | W.A. Base Price | 2.2393 | 2.1294
[7 empty] | Gross Receipts Tax |  | 5% | 0%
[7 empty] | Fuel Charge |  | 2.2% | 2.2%
[7 empty] | Surcharges |  | 0.0134 | 0.0134
[7 empty] | Variable Price |  | 2.09 | 1.96
2.1418
INTRASTATE
KN Marketing |  | W.A. Base Price |  | 2.1
|  | Gross Receipts Tax |  | 2.5%
|  | Variable Price |  | 2.1525
Note on A6: Kristian Lande: used Midpoint El Paso, non-bondad price for 3/2/99 Gas Daily

## Economics
| Commodity Revenue (Cost) | Demand Charge | Total | Total Volume | $/Mwhr Commodity Cost | $/Mwhr Total Cost
Purchases
SPS Avg. Cost Est. | 496572.3 | 122343.9 | 618916.2 | 23989 | 20 | 0
Incremental Purchases
4C Pre | 0 |  | 0 | 0 | 0 | 0
4C Balancing | 0 |  | 0 | 0 | 0 | 0
4C Realtime | #N/A |  | #N/A | -315 | #N/A | #N/A
PV Pre | 0 |  | 0 | 0 | 0 | 0
PV Balancing | 0 |  | 0 | 0 | 0 | 0
PV Realtime | #N/A |  | #N/A | -663 | #N/A | #N/A
SPS Pre | 0 |  | 0 | 0 | 0 | 0
Artesia Balancing | 0 |  | 0 | #REF! | #REF! | #REF!
Artesia Realtime | 0 |  | 0 | 0 | 0 | 0
Sales
Incremental Sales
4C Pre | #N/A |  | #N/A | 200 | #N/A | #N/A
4C Balancing | 0 |  | 0 | 0 | 0 | 0
4C Realtime | #N/A |  | #N/A | 445 | #N/A | #N/A
PV Pre | 28000 |  | 28000 | 200 | 140 | 140
PV Balancing | 0 |  | 0 | 0 | 0 | 0
PV Realtime | #N/A |  | #N/A | 1021 | #N/A | #N/A
Artesia Pre | 0 |  | 0 | 0 | 0 | 0
Artesia Balancing | 0 |  | 0 | 0 | 0 | 0
Artesia Realtime | 0 |  | 0 | 0 | 0 | 0
[7 empty] | Heat | Fuel
Generation | [6 empty] | Rate | Cost
4 Corners Unit 4 | -30202.9728 |  | -30202.9728 | 2310 | 13.0749 | 13.0749 | 10.0576 | 1.3
4 Corners Unit 5 | 0 |  | 0 | 0 | 13.0749 | 0 | 10.0576 | 1.3
PV Unit 1 | -19495.008 |  | -19495.008 | 3198 | 6.096 | 6.096 | 10.16 | 0.6
PV Unit 2 | -19495.008 |  | -19495.008 | 3198 | 6.096 | 6.096 | 10.16 | 0.6
PV Unit 3 | -19519.392 |  | -19519.392 | 3202 | 6.096 | 6.096 | 10.16 | 0.6
Newman 1 | #VALUE! |  | #VALUE! | 1177 | #VALUE! | #VALUE! |  | 1.96
Newman 2 | #VALUE! |  | #VALUE! | 1277 | #VALUE! | #VALUE! |  | 1.96
Newman 3 | #VALUE! |  | #VALUE! | 1634 | #VALUE! | #VALUE! |  | 1.96
GT 1 | #VALUE! |  | #VALUE! | 0 | 0 | 0 |  | 1.96
GT 2 | #VALUE! |  | #VALUE! | 0 | 0 | 0 |  | 1.96
GT1+ST1 | #VALUE! |  | #VALUE! | 0 | 0 | 0 |  | 1.96
GT2+ST1 | #VALUE! |  | #VALUE! | 1523 | #VALUE! | #VALUE! |  | 1.96
Newman 4 | #VALUE! |  | #VALUE! | 1335 | #VALUE! | #VALUE! |  | 1.96
Copper | #VALUE! |  | #VALUE! | 945 | #VALUE! | #VALUE! |  | 1.96
Rio Grande 6 | #VALUE! |  | #VALUE! | 740 | #VALUE! | #VALUE! |  | 2.09
Rio Grande 7 | #VALUE! |  | #VALUE! | 0 | 0 | 0 |  | 2.09
Rio Grande 8 | #VALUE! |  | #VALUE! | 0 | 0 | 0 |  | 2.09
Total | #VALUE! | 0 | #VALUE!

## Balancing
Balancing | [11 empty] | Estimated Load
Palo Verde |  |  |  | Artesia |  |  |  | Four Corners |  |  |  |  | Load |  |  | Spin
Hour | Volume | Price | Position | Hour | Volume | Price | Position | Hour | Volume | Price | Position | Hour | Forecast | CFE | Sum | Reserves
1 |  |  | 0 | 1 |  |  | 0 | 1 |  |  | 0 | 1 | 593.8932 |  | 593.8932
2 |  |  | 0 | 2 |  |  | 0 | 2 |  |  | 0 | 2 | 574.5787 |  | 574.5787
3 |  |  | 0 | 3 |  |  | 0 | 3 |  |  | 0 | 3 | 564.0269 |  | 564.0269
4 |  |  | 0 | 4 |  |  | 0 | 4 |  |  | 0 | 4 | 562.6255 |  | 562.6255
5 |  |  | 0 | 5 |  |  | 0 | 5 |  |  | 0 | 5 | 575.532 |  | 575.532
6 |  |  | 0 | 6 |  |  | 0 | 6 |  |  | 0 | 6 | 629.0903 |  | 629.0903
7 |  |  | 0 | 7 |  |  | 0 | 7 |  |  | 0 | 7 | 718.6739 |  | 718.6739
8 |  |  | 0 | 8 |  |  | 0 | 8 |  |  | 0 | 8 | 786.7931 |  | 786.7931
9 |  |  |  | 9 |  |  | 0 | 9 |  |  | 0 | 9 | 824.4856 |  | 824.4856
10 |  |  |  | 10 |  |  | 0 | 10 |  |  | 0 | 10 | 846.2423 |  | 846.2423
11 |  |  |  | 11 |  |  | 0 | 11 |  |  | 0 | 11 | 860.7178 |  | 860.7178
12 |  |  |  | 12 |  |  | 0 | 12 |  |  | 0 | 12 | 860.7488 |  | 860.7488
13 |  |  |  | 13 |  |  | 0 | 13 |  |  | 0 | 13 | 857.4796 |  | 857.4796
14 |  |  |  | 14 |  |  | 0 | 14 |  |  | 0 | 14 | 858.3966 |  | 858.3966
15 |  |  |  | 15 |  |  | 0 | 15 |  |  | 0 | 15 | 852.0761 |  | 852.0761
16 |  |  |  | 16 |  |  | 0 | 16 |  |  | 0 | 16 | 839.5706 |  | 839.5706
17 |  |  |  | 17 |  |  | 0 | 17 |  |  | 0 | 17 | 817.917 |  | 817.917
18 |  |  |  | 18 |  |  | 0 | 18 |  |  | 0 | 18 | 801.8742 |  | 801.8742
19 |  |  |  | 19 |  |  | 0 | 19 |  |  | 0 | 19 | 851.8088 |  | 851.8088
20 |  |  |  | 20 |  |  | 0 | 20 |  |  | 0 | 20 | 878.8392 |  | 878.8392
21 |  |  |  | 21 |  |  | 0 | 21 |  |  | 0 | 21 | 854.4773 |  | 854.4773
22 |  |  |  | 22 |  |  | 0 | 22 |  |  | 0 | 22 | 801.4593 |  | 801.4593
23 |  |  |  | 23 |  |  | 0 | 23 |  |  | 0 | 23 | 721.0807 |  | 721.0807
24 |  |  |  | 24 |  |  | 0 | 24 |  |  | 0 | 24 | 645.2894 |  | 645.2894
Short | 0 |  | 0 | Short | 0 |  | 0 | Short | 0 |  | 0
Long | 0 |  | 0 | Long | 0 |  | 0 | Long | 0 |  | 0
Total | 0 |  | 0 | Total | 0 |  | 0 | Total | 0 |  | 0

## spin reserve log sheet
This log is where we should log any problems with the spin reserves.
If it falls below 100 we should log who we spoke to and if we tried to buy some power to cover it. Remember you have to buy firm power to cover spin reserve.
Date | Actual 4 minute increment that you checked | Name of person you spoke to | Comments ( include what spin was when you checked it)
2000-03-07 | El Paso defiecent for He 7 due to loss of Artesia | Frank | Per Tony Soto imports are limited to a total of 335 Mw. Per this direction I
| tie. |  | sold off Palo Verde for He 8 to import net of 335Mw. Against my direction
Frank directed me to cut the sale to 50Mw so he could import the energy.
2000-03-18 | El Paso deficient for HE 11 due to the loss of | Jessie and Ward | Per Jessie at 1015 MST, I had to cut SRP from 50 MW to 25 MW for HE 11 at the half due to the
| GT-2. |  | loss of GT-1. He instructed me to buy 50 MW intigrated to 25 MW for the remainder
of the HE 11. I baught from LADWP for 70$/MWh at PV. For HE 12, Jessie
instructed me to buy another 50 MW. I baught 50 MW from PNM at 25$/MWh.
2000-03-18 | El Paso deficient for HE 17 and 18 due to the | Jessie and Ward | Jessie called at 1720 MST and asked if we could buy as much power as possible
| loss of 4C#5. |  | from SPS because 4C#5 just tripped. Called SPS and bought 62 MW intigrated
to 31 at the half for the remainder of the hour for 100$/MWh. We also bought for
HE 18 62 MW at 38$/MWh.Phil at SPS called at
1740 MST to tell us that the Eddy Tie just went down and he had to cut the schedule
2000-04-28 | ~23:25 just a minute of 40spin and 0 non spin. We were running tight, Phil told me to relax, it will average out OK, and our next hour was looking fine. | Brian | for the hour that we were in. They kept in the 62 MW for HE18.
2000-07-23 | 11:25 Only a couple of minutes of spin deficient due to Copper not being able to turn on | Monika and Joe | We discussed of turning Copper on to cover the load for that hour since nobody had anything to sell. Besides Copper was much cheaper than the prices to purchase energy. At the last minute I learned that Copper had trouble getting on and had to buy spin reserves from LADWP for that hour. This helped the spin get back on track
2000-07-26 | HE12,14 couple minutes spin deficient | Leaf to Thomas | Had to buy within the hour 12 and 14 load is rising hot as pistols
2000-07-26 | HE 16,17 | Leaf to Thomas | Unit tripped
2000-07-27 | HE 10 for about 15-20 minutes | Leaf to Thomas | Load jump, bought from APS @ 20 till 50MW int to a 17
2000-07-27 | HE 11 last 20mins should average out to requirments |  | 77 early in the hour 55 most the hour should be good for the hour
2000-09-09 | HE 17 for 10-15 minutes | Leaf to Sal | Newman 4 went down bought from PNM,IID,and LADWP
2000-09-09 | HE 18 part of the hour | Leaf to Tate | Bought from Pac 50MW on the 1/2 to cover the lack Gen guys didn't put the the buy in the scrape after repeated requests but Tate asured me that it would all work out buy the end of the hour.
2000-09-10 | HE 9 10 after to a little after the half | Leaf to ? | Newman 3 not able to handle load shown in the scrape. Cut econ schedules to cover load.
2000-09-10 | HE 10 for about 15 minutes | Leaf to ? | Newman 3 went down started copper to cover load.
2000-10-04 | HE 19 for about 15 minutes | Leaf to Ward | Load jumped a bit and spin dipped to 30 came back up to 54 later in the hour bought from IID to avoid further mishaps.
2000-11-09 | HE 7 last twenty minutes |  | We were good the first half of the hour then we started to slip. Since we were going to be fat in HE 8 I didn't want to cut the schedules
2000-11-17 | HE 7 | Guzman and Thomas | Could not close breaker on Copper, bought 50 mws from LDWP to cover at $225, naturally they got the breaker closed as we ramped into the next hour.
2000-12-26 | HE18 | Leaf | Load came up more than expected I didn't cut schedules because I thought that the spin in the first half of the hour would average out to the requirements. Unfortunately load kept jumping.

## Unit Summary
| Start Up | Minimum Run | Minimum | Heat Rates | Heat Rates
Generation | Costs | Time (hrs) | Down Time | 50% | 100%
4 Corners Unit 4 |  |  |  | 10.0576 | 10.0576
4 Corners Unit 5 |  |  |  | 10.0576 | 10.0576
PV Unit 1 |  |  |  | 10.16 | 10.16
PV Unit 2 |  |  |  | 10.16 | 10.16
PV Unit 3 |  |  |  | 10.16 | 10.16
LOCAL GEN. ( in order of increasing cost)
Newman 4 |  | 8 | 8 | 10.557 | 9.168
GT1+ST1(only avail. when Newman 4 is off) | 657 | 8 | 8 | 10.887 | 9.212
GT2+ST1(only avail. when Newman 4 is off) | 657 | 8 | 8 | 10.887 | 9.212
Newman 3 | 562 | 40 | 40 | 10.467 | 10.088
Rio Grande 8 | 1822 | 24 | 36 | 10.253 | 10.691
Newman 2 | 554 | 40 | 40 | 11.168 | 10.784
Rio Grande 7 | 619 | 24 | 36 | 10.948 | 11.016
Newman 1 | 1070 | 40 | 40 | 12.433 | 11.767
Rio Grande 6 | 619 | 24 | 36 | 12.699 | 12.255
Copper | 657 | 2 | 2 | 15.5627 | 12.784
GT 1(only avail. when Newman 4 is off) | 657 | 8 | 8 | 14.528 | 12.987
GT 2(only avail. when Newman 4 is off) | 657 | 8 | 8 | 14.528 | 12.987
Counter Parties
65535 | Begin
AEPCO
APS
LADWP
PAC
PNM
PSCO
SRP
SCE
SDGE
SPS
TEP
TNP | End

## HeatRate
| Newman1 | [7 empty] | Copper | Rio Grande
| Newman 1 | Newman 2 | Newman 3 | GT 1 | GT 2 | GT1+ST1 | GT2+ST1 | Newman 4 | Copper | Rio Grande 6 | Rio Grande 7 | Rio Grande 8
Heat Rates | Steam Unit 1 | Steam Unit 2 | Steam Unit 3 | Gas Turbine 1 | Gas Turbine 2 | GT1+ST1 | GT2+ST1 | GT1+GT2+ST1 | Copper | Steam Unit 6 | Steam Unit 7 | Steam Unit 8
1 | 54.563 | 57.4053 | 108.463 | 157.3968 | 157.3968 | 251.971 | 251.971 | 472.8911 | 273.7965 | 84.4655 | 101.2645 | 101.6345
2 | 32.536 | 33.3606 | 58.141 | 83.5004 | 83.5004 | 128.8377 | 128.8377 | 239.1684 | 140.2254 | 46.5133 | 53.192 | 54.744
3 | 25.1956 | 25.3492 | 41.3757 | 58.8806 | 58.8806 | 87.801 | 87.801 | 161.2657 | 95.7242 | 33.8934 | 37.2254 | 39.1235
4 | 21.527 | 21.3462 | 32.9995 | 46.58 | 46.58 | 67.2885 | 67.2885 | 122.318 | 73.4906 | 27.6065 | 29.2854 | 31.3205
5 | 19.327 | 18.9465 | 27.979 | 39.2071 | 39.2071 | 54.9856 | 54.9856 | 98.9523 | 60.1639 | 23.8529 | 24.5559 | 26.6445
6 | 17.8613 | 17.3485 | 24.6363 | 34.2981 | 34.2981 | 46.7876 | 46.7876 | 83.3776 | 51.2908 | 21.3659 | 21.4318 | 23.532
7 | 16.8152 | 16.2085 | 22.2524 | 30.7969 | 30.7969 | 40.9352 | 40.9352 | 72.2549 | 44.9625 | 19.6027 | 19.2249 | 21.3129
8 | 16.0314 | 15.3549 | 20.4677 | 30.7969 | 30.7969 | 40.9352 | 40.9352 | 72.2549 | 44.9625 | 19.6027 | 19.2249 | 19.6522
9 | 15.4225 | 14.6921 | 19.0826 | 26.1411 | 26.1411 | 33.1398 | 33.1398 | 57.4295 | 36.5473 | 17.2826 | 16.3401 | 18.3638
10 | 14.9359 | 14.163 | 17.977 | 24.5171 | 24.5171 | 30.4149 | 30.4149 | 52.2428 | 33.6122 | 16.4845 | 15.3564 | 17.336
11 | 14.5383 | 13.731 | 17.0748 | 23.1918 | 23.1918 | 28.1875 | 28.1875 | 48.0005 | 31.2169 | 15.8398 | 14.5672 | 16.4977
12 | 14.2075 | 13.3719 | 16.3252 | 22.0905 | 22.0905 | 26.3333 | 26.3333 | 44.4664 | 29.2264 | 15.3103 | 13.924 | 15.8015
13 | 13.9281 | 13.0689 | 15.6928 | 21.1615 | 21.1615 | 24.7662 | 24.7662 | 41.4772 | 27.5474 | 14.8694 | 13.393 | 15.2147
14 | 13.689 | 12.8099 | 15.1527 | 20.3678 | 20.3678 | 23.4246 | 23.4246 | 38.9161 | 26.113 | 14.4981 | 12.9502 | 14.7137
15 | 13.4822 | 12.5862 | 14.6863 | 19.6824 | 19.6824 | 22.2634 | 22.2634 | 36.6974 | 24.8744 | 14.1825 | 12.578 | 14.2815
16 | 13.3016 | 12.391 | 14.2799 | 19.0851 | 19.0851 | 21.2489 | 21.2489 | 34.7569 | 23.7949 | 13.9121 | 12.2631 | 13.9051
17 | 13.1426 | 12.2195 | 13.9228 | 18.5602 | 18.5602 | 20.355 | 20.355 | 33.0456 | 22.8464 | 13.6789 | 11.9954 | 13.5747
18 | 13.0016 | 12.0676 | 13.6068 | 18.0957 | 18.0957 | 19.5618 | 19.5618 | 31.5253 | 22.007 | 13.4768 | 11.7671 | 13.2827
19 | 12.8758 | 11.9323 | 13.3254 | 17.682 | 17.682 | 18.8533 | 18.8533 | 30.1657 | 21.2595 | 13.3008 | 11.5719 | 13.0229
20 | 12.7628 | 11.811 | 13.0735 | 17.3116 | 17.3116 | 18.2168 | 18.2168 | 28.9429 | 20.5902 | 13.1471 | 11.4049 | 12.7905
21 | 12.6609 | 11.7018 | 12.8468 | 16.9782 | 16.9782 | 17.6421 | 17.6421 | 27.8372 | 19.9878 | 13.0124 | 11.262 | 12.5816
22 | 12.5685 | 11.603 | 12.6419 | 16.6768 | 16.6768 | 17.1206 | 17.1206 | 26.8327 | 19.4433 | 12.8941 | 11.14 | 12.3931
23 | 12.4844 | 11.5132 | 12.456 | 16.4033 | 16.4033 | 16.6455 | 16.6455 | 25.9161 | 18.9491 | 12.7902 | 11.0361 | 12.2222
24 | 12.4076 | 11.4314 | 12.2866 | 16.1541 | 16.1541 | 16.211 | 16.211 | 25.0766 | 18.4988 | 12.6988 | 10.9481 | 12.0668
25 | 12.3371 | 11.3565 | 12.1318 | 15.9263 | 15.9263 | 15.8121 | 15.8121 | 24.3048 | 18.0873 | 12.6184 | 10.874 | 11.9249
26 | 12.2724 | 11.2878 | 11.9899 | 15.7175 | 15.7175 | 15.4449 | 15.4449 | 23.5929 | 17.7101 | 12.5477 | 10.8122 | 11.7951
27 | 12.2126 | 11.2246 | 11.8595 | 15.5255 | 15.5255 | 15.1057 | 15.1057 | 22.9343 | 17.3633 | 12.4857 | 10.7615 | 11.6759
28 | 12.1573 | 11.1663 | 11.7394 | 15.3485 | 15.3485 | 14.7915 | 14.7915 | 22.3233 | 17.0437 | 12.4314 | 10.7205 | 11.5664
29 | 12.106 | 11.1123 | 11.6284 | 15.1851 | 15.1851 | 14.4999 | 14.4999 | 21.7549 | 16.7485 | 12.384 | 10.6883 | 11.4653
30 | 12.0584 | 11.0623 | 11.5257 | 15.0337 | 15.0337 | 14.2284 | 14.2284 | 21.2249 | 16.4752 | 12.3429 | 10.6641 | 11.372
31 | 12.014 | 11.0159 | 11.4304 | 14.8934 | 14.8934 | 13.9752 | 13.9752 | 20.7296 | 16.2217 | 12.3075 | 10.647 | 11.2856
32 | 11.9726 | 10.9727 | 11.3419 | 14.763 | 14.763 | 13.7386 | 13.7386 | 20.2656 | 15.9862 | 12.2771 | 10.6363 | 11.2056
33 | 11.9338 | 10.9325 | 11.2596 | 14.6416 | 14.6416 | 13.517 | 13.517 | 19.8303 | 15.767 | 12.2514 | 10.6315 | 11.1312
34 | 11.8975 | 10.8949 | 11.1829 | 14.5284 | 14.5284 | 13.3092 | 13.3092 | 19.4209 | 15.5627 | 12.2299 | 10.6321 | 11.0621
35 | 11.8635 | 10.8598 | 11.1113 | 14.4228 | 14.4228 | 13.1138 | 13.1138 | 19.0354 | 15.372 | 12.2123 | 10.6377 | 10.9978
36 | 11.8315 | 10.8269 | 11.0444 | 14.324 | 14.324 | 12.93 | 12.93 | 18.6717 | 15.1938 | 12.1982 | 10.6477 | 10.9378
37 | 11.8014 | 10.7961 | 10.9818 | 14.2317 | 14.2317 | 12.7568 | 12.7568 | 18.3281 | 15.027 | 12.1874 | 10.6618 | 10.8819
38 | 11.7731 | 10.7672 | 10.9232 | 14.1451 | 14.1451 | 12.5932 | 12.5932 | 18.0029 | 14.8708 | 12.1796 | 10.6797 | 10.8297
39 | 11.7464 | 10.74 | 10.8683 | 14.064 | 14.064 | 12.4387 | 12.4387 | 17.6948 | 14.7244 | 12.1746 | 10.7012 | 10.7809
40 | 11.7211 | 10.7145 | 10.8168 | 13.9878 | 13.9878 | 12.2925 | 12.2925 | 17.4024 | 14.5869 | 12.1721 | 10.7259 | 10.7353
41 | 11.6972 | 10.6905 | 10.7684 | 13.9162 | 13.9162 | 12.1539 | 12.1539 | 17.1247 | 14.4579 | 12.172 | 10.7536 | 10.6925
42 | 11.6746 | 10.6678 | 10.7229 | 13.849 | 13.849 | 12.0226 | 12.0226 | 16.8606 | 14.3365 | 12.1741 | 10.7841 | 10.6526
43 | 11.6532 | 10.6465 | 10.6802 | 13.7857 | 13.7857 | 11.8978 | 11.8978 | 16.609 | 14.2224 | 12.1783 | 10.8172 | 10.6151
44 | 11.6329 | 10.6264 | 10.64 | 13.7262 | 13.7262 | 11.7793 | 11.7793 | 16.3693 | 14.115 | 12.1844 | 10.8528 | 10.58
45 | 11.6137 | 10.6074 | 10.6021 | 13.6701 | 13.6701 | 11.6666 | 11.6666 | 16.1405 | 14.0139 | 12.1922 | 10.8906 | 10.5472
46 | 11.5954 | 10.5895 | 10.5665 | 13.6173 | 13.6173 | 11.5592 | 11.5592 | 15.9219 | 13.9187 | 12.2018 | 10.9305 | 10.5163
47 | 11.578 | 10.5725 | 10.5329 | 13.5675 | 13.5675 | 11.457 | 11.457 | 15.713 | 13.829 | 12.2129 | 10.9724 | 10.4875
48 | 11.5614 | 10.5565 | 10.5013 | 13.5206 | 13.5206 | 11.3594 | 11.3594 | 15.5131 | 13.7444 | 12.2254 | 11.0161 | 10.4604
49 | 11.5457 | 10.5413 | 10.4715 | 13.4764 | 13.4764 | 11.2664 | 11.2664 | 15.3217 | 13.6646 |  |  | 10.435
50 | 11.5307 | 10.527 | 10.4434 | 13.4346 | 13.4346 | 11.1775 | 11.1775 | 15.1382 | 13.5894 |  |  | 10.4112
51 | 11.5164 | 10.5134 | 10.4169 | 13.3952 | 13.3952 | 11.0925 | 11.0925 | 14.9622 | 13.5184 |  |  | 10.3889
52 | 11.5028 | 10.5006 | 10.392 | 13.3581 | 13.3581 | 11.0113 | 11.0113 | 14.7932 | 13.4515 |  |  | 10.368
53 | 11.4898 | 10.4884 | 10.3684 | 13.323 | 13.323 | 10.9336 | 10.9336 | 14.6309 | 13.3884 |  |  | 10.3485
54 | 11.4774 | 10.4769 | 10.3463 | 13.29 | 13.29 | 10.8592 | 10.8592 | 14.4749 | 13.3289 |  |  | 10.3302
55 | 11.4655 | 10.466 | 10.3254 | 13.2588 | 13.2588 | 10.7879 | 10.7879 | 14.3248 | 13.2728 |  |  | 10.3131
56 | 11.4542 | 10.4557 | 10.3057 | 13.2294 | 13.2294 | 10.7196 | 10.7196 | 14.1803 | 13.2199 |  |  | 10.2972
57 | 11.4434 | 10.446 | 10.2871 | 13.2017 | 13.2017 | 10.6541 | 10.6541 | 14.0412 | 13.17 |  |  | 10.2823
58 | 11.4331 | 10.4367 | 10.2697 | 13.1756 | 13.1756 | 10.5912 | 10.5912 | 13.9071 | 13.123 |  |  | 10.2684
59 | 11.4232 | 10.428 | 10.2533 | 13.151 | 13.151 | 10.5309 | 10.5309 | 13.7778 | 13.0788 |  |  | 10.2555
60 | 11.4137 | 10.4197 | 10.2378 | 13.1278 | 13.1278 | 10.473 | 10.473 | 13.653 | 13.0372 |  |  | 10.2435
61 | 11.4047 | 10.4118 | 10.2233 | 13.106 | 13.106 | 10.4173 | 10.4173 | 13.5326 | 12.998 |  |  | 10.2324
62 | 11.396 | 10.4044 | 10.2097 | 13.0855 | 13.0855 | 10.3638 | 10.3638 | 13.4163 | 12.9612 |  |  | 10.2221
63 | 11.3877 | 10.3974 | 10.1969 | 13.0663 | 13.0663 | 10.3124 | 10.3124 | 13.3039 | 12.9267 |  |  | 10.2125
64 | 11.3798 | 10.3908 | 10.185 | 13.0482 | 13.0482 | 10.263 | 10.263 | 13.1953 | 12.8942 |  |  | 10.2038
65 | 11.3722 | 10.3845 | 10.1738 | 13.0313 | 13.0313 | 10.2154 | 10.2154 | 13.0902 | 12.8638 |  |  | 10.1957
66 | 11.3649 | 10.3786 | 10.1633 | 13.0154 | 13.0154 | 10.1697 | 10.1697 | 12.9886 | 12.8354 |  |  | 10.1884
67 | 11.3579 | 10.373 | 10.1535 | 13.0006 | 13.0006 | 10.1256 | 10.1256 | 12.8902 | 12.8088 |  |  | 10.1816
68 | 11.3513 | 10.3678 | 10.1444 | 12.9867 | 12.9867 | 10.0832 | 10.0832 | 12.7949 | 12.784 |  |  | 10.1756
69 | 11.3449 | 10.3628 | 10.136 |  |  | 10.0424 | 10.0424 | 12.7025 |  |  |  | 10.1701
70 | 11.3387 | 10.3581 | 10.1281 |  |  | 10.003 | 10.003 | 12.6131 |  |  |  | 10.1651
71 | 11.3329 | 10.3538 | 10.1209 |  |  | 9.9651 | 9.9651 | 12.5263 |  |  |  | 10.1608
72 | 11.3272 | 10.3497 | 10.1142 |  |  | 9.9286 | 9.9286 | 12.4422 |  |  |  | 10.1569
73 | 11.3218 | 10.3458 | 10.108 |  |  | 9.8934 | 9.8934 | 12.3605 |  |  |  | 10.1536
74 | 11.3167 | 10.3422 | 10.1024 |  |  | 9.8594 | 9.8594 | 12.2813 |  |  |  | 10.1507
75 | 11.3117 | 10.3388 | 10.0973 |  |  | 9.8267 | 9.8267 | 12.2044 |  |  |  | 10.1483
76 | 11.307 | 10.3357 | 10.0926 |  |  | 9.7951 | 9.7951 | 12.1297 |  |  |  | 10.1463
77 | 11.3024 | 10.3328 | 10.0884 |  |  | 9.7647 | 9.7647 | 12.0571 |  |  |  | 10.1448
78 | 11.2981 | 10.3301 | 10.0846 |  |  | 9.7353 | 9.7353 | 11.9866 |  |  |  | 10.1437
79 | 11.2939 | 10.3276 | 10.0813 |  |  | 9.707 | 9.707 | 11.918 |  |  |  | 10.143
80 | 11.2899 | 10.3253 | 10.0784 |  |  | 9.6797 | 9.6797 | 11.8513 |  |  |  | 10.1426
81 | 11.2861 | 10.3231 | 10.0758 |  |  | 9.6533 | 9.6533 | 11.7865 |  |  |  | 10.1426
82 | 11.2825 | 10.3212 | 10.0737 |  |  | 9.6279 | 9.6279 | 11.7234 |  |  |  | 10.143
83 |  |  | 10.0719 |  |  | 9.6033 | 9.6033 | 11.6621 |  |  |  | 10.1437
84 |  |  | 10.0705 |  |  | 9.5796 | 9.5796 | 11.6023 |  |  |  | 10.1448
85 |  |  | 10.0694 |  |  | 9.5568 | 9.5568 | 11.5441 |  |  |  | 10.1461
86 |  |  | 10.0686 |  |  | 9.5348 | 9.5348 | 11.4875 |  |  |  | 10.1478
87 |  |  | 10.0681 |  |  | 9.5135 | 9.5135 | 11.4323 |  |  |  | 10.1498
88 |  |  | 10.068 |  |  | 9.493 | 9.493 | 11.3786 |  |  |  | 10.152
89 |  |  | 10.0681 |  |  | 9.4732 | 9.4732 | 11.3262 |  |  |  | 10.1545
90 |  |  | 10.0686 |  |  | 9.4541 | 9.4541 | 11.2751 |  |  |  | 10.1573
91 |  |  | 10.0693 |  |  | 9.4356 | 9.4356 | 11.2254 |  |  |  | 10.1604
92 |  |  | 10.0702 |  |  | 9.4179 | 9.4179 | 11.1768 |  |  |  | 10.1637
93 |  |  | 10.0715 |  |  | 9.4007 | 9.4007 | 11.1295 |  |  |  | 10.1672
94 |  |  | 10.073 |  |  | 9.3842 | 9.3842 | 11.0833 |  |  |  | 10.171
95 |  |  | 10.0747 |  |  | 9.3682 | 9.3682 | 11.0383 |  |  |  | 10.175
96 |  |  | 10.0766 |  |  | 9.3529 | 9.3529 | 10.9943 |  |  |  | 10.1792
97 |  |  | 10.0788 |  |  | 9.3381 | 9.3381 | 10.9514 |  |  |  | 10.1836
98 |  |  | 10.0812 |  |  | 9.3238 | 9.3238 | 10.9096 |  |  |  | 10.1882
99 |  |  | 10.0839 |  |  | 9.3101 | 9.3101 | 10.8687 |  |  |  | 10.1931
100 |  |  | 10.0867 |  |  | 9.2968 | 9.2968 | 10.8288 |  |  |  | 10.1981
101 |  |  | 10.0897 |  |  | 9.2841 | 9.2841 | 10.7898 |  |  |  | 10.2033
102 |  |  | 10.093 |  |  | 9.2718 | 9.2718 | 10.7517 |  |  |  | 10.2087
103 |  |  | 10.0964 |  |  | 9.2601 | 9.2601 | 10.7145 |  |  |  | 10.2143
104 | [5 empty] | 9.2487 | 9.2487 | 10.6782 |  |  |  | 10.22
105 | [5 empty] | 9.2378 | 9.2378 | 10.6427 |  |  |  | 10.2259
106 | [5 empty] | 9.2273 | 9.2273 | 10.608 |  |  |  | 10.232
107 | [5 empty] | 9.2172 | 9.2172 | 10.5741 |  |  |  | 10.2382
108 | [5 empty] | 9.2076 | 9.2076 | 10.5409 |  |  |  | 10.2446
109 | [7 empty] | 10.5085 |  |  |  | 10.2511
110 | [7 empty] | 10.4768 |  |  |  | 10.2578
111 | [7 empty] | 10.4459 |  |  |  | 10.2646
112 | [7 empty] | 10.4156 |  |  |  | 10.2716
113 | [7 empty] | 10.3859 |  |  |  | 10.2787
114 | [7 empty] | 10.3569 |  |  |  | 10.2859
115 | [7 empty] | 10.3286 |  |  |  | 10.2932
116 | [7 empty] | 10.3009 |  |  |  | 10.3007
117 | [7 empty] | 10.2737 |  |  |  | 10.3083
118 | [7 empty] | 10.2472 |  |  |  | 10.316
119 | [7 empty] | 10.2212 |  |  |  | 10.3238
120 | [7 empty] | 10.1957 |  |  |  | 10.3317
121 | [7 empty] | 10.1708 |  |  |  | 10.3398
122 | [7 empty] | 10.1465 |  |  |  | 10.3479
123 | [7 empty] | 10.1226 |  |  |  | 10.3562
124 | [7 empty] | 10.0993 |  |  |  | 10.3645
125 | [7 empty] | 10.0764 |  |  |  | 10.373
126 | [7 empty] | 10.0541 |  |  |  | 10.3815
127 | [7 empty] | 10.0322 |  |  |  | 10.3902
128 | [7 empty] | 10.0107 |  |  |  | 10.3989
129 | [7 empty] | 9.9897 |  |  |  | 10.4077
130 | [7 empty] | 9.9691 |  |  |  | 10.4166
131 | [7 empty] | 9.949 |  |  |  | 10.4256
132 | [7 empty] | 9.9292 |  |  |  | 10.4347
133 | [7 empty] | 9.9099 |  |  |  | 10.4438
134 | [7 empty] | 9.891 |  |  |  | 10.4531
135 | [7 empty] | 9.8725 |  |  |  | 10.4624
136 | [7 empty] | 9.8543 |  |  |  | 10.4718
137 | [7 empty] | 9.8365 |  |  |  | 10.4812
138 | [7 empty] | 9.8191 |  |  |  | 10.4908
139 | [7 empty] | 9.802 |  |  |  | 10.5004
140 | [7 empty] | 9.7853 |  |  |  | 10.5101
141 | [7 empty] | 9.7689 |  |  |  | 10.5198
142 | [7 empty] | 9.7529 |  |  |  | 10.5296
143 | [7 empty] | 9.7372 |  |  |  | 10.5395
144 | [7 empty] | 9.7218 |  |  |  | 10.5495
145 | [7 empty] | 9.7067 |  |  |  | 10.5595
146 | [7 empty] | 9.6919 |  |  |  | 10.5695
147 | [7 empty] | 9.6774 |  |  |  | 10.5797
148 | [7 empty] | 9.6633 |  |  |  | 10.5899
149 | [7 empty] | 9.6494 |  |  |  | 10.6001
150 | [7 empty] | 9.6357 |  |  |  | 10.6104
151 | [7 empty] | 9.6224
152 | [7 empty] | 9.6093
153 | [7 empty] | 9.5966
154 | [7 empty] | 9.584
155 | [7 empty] | 9.5717
156 | [7 empty] | 9.5597
157 | [7 empty] | 9.5479
158 | [7 empty] | 9.5364
159 | [7 empty] | 9.5251
160 | [7 empty] | 9.514
161 | [7 empty] | 9.5032
162 | [7 empty] | 9.4925
163 | [7 empty] | 9.4821
164 | [7 empty] | 9.472
165 | [7 empty] | 9.462
166 | [7 empty] | 9.4522
167 | [7 empty] | 9.4427
168 | [7 empty] | 9.4333
169 | [7 empty] | 9.4242
170 | [7 empty] | 9.4152
171 | [7 empty] | 9.4064
172 | [7 empty] | 9.3978
173 | [7 empty] | 9.3894
174 | [7 empty] | 9.3812
175 | [7 empty] | 9.3731
176 | [7 empty] | 9.3653
177 | [7 empty] | 9.3576
178 | [7 empty] | 9.35
179 | [7 empty] | 9.3427
180 | [7 empty] | 9.3355
181 | [7 empty] | 9.3284
182 | [7 empty] | 9.3215
183 | [7 empty] | 9.3148
184 | [7 empty] | 9.3082
185 | [7 empty] | 9.3018
186 | [7 empty] | 9.2955
187 | [7 empty] | 9.2894
188 | [7 empty] | 9.2834
189 | [7 empty] | 9.2775
190 | [7 empty] | 9.2718
191 | [7 empty] | 9.2662
192 | [7 empty] | 9.2608
193 | [7 empty] | 9.2555
194 | [7 empty] | 9.2503
195 | [7 empty] | 9.2452
196 | [7 empty] | 9.2403
197 | [7 empty] | 9.2355
198 | [7 empty] | 9.2308
199 | [7 empty] | 9.2263
200 | [7 empty] | 9.2218
9.2175
9.2133
9.2092
9.2052
9.2013
9.1976
9.1939
9.1904
9.1869
9.1836
9.1803
9.1772
9.1741
9.1712
9.1683

## Top
El Paso Spreadsheet
Start Date | 1999-03-25
EndDate | 1999-03-25
Load Price Data

## EPEData
37094.4694
NEWMAN 1 ,ECON, 61 , 66 , 38 , 78 , 6 ,1
NEWMAN 2 ,ECON, 75 , 77 , 37 , 83 , 2 ,1
NEWMAN 3 ,ECON, 95 ,100 , 37 ,103 , 5 ,1
NEWMN/GT1,UNAV, 0 , 60 , 18 , 60 , 0 ,1
NEWMN/GT2,UNAV, 0 , 60 , 18 , 60 , 0 ,1
NM/GT1+ST,UNAV, 0 ,100 , 61 ,107 , 0 ,1
NM/GT2+ST,ECON, 97 ,100 , 66 ,107 , 3 ,1
NEWMAN 4 ,UNAV, 0 ,214 , 86 ,214 , 0 ,1
NEWMAN ,, 327 , 343, 178, 371 , 16 ,
COPPER ,ECON, 53 , 69 , 15 , 69 , 16 ,1
RIOGRAN 6,MANL, 28 , 40 , 28 , 48 , 0 ,1
RIOGRAN 7,UNAV, 0 , 32 , 30 , 49 , 0 ,1
RIOGRAN 8,UNAV, 0 ,140 , 35 ,151 , 0 ,1
RIOGRANDE,, 28 , 40, 28, 48 , 0 ,
PALOVERDE,MANL,400 ,400 ,400 ,600 , 0 ,1
FOURCRNRS,MANL, 95 , 95 , 95 ,104 , 0 ,1
LAMBDA, 55.50, 629, 623, 74, 10, 0,24615,108
APS ,STRT ,FC, , 1, 1
IID ,EXCS ,FC, , 50, 50
IID ,FIRM ,PV, , 100, 100
LDWP ,ECON ,PV, , 80, 80
PGT ,LOSS ,PV, , -1, -1
PNM ,CNTG ,LC, , 11, 11
PNM ,LOSS ,LC, , 2, 2
SPS ,FIRM ,WM, ,-103,-103
SRP ,FIRM ,ED, , 25, 25
SRP ,LOSS ,PV, , 1, 1
TNP ,FIRM ,PV, , 25, 25
TNP ,LOSS ,PV, , -5, -5
WAPA ,PASS ,WM,HO, -1, -1

## Sheet1
613 | 599 | 587 | 573 | 595 | 637 | 745 | 776 | 763 | 797 | 815 | 811 | 800 | 798 | 778 | 762 | 770 | 801 | 857 | 849 | 838 | 798 | 741 | 659
611 | 584 | 570 | 573 | 576 | 662 | 738 | 758 | 789 | 790 | 801 | 801 | 804 | 801 | 799 | 787 | 784 | 782 | 863

## dlgAddRows (hidden)
Information
Buy
Sell
Palo Verde
SPS
Four Corners
Prescheduled
Firm
Economy
OK
Cancel
Delivery Point
Deal Type
~Price
to
$
~Counter Party
HE
~Volume