## Homestead
|  |  | City of Austin |  | Homestead CCGT |  |  | Homestead SC |  |  | To Add CCTG to SC
|  |  | 4 |  | 6 |  |  | 6 |  |  | 6
| MW |  | 180 |  | 345 |  |  | 270 |  |  | 345
|  |  | NEPCO adjusted |  | Golden's Guess |  |  | Golden's Guess |  |  | Golden's Guess
|  |  | 2000-04-17 |  | 2000-04-17 |  |  | 2000-04-17 |  |  | 2000-05-02
Project Management
| Home office |  | 600670 | 140% | 840938 |  | 120% | 720804 |  | 500% | 600670
| salaried staff |  | 789909 | 140% | 1105872.6 |  | 120% | 947890.8 |  | 500% | 789909
| hourly staff |  | 182297 | 140% | 255215.8 |  | 120% | 218756.4 |  | 500% | 182297
|  |  | 1572876 |  | 2202026.4 |  |  | 1887451.2 |  |  | 1572876
Indirect Costs
| equipment rental |  | 529716 | 140% | 741602.4 |  | 120% | 635659.2 |  | 400% | 423772.8
| small tools |  | 212087 | 140% | 296921.8 |  | 120% | 254504.4 |  | 400% | 169669.6
| temp facilities |  | 209897 | 140% | 293855.8 |  | 125% | 262371.25 |  | 400% | 125938.2
| GC other |  | 662015 | 140% | 926821 |  | 135% | 893720.25 |  | 2000% | 662015
| per diems |  | 450000 | 140% | 630000 |  | 125% | 562500 |  | 750% | 506250
| tax/bond |  | 6750 | 140% | 9450 |  | 100% | 6750 |  | 200% | 5400
|  |  | 2070465 |  | 2898651 |  |  | 2615505.1 |  |  | 1893045.6
Engineering
| Engr labor |  | 528328 | 325% | 1717066 |  | 135% | 713242.8 |  | 125% | 1254779
|  |  | 528328 |  | 1717066 |  |  | 713242.8 |  |  | 1254779
Procurement
Major Equipment
| CTG's |  | 86040000 | 150% | 129060000 | see detail sheet | 150% | 129060000 |  | 0% | 0
| CTG freight |  | 240000 | 250% | 600000 |  | 250% | 600000 |  | 0% | 0
| inlet air heating |  | 933500 | 0% | 0 | not required | 0% | 0 |  | 0% | 0
| dual fuel |  | 0 | 0% | 1680000 |  | 0% | 1680000 |  | 0% | 0
| HRSG's |  | 0 | 0% | 16800000 |  | 0% | 0 |  | 110% | 18480000
| STG - 75MW |  | 0 | 0% | 8000000 |  | 0% | 0 |  | 110% | 8800000
|  |  | 87213500 |  | 156140000 |  |  | 131340000 |  |  | 27280000
Engineered Equipment
| buildings |  | 262500 | 300% | 787500 |  | 150% | 393750 |  | 125% | 492187.5
| valves and specials |  | 284762 | 300% | 854286 |  | 135% | 384428.7 |  | 125% | 587321.625
| bus duct |  | 150000 | 300% | 450000 |  | 150% | 225000 |  | 75% | 168750
| dry xfmrs |  | 12440 | 200% | 24880 |  | 135% | 16794 |  | 125% | 10107.5
| step-up transformers |  | 1436000 | 200% | 2872000 |  | 150% | 2154000 |  | 110% | 789800
| pwr dist xfrms |  | 580022 | 200% | 1160044 |  | 145% | 841031.9 |  | 125% | 398765.125
| 600V MCC |  | 70253 | 200% | 140506 |  | 135% | 94841.55 |  | 125% | 57080.5625
| 600V swgr |  | 69753 | 200% | 139506 |  | 135% | 94166.55 |  | 125% | 56674.3125
| 5kV swgr |  | 123756 | 180% | 222760.8 |  | 150% | 185634 |  | 125% | 46408.5
| 15kV swgr |  | 840032 | 180% | 1512057.6 |  | 150% | 1260048 |  | 115% | 289811.04
| control panel |  | 233300 | 200% | 466600 |  | 140% | 326620 |  | 125% | 174975
| HV device |  | 33032 | 200% | 66064 |  | 140% | 46244.8 |  | 115% | 22792.08
| DCS |  | 203700 | 325% | 662025 |  | 150% | 305550 |  | 115% | 409946.25
| UPS |  | 20779 | 300% | 62337 |  | 125% | 25973.75 |  | 110% | 39999.575
| fld mntd instr |  | 73293 | 275% | 201555.75 |  | 150% | 109939.5 |  | 125% | 114520.3125
| CEMS |  | 461600 | 0% | 0 |  | 0% | 0 |  | 100% | 0
| control valves |  | 47500 | 900% | 427500 |  | 145% | 68875 |  | 110% | 394487.5
| pumps |  | 201233 | 750% | 1509247.5 |  | 135% | 271664.55 |  | 110% | 1361341.245
| cooling tower |  | 634000 | 325% | 1000000 |  | 0% | 0 | included in HRT proposal | 105% | 1050000
| fin fan coolers |  | 260400 | 0% | 0 |  | 0% | 0 |  | 0% | 0
| APC equipment |  | 5092500 | 0% | 0 |  | 0% | 0 |  | 0% | 0
| Gas Compression |  | 530000 | 400% | 2120000 |  | 400% | 2120000 |  | 0% | 0
| fuel gas filter |  | 84000 | 200% | 168000 |  | 200% | 168000 |  | 0% | 0
| chillers |  | 3714000 | 150% | 4600000 |  | 150% | 4600000 | HRT Proposal | 0% | 0
| wtr treatment |  | 313200 | 200% | 626400 |  | 175% | 548100 |  | 125% | 97875
| oil/water separator |  | 36600 | 225% | 82350 |  | 225% | 82350 |  | 0% | 0
| vendor reps |  | 182375 | 300% | 547125 |  | 200% | 364750 |  | 125% | 227968.75
| tank farm/oil filter |  | 0 | 0% | 2250000 |  | 0% | 2250000 |  | 0% | 0
| FLD/shop vessels |  | 355000 | 150% | 532500 |  | 150% | 532500 |  | 0% | 0
| other |  | 141636 | 400% | 566544 |  | 400% | 566544 |  | 0% | 0
|  |  | 16447666 |  | 24051788.65 |  |  | 18036806.3 |  |  | 6790811.8775
Bulk Material
| Bulk Material |  | 2802357 | 325% | 9107660.25 |  | 180% | 5044242.6 |  | 125% | 5079272.0625
|  |  | 2802357 |  | 9107660.25 |  |  | 5044242.6 |  |  | 5079272.0625
| Procurement Subtotal |  | 106463523 |  | 189299448.9 |  |  | 154421048.9 |  |  | 39150083.94
Construction
| site |  | 404846 | 275% | 1113326.5 |  | 225% | 910903.5 |  | 120% | 242907.6
| u/g electrical |  | 469736 | 200% | 939472 |  | 140% | 657630.4 |  | 120% | 338209.92
| u/g piping |  | 317869 | 400% | 1271476 |  | 140% | 445016.6 |  | 120% | 991751.28
| concrete |  | 752981 | 325% | 2447188.25 |  | 150% | 1129471.5 |  | 120% | 1581260.1
| grout |  | 41482 | 250% | 103705 |  | 140% | 58074.8 |  | 120% | 54756.24
| steel |  | 44805 | 600% | 268830 |  | 140% | 62727 |  | 120% | 247323.6
| architectural |  | 2724 | 600% | 16344 |  | 140% | 3813.6 |  | 120% | 15036.48
| buildings |  | 105033 | 300% | 315099 |  | 150% | 157549.5 |  | 120% | 189059.4
| a/g piping |  | 795979 | 500% | 3979895 |  | 135% | 1074571.65 |  | 120% | 3486388.02
| a/g electrical |  | 804952 | 300% | 2414856 |  | 135% | 1086685.2 |  | 120% | 1593804.96
| instrumentatiion |  | 155089 | 400% | 620356 |  | 130% | 201615.7 |  | 120% | 502488.36
| insulation |  | 164407 | 600% | 986442 |  | 125% | 205508.75 |  | 120% | 937119.9
| painting |  | 20209 | 325% | 65679.25 |  | 130% | 26271.7 |  | 120% | 47289.06
| mech equipment |  | 672551 | 500% | 3362755 |  | 135% | 907943.85 |  | 120% | 2945773.38
|  |  | 4752663 |  | 17905424 |  |  | 6927783.75 |  |  | 13173168.3
Startup
| startup |  | 632940 | 175% | 1107645 |  | 120% | 759528 |  | 120% | 417740.4
| oper training |  | 10000 | 175% | 17500 |  | 125% | 12500 |  | 120% | 6000
| initial fill/spares |  | 85000 | 225% | 191250 |  | 145% | 123250 |  | 110% | 74800
| manuals |  | 28000 | 175% | 49000 |  | 145% | 40600 |  | 125% | 10500
| startup support |  | 82976 | 200% | 165952 |  | 135% | 112017.6 |  | 125% | 67418
|  |  | 838916 |  | 1531347 |  |  | 1047895.6 |  |  | 576458.4
Warranty
| warranty |  | 25000 | 400% | 100000 |  | 175% | 43750 |  | 110% | 61875
|  |  | 25000 |  | 100000 |  |  | 43750 |  |  | 61875
Owner Adds
| sales and use tax |  | 73000 | 0% | 0 |  | 0% | 0 |  | 0% | 0
| SCR air attemperation |  | 200000 | 0% | 0 |  | 0% | 0 |  | 0% | 0
| remote control |  | 180000 | 0% | 0 |  | 0% | 0 |  | 0% | 0
| ENA remote monitoring |  | 157000 | 120% | 188400 |  | 110% | 172700 |  | 125% | 19625
| switchyard |  | 0 | 0% | 7500000 | 10 position breaker and one-half 230kV | 0% | 7500000 | 10 position breaker and one-half 230kV | 0% | 0
| transmission lines |  | 0 | 0% | 1500000 |  | 0% | 1500000 |  | 0% | 0
| gas line |  | 0 | 0% | 1400000 | tap + meter at $400k plus pipeline | 0% | 1400000 |  | 0% | 0
| admin buildings |  | 0 | 0% | 600000 |  | 0% | 600000 |  | 0% | 0
| Builders Risk |  | 258000 | 0% | 0 |  | 0% | 0 |  | 0% | 0
|  |  | 868000 |  | 11188400 |  |  | 11172700 |  |  | 19625
Subtotal Cost |  |  | 117119771 |  | 226842363.3 |  |  | 178829377.35 |  |  | 57701911.24
| fixed G&A | 2% | 2342395.42 |  | 4536847.266 |  |  | 3576587.547 |  |  | 1154038.2248
Total Cost |  |  | 119462166.42 |  | 231379210.566 |  |  | 182405964.897 |  |  | 58855949.4648
| contingency | 1.96% | -29762166.42 | 2% | 4627584.2113 |  |  | 3648119.2979 |  |  | 1177118.9893
| margin | 5.88% | 3000000 | 6% | 13882752.634 |  |  | 10944357.8938 |  |  | 3531356.9679
TOTAL PROJECT EPC |  |  | 92700000 |  | 249889547.4113 |  |  | 196998442.0888 |  |  | 63564425.422
TOTAL PROJECT $/kW |  |  | 515 |  | 724.3175 |  |  | 729.6239 |  |  | 184.2447
MARGIN on NON-CTG SCOPE |  |  | 9.303%
|  |  | 92700000 |  | 249889547.4113 |  |  | 196998442.0888 |  |  | 63564425.422
[8 empty] | combo |  |  | 260562867.5107

## CTGprice
yes
Homestead
|  |  |  | units | 6
included
LM6000 |  |  | 13500000 | yes | 81000000
WestLB |  |  | 310000 | yes | 1860000
Sprint |  |  | 450000 | yes | 2700000
fin fan |  |  | 62000 | no | 0 | included as separate line item
chiller |  |  | 950000 | no | 0
cooling tower |  |  | 150000 | no | 0
water injection metering |  |  | 57000 | yes | 342000
additional CT's |  |  | 23000 | yes | 138000
60ft stack |  |  | 236000 | no | 0 | included in SCR
dual fuel |  |  | 280000 | no | 0 | gas fuel only
gas heater |  |  | 247000 | no | 0 | gas compression so no heating required
vendor TDI |  |  | 48000 | no | 0 | 240 mnhrs/unit included in base price
freight for stack |  |  | 18500 | no | 0
freight for CTG |  |  | 150000 | no | 0
|  |  | 16481500 |  | 86040000
14340000
OPTIONS
dual fuel |  |  | 280000
stack 45 ft standard |  |  | 198000
stack 45 ft heavy |  |  | 233000
chiller |  |  | 950000
LM6000 |  |  | 13500000
WestLB |  |  | 310000
Sprint |  |  | 450000
fin fan |  |  | 62000
chiller |  |  | 950000
cooling tower |  |  | 150000
anti-icing system |  |  | 226884
15 kV swutchgear |  |  | 206258
15 kV to 4160 V transformer |  |  | 68753
4160 switchgear |  |  | 34376
4160 V to 480 V transformer |  |  | 34376
480 V distribution/switchpanel |  |  | 41252
BOP distribution panel/MCC |  |  | 34376
air compressor |  |  | 56377
liquid fuel tank heater | 2 | 50% | 154006
liquid fuel unloading station |  |  | 137506
liquid fuel treatment |  |  | 495020
liquid fuel forwarding skid |  |  | 61878
liquid fuel duplex filter |  |  | 36164
gas fuel filter skid |  |  | 99334
gas fuel scubber/heater |  |  | 199383
raw water forwarding skid |  |  | 44002
demin forwarding |  |  | 90794
oily water separator |  |  | 165007
anti-ice air to air |  |  | 226884

## calcs
unit capacity | kW | 47500
power factor |  | 0.9
unit output | kVA | 52777.7778
voltage | V | 13800
| A | 2208.0626