## Summary
Brazilian Interconnected Power System (1)
Historical Load (Avg MW) | [6 empty] | Historical Load (YoY change)
GWh | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | GWh | 1996 | 1997 | 1998 | 1999 | 2000
SE-MW | 186163.4 | 193964.2 | 205630.1 | 211997 | 216360.3 | 226976.59 | SE-MW | 193964.2 | 205630.1 | 211997 | 216360.3 | 226976.59
S | 45362 | 47571.3 | 50901.4 | 52337.9 | 55611.1 | 59610.67 | S | 47571.3 | 50901.4 | 52337.9 | 55611.1 | 59610.67
NE | 38668.6 | 42333.2 | 45361.7 | 48991.7 | 49847.8 | 51661.72 | NE | 42333.2 | 45361.7 | 48991.7 | 49847.8 | 51661.72
N | 18674 | 19843.5 | 20144.9 | 20849.7 | 21437.7 | 21841.82 | N | 19843.5 | 20144.9 | 20849.7 | 21437.7 | 21841.82
Total | 288868 | 303712.2 | 322038.1 | 334176.3 | 343256.9 | 360090.8 | Total | 303712.2 | 322038.1 | 334176.3 | 343256.9 | 360090.8
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
SE-CW | 21251.5297 | 22142.032 | 23473.7557 | 24200.5708 | 24698.6644 | 25910.5696 | SE-CW | 4.19% | 6.014% | 3.096% | 2.058% | 4.907%
S | 5178.3105 | 5430.5137 | 5810.6621 | 5974.6461 | 6348.2991 | 6804.871 | S | 4.87% | 7% | 2.822% | 6.254% | 7.192%
NE | 4414.2237 | 4832.5571 | 5178.2763 | 5592.6598 | 5690.3881 | 5897.4566 | NE | 9.477% | 7.154% | 8.002% | 1.747% | 3.639%
N | 2131.7352 | 2265.2397 | 2299.6461 | 2380.1027 | 2447.226 | 2493.3584 | N | 6.263% | 1.519% | 3.499% | 2.82% | 1.885%
Brazil | 32975.7991 | 34670.3425 | 36762.3402 | 38147.9795 | 39184.5776 | 41106.2557 | Brazil | 5.139% | 6.034% | 3.769% | 2.717% | 4.904%
Historical Peak Load (2) (MWh/h) | [6 empty] | Historical Peak Load (YoY change)
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
SE-CW | 28836 | 30099 | 31678 | 32748 | 33780 | 34929 | SE-CW | 4.38% | 5.246% | 3.378% | 3.151% | 3.401%
S | 7521 | 7916 | 8361 | 8431 | 8998 | 9751 | S | 5.252% | 5.622% | 0.8372% | 6.725% | 8.369%
NE | 6086 | 6752 | 7334 | 7515 | 7531 | 7932 | NE | 10.94% | 8.62% | 2.468% | 0.2129% | 5.325%
N | 2632 | 2696 | 2760 | 2838 | 2882 | 2918 | N | 2.432% | 2.374% | 2.826% | 1.55% | 1.249%
Brazil | 44127 | 46629 | 49141 | 50683 | 51972 | 54335 | Brazil | 5.67% | 5.387% | 3.138% | 2.543% | 4.547%
Historical Generation (Avg MW) | [6 empty] | Historical Generation (YoY change)
GWh | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | GWh | 1996 | 1997 | 1998 | 1999 | 2000
Hydroplant | 208542.46 | 217569.9 | 226926 | 241436.72 | 242328 | 248458.04 | Hydroplant | 217070.6 | 225761 | 239667.2 | 241257 | 248458.04
Itaipu | 73658.8 | 77393.1 | 84908.7 | 83118.5 | 84390.2 | 87000.69 | Itaipu | 77393.1 | 84908.7 | 83118.5 | 84390.2 | 87000.69
Thermoplant | 6665.2 | 8745 | 10199.7 | 9621.4 | 16276.4 | 20998.21 | Thermoplant | 8745 | 10199.7 | 9621.4 | 16276.4 | 20998.21
Total | 288866.46 | 303708 | 322034.4 | 334176.62 | 342994.6 | 356456.94 | Total | 303208.7 | 320869.4 | 332407.1 | 341923.6 | 356456.94
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
Hydroplant (3) | 23806.2169 | 24836.7466 | 25904.7945 | 27561.2694 | 27663.0137 | 28362.79 | Hydroplant (1) | 4.329% | 4.3% | 6.394% | 0.3692% | 2.53%
Itaipu (4) | 8408.5388 | 8834.8288 | 9692.774 | 9488.4132 | 9633.5845 | 9931.5856 | Itaipu | 5.07% | 9.711% | -2.108% | 1.53% | 3.093%
Thermoplant | 760.8676 | 998.2877 | 1164.3493 | 1098.3333 | 1858.0365 | 2397.0559 | Thermoplant | 31.2% | 16.63% | -5.67% | 69.17% | 29.01%
Total | 32975.6233 | 34669.863 | 36761.9178 | 38148.016 | 39154.6347 | 40691.4315 | Total | 5.138% | 6.034% | 3.77% | 2.639% | 3.925%
International Interconnections (Avg MW) | [6 empty] | International Interconnections (Avg MW)
GWh | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | GWh | 1996 | 1997 | 1998 | 1999 | 2000
Copel/Paraguai | 0 | 0 | 0 | 0 | 262 | 372.14 | Copel/Paraguai | 0 | 0 | 0 | 262 | 372.14
Eletrosul | 0 | 0 | 0 | 0 | 0 | 3263.06 | Eletrosul | 0 | 0 | 0 | 0 | 3263.06
Total | 0 | 0 | 0 | 0 | 262 | 3635.2 | Total | 0 | 0 | 0 | 262 | 3635.2
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
Paraguay to Brazil (5) | 0 | 0 | 0 | 0 | 29.9087 | 42.4817 | Paraguay to Brazil | 0 | 0 | 0 | 0 | 42.04%
Argentina to Brazil (6) | 0 | 0 | 0 | 0 | 0 | 372.4954 | Argentina to Brazil | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 29.9087 | 414.9772 | Total | 0 | 0 | 0 | 0 | 1287%
Installed Capacity (MW) | [6 empty] | Installed Capacity (YoY change)
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
Hydroplant | 44282 | 45861 | 47395.7 | 49549.1 | 51738.3 | 53714 | Hydroplant | 3.566% | 3.346% | 4.543% | 4.418% | 3.819%
Itaipu | 6300 | 6300 | 6300 | 6300 | 6300 | 6300 | Itaipu | 0% | 0% | 0% | 0% | 0%
Thermoplant | 3374 | 3724 | 3721.2 | 3658.4 | 4038.4 | 5106 | Thermoplant | 10.37% | -0.07519% | -1.688% | 10.39% | 26.44%
Total | 53956 | 55885 | 57416.9 | 59507.5 | 62076.7 | 65120 | Total | 3.575% | 2.741% | 3.641% | 4.317% | 4.902%
Source: ONS (Independent National System Operator)
Notes: (1) Brazilian Interconnected Power System accounts for 98.6% of the Total National System
(2) Peak load not simultaneously metered on the 4 sub markets. Therefore, Brazil peak load is not equivalent to the sum of the sub markets
(3) Hydroplant generation includes auto-production generation
(4) It was considered the total installed capacity of Itaipu
(5) Itaipu's energy not consumed by Paraguay which is exported to Brazil
(6) Energy from Argentina imported by Gerasul (start of operation 2Q00)
Not included in Print Area
Avg Load x Peak Load x Inst Capac | [6 empty] | Avg Load x Peak Load x Inst Capac
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000 |  | 1996 | 1997 | 1998 | 1999 | 2000
Average Load | 32975.7991 | 34670.3425 | 36762.3402 | 38147.9795 | 39184.5776 | 41106.2557 | Average Load | 5.139% | 6.034% | 3.769% | 2.717% | 4.904%
Peak Load | 44127 | 46629 | 49141 | 50683 | 51972 | 54335 | Peak Load | 5.67% | 5.387% | 3.138% | 2.543% | 4.547%
Installed Capacity | 53956 | 55885 | 57416.9 | 59507.5 | 62076.7 | 65120 | Installed Capacity | 3.575% | 2.741% | 3.641% | 4.317% | 4.902%

## Balance
Balance of Energy (Avg MW)
| 1995 | 1996 | 1997 | 1998 | 1999 | 2000
GENERATION
Hydroplant | 23806.2169 | 24836.7466 | 25904.7945 | 27561.2694 | 27663.0137 | 28362.79
Itaipu | 8408.5388 | 8834.8288 | 9692.774 | 9488.4132 | 9633.5845 | 9931.5856
Thermoplant | 760.8676 | 998.2877 | 1164.3493 | 1098.3333 | 1858.0365 | 2397.0559
Total Gen | 32975.6233 | 34669.863 | 36761.9178 | 38148.016 | 39154.6347 | 40691.4315
LOAD
SE-MW | 21251.5297 | 22142.032 | 23473.7557 | 24200.5708 | 24698.6644 | 25910.5696
S | 5178.3105 | 5430.5137 | 5810.6621 | 5974.6461 | 6348.2991 | 6804.871
NE | 4414.2237 | 4832.5571 | 5178.2763 | 5592.6598 | 5690.3881 | 5897.4566
N | 2131.7352 | 2265.2397 | 2299.6461 | 2380.1027 | 2447.226 | 2493.3584
Total Load | 32975.7991 | 34670.3425 | 36762.3402 | 38147.9795 | 39184.5776 | 41106.2557
IMPORTS
from Paraguai to Brazil | 0 | 0 | 0 | 0 | 29.9087 | 42.4817
from Argentina to Brazil | 0 | 0 | 0 | 0 | 0 | 372.4954
Total Trans | 0 | 0 | 0 | 0 | 29.9087 | 414.9772
Balance | -0.1758 | -0.47945 | -0.42237 | 0.03653 | -0.034247 | 0.15297