## Preset Scenarios (hidden)
PRESET SCENARIOS
Annual Escalator
(include costs, revenues, and capacity prices)
Operating Expenses
Dispatch
Kaiser Capacity Price Estimates
Sensitivity Selections:
Choices | Annual Escalator (%) | Increase in Op Exp (%) | Dispatch | Kaiser Price Options
| 3 | 1 | 2 | 1
1 | 0% | 100% | 0 | Base
2 | 1.5% | 110% | 120 | Low
3 | 3% |  |  | Customize
4 | 4.5%
Chosen | 3% | 100% | 120 | Base
|  | EQUITY PARTNER'S | DSCR
|  | IRR | MIN | AVG
Current (Annual) |  | #REF! | 0 | 0
PLEASE TRACK |  | EQUITY PARTNER'S | DSCR
CHANGES | DATE | IRR | MIN | AVG

## Tracking Sheet
PROJECT NAME:
TRACKING SHEET
| EQUITY | EQUITY | DSCR
| IRR WITH NO | IRR WITH | FIXED PRICE PERIOD
| RESIDUAL VALUE | RESIDUAL VALUE | MIN | AVGE
Current | #VALUE! | #VALUE! | 1.2889 | 1.3928
Changes | 26.89% | 26.89% | 1.2889 | 1.3928

## Assumptions
Unhide Sub Debt, 1999 Columns
PROJECT NAME:
ASSUMPTIONS & SUMMARY OUTPUT
SOURCES & USES: |  |  |  |  | PROJECT DESCRIPTION: |  |  | DEPRECIATION ASSUMPTIONS:
Sources of Funds |  | % | 000 $ | 000 $/kW | Type of Turbine | LM6000 |  |  | Initial Basis (000 $) | Year | Method | Residual (%)
Total Equity |  | 23.57% | 30159 | 263.3974 | Number of Turbines | 4 |  | Federal & State Tax Depreciation
Debt Issuance |  | 76.43% | 97775 | 853.9301 | Turbine Rating | 114.5 |  | EPC Costs | 0 | 15 | MACRS | 0%
[5 empty] | Heat Rate (HHV) | 11411 |  | Transaction Costs | 122076.765 | 20 | SL | 0%
Total Sources |  | 100% | 127934 | 1117.3275 | Annual Operating Hours | 1200
[5 empty] | Percentage of Peak Run Time | 100% |  | Book Depreciation
[5 empty] | First Fiscal Year | 1999-12-31 |  | EPC Costs | 0 | 30 | SL | 10%
Uses of Funds |  |  |  |  | Operating Months in the 1st yr.* | 6 |  | Transaction Costs | 122076.765 | 20 | SL | 0%
[5 empty] | Start of Commercial Operation | 1999-07-01
EPC: |  |  |  |  | End of Commercial Operation | 2019-06-01
Turbine |  | 95.42% | 122076.765 | 1066.1726 | Project Life (Years) | 20 |  | TAX ASSUMPTIONS:
BOP |  | 0% | 0 | 0 | Residual Value
Pipeline |  | 0% | 0 | 0 |  |  |  | Federal Income Tax Rate |  | 35%
Power Interconnection |  | 0% | 0 | 0 |  |  |  | State Income Tax Rate |  | 6%
SCR |  | 0% | 0 | 0 | TECHNICAL ASSUMPTIONS: |  |  | Franchise Tax Rate |  | 0.25%
Dual Fuel |  | 0% | 0 | 0 |  |  |  | Gross Receipt Tax Rate |  | 3%
Black Start |  | 0% | 0 | 0 | Net Project Capacity (MW) | 458 |  | Annual Property Tax Rate |  | 1%
Gas Compression to 700 PSI |  | 0% | 0 | 0 | Initial Spare Parts (000$) | 787.8 |  | Assessd Value Based on SL Depreciation - yrs
Demineralized Water Facility |  | 0% | 0 | 0 | Number of Starts per year | 110 |  | Salvage Value
Chillers |  | 0% | 0 | 0 | Cost per Start | 0 |  | Assessd Value Multiplier
Spare Parts |  | 0% | 0 | 0 | Evaporative Cooler (MW) | 15 |  | Milage Rate for School Tax
Sub Total |  | 95.42% | 122076.765 | 1066.1726 |  |  |  | Years of School Tax Abatement
Milage rate for County Tax
Financing Costs: |  |  |  |  | PPA ASSUMPTIONS: |  |  | Years of County Tax Abatement
Legal Fees |  | 0% | 0 | 0 |  |  |  | Milage rate for City Tax
Financing Fee |  | 0.8628% | 1103.77 | 9.6399 | PPA Start Date | 1999-07-01 |  | Years of City Tax Abatement
Debt Reserves |  | 0% | 0 | 0 | PPA Temination | 2020-06-01
Sub Total |  | 0.8628% | 1103.77 | 9.6399
Fixed Price Period
Capitalized Interests |  | 3.355% | 4291.62 | 37.4814 | No. of Years | 4
Land |  | 0.3607% | 461.44 | 4.03 | Contractual Capacity (MW) | 458
Contingency |  | 0% | 0 | 0 | Demand Charge ($/kW-mo) | 4
[5 empty] | Energy Charge ($/MWh) | 1.4087
Total Uses |  | 100% | 127933.595 | 1117.324 | Block Charge ($/start/turbine) | 0
[5 empty] | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 448.84
FINANCING ASSUMPTIONS: |  |  |  |  | Net Generation (MW) | 538608
Debt Issued | 2000-08-01
Market Price Period
DEBT | Tranche 1 | Tranche 2 | Tranche 3 | Total | No. of Years | 16
Summary |  |  |  |  | Contractual Capacity | 497.4
Amount ('000 $) | 15926 | 29302 | 52547 | 97775 | Energy Charge ($/MWh) | 0.03
Term (yrs) | 4 | 10 | 20 |  | Block Charge ($/start/turbine) | #REF!
Final Maturity | 2003-07-31 | 2010-07-31 | 2020-07-31 |  | Capacity Factor (%) | 2%
Average Life (yrs) | 9.7625 | 9.7625 | 9.7625 |  | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 487.452
[5 empty] | Net Generation (MW) | 584942.4
Treasury Rate (%) | 4.48% | 4.07% | 4.055% | 4.129% | Market Period Energy Margin ($/MWh) | 1
Spread (%) | 2.25% | 3.5% | 4.125% | 3.632%
All In Coupon Rate (%) | 6.73% | 7.57% | 8.18% | 7.761% | Annual Escalator | 3%
Maximum DSR Amount (12mths) (000 $) | 12002.8054
Maximum DSR Amount (12mths) (kW/mo.) | 0 |  |  |  | OPERATING COSTS ASSUMPTIONS:
Debt Service Reserve LOC Fee | 2% | [5 empty] | $/MW
Interest Income Rate | 5% |  |  |  | CPI Escalator | 3%
EQUITY |  |  |  |  | Escalated Costs:
Equity Closed | 2000-08-01
Equity Partner's Share | 50% | 15079.5 |  |  | Fixed O&M | 701.45 | 0
Enron's Share | 50% | 15079.5 |  |  | Variable O&M | 0.6323 | 0.00061135
[5 empty] | Fixed Price Period |  | 1.4087
SUMMARY OUTPUT: |  |  |  |  | Market Price Period |  | 1.4087
[5 empty] | Major Maintenance & Ongoing Capex | 1349.28 | 11.7841
DSCR |  | Avg. | Min |  | Insurance | 255.76 | 0
|  | 3.9816 | 1.1714 |  | SG&A | 443.2203 | 0
[5 empty] | Utilities, Start Power | 44.112 | 6.1262
Cost Summary |  | 000$/ MW |  |  | Marketing Fee |  | 0.07
EPC |  | 1066.1726 |  |  | Admin Fees | 152.9412 | 11.7841
Soft Cost & Other Misc Project Cost |  | 60.7913 |  |  | O&M Fees | 200 | 2.2337
Operating Expenses |  | 37.8987
Total |  | 1164.8626 |  |  | Non-Escalated Costs:
[5 empty] | Fuel |  | 1.3357
[5 empty] | Property Taxes & Other | 844.787 | 1.7467
Equity Returns |  |  |  |  | Debt Service Reserve Fee |  | 0
20 Yrs After-Tax Cashflow & w/o Residual Value |  | #VALUE!
20 Yrs After-Tax Cashflow & w Residual Value |  | #VALUE!
Key Stats | 2000 | 2001 | 2002 | 2003
EBITDA (000 $) | 19038.4813 | 19018.8412 | 18998.2139 | 24917.1454
Net Income (000 $) | 8211.9431 | 8199.943 | 8187.3397 | 11803.8069
Pre-Tax Cashflow (000 $) | 7035.6758 | 7395.4521 | 7754.2411 | 14052.5889
After-Tax Cashflow (000 $) | 4203.3116 | 4115.5142 | 4075.0307 | 7701.9515

## Power Price Assumption
PROJECT NAME:
CAPACITY PRICE ASSUMPTIONS
| Consultant Capacity Price Escalator | 3%
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
|  |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Consultant Real $
| Base ($/kw-year) |  | 62.1359 | 64 | 62 | 61 | 59 | 58 | 57 | 56 | 56 | 55 | 55 | 54 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 47 | 46 | 45
| Low ($/kw-year) |  | 49.5146 | 51 | 52 | 52 | 52 | 52 | 52 | 50 | 48 | 45 | 43 | 41 | 40 | 39 | 37 | 36 | 35 | 35 | 35 | 34 | 34 | 34
Consultant Nominal $
| Base ($/kw-year ) |  | 65.92 | 67.8976 | 67.7491 | 68.656 | 68.3972 | 69.255 | 70.1028 | 70.9391 | 73.0673 | 73.9154 | 76.1329 | 76.9911 | 79.3008 | 80.1673 | 81.0143 | 81.84 | 82.6424 | 83.4192 | 84.1683 | 84.8872 | 85.5736 | 86.2247
| Low ($/kw-year) |  | 52.53 | 54.1059 | 56.8218 | 58.5265 | 60.2823 | 62.0907 | 63.9534 | 63.3385 | 62.6291 | 60.4762 | 59.5221 | 58.4562 | 58.7413 | 58.991 | 57.6448 | 57.7694 | 57.8497 | 59.5852 | 61.3727 | 61.4078 | 63.25 | 65.1475
1 | Base ($/kW-month) |  | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854
2 | Low ($/kW-month) |  | 4.3775 | 4.5088 | 4.7352 | 4.8772 | 5.0235 | 5.1742 | 5.3295 | 5.2782 | 5.2191 | 5.0397 | 4.9602 | 4.8713 | 4.8951 | 4.9159 | 4.8037 | 4.8141 | 4.8208 | 4.9654 | 5.1144 | 5.1173 | 5.2708 | 5.429
3 | Power Desk |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Custom |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| Market Price Scenario | 1 | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854

## IS
PROJECT NAME:
INCOME STATEMENT
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Revenue
Fixed Price Period:
Capacity Revenue |  | 10772.16 | 21544.32 | 21544.32 | 21544.32 | 10772.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Revenue |  | 758.763 | 781.5259 | 804.9717 | 829.1209 | 426.9972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market Period:
Capacity Revenue |  | 0 | 0 | 0 | 0 | 16670.1687 | 33758.5044 | 34171.7551 | 34579.4181 | 35616.8007 | 36030.21 | 37111.1163 | 37529.4598 | 38655.3436 | 39077.689 | 39490.5853 | 39893.0855 | 40284.1942 | 40662.8656 | 41028.0016 | 41378.4491 | 41712.9982 | 42030.3797
Energy Revenue |  | 0 | 0 | 0 | 0 | 463.7302 | 955.2842 | 983.9427 | 1013.461 | 1043.8648 | 1075.1808 | 1107.4362 | 1140.6593 | 1174.8791 | 1210.1254 | 1246.4292 | 1283.8221 | 1322.3367 | 1362.0068 | 1402.8671 | 1444.9531 | 1488.3017 | 1532.9507
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Margin |  | 0 | 0 | 0 | 0 | 5.8494 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988
Ancillary Services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  | 11530.923 | 22325.8459 | 22349.2917 | 22373.4409 | 28338.9056 | 34725.4875 | 35167.3967 | 35604.578 | 36672.3644 | 37117.0896 | 38230.2513 | 38681.8179 | 39841.9215 | 40299.5133 | 40748.7134 | 41188.6065 | 41618.2298 | 42036.5713 | 42442.5675 | 42835.101 | 43212.9987 | 43575.0293
Expense
Fuel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed O&M |  | 350.725 | 722.4935 | 744.1683 | 766.4934 | 789.4882 | 813.1728 | 837.568 | 862.695 | 888.5759 | 915.2331 | 942.6901 | 970.9708 | 1000.1 | 1030.103 | 1061.0061 | 1092.8362 | 1125.6213 | 1159.39 | 1194.1717 | 1229.9968 | 1266.8967 | 1304.9036
Variable O&M |  | 0.6323 | 0.65127 | 0.69093 | 0.755 | 0.84976 | 0.98511 | 1.1763 | 1.4467 | 1.8326 | 2.3911 | 3.2135 | 4.4482 | 6.342 | 9.3135 | 14.0875 | 21.9478 | 35.2198 | 58.213 | 99.1038 | 173.7791 | 313.8644 | 583.8803
Major Maintenance & Ongoing Capex |  | 410.19 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914
Insurance |  | 127.88 | 263.4328 | 271.3358 | 279.4759 | 287.8601 | 296.4959 | 305.3908 | 314.5525 | 323.9891 | 333.7088 | 343.7201 | 354.0317 | 364.6526 | 375.5922 | 386.8599 | 398.4657 | 410.4197 | 422.7323 | 435.4143 | 448.4767 | 461.931 | 475.7889
SG&A |  | 221.6102 | 456.5169 | 470.2124 | 484.3188 | 498.8484 | 513.8138 | 529.2282 | 545.1051 | 561.4582 | 578.302 | 595.651 | 613.5206 | 631.9262 | 650.884 | 670.4105 | 690.5228 | 711.2385 | 732.5756 | 754.5529 | 777.1895 | 800.5052 | 824.5203
Utility Start Power |  | 22.056 | 45.4354 | 46.7985 | 48.2024 | 49.6485 | 51.1379 | 52.6721 | 54.2522 | 55.8798 | 57.5562 | 59.2829 | 61.0614 | 62.8932 | 64.78 | 66.7234 | 68.7251 | 70.7869 | 72.9105 | 75.0978 | 77.3507 | 79.6712 | 82.0614
Property, Other Tax (1) |  | 0 | 540.3023 | 529.3871 | 518.4719 | 507.5567 | 496.6415 | 485.7263 | 469.3535 | 452.9807 | 436.6079 | 414.7775 | 1178.8414 | 1096.9774 | 998.7406 | 900.5038 | 802.267 | 671.2847 | 523.9295 | 376.5743 | 327.4559 | 327.4559 | 0
Debt Service Reserve LOC Fee |  | 50.0117 | 50.0117 | 48.4308 | 46.8499 | 45.269 | 43.6881 | 42.1072 | 40.5263 | 38.9454 | 37.3645 | 35.7836 | 34.2027 | 32.6218 | 31.0409 | 29.46 | 27.8791 | 26.2982 | 24.7173 | 23.1364 | 21.5555 | 1.4926e-16 | 1.4926e-16
Marketing Fee |  | 0 | 0 | 0 | 0 | 0.0098 | 0.017304 | 0.017823 | 0.018358 | 0.018909 | 0.019476 | 0.02006 | 0.020662 | 0.021282 | 0.02192 | 0.022578 | 0.023255 | 0.023953 | 0.024671 | 0.025412 | 0.026174 | 0.026959 | 0.027768
Administrative Fee |  | 76.4706 | 157.5294 | 162.2553 | 167.123 | 172.1366 | 177.3007 | 182.6198 | 188.0984 | 193.7413 | 199.5535 | 205.5402 | 211.7064 | 218.0575 | 224.5993 | 231.3373 | 238.2774 | 245.4257 | 252.7885 | 260.3721 | 268.1833 | 276.2288 | 284.5156
O&M Fees |  | 100 | 206 | 212.18 | 218.5454 | 225.1018 | 231.8548 | 238.8105 | 245.9748 | 253.354 | 260.9546 | 268.7833 | 276.8468 | 285.1522 | 293.7067 | 302.5179 | 311.5935 | 320.9413 | 330.5695 | 340.4866 | 350.7012 | 361.2222 | 372.0589
Total Expense |  | 1359.5757 | 3287.3647 | 3330.4505 | 3375.227 | 3421.7602 | 3470.0994 | 3520.3083 | 3567.0142 | 3615.7673 | 3666.6827 | 3714.4535 | 4550.6418 | 4543.7356 | 4523.7734 | 4507.9204 | 4497.5294 | 4462.2514 | 4422.8422 | 4403.9267 | 4519.7063 | 4732.7939 | 4772.7483
EBITDA |  | 10171.3473 | 19038.4813 | 19018.8412 | 18998.2139 | 24917.1454 | 31255.3881 | 31647.0884 | 32037.5638 | 33056.5971 | 33450.4069 | 34515.7978 | 34131.1761 | 35298.1859 | 35775.7399 | 36240.793 | 36691.0771 | 37155.9784 | 37613.7291 | 38038.6408 | 38315.3947 | 38480.2049 | 38802.281
Depreciation & Amortization |  | 1875.3023 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5543.1241 | 5543.1241
EBIT |  | 8296.045 | 13440.1687 | 13420.5287 | 13399.9013 | 19318.8329 | 25657.0755 | 26048.7758 | 26439.2512 | 27458.2845 | 27852.0944 | 28917.4852 | 28532.8635 | 29699.8733 | 30177.4273 | 30642.4805 | 31092.7645 | 31557.6658 | 32015.4165 | 32440.3282 | 32717.0821 | 32937.0808 | 33259.1569
Interest Expense (2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBT |  | 8296.045 | 13440.1687 | 13420.5287 | 13399.9013 | 19318.8329 | 25657.0755 | 26048.7758 | 26439.2512 | 27458.2845 | 27852.0944 | 28917.4852 | 28532.8635 | 29699.8733 | 30177.4273 | 30642.4805 | 31092.7645 | 31557.6658 | 32015.4165 | 32440.3282 | 32717.0821 | 32937.0808 | 33259.1569
Book State Tax Benefit / (Expense) | 6% | -497.7627 | -806.4101 | -805.2317 | -803.9941 | -1159.13 | -1539.4245 | -1562.9265 | -1586.3551 | -1647.4971 | -1671.1257 | -1735.0491 | -1711.9718 | -1781.9924 | -1810.6456 | -1838.5488 | -1865.5659 | -1893.4599 | -1920.925 | -1946.4197 | -1963.0249 | -1976.2248 | -1995.5494
Shareholder Fed. Tax Benefit / (Expense) | 35% | -2729.3988 | -4421.8155 | -4415.3539 | -4408.5675 | -6355.896 | -8441.1778 | -8570.0472 | -8698.5137 | -9033.7756 | -9163.339 | -9513.8526 | -9387.3121 | -9771.2583 | -9928.3736 | -10081.3761 | -10229.5195 | -10382.4721 | -10533.072 | -10672.868 | -10763.92 | -10836.2996 | -10942.2626
Net Income |  | 5068.8835 | 8211.9431 | 8199.943 | 8187.3397 | 11803.8069 | 15676.4731 | 15915.802 | 16154.3825 | 16777.0118 | 17017.6297 | 17668.5835 | 17433.5796 | 18146.6226 | 18438.4081 | 18722.5556 | 18997.6791 | 19281.7338 | 19561.4195 | 19821.0405 | 19990.1372 | 20124.5564 | 20321.3449

## CF
PROJECT NAME:
ANNUAL CASH FLOW AND IRR
PROJECT CASH FLOW
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
EBITDA |  | 10171.3473 | 19038.4813 | 19018.8412 | 18998.2139 | 24917.1454 | 31255.3881 | 31647.0884 | 32037.5638 | 33056.5971 | 33450.4069 | 34515.7978 | 34131.1761 | 35298.1859 | 35775.7399 | 36240.793 | 36691.0771 | 37155.9784 | 37613.7291 | 38038.6408 | 38315.3947 | 38480.2049 | 38802.281
Plus Capitalized Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Principal Payments |  | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | -4888.75 | 0 | 0
Less Interest Payments |  | -3794.1629 | -7114.0554 | -6734.6391 | -6355.2229 | -5975.8066 | -5596.3903 | -5216.974 | -4837.5577 | -4458.1414 | -4078.7251 | -3699.3088 | -3319.8925 | -2940.4762 | -2561.06 | -2181.6437 | -1802.2274 | -1422.8111 | -1043.3948 | -663.9785 | -284.5622 | -3.5823e-14 | -3.5823e-14
Pre Tax Cash Flow |  | 1488.4344 | 7035.6758 | 7395.4521 | 7754.2411 | 14052.5889 | 20770.2478 | 21541.3644 | 22311.2561 | 23709.7056 | 24482.9318 | 25927.739 | 25922.5335 | 27468.9597 | 28325.9299 | 29170.3994 | 30000.0997 | 30844.4173 | 31681.5843 | 32485.9123 | 33142.0825 | 38480.2049 | 38802.281
EGC's State Tax Benefit / (Expense) |  | -239.0836 | -436.8685 | -505.903 | -567.4875 | -979.5328 | -1411.5631 | -1459.4549 | -1482.1443 | -1544.0254 | -1566.9149 | -1631.5775 | -1607.7611 | -1678.5208 | -1706.4349 | -1735.0772 | -1980.1238 | -2226.0474 | -2253.5124 | -2279.0071 | -2295.6124 | -2308.8123 | -2328.1369
EGC's Federal Tax Benefit / (Expense) |  | -1310.975 | -2395.4957 | -2774.0349 | -3111.7229 | -5371.1046 | -7740.0712 | -8002.6777 | -8127.0915 | -8466.406 | -8591.9169 | -8946.4831 | -8815.8899 | -9203.8888 | -9356.9514 | -9514.0065 | -10857.6787 | -12206.1599 | -12356.7599 | -12496.5558 | -12587.6078 | -12659.9874 | -12765.9505
After Tax Cash Flow |  | -61.6241 | 4203.3116 | 4115.5142 | 4075.0307 | 7701.9515 | 11618.6135 | 12079.2318 | 12702.0203 | 13699.2742 | 14324.1 | 15349.6784 | 15498.8825 | 16586.5501 | 17262.5436 | 17921.3157 | 17162.2973 | 16412.21 | 17071.312 | 17710.3493 | 18258.8623 | 23511.4052 | 23708.1937
Equity Partner Net Income | 50% | 0 | 4105.9715 | 4099.9715 | 4093.6699 | 5901.9034 | 7838.2366 | 7957.901 | 8077.1912 | 8388.5059 | 8508.8148 | 8834.2917 | 8716.7898 | 9073.3113 | 9219.204 | 9361.2778 | 9498.8396 | 9640.8669 | 9780.7097 | 9910.5203 | 9995.0686 | 10062.2782 | 10160.6724
Equity Partner Distributable Cash | 50% | -30.8121 | 2101.6558 | 2057.7571 | 2037.5154 | 3850.9758 | 5809.3067 | 6039.6159 | 6351.0101 | 6849.6371 | 7162.05 | 7674.8392 | 7749.4413 | 8293.2751 | 8631.2718 | 8960.6578 | 8581.1486 | 8206.105 | 8535.656 | 8855.1747 | 9129.4311 | 11755.7026 | 11854.0969
EQUITY PARTNER'S CASHFLOW
('000 $) |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
|  | 2000-12-31 | 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31
Pre Tax Cash Flow |  | 744.2172 | 3517.8379 | 3697.726 | 3877.1205 | 7026.2944 | 10385.1239 | 10770.6822 | 11155.628 | 11854.8528 | 12241.4659 | 12963.8695 | 12961.2668 | 13734.4798 | 14162.9649 | 14585.1997 | 15000.0499 | 15422.2087 | 15840.7921 | 16242.9561 | 16571.0412 | 19240.1024 | 19401.1405
Equity Partner's State Taxes Benefit (Expense) |  | -119.5418 | -218.4343 | -252.9515 | -283.7437 | -489.7664 | -705.7816 | -729.7274 | -741.0722 | -772.0127 | -783.4575 | -815.7887 | -803.8805 | -839.2604 | -853.2175 | -867.5386 | -990.0619 | -1113.0237 | -1126.7562 | -1139.5036 | -1147.8062 | -1154.4061 | -1164.0684
Equity Partner's Federal Taxes Benefit (Expense) |  | -655.4875 | -1197.7478 | -1387.0174 | -1555.8614 | -2685.5523 | -3870.0356 | -4001.3388 | -4063.5457 | -4233.203 | -4295.9584 | -4473.2415 | -4407.945 | -4601.9444 | -4678.4757 | -4757.0033 | -5428.8393 | -6103.0799 | -6178.3799 | -6248.2779 | -6293.8039 | -6329.9937 | -6382.9752
After Tax Cash Flow |  | -30.8121 | 2101.6558 | 2057.7571 | 2037.5154 | 3850.9758 | 5809.3067 | 6039.6159 | 6351.0101 | 6849.6371 | 7162.05 | 7674.8392 | 7749.4413 | 8293.2751 | 8631.2718 | 8960.6578 | 8581.1486 | 8206.105 | 8535.656 | 8855.1747 | 9129.4311 | 11755.7026 | 11854.0969
Equity Contributions from Equity Partner |  | -15079.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Partner's Cashflow with No Residual
CF |  | -15110.3121 | 2101.6558 | 2057.7571 | 2037.5154 | 3850.9758 | 5809.3067 | 6039.6159 | 6351.0101 | 6849.6371 | 7162.05 | 7674.8392 | 7749.4413 | 8293.2751 | 8631.2718 | 8960.6578 | 8581.1486 | 8206.105 | 8535.656 | 8855.1747 | 9129.4311 | 11755.7026 | 11854.0969
IRR |  | 2000-12-31: #VALUE!
Equity Partner's Cashflow with Residual Value
CF |  | -15110.3121 | 2101.6558 | 2057.7571 | 2037.5154 | 3850.9758 | 5809.3067 | 6039.6159 | 6351.0101 | 6849.6371 | 7162.05 | 7674.8392 | 7749.4413 | 8293.2751 | 8631.2718 | 8960.6578 | 8581.1486 | 8206.105 | 8535.656 | 8855.1747 | 9129.4311 | 11755.7026 | 11854.0969
Residual Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net CF |  | -15110.3121 | 2101.6558 | 2057.7571 | 2037.5154 | 3850.9758 | 5809.3067 | 6039.6159 | 6351.0101 | 6849.6371 | 7162.05 | 7674.8392 | 7749.4413 | 8293.2751 | 8631.2718 | 8960.6578 | 8581.1486 | 8206.105 | 8535.656 | 8855.1747 | 9129.4311 | 11755.7026 | 11854.0969
Equity Partner's After-Tax IRR w/ 5x EBITDA Residual (20 yr.) |  | 2000-12-31: #VALUE!

## Debt
|  | Tranche 1 | [5 empty] | Tranche 2 | [5 empty] | Tranche 3
|  | 3 year Treasury (as of April 26) |  |  | 4.48% |  |  | 8 year Treasury (as of April 26) |  |  | 4.07% |  |  | 30 year Treasury (as of April 26) |  |  | 4.055%
|  | Spread |  |  | 2.25% |  |  | Spread |  |  | 3.5% |  |  | Spread |  |  | 4.125%
|  | All In Coupon Rate |  |  | 6.73% |  |  | All In Coupon Rate |  |  | 7.57% |  |  | All In Coupon Rate |  |  | 8.18%
|  | Maturity Tranche 1 |  |  | 2.9952 |  |  | Maturity Tranche 2 |  |  | 9.9959 |  |  | Maturity Tranche 2 |  |  | 19.9973
|  | Average Life Tranche 1 |  |  | 9.7625 |  |  | Average Life Tranche 2 |  |  | 9.7625 |  |  | Average Life Tranche 3 |  |  | 9.7625
|  | Total amount ($ '000) |  |  | 15926 |  |  | Total amount ($ '000) |  |  | 29302 |  |  | Total amount ($ '000) |  |  | 52547
PROJECT NAME:
DEBT ISSUANCE
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2021
Annual Amortization Tranche 1 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 2 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 3 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 1 @ 6.73%
2000-08-01
Beginning Balance | 15926 | 15129.7 | 14333.4 | 13537.1 | 12740.8 | 11944.5 | 11148.2 | 10351.9 | 9555.6 | 8759.3 | 7963 | 7166.7 | 6370.4 | 5574.1 | 4777.8 | 3981.5 | 3185.2 | 2388.9 | 1592.6 | 796.3 | 9.6634e-12 | 9.6634e-12
Principal Payment | 0 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 0 | 0
Interest Payment | 0 | 509.1144 | 482.3189 | 455.5234 | 428.7279 | 401.9324 | 375.1369 | 348.3414 | 321.5459 | 294.7504 | 267.9549 | 241.1595 | 214.364 | 187.5685 | 160.773 | 133.9775 | 107.182 | 80.3865 | 53.591 | 26.7955 | 3.2517e-13 | 3.2517e-13
Ending Balance | 15926 | 14731.55 | 13935.25 | 13138.95 | 12342.65 | 11546.35 | 10750.05 | 9953.75 | 9157.45 | 8361.15 | 7564.85 | 6768.55 | 5972.25 | 5175.95 | 4379.65 | 3583.35 | 2787.05 | 1990.75 | 1194.45 | 398.15 | 9.6634e-12 | 9.6634e-12
2000-02-01
Beginning Balance | 15926 | 14731.55 | 13935.25 | 13138.95 | 12342.65 | 11546.35 | 10750.05 | 9953.75 | 9157.45 | 8361.15 | 7564.85 | 6768.55 | 5972.25 | 5175.95 | 4379.65 | 3583.35 | 2787.05 | 1990.75 | 1194.45 | 398.15 | 9.6634e-12 | 9.6634e-12
Principal Payment | 796.3 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 398.15 | 0 | 0
Interest Payment | 535.9099 | 495.7167 | 468.9212 | 442.1257 | 415.3302 | 388.5347 | 361.7392 | 334.9437 | 308.1482 | 281.3527 | 254.5572 | 227.7617 | 200.9662 | 174.1707 | 147.3752 | 120.5797 | 93.7842 | 66.9887 | 40.1932 | 13.3977 | 3.2517e-13 | 3.2517e-13
Ending Balance | 15129.7 | 14333.4 | 13537.1 | 12740.8 | 11944.5 | 11148.2 | 10351.9 | 9555.6 | 8759.3 | 7963 | 7166.7 | 6370.4 | 5574.1 | 4777.8 | 3981.5 | 3185.2 | 2388.9 | 1592.6 | 796.3 | 9.6634e-12 | 9.6634e-12 | 9.6634e-12
Cash Interest Expense | 535.9099 | 1004.8311 | 951.2401 | 897.6491 | 844.0581 | 790.4671 | 736.8761 | 683.2851 | 629.6941 | 576.1031 | 522.5122 | 468.9212 | 415.3302 | 361.7392 | 308.1482 | 254.5572 | 200.9662 | 147.3752 | 93.7842 | 40.1932 | 6.5035e-13 | 6.5035e-13
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 796.3 | 0 | 0
Tranche 2 @ 7.57%
2000-08-01
Beginning Balance | 29302 | 27836.9 | 26371.8 | 24906.7 | 23441.6 | 21976.5 | 20511.4 | 19046.3 | 17581.2 | 16116.1 | 14651 | 13185.9 | 11720.8 | 10255.7 | 8790.6 | 7325.5 | 5860.4 | 4395.3 | 2930.2 | 1465.1 | 1.8417e-11 | 1.8417e-11
Principal Payment | 0 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 0 | 0
Interest Payment | 0 | 1053.6267 | 998.1726 | 942.7186 | 887.2646 | 831.8105 | 776.3565 | 720.9025 | 665.4484 | 609.9944 | 554.5404 | 499.0863 | 443.6323 | 388.1782 | 332.7242 | 277.2702 | 221.8161 | 166.3621 | 110.9081 | 55.454 | 6.9709e-13 | 6.9709e-13
Ending Balance | 29302 | 27104.35 | 25639.25 | 24174.15 | 22709.05 | 21243.95 | 19778.85 | 18313.75 | 16848.65 | 15383.55 | 13918.45 | 12453.35 | 10988.25 | 9523.15 | 8058.05 | 6592.95 | 5127.85 | 3662.75 | 2197.65 | 732.55 | 1.8417e-11 | 1.8417e-11
2000-02-01
Beginning Balance | 29302 | 27104.35 | 25639.25 | 24174.15 | 22709.05 | 21243.95 | 19778.85 | 18313.75 | 16848.65 | 15383.55 | 13918.45 | 12453.35 | 10988.25 | 9523.15 | 8058.05 | 6592.95 | 5127.85 | 3662.75 | 2197.65 | 732.55 | 1.8417e-11 | 1.8417e-11
Principal Payment | 1465.1 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 732.55 | 0 | 0
Interest Payment | 1109.0807 | 1025.8996 | 970.4456 | 914.9916 | 859.5375 | 804.0835 | 748.6295 | 693.1754 | 637.7214 | 582.2674 | 526.8133 | 471.3593 | 415.9053 | 360.4512 | 304.9972 | 249.5432 | 194.0891 | 138.6351 | 83.1811 | 27.727 | 6.9709e-13 | 6.9709e-13
Ending Balance | 27836.9 | 26371.8 | 24906.7 | 23441.6 | 21976.5 | 20511.4 | 19046.3 | 17581.2 | 16116.1 | 14651 | 13185.9 | 11720.8 | 10255.7 | 8790.6 | 7325.5 | 5860.4 | 4395.3 | 2930.2 | 1465.1 | 1.8417e-11 | 1.8417e-11 | 1.8417e-11
Cash Interest Expense | 1109.0807 | 2079.5263 | 1968.6182 | 1857.7102 | 1746.8021 | 1635.894 | 1524.986 | 1414.0779 | 1303.1698 | 1192.2618 | 1081.3537 | 970.4456 | 859.5375 | 748.6295 | 637.7214 | 526.8133 | 415.9053 | 304.9972 | 194.0891 | 83.1811 | 1.3942e-12 | 1.3942e-12
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 1465.1 | 0 | 0
Tranche 3 @ 8.18%
2000-08-01
Beginning Balance | 52547 | 49919.65 | 47292.3 | 44664.95 | 42037.6 | 39410.25 | 36782.9 | 34155.55 | 31528.2 | 28900.85 | 26273.5 | 23646.15 | 21018.8 | 18391.45 | 15764.1 | 13136.75 | 10509.4 | 7882.05 | 5254.7 | 2627.35 | -2.4556e-11 | -2.4556e-11
Principal Payment | 0 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 0 | 0
Interest Payment | 0 | 2041.7137 | 1934.2551 | 1826.7965 | 1719.3378 | 1611.8792 | 1504.4206 | 1396.962 | 1289.5034 | 1182.0448 | 1074.5862 | 967.1275 | 859.6689 | 752.2103 | 644.7517 | 537.2931 | 429.8345 | 322.3758 | 214.9172 | 107.4586 | -1.0044e-12 | -1.0044e-12
Ending Balance | 52547 | 48605.975 | 45978.625 | 43351.275 | 40723.925 | 38096.575 | 35469.225 | 32841.875 | 30214.525 | 27587.175 | 24959.825 | 22332.475 | 19705.125 | 17077.775 | 14450.425 | 11823.075 | 9195.725 | 6568.375 | 3941.025 | 1313.675 | -2.4556e-11 | -2.4556e-11
2000-02-01
Beginning Balance | 52547 | 48605.975 | 45978.625 | 43351.275 | 40723.925 | 38096.575 | 35469.225 | 32841.875 | 30214.525 | 27587.175 | 24959.825 | 22332.475 | 19705.125 | 17077.775 | 14450.425 | 11823.075 | 9195.725 | 6568.375 | 3941.025 | 1313.675 | -2.4556e-11 | -2.4556e-11
Principal Payment | 2627.35 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 1313.675 | 0 | 0
Interest Payment | 2149.1723 | 1987.9844 | 1880.5258 | 1773.0671 | 1665.6085 | 1558.1499 | 1450.6913 | 1343.2327 | 1235.7741 | 1128.3155 | 1020.8568 | 913.3982 | 805.9396 | 698.481 | 591.0224 | 483.5638 | 376.1052 | 268.6465 | 161.1879 | 53.7293 | -1.0044e-12 | -1.0044e-12
Ending Balance | 49919.65 | 47292.3 | 44664.95 | 42037.6 | 39410.25 | 36782.9 | 34155.55 | 31528.2 | 28900.85 | 26273.5 | 23646.15 | 21018.8 | 18391.45 | 15764.1 | 13136.75 | 10509.4 | 7882.05 | 5254.7 | 2627.35 | -2.4556e-11 | -2.4556e-11 | -2.4556e-11
Cash Interest Expense | 2149.1723 | 4029.6981 | 3814.7808 | 3599.8636 | 3384.9464 | 3170.0291 | 2955.1119 | 2740.1947 | 2525.2775 | 2310.3602 | 2095.443 | 1880.5258 | 1665.6085 | 1450.6913 | 1235.7741 | 1020.8568 | 805.9396 | 591.0224 | 376.1052 | 161.1879 | -2.0087e-12 | -2.0087e-12
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 2627.35 | 0 | 0
EBITDA | 10171.3473 | 19038.4813 | 19018.8412 | 18998.2139 | 24917.1454 | 31255.3881 | 31647.0884 | 32037.5638 | 33056.5971 | 33450.4069 | 34515.7978 | 34131.1761 | 35298.1859 | 35775.7399 | 36240.793 | 36691.0771 | 37155.9784 | 37613.7291 | 38038.6408 | 38315.3947 | 38480.2049 | 38802.281
Tranche 1 Cash Debt Service | 1332.2099 | 1801.1311 | 1747.5401 | 1693.9491 | 1640.3581 | 1586.7671 | 1533.1761 | 1479.5851 | 1425.9941 | 1372.4031 | 1318.8122 | 1265.2212 | 1211.6302 | 1158.0392 | 1104.4482 | 1050.8572 | 997.2662 | 943.6752 | 890.0842 | 836.4932 | 6.5035e-13 | 6.5035e-13
Tranche 2 Cash Debt Service | 2574.1807 | 3544.6263 | 3433.7182 | 3322.8102 | 3211.9021 | 3100.994 | 2990.086 | 2879.1779 | 2768.2698 | 2657.3618 | 2546.4537 | 2435.5456 | 2324.6375 | 2213.7295 | 2102.8214 | 1991.9133 | 1881.0053 | 1770.0972 | 1659.1891 | 1548.2811 | 1.3942e-12 | 1.3942e-12
Tranche 3 Cash Debt Service | 4776.5223 | 6657.0481 | 6442.1308 | 6227.2136 | 6012.2964 | 5797.3791 | 5582.4619 | 5367.5447 | 5152.6275 | 4937.7102 | 4722.793 | 4507.8758 | 4292.9585 | 4078.0413 | 3863.1241 | 3648.2068 | 3433.2896 | 3218.3724 | 3003.4552 | 2788.5379 | -2.0087e-12 | -2.0087e-12
Less Capitalized Interest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Debt Service | 8682.9129 | 12002.8054 | 11623.3891 | 11243.9729 | 10864.5566 | 10485.1403 | 10105.724 | 9726.3077 | 9346.8914 | 8967.4751 | 8588.0588 | 8208.6425 | 7829.2262 | 7449.81 | 7070.3937 | 6690.9774 | 6311.5611 | 5932.1448 | 5552.7285 | 5173.3122 | 3.5823e-14 | 3.5823e-14
Total Cash Interest Expense | 3794.1629 | 7114.0554 | 6734.6391 | 6355.2229 | 5975.8066 | 5596.3903 | 5216.974 | 4837.5577 | 4458.1414 | 4078.7251 | 3699.3088 | 3319.8925 | 2940.4762 | 2561.06 | 2181.6437 | 1802.2274 | 1422.8111 | 1043.3948 | 663.9785 | 284.5622 | 3.5823e-14 | 3.5823e-14
Total Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 4888.75 | 0 | 0
DSCR Fixed Price PPA Period | 1.1714 | 1.5862 | 1.6363 | 1.6896 | 2.2934 | 2.9809 | 3.1316 | 3.2939 | 3.5366 | 3.7302 | 4.019 | 4.158 | 4.5085 | 4.8022 | 5.1257 | 5.4837 | 5.887 | 6.3407 | 6.8504 | 7.4064
Average DSCR | 3.9816
Minimum DSCR | 1.1714
Amortization Option | 2
Tranche 1
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 2
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 3
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Time Factor | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
Average Life
Tranche 1 | 9.7625
Tranche 2 | 9.7625
Tranche 3 | 9.7625

## Depreciation
PROJECT NAME:
DEPRECIATION SCHEDULE
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
(Months) |  |  | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
US FEDERAL TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 123180.535 |  | 6159.0267 | 11702.1508 | 10531.9357 | 9484.9012 | 8536.4111 | 7674.1473 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 3633.8258 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 1103.77 |  | 27.5942 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 0 | 0
Total Beginning Book Value | 124284.305 |  | 6186.621 | 11757.3393 | 10587.1242 | 9540.0897 | 8591.5996 | 7729.3358 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 3689.0143 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 0 | 0
Ending Value of Assets | 124284.305 |  | 118097.684 | 106340.3447 | 95753.2204 | 86213.1307 | 77621.5312 | 69892.1953 | 62569.3553 | 55234.1971 | 47911.3571 | 40576.199 | 33253.3589 | 25918.2008 | 18595.3607 | 11260.2026 | 3937.3625 | 248.3483 | 193.1598 | 137.9713 | 82.7828 | 27.5943 | 27.5943 | 27.5943
STATE TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 123180.535 |  | 6159.0267 | 11702.1508 | 10531.9357 | 9484.9012 | 8536.4111 | 7674.1473 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 7279.9696 | 7267.6516 | 3633.8258 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 1103.77 |  | 27.5942 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 0 | 0
Total Beginning Book Value | 124284.305 |  | 6186.621 | 11757.3393 | 10587.1242 | 9540.0897 | 8591.5996 | 7729.3358 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 7335.1581 | 7322.8401 | 3689.0143 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 0 | 0
Ending Value of Assets | 124284.305 |  | 118097.684 | 106340.3447 | 95753.2204 | 86213.1307 | 77621.5312 | 69892.1953 | 62569.3553 | 55234.1971 | 47911.3571 | 40576.199 | 33253.3589 | 25918.2008 | 18595.3607 | 11260.2026 | 3937.3625 | 248.3483 | 193.1598 | 137.9713 | 82.7828 | 27.5943 | 27.5943 | 27.5943
BOOK DEPRECIATION & AMORTIZATION
| Years | Residual
Total Hard Costs, Capitalized Interests, and Contingency- SL | 30 | 10% | 1.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs, Capitalized Interests, and Contingency- SL | 123180.535 |  | 1847.708 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241 | 5543.1241
Transaction Costs | 1103.77 |  | 27.5942 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 55.1885 | 0 | 0
Total Beginning Book Value | 124284.305 |  | 1875.3023 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5543.1241 | 5543.1241
Ending Book Value of Assets | 124284.305 |  | 122409.0027 | 116810.6901 | 111212.3776 | 105614.065 | 100015.7524 | 94417.4398 | 88819.1273 | 83220.8147 | 77622.5021 | 72024.1895 | 66425.877 | 60827.5644 | 55229.2518 | 49630.9393 | 44032.6267 | 38434.3141 | 32836.0015 | 27237.6889 | 21639.3764 | 16041.0638 | 10497.9397 | 4954.8156

## Tax
PROJECT NAME:
TAXES
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
STATE TAXES
State Income Taxes
Pretax Book Income | 8296.045 | 13440.1687 | 13420.5287 | 13399.9013 | 19318.8329 | 25657.0755 | 26048.7758 | 26439.2512 | 27458.2845 | 27852.0944 | 28917.4852 | 28532.8635 | 29699.8733 | 30177.4273 | 30642.4805 | 31092.7645 | 31557.6658 | 32015.4165 | 32440.3282 | 32717.0821 | 32937.0808 | 33259.1569
Plus Book Depreciation & Amortization | 1875.3023 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5543.1241 | 5543.1241
Less State Tax Depreciation | -6186.621 | -11757.3393 | -10587.1242 | -9540.0897 | -8591.5996 | -7729.3358 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -3689.0143 | -55.1885 | -55.1885 | -55.1885 | -55.1885 | 0 | 0
State Taxable Income | 3984.7263 | 7281.1419 | 8431.717 | 9458.1242 | 16325.5459 | 23526.0522 | 24324.2483 | 24702.4057 | 25733.757 | 26115.2488 | 27192.9577 | 26796.018 | 27975.3459 | 28440.5817 | 28917.953 | 33002.0628 | 37100.7899 | 37558.5406 | 37983.4523 | 38260.2062 | 38480.2049 | 38802.281
State Taxable Income | 3984.7263 | 7281.1419 | 8431.717 | 9458.1242 | 16325.5459 | 23526.0522 | 24324.2483 | 24702.4057 | 25733.757 | 26115.2488 | 27192.9577 | 26796.018 | 27975.3459 | 28440.5817 | 28917.953 | 33002.0628 | 37100.7899 | 37558.5406 | 37983.4523 | 38260.2062 | 38480.2049 | 38802.281
State Income Tax Rate | bar: 1999 to 2020
Current State Income Tax Expense (Benefit) | 239.0836 | 436.8685 | 505.903 | 567.4875 | 979.5328 | 1411.5631 | 1459.4549 | 1482.1443 | 1544.0254 | 1566.9149 | 1631.5775 | 1607.7611 | 1678.5208 | 1706.4349 | 1735.0772 | 1980.1238 | 2226.0474 | 2253.5124 | 2279.0071 | 2295.6124 | 2308.8123 | 2328.1369
Beginning NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expired NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL STATE TAXES | 239.0836 | 436.8685 | 505.903 | 567.4875 | 979.5328 | 1411.5631 | 1459.4549 | 1482.1443 | 1544.0254 | 1566.9149 | 1631.5775 | 1607.7611 | 1678.5208 | 1706.4349 | 1735.0772 | 1980.1238 | 2226.0474 | 2253.5124 | 2279.0071 | 2295.6124 | 2308.8123 | 2328.1369
Plus: Supplemental Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total State Taxes Utilizing NOLs | 239.0836 | 436.8685 | 505.903 | 567.4875 | 979.5328 | 1411.5631 | 1459.4549 | 1482.1443 | 1544.0254 | 1566.9149 | 1631.5775 | 1607.7611 | 1678.5208 | 1706.4349 | 1735.0772 | 1980.1238 | 2226.0474 | 2253.5124 | 2279.0071 | 2295.6124 | 2308.8123 | 2328.1369
FEDERAL TAXES
Pretax Book Income | 8296.045 | 13440.1687 | 13420.5287 | 13399.9013 | 19318.8329 | 25657.0755 | 26048.7758 | 26439.2512 | 27458.2845 | 27852.0944 | 28917.4852 | 28532.8635 | 29699.8733 | 30177.4273 | 30642.4805 | 31092.7645 | 31557.6658 | 32015.4165 | 32440.3282 | 32717.0821 | 32937.0808 | 33259.1569
Plus Book Depreciation & Amortization | 1875.3023 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5598.3126 | 5543.1241 | 5543.1241
Less: Federal Tax Depreciation | -6186.621 | -11757.3393 | -10587.1242 | -9540.0897 | -8591.5996 | -7729.3358 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -7335.1581 | -7322.8401 | -3689.0143 | -55.1885 | -55.1885 | -55.1885 | -55.1885 | 0 | 0
Less: State Taxes | -239.0836 | -436.8685 | -505.903 | -567.4875 | -979.5328 | -1411.5631 | -1459.4549 | -1482.1443 | -1544.0254 | -1566.9149 | -1631.5775 | -1607.7611 | -1678.5208 | -1706.4349 | -1735.0772 | -1980.1238 | -2226.0474 | -2253.5124 | -2279.0071 | -2295.6124 | -2308.8123 | -2328.1369
Taxable Income | 3745.6427 | 6844.2734 | 7925.814 | 8890.6368 | 15346.0131 | 22114.4891 | 22864.7934 | 23220.2613 | 24189.7316 | 24548.3339 | 25561.3803 | 25188.2569 | 26296.8251 | 26734.1468 | 27182.8758 | 31021.939 | 34874.7425 | 35305.0281 | 35704.4452 | 35964.5938 | 36171.3926 | 36474.1442
Federal Tax Rate | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35%
Federal Tax Expense/ (Benefit) | 1310.975 | 2395.4957 | 2774.0349 | 3111.7229 | 5371.1046 | 7740.0712 | 8002.6777 | 8127.0915 | 8466.406 | 8591.9169 | 8946.4831 | 8815.8899 | 9203.8888 | 9356.9514 | 9514.0065 | 10857.6787 | 12206.1599 | 12356.7599 | 12496.5558 | 12587.6078 | 12659.9874 | 12765.9505
NOL Carryforward | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Federal Cash Taxes Payable/(Benefit) | 1310.975 | 2395.4957 | 2774.0349 | 3111.7229 | 5371.1046 | 7740.0712 | 8002.6777 | 8127.0915 | 8466.406 | 8591.9169 | 8946.4831 | 8815.8899 | 9203.8888 | 9356.9514 | 9514.0065 | 10857.6787 | 12206.1599 | 12356.7599 | 12496.5558 | 12587.6078 | 12659.9874 | 12765.9505