## Preset Scenarios (hidden)
PRESET SCENARIOS
Annual Escalator
(include costs, revenues, and capacity prices)
Operating Expenses
Dispatch
Kaiser Capacity Price Estimates
Sensitivity Selections:
Choices | Annual Escalator (%) | Increase in Op Exp (%) | Dispatch | Kaiser Price Options
| 3 | 1 | 2 | 1
1 | 0% | 100% | 0 | Base
2 | 1.5% | 110% | 120 | Low
3 | 3% |  |  | Customize
4 | 4.5%
Chosen | 3% | 100% | 120 | Base
|  | EQUITY PARTNER'S | DSCR
|  | IRR | MIN | AVG
Current (Annual) |  | #REF! | 0 | 0
PLEASE TRACK |  | EQUITY PARTNER'S | DSCR
CHANGES | DATE | IRR | MIN | AVG

## Notes&Questions
Item | Note
Use of Funds:
EPC
Heat Rate | Use 9435/ HR used to purchase turbines
Turbine
BOP | Currently using # net of mobilization cost ($725)/What is this cost? What does it include?
Pipeline | $6MM per Oscar
Power Interconnect | $2MM of transmission improvements per Oscar/What is the KV?
SCR | No
Dual Fuel | No
Black Start | Should be $0/not in a remote location
Gas Compression to 700 PSI | Need clarification
Demineralized Water Facility | $0 ??
Chillers | Yes???/How much??
Spare Parts | Yes???/How much??
Financing Costs
Legal Fees | Need to determine
Financing Fees | Need to determine
Capitalized Interests | Would include interest during construction/need to determine
Land | Using:160 acres at $3000
Contingency | Could include extraordinary maintence???
Operating Costs Assumptions
Fixed O&M | $701 was an old #/What is the correct amount??/Doug Sewell might have "generic" # for LM6000 simple cycle
Variable O&M | Note: Fixed Price Perior is for PPA/Market Price Period is for Merchant
Using 2.03
Major Maintence | Note: Need to create separate Maj Main page that will calculate how long unit can run before MM
Insurance
SG&A
Utilties, Start Power
Marketing Fee
Admin Fees
O&M Fees
Non-Escalated Costs
Fuel
Property Taxes & Other
Debt Service Reserve Fee

## Tracking Sheet
PROJECT NAME:
TRACKING SHEET
| EQUITY | EQUITY | DSCR
| IRR WITH NO | IRR WITH | FIXED PRICE PERIOD
| RESIDUAL VALUE | RESIDUAL VALUE | MIN | AVGE
Current | #VALUE! | #VALUE! | 1.2889 | 1.3928
Changes | 26.89% | 26.89% | 1.2889 | 1.3928

## Assumptions
Unhide Sub Debt, 1999 Columns
PROJECT NAME:
ASSUMPTIONS & SUMMARY OUTPUT
SOURCES & USES: |  |  |  |  | PROJECT DESCRIPTION: |  |  | DEPRECIATION ASSUMPTIONS:
Sources of Funds |  | % | 000 $ | 000 $/kW | Type of Turbine | LM6000 |  |  | Initial Basis (000 $) | Year | Method | Residual (%)
Total Equity |  | 23.81% | 25000 | 135.8696 | Number of Turbines | 4 |  | Federal & State Tax Depreciation
Debt Issuance |  | 76.19% | 80000 | 434.7826 | Turbine Rating | 46 |  | EPC Costs | 0 | 15 | MACRS | 0%
[5 empty] | Heat Rate (HHV) | 9332 |  | Transaction Costs | 99618 | 20 | SL | 0%
Total Sources |  | 100% | 105000 | 570.6522 | Annual Operating Hours | 1200
[5 empty] | Percentage of Peak Run Time | 100% |  | Book Depreciation
[5 empty] | First Fiscal Year | 2002-12-31 |  | EPC Costs | 0 | 30 | SL | 10%
Uses of Funds |  |  |  |  | Operating Months in the 1st yr.* | 6 |  | Transaction Costs | 99618 | 20 | SL | 0%
[5 empty] | Start of Commercial Operation | 2002-05-01
EPC: |  |  |  |  | End of Commercial Operation | 2002-06-01
Turbine |  | 9.67% | 56048 | 304.6087 | Project Life (Years) | 20 |  | TAX ASSUMPTIONS:
BOP |  | 5.208% | 30189 | 164.0707 | Residual Value
Pipeline |  | 1.035% | 6000 | 32.6087 |  |  |  | Federal Income Tax Rate |  | 35%
Power Interconnection |  | 0.3451% | 2000 | 10.8696 |  |  |  | State Income Tax Rate |  | 6%
SCR |  | 0% | 0 | 0 | TECHNICAL ASSUMPTIONS: |  |  | Franchise Tax Rate |  | 0.25%
Dual Fuel |  | 0% | 0 | 0 |  |  |  | Gross Receipt Tax Rate |  | 3%
Black Start |  | 0% | 0 | 0 | Net Project Capacity (MW) | 184 |  | Annual Property Tax Rate |  | 1%
Gas Compression to 700 PSI |  | 0% | 0 | 0 | Initial Spare Parts (000$) | 1320 |  | Assessd Value Based on SL Depreciation - yrs
Demineralized Water Facility |  | 0% | 0 | 0 | Number of Starts per year | 120 |  | Salvage Value
Chillers |  | 0.7006% | 4061 | 22.0707 | Cost per Start | 0 |  | Assessd Value Multiplier
Spare Parts |  | 0.2277% | 1320 | 7.1739 | Evaporative Cooler (MW) | 12 |  | Milage Rate for School Tax
Sub Total |  | 17.19% | 99618 | 541.4022 |  |  |  | Years of School Tax Abatement
Milage rate for County Tax
Financing Costs: |  |  |  |  | PPA ASSUMPTIONS: |  |  | Years of County Tax Abatement
Legal Fees |  | 0% | 0 | 0 |  |  |  | Milage rate for City Tax
Financing Fee |  | 0% | 0 | 0 | PPA Start Date | 2001-05-01 |  | Years of City Tax Abatement
Debt Reserves |  | 0% | 0 | 0 | PPA Temination | 2021-06-01
Sub Total |  | 0% | 0 | 0
Fixed Price Period
Capitalized Interests |  | 0% | 0 | 0 | No. of Years | 3
Land |  | 82.81% | 480000 | 2608.6957 | Contractual Capacity (MW) | 184
Contingency |  | 0% | 0 | 0 | Demand Charge ($/kW-mo) | 5
[5 empty] | Energy Charge ($/MWh) | 2.03
Total Uses |  | 100% | 579618 | 3150.0978 | Block Charge ($/start/turbine) | 0
[5 empty] | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 180.32
FINANCING ASSUMPTIONS: |  |  |  |  | Net Generation (MW) | 216384
Debt Issued | 2000-08-01
Market Price Period
DEBT | Tranche 1 | Tranche 2 | Tranche 3 | Total | No. of Years | 17
Summary |  |  |  |  | Contractual Capacity | 497.4
Amount ('000 $) | 15000 | 25000 | 40000 | 80000 | Energy Charge ($/MWh) | 0.03
Term (yrs) | 4 | 10 | 20 |  | Block Charge ($/start/turbine) | #REF!
Final Maturity | 2003-07-31 | 2010-07-31 | 2020-07-31 |  | Capacity Factor (%) | 2%
Average Life (yrs) | 9.7625 | 9.7625 | 9.7625 |  | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 487.452
[5 empty] | Net Generation (MW) | 584942.4
Treasury Rate (%) | 4% | 4% | 4% | 4% | Market Period Energy Margin ($/MWh) | 1
Spread (%) | 4% | 4% | 4% | 4%
All In Coupon Rate (%) | 8% | 8% | 8% | 8% | Annual Escalator | 3%
Maximum DSR Amount (12mths) (000 $) | 10000
Maximum DSR Amount (12mths) (kW/mo.) | 0 |  |  |  | OPERATING COSTS ASSUMPTIONS:
Debt Service Reserve LOC Fee | 2% | [5 empty] | $/MW
Interest Income Rate | 5% |  |  |  | CPI Escalator | 3%
EQUITY |  |  |  |  | Escalated Costs:
Equity Closed | 2002-05-01
Equity Partner's Share | 50% | 12500 |  |  | Fixed O&M | 0 | 0
Enron's Share | 50% | 12500 |  |  | Variable O&M | 0.36605 | 0.0015217
[5 empty] | Fixed Price Period |  | 2.03
SUMMARY OUTPUT: |  |  |  |  | Market Price Period |  | 2.03
[5 empty] | Major Maintenance & Ongoing Capex | 0 | 0
DSCR |  | Avg. | Min |  | Insurance | 0 | 0
|  | 5.1399 | 0.74953 |  | SG&A | 0 | 0
[5 empty] | Utilities, Start Power | 0 | 0
Cost Summary |  | 000$/ MW |  |  | Marketing Fee |  | 0.07
EPC |  | 541.4022 |  |  | Admin Fees | 0 | 0
Soft Cost & Other Misc Project Cost |  | 2608.6957 |  |  | O&M Fees | 0 | 0
Operating Expenses |  | 4.1315
Total |  | 3154.2293 |  |  | Non-Escalated Costs:
[5 empty] | Fuel |  | 0
[5 empty] | Property Taxes & Other | 0 | 0
Equity Returns |  |  |  |  | Debt Service Reserve Fee |  | 0
20 Yrs After-Tax Cashflow & w/o Residual Value |  | #VALUE!
20 Yrs After-Tax Cashflow & w Residual Value |  | #VALUE!
Key Stats | 2000 | 2001 | 2002 | 2003
EBITDA (000 $) | 9844.2999 | 9870.0986 | 21225.8012 | 33297.7862
Net Income (000 $) | 3275.8703 | 3291.6333 | 10229.9676 | 17605.9505
Pre-Tax Cashflow (000 $) | -155.7001 | 190.0986 | 11865.8012 | 24257.7862
After-Tax Cashflow (000 $) | -303.7496 | -336.1249 | 6592.8225 | 13990.4195

## Power Price Assumption
PROJECT NAME:
CAPACITY PRICE ASSUMPTIONS
| Consultant Capacity Price Escalator | 3%
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
|  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Consultant Real $
| Base ($/kw-year) |  | 62.1359 | 64 | 62 | 61 | 59 | 58 | 57 | 56 | 56 | 55 | 55 | 54 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 47 | 46 | 45
| Low ($/kw-year) |  | 49.5146 | 51 | 52 | 52 | 52 | 52 | 52 | 50 | 48 | 45 | 43 | 41 | 40 | 39 | 37 | 36 | 35 | 35 | 35 | 34 | 34 | 34
Consultant Nominal $
| Base ($/kw-year ) |  | 65.92 | 67.8976 | 67.7491 | 68.656 | 68.3972 | 69.255 | 70.1028 | 70.9391 | 73.0673 | 73.9154 | 76.1329 | 76.9911 | 79.3008 | 80.1673 | 81.0143 | 81.84 | 82.6424 | 83.4192 | 84.1683 | 84.8872 | 85.5736 | 86.2247
| Low ($/kw-year) |  | 52.53 | 54.1059 | 56.8218 | 58.5265 | 60.2823 | 62.0907 | 63.9534 | 63.3385 | 62.6291 | 60.4762 | 59.5221 | 58.4562 | 58.7413 | 58.991 | 57.6448 | 57.7694 | 57.8497 | 59.5852 | 61.3727 | 61.4078 | 63.25 | 65.1475
1 | Base ($/kW-month) |  | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854
2 | Low ($/kW-month) |  | 4.3775 | 4.5088 | 4.7352 | 4.8772 | 5.0235 | 5.1742 | 5.3295 | 5.2782 | 5.2191 | 5.0397 | 4.9602 | 4.8713 | 4.8951 | 4.9159 | 4.8037 | 4.8141 | 4.8208 | 4.9654 | 5.1144 | 5.1173 | 5.2708 | 5.429
3 | Power Desk |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Custom |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| Market Price Scenario | 1 | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854

## IS
PROJECT NAME:
INCOME STATEMENT
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Revenue
Fixed Price Period:
Capacity Revenue |  | 5409.6 | 10819.2 | 10819.2 | 5409.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Revenue |  | 439.2595 | 452.4373 | 466.0104 | 239.9954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market Period:
Capacity Revenue |  | 0 | 0 | 0 | 16733.2614 | 33340.3375 | 33758.5044 | 34171.7551 | 34579.4181 | 35616.8007 | 36030.21 | 37111.1163 | 37529.4598 | 38655.3436 | 39077.689 | 39490.5853 | 39893.0855 | 40284.1942 | 40662.8656 | 41028.0016 | 41378.4491 | 41712.9982 | 42030.3797
Energy Revenue |  | 0 | 0 | 0 | 239.9954 | 1336.4664 | 1376.5604 | 1417.8572 | 1460.3929 | 1504.2047 | 1549.3308 | 1595.8108 | 1643.6851 | 1692.9956 | 1743.7855 | 1796.0991 | 1849.982 | 1905.4815 | 1962.6459 | 2021.5253 | 2082.1711 | 2144.6362 | 2208.9753
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Margin |  | 0 | 0 | 0 | 5.8494 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988
Ancillary Services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  | 5848.8595 | 11271.6373 | 11285.2104 | 22628.7015 | 34688.5027 | 35146.7637 | 35601.3111 | 36051.5099 | 37132.7042 | 37591.2397 | 38718.6259 | 39184.8437 | 40360.038 | 40833.1733 | 41298.3832 | 41754.7664 | 42201.3745 | 42637.2104 | 43061.2257 | 43472.319 | 43869.3333 | 44251.0539
Expense
Fuel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed O&M |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable O&M |  | 0.36605 | 0.37703 | 0.39999 | 0.43708 | 0.49194 | 0.57029 | 0.68096 | 0.8375 | 1.0609 | 1.3843 | 1.8603 | 2.5751 | 3.6715 | 5.3917 | 8.1555 | 12.7059 | 20.3893 | 33.7004 | 57.3727 | 100.6034 | 181.7009 | 338.0172
Major Maintenance & Ongoing Capex |  | 410.19 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914
Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SG&A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility Start Power |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property, Other Tax (1) |  | 0 | 540.3023 | 529.3871 | 518.4719 | 507.5567 | 496.6415 | 485.7263 | 469.3535 | 452.9807 | 436.6079 | 414.7775 | 1178.8414 | 1096.9774 | 998.7406 | 900.5038 | 802.267 | 671.2847 | 523.9295 | 376.5743 | 327.4559 | 327.4559 | 0
Debt Service Reserve LOC Fee |  | 41.6667 | 41.6667 | 40.3333 | 39 | 37.6667 | 36.3333 | 35 | 33.6667 | 32.3333 | 31 | 29.6667 | 28.3333 | 27 | 25.6667 | 24.3333 | 23 | 21.6667 | 20.3333 | 19 | 17.6667 | 0 | 0
Marketing Fee |  | 0 | 0 | 0 | 0 | 0.0098 | 0.017304 | 0.017823 | 0.018358 | 0.018909 | 0.019476 | 0.02006 | 0.020662 | 0.021282 | 0.02192 | 0.022578 | 0.023255 | 0.023953 | 0.024671 | 0.025412 | 0.026174 | 0.026959 | 0.027768
Administrative Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Expense |  | 452.2227 | 1427.3374 | 1415.1118 | 1402.9004 | 1390.7165 | 1378.5538 | 1366.4165 | 1348.8674 | 1331.3853 | 1314.003 | 1291.316 | 2054.7619 | 1972.6616 | 1874.8123 | 1778.0066 | 1682.9876 | 1558.356 | 1422.9793 | 1297.9639 | 1290.7436 | 1354.1752 | 1183.0364
EBITDA |  | 5396.6368 | 9844.2999 | 9870.0986 | 21225.8012 | 33297.7862 | 33768.2098 | 34234.8946 | 34702.6425 | 35801.319 | 36277.2366 | 37427.3099 | 37130.0818 | 38387.3765 | 38958.361 | 39520.3766 | 40071.7788 | 40643.0185 | 41214.2311 | 41763.2619 | 42181.5754 | 42515.1581 | 43068.0175
Depreciation & Amortization |  | 1494.27 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81
EBIT |  | 3902.3668 | 5361.4899 | 5387.2886 | 16742.9912 | 28814.9762 | 29285.3998 | 29752.0846 | 30219.8325 | 31318.509 | 31794.4266 | 32944.4999 | 32647.2718 | 33904.5665 | 34475.551 | 35037.5666 | 35588.9688 | 36160.2085 | 36731.4211 | 37280.4519 | 37698.7654 | 38032.3481 | 38585.2075
Interest Expense (2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBT |  | 3902.3668 | 5361.4899 | 5387.2886 | 16742.9912 | 28814.9762 | 29285.3998 | 29752.0846 | 30219.8325 | 31318.509 | 31794.4266 | 32944.4999 | 32647.2718 | 33904.5665 | 34475.551 | 35037.5666 | 35588.9688 | 36160.2085 | 36731.4211 | 37280.4519 | 37698.7654 | 38032.3481 | 38585.2075
Book State Tax Benefit / (Expense) | 6% | -234.142 | -321.6894 | -323.2373 | -1004.5795 | -1728.8986 | -1757.124 | -1785.1251 | -1813.1899 | -1879.1105 | -1907.6656 | -1976.67 | -1958.8363 | -2034.274 | -2068.5331 | -2102.254 | -2135.3381 | -2169.6125 | -2203.8853 | -2236.8271 | -2261.9259 | -2281.9409 | -2315.1124
Shareholder Fed. Tax Benefit / (Expense) | 35% | -1283.8787 | -1763.9302 | -1772.4179 | -5508.4441 | -9480.1272 | -9634.8965 | -9788.4358 | -9942.3249 | -10303.7894 | -10460.3664 | -10838.7405 | -10740.9524 | -11154.6024 | -11342.4563 | -11527.3594 | -11708.7707 | -11896.7086 | -12084.6375 | -12265.2687 | -12402.8938 | -12512.6425 | -12694.5333
Net Income |  | 2384.3461 | 3275.8703 | 3291.6333 | 10229.9676 | 17605.9505 | 17893.3793 | 18178.5237 | 18464.3176 | 19135.609 | 19426.3947 | 20129.0894 | 19947.4831 | 20715.6901 | 21064.5617 | 21407.9532 | 21744.8599 | 22093.8874 | 22442.8983 | 22778.3561 | 23033.9457 | 23237.7647 | 23575.5618

## CF
PROJECT NAME:
ANNUAL CASH FLOW AND IRR
PROJECT CASH FLOW
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
EBITDA |  | 5396.6368 | 9844.2999 | 9870.0986 | 21225.8012 | 33297.7862 | 33768.2098 | 34234.8946 | 34702.6425 | 35801.319 | 36277.2366 | 37427.3099 | 37130.0818 | 38387.3765 | 38958.361 | 39520.3766 | 40071.7788 | 40643.0185 | 41214.2311 | 41763.2619 | 42181.5754 | 42515.1581 | 43068.0175
Plus Capitalized Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Principal Payments |  | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | 0 | 0
Less Interest Payments |  | -3200 | -6000 | -5680 | -5360 | -5040 | -4720 | -4400 | -4080 | -3760 | -3440 | -3120 | -2800 | -2480 | -2160 | -1840 | -1520 | -1200 | -880 | -560 | -240 | 0 | 0
Pre Tax Cash Flow |  | -1803.3632 | -155.7001 | 190.0986 | 11865.8012 | 24257.7862 | 25048.2098 | 25834.8946 | 26622.6425 | 28041.319 | 28837.2366 | 30307.3099 | 30330.0818 | 31907.3765 | 32798.361 | 33680.3766 | 34551.7788 | 35443.0185 | 36334.2311 | 37203.2619 | 37941.5754 | 42515.1581 | 43068.0175
EGC's State Tax Benefit / (Expense) |  | -24.9442 | -22.8354 | -81.1656 | -813.3129 | -1583.6555 | -1653.7205 | -1701.446 | -1728.9131 | -1795.4314 | -1823.3888 | -1892.9909 | -1874.5595 | -1950.5949 | -1984.2562 | -2018.5749 | -2227.9829 | -2438.5811 | -2472.8539 | -2505.7957 | -2530.8945 | -2550.9095 | -2584.081
EGC's Federal Tax Benefit / (Expense) |  | -136.7774 | -125.2141 | -445.0579 | -4459.6658 | -8683.7112 | -9067.9008 | -9329.5953 | -9480.2069 | -9844.9489 | -9998.2484 | -10379.9 | -10278.8345 | -10695.7619 | -10880.3383 | -11068.5189 | -12216.7727 | -13371.5531 | -13559.482 | -13740.1132 | -13877.7383 | -13987.487 | -14169.3778
After Tax Cash Flow |  | -1965.0848 | -303.7496 | -336.1249 | 6592.8225 | 13990.4195 | 14326.5885 | 14803.8533 | 15413.5224 | 16400.9386 | 17015.5994 | 18034.4191 | 18176.6878 | 19261.0197 | 19933.7664 | 20593.2828 | 20107.0232 | 19632.8843 | 20301.8952 | 20957.353 | 21532.9426 | 25976.7616 | 26314.5587
Equity Partner Net Income | 50% | 0 | 1637.9352 | 1645.8167 | 5114.9838 | 8802.9752 | 8946.6896 | 9089.2619 | 9232.1588 | 9567.8045 | 9713.1973 | 10064.5447 | 9973.7415 | 10357.8451 | 10532.2808 | 10703.9766 | 10872.43 | 11046.9437 | 11221.4491 | 11389.178 | 11516.9728 | 11618.8823 | 11787.7809
Equity Partner Distributable Cash | 50% | -982.5424 | -151.8748 | -168.0624 | 3296.4112 | 6995.2098 | 7163.2943 | 7401.9267 | 7706.7612 | 8200.4693 | 8507.7997 | 9017.2095 | 9088.3439 | 9630.5099 | 9966.8832 | 10296.6414 | 10053.5116 | 9816.4422 | 10150.9476 | 10478.6765 | 10766.4713 | 12988.3808 | 13157.2793
EQUITY PARTNER'S CASHFLOW
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
|  | 2000-12-31 | 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31
Pre Tax Cash Flow |  | -901.6816 | -77.85 | 95.0493 | 5932.9006 | 12128.8931 | 12524.1049 | 12917.4473 | 13311.3212 | 14020.6595 | 14418.6183 | 15153.655 | 15165.0409 | 15953.6882 | 16399.1805 | 16840.1883 | 17275.8894 | 17721.5093 | 18167.1155 | 18601.6309 | 18970.7877 | 21257.579 | 21534.0087
Equity Partner's State Taxes Benefit (Expense) |  | -12.4721 | -11.4177 | -40.5828 | -406.6565 | -791.8278 | -826.8603 | -850.723 | -864.4566 | -897.7157 | -911.6944 | -946.4954 | -937.2797 | -975.2974 | -992.1281 | -1009.2874 | -1113.9914 | -1219.2906 | -1236.4269 | -1252.8979 | -1265.4473 | -1275.4547 | -1292.0405
Equity Partner's Federal Taxes Benefit (Expense) |  | -68.3887 | -62.607 | -222.529 | -2229.8329 | -4341.8556 | -4533.9504 | -4664.7977 | -4740.1035 | -4922.4745 | -4999.1242 | -5189.95 | -5139.4172 | -5347.8809 | -5440.1692 | -5534.2595 | -6108.3864 | -6685.7766 | -6779.741 | -6870.0566 | -6938.8692 | -6993.7435 | -7084.6889
After Tax Cash Flow |  | -982.5424 | -151.8748 | -168.0624 | 3296.4112 | 6995.2098 | 7163.2943 | 7401.9267 | 7706.7612 | 8200.4693 | 8507.7997 | 9017.2095 | 9088.3439 | 9630.5099 | 9966.8832 | 10296.6414 | 10053.5116 | 9816.4422 | 10150.9476 | 10478.6765 | 10766.4713 | 12988.3808 | 13157.2793
Equity Contributions from Equity Partner |  | -12500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Partner's Cashflow with No Residual
CF |  | -13482.5424 | -151.8748 | -168.0624 | 3296.4112 | 6995.2098 | 7163.2943 | 7401.9267 | 7706.7612 | 8200.4693 | 8507.7997 | 9017.2095 | 9088.3439 | 9630.5099 | 9966.8832 | 10296.6414 | 10053.5116 | 9816.4422 | 10150.9476 | 10478.6765 | 10766.4713 | 12988.3808 | 13157.2793
IRR |  | 2000-12-31: #VALUE!
Equity Partner's Cashflow with Residual Value
CF |  | -13482.5424 | -151.8748 | -168.0624 | 3296.4112 | 6995.2098 | 7163.2943 | 7401.9267 | 7706.7612 | 8200.4693 | 8507.7997 | 9017.2095 | 9088.3439 | 9630.5099 | 9966.8832 | 10296.6414 | 10053.5116 | 9816.4422 | 10150.9476 | 10478.6765 | 10766.4713 | 12988.3808 | 13157.2793
Residual Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net CF |  | -13482.5424 | -151.8748 | -168.0624 | 3296.4112 | 6995.2098 | 7163.2943 | 7401.9267 | 7706.7612 | 8200.4693 | 8507.7997 | 9017.2095 | 9088.3439 | 9630.5099 | 9966.8832 | 10296.6414 | 10053.5116 | 9816.4422 | 10150.9476 | 10478.6765 | 10766.4713 | 12988.3808 | 13157.2793
Equity Partner's After-Tax IRR w/ 5x EBITDA Residual (20 yr.) |  | 2000-12-31: #VALUE!

## Debt
|  | Tranche 1 | [5 empty] | Tranche 2 | [5 empty] | Tranche 3
|  | 3 year Treasury (as of April 26) |  |  | 4% |  |  | 8 year Treasury (as of April 26) |  |  | 4% |  |  | 30 year Treasury (as of April 26) |  |  | 4%
|  | Spread |  |  | 4% |  |  | Spread |  |  | 4% |  |  | Spread |  |  | 4%
|  | All In Coupon Rate |  |  | 8% |  |  | All In Coupon Rate |  |  | 8% |  |  | All In Coupon Rate |  |  | 8%
|  | Maturity Tranche 1 |  |  | 2.9952 |  |  | Maturity Tranche 2 |  |  | 9.9959 |  |  | Maturity Tranche 2 |  |  | 19.9973
|  | Average Life Tranche 1 |  |  | 9.7625 |  |  | Average Life Tranche 2 |  |  | 9.7625 |  |  | Average Life Tranche 3 |  |  | 9.7625
|  | Total amount ($ '000) |  |  | 15000 |  |  | Total amount ($ '000) |  |  | 25000 |  |  | Total amount ($ '000) |  |  | 40000
PROJECT NAME:
DEBT ISSUANCE
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Annual Amortization Tranche 1 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 2 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 3 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 1 @ 8%
2000-08-01
Beginning Balance | 15000 | 14250 | 13500 | 12750 | 12000 | 11250 | 10500 | 9750 | 9000 | 8250 | 7500 | 6750 | 6000 | 5250 | 4500 | 3750 | 3000 | 2250 | 1500 | 750 | 0 | 0
Principal Payment | 0 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 0 | 0
Interest Payment | 0 | 570 | 540 | 510 | 480 | 450 | 420 | 390 | 360 | 330 | 300 | 270 | 240 | 210 | 180 | 150 | 120 | 90 | 60 | 30 | 0 | 0
Ending Balance | 15000 | 13875 | 13125 | 12375 | 11625 | 10875 | 10125 | 9375 | 8625 | 7875 | 7125 | 6375 | 5625 | 4875 | 4125 | 3375 | 2625 | 1875 | 1125 | 375 | 0 | 0
2000-02-01
Beginning Balance | 15000 | 13875 | 13125 | 12375 | 11625 | 10875 | 10125 | 9375 | 8625 | 7875 | 7125 | 6375 | 5625 | 4875 | 4125 | 3375 | 2625 | 1875 | 1125 | 375 | 0 | 0
Principal Payment | 750 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 0 | 0
Interest Payment | 600 | 555 | 525 | 495 | 465 | 435 | 405 | 375 | 345 | 315 | 285 | 255 | 225 | 195 | 165 | 135 | 105 | 75 | 45 | 15 | 0 | 0
Ending Balance | 14250 | 13500 | 12750 | 12000 | 11250 | 10500 | 9750 | 9000 | 8250 | 7500 | 6750 | 6000 | 5250 | 4500 | 3750 | 3000 | 2250 | 1500 | 750 | 0 | 0 | 0
Cash Interest Expense | 600 | 1125 | 1065 | 1005 | 945 | 885 | 825 | 765 | 705 | 645 | 585 | 525 | 465 | 405 | 345 | 285 | 225 | 165 | 105 | 45 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 0 | 0
Tranche 2 @ 8%
2000-08-01
Beginning Balance | 25000 | 23750 | 22500 | 21250 | 20000 | 18750 | 17500 | 16250 | 15000 | 13750 | 12500 | 11250 | 10000 | 8750 | 7500 | 6250 | 5000 | 3750 | 2500 | 1250 | 0 | 0
Principal Payment | 0 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 0 | 0
Interest Payment | 0 | 950 | 900 | 850 | 800 | 750 | 700 | 650 | 600 | 550 | 500 | 450 | 400 | 350 | 300 | 250 | 200 | 150 | 100 | 50 | 0 | 0
Ending Balance | 25000 | 23125 | 21875 | 20625 | 19375 | 18125 | 16875 | 15625 | 14375 | 13125 | 11875 | 10625 | 9375 | 8125 | 6875 | 5625 | 4375 | 3125 | 1875 | 625 | 0 | 0
2000-02-01
Beginning Balance | 25000 | 23125 | 21875 | 20625 | 19375 | 18125 | 16875 | 15625 | 14375 | 13125 | 11875 | 10625 | 9375 | 8125 | 6875 | 5625 | 4375 | 3125 | 1875 | 625 | 0 | 0
Principal Payment | 1250 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 0 | 0
Interest Payment | 1000 | 925 | 875 | 825 | 775 | 725 | 675 | 625 | 575 | 525 | 475 | 425 | 375 | 325 | 275 | 225 | 175 | 125 | 75 | 25 | 0 | 0
Ending Balance | 23750 | 22500 | 21250 | 20000 | 18750 | 17500 | 16250 | 15000 | 13750 | 12500 | 11250 | 10000 | 8750 | 7500 | 6250 | 5000 | 3750 | 2500 | 1250 | 0 | 0 | 0
Cash Interest Expense | 1000 | 1875 | 1775 | 1675 | 1575 | 1475 | 1375 | 1275 | 1175 | 1075 | 975 | 875 | 775 | 675 | 575 | 475 | 375 | 275 | 175 | 75 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 0 | 0
Tranche 3 @ 8%
2000-08-01
Beginning Balance | 40000 | 38000 | 36000 | 34000 | 32000 | 30000 | 28000 | 26000 | 24000 | 22000 | 20000 | 18000 | 16000 | 14000 | 12000 | 10000 | 8000 | 6000 | 4000 | 2000 | 0 | 0
Principal Payment | 0 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 0 | 0
Interest Payment | 0 | 1520 | 1440 | 1360 | 1280 | 1200 | 1120 | 1040 | 960 | 880 | 800 | 720 | 640 | 560 | 480 | 400 | 320 | 240 | 160 | 80 | 0 | 0
Ending Balance | 40000 | 37000 | 35000 | 33000 | 31000 | 29000 | 27000 | 25000 | 23000 | 21000 | 19000 | 17000 | 15000 | 13000 | 11000 | 9000 | 7000 | 5000 | 3000 | 1000 | 0 | 0
2000-02-01
Beginning Balance | 40000 | 37000 | 35000 | 33000 | 31000 | 29000 | 27000 | 25000 | 23000 | 21000 | 19000 | 17000 | 15000 | 13000 | 11000 | 9000 | 7000 | 5000 | 3000 | 1000 | 0 | 0
Principal Payment | 2000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 0 | 0
Interest Payment | 1600 | 1480 | 1400 | 1320 | 1240 | 1160 | 1080 | 1000 | 920 | 840 | 760 | 680 | 600 | 520 | 440 | 360 | 280 | 200 | 120 | 40 | 0 | 0
Ending Balance | 38000 | 36000 | 34000 | 32000 | 30000 | 28000 | 26000 | 24000 | 22000 | 20000 | 18000 | 16000 | 14000 | 12000 | 10000 | 8000 | 6000 | 4000 | 2000 | 0 | 0 | 0
Cash Interest Expense | 1600 | 3000 | 2840 | 2680 | 2520 | 2360 | 2200 | 2040 | 1880 | 1720 | 1560 | 1400 | 1240 | 1080 | 920 | 760 | 600 | 440 | 280 | 120 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 | 0
EBITDA | 5396.6368 | 9844.2999 | 9870.0986 | 21225.8012 | 33297.7862 | 33768.2098 | 34234.8946 | 34702.6425 | 35801.319 | 36277.2366 | 37427.3099 | 37130.0818 | 38387.3765 | 38958.361 | 39520.3766 | 40071.7788 | 40643.0185 | 41214.2311 | 41763.2619 | 42181.5754 | 42515.1581 | 43068.0175
Tranche 1 Cash Debt Service | 1350 | 1875 | 1815 | 1755 | 1695 | 1635 | 1575 | 1515 | 1455 | 1395 | 1335 | 1275 | 1215 | 1155 | 1095 | 1035 | 975 | 915 | 855 | 795 | 0 | 0
Tranche 2 Cash Debt Service | 2250 | 3125 | 3025 | 2925 | 2825 | 2725 | 2625 | 2525 | 2425 | 2325 | 2225 | 2125 | 2025 | 1925 | 1825 | 1725 | 1625 | 1525 | 1425 | 1325 | 0 | 0
Tranche 3 Cash Debt Service | 3600 | 5000 | 4840 | 4680 | 4520 | 4360 | 4200 | 4040 | 3880 | 3720 | 3560 | 3400 | 3240 | 3080 | 2920 | 2760 | 2600 | 2440 | 2280 | 2120 | 0 | 0
Less Capitalized Interest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Debt Service | 7200 | 10000 | 9680 | 9360 | 9040 | 8720 | 8400 | 8080 | 7760 | 7440 | 7120 | 6800 | 6480 | 6160 | 5840 | 5520 | 5200 | 4880 | 4560 | 4240 | 0 | 0
Total Cash Interest Expense | 3200 | 6000 | 5680 | 5360 | 5040 | 4720 | 4400 | 4080 | 3760 | 3440 | 3120 | 2800 | 2480 | 2160 | 1840 | 1520 | 1200 | 880 | 560 | 240 | 0 | 0
Total Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 0 | 0
DSCR Fixed Price PPA Period | 0.74953 | 0.98443 | 1.0196 | 2.2677 | 3.6834 | 3.8725 | 4.0756 | 4.2949 | 4.6136 | 4.876 | 5.2566 | 5.4603 | 5.924 | 6.3244 | 6.7672 | 7.2594 | 7.816 | 8.4455 | 9.1586 | 9.9485
Average DSCR | 5.1399
Minimum DSCR | 0.74953
Amortization Option | 2
Tranche 1
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 2
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 3
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Time Factor | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
Average Life
Tranche 1 | 9.7625
Tranche 2 | 9.7625
Tranche 3 | 9.7625

## Depreciation
PROJECT NAME:
DEPRECIATION SCHEDULE
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
(Months) |  |  | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
US FEDERAL TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 99618 |  | 4980.9 | 9463.71 | 8517.339 | 7670.586 | 6903.5274 | 6206.2014 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 2938.731 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 99618 |  | 4980.9 | 9463.71 | 8517.339 | 7670.586 | 6903.5274 | 6206.2014 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 2938.731 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 99618 |  | 94637.1 | 85173.39 | 76656.051 | 68985.465 | 62081.9376 | 55875.7362 | 49998.2742 | 44110.8504 | 38233.3884 | 32345.9646 | 26468.5026 | 20581.0788 | 14703.6168 | 8816.193 | 2938.731 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11
STATE TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 99618 |  | 4980.9 | 9463.71 | 8517.339 | 7670.586 | 6903.5274 | 6206.2014 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 2938.731 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 99618 |  | 4980.9 | 9463.71 | 8517.339 | 7670.586 | 6903.5274 | 6206.2014 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 5887.4238 | 5877.462 | 2938.731 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 99618 |  | 94637.1 | 85173.39 | 76656.051 | 68985.465 | 62081.9376 | 55875.7362 | 49998.2742 | 44110.8504 | 38233.3884 | 32345.9646 | 26468.5026 | 20581.0788 | 14703.6168 | 8816.193 | 2938.731 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11 | 1.819e-11
BOOK DEPRECIATION & AMORTIZATION
| Years | Residual
Total Hard Costs, Capitalized Interests, and Contingency- SL | 30 | 10% | 1.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs, Capitalized Interests, and Contingency- SL | 99618 |  | 1494.27 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81
Transaction Costs | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 99618 |  | 1494.27 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81
Ending Book Value of Assets | 99618 |  | 98123.73 | 93640.92 | 89158.11 | 84675.3 | 80192.49 | 75709.68 | 71226.87 | 66744.06 | 62261.25 | 57778.44 | 53295.63 | 48812.82 | 44330.01 | 39847.2 | 35364.39 | 30881.58 | 26398.77 | 21915.96 | 17433.15 | 12950.34 | 8467.53 | 3984.72

## Tax
PROJECT NAME:
TAXES
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
STATE TAXES
State Income Taxes
Pretax Book Income | 3902.3668 | 5361.4899 | 5387.2886 | 16742.9912 | 28814.9762 | 29285.3998 | 29752.0846 | 30219.8325 | 31318.509 | 31794.4266 | 32944.4999 | 32647.2718 | 33904.5665 | 34475.551 | 35037.5666 | 35588.9688 | 36160.2085 | 36731.4211 | 37280.4519 | 37698.7654 | 38032.3481 | 38585.2075
Plus Book Depreciation & Amortization | 1494.27 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81
Less State Tax Depreciation | -4980.9 | -9463.71 | -8517.339 | -7670.586 | -6903.5274 | -6206.2014 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -2938.731 | 0 | 0 | 0 | 0 | 0 | 0
State Taxable Income | 415.7368 | 380.5899 | 1352.7596 | 13555.2152 | 26394.2588 | 27562.0084 | 28357.4326 | 28815.2187 | 29923.857 | 30389.8128 | 31549.8479 | 31242.658 | 32509.9145 | 33070.9372 | 33642.9146 | 37133.0478 | 40643.0185 | 41214.2311 | 41763.2619 | 42181.5754 | 42515.1581 | 43068.0175
State Taxable Income | 415.7368 | 380.5899 | 1352.7596 | 13555.2152 | 26394.2588 | 27562.0084 | 28357.4326 | 28815.2187 | 29923.857 | 30389.8128 | 31549.8479 | 31242.658 | 32509.9145 | 33070.9372 | 33642.9146 | 37133.0478 | 40643.0185 | 41214.2311 | 41763.2619 | 42181.5754 | 42515.1581 | 43068.0175
State Income Tax Rate | bar: 2002 to 2023
Current State Income Tax Expense (Benefit) | 24.9442 | 22.8354 | 81.1656 | 813.3129 | 1583.6555 | 1653.7205 | 1701.446 | 1728.9131 | 1795.4314 | 1823.3888 | 1892.9909 | 1874.5595 | 1950.5949 | 1984.2562 | 2018.5749 | 2227.9829 | 2438.5811 | 2472.8539 | 2505.7957 | 2530.8945 | 2550.9095 | 2584.081
Beginning NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expired NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL STATE TAXES | 24.9442 | 22.8354 | 81.1656 | 813.3129 | 1583.6555 | 1653.7205 | 1701.446 | 1728.9131 | 1795.4314 | 1823.3888 | 1892.9909 | 1874.5595 | 1950.5949 | 1984.2562 | 2018.5749 | 2227.9829 | 2438.5811 | 2472.8539 | 2505.7957 | 2530.8945 | 2550.9095 | 2584.081
Plus: Supplemental Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total State Taxes Utilizing NOLs | 24.9442 | 22.8354 | 81.1656 | 813.3129 | 1583.6555 | 1653.7205 | 1701.446 | 1728.9131 | 1795.4314 | 1823.3888 | 1892.9909 | 1874.5595 | 1950.5949 | 1984.2562 | 2018.5749 | 2227.9829 | 2438.5811 | 2472.8539 | 2505.7957 | 2530.8945 | 2550.9095 | 2584.081
FEDERAL TAXES
Pretax Book Income | 3902.3668 | 5361.4899 | 5387.2886 | 16742.9912 | 28814.9762 | 29285.3998 | 29752.0846 | 30219.8325 | 31318.509 | 31794.4266 | 32944.4999 | 32647.2718 | 33904.5665 | 34475.551 | 35037.5666 | 35588.9688 | 36160.2085 | 36731.4211 | 37280.4519 | 37698.7654 | 38032.3481 | 38585.2075
Plus Book Depreciation & Amortization | 1494.27 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81 | 4482.81
Less: Federal Tax Depreciation | -4980.9 | -9463.71 | -8517.339 | -7670.586 | -6903.5274 | -6206.2014 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -5887.4238 | -5877.462 | -2938.731 | 0 | 0 | 0 | 0 | 0 | 0
Less: State Taxes | -24.9442 | -22.8354 | -81.1656 | -813.3129 | -1583.6555 | -1653.7205 | -1701.446 | -1728.9131 | -1795.4314 | -1823.3888 | -1892.9909 | -1874.5595 | -1950.5949 | -1984.2562 | -2018.5749 | -2227.9829 | -2438.5811 | -2472.8539 | -2505.7957 | -2530.8945 | -2550.9095 | -2584.081
Taxable Income | 390.7926 | 357.7545 | 1271.594 | 12741.9022 | 24810.6033 | 25908.2879 | 26655.9867 | 27086.3055 | 28128.4255 | 28566.424 | 29656.857 | 29368.0985 | 30559.3196 | 31086.681 | 31624.3398 | 34905.0649 | 38204.4374 | 38741.3772 | 39257.4662 | 39650.6809 | 39964.2486 | 40483.9364
Federal Tax Rate | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35%
Federal Tax Expense/ (Benefit) | 136.7774 | 125.2141 | 445.0579 | 4459.6658 | 8683.7112 | 9067.9008 | 9329.5953 | 9480.2069 | 9844.9489 | 9998.2484 | 10379.9 | 10278.8345 | 10695.7619 | 10880.3383 | 11068.5189 | 12216.7727 | 13371.5531 | 13559.482 | 13740.1132 | 13877.7383 | 13987.487 | 14169.3778
NOL Carryforward | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Federal Cash Taxes Payable/(Benefit) | 136.7774 | 125.2141 | 445.0579 | 4459.6658 | 8683.7112 | 9067.9008 | 9329.5953 | 9480.2069 | 9844.9489 | 9998.2484 | 10379.9 | 10278.8345 | 10695.7619 | 10880.3383 | 11068.5189 | 12216.7727 | 13371.5531 | 13559.482 | 13740.1132 | 13877.7383 | 13987.487 | 14169.3778