## Preset Scenarios (hidden)
PRESET SCENARIOS
Annual Escalator
(include costs, revenues, and capacity prices)
Operating Expenses
Dispatch
Kaiser Capacity Price Estimates
Sensitivity Selections:
Choices | Annual Escalator (%) | Increase in Op Exp (%) | Dispatch | Kaiser Price Options
| 3 | 1 | 2 | 1
1 | 0% | 100% | 0 | Base
2 | 1.5% | 110% | 120 | Low
3 | 3% |  |  | Customize
4 | 4.5%
Chosen | 3% | 100% | 120 | Base
|  | EQUITY PARTNER'S | DSCR
|  | IRR | MIN | AVG
Current (Annual) |  | #REF! | 0 | 0
PLEASE TRACK |  | EQUITY PARTNER'S | DSCR
CHANGES | DATE | IRR | MIN | AVG

## Tracking Sheet
PROJECT NAME:
TRACKING SHEET
| EQUITY | EQUITY | DSCR
| IRR WITH NO | IRR WITH | FIXED PRICE PERIOD
| RESIDUAL VALUE | RESIDUAL VALUE | MIN | AVGE
Current | #VALUE! | #VALUE! | 1.2889 | 1.3928
Changes | 26.89% | 26.89% | 1.2889 | 1.3928

## Assumptions
Unhide Sub Debt, 1999 Columns
PROJECT NAME:
ASSUMPTIONS & SUMMARY OUTPUT
SOURCES & USES: |  |  |  |  | PROJECT DESCRIPTION: |  |  | DEPRECIATION ASSUMPTIONS:
Sources of Funds |  | % | 000 $ | 000 $/kW | Type of Turbine | LM6000 |  |  | Initial Basis (000 $) | Year | Method | Residual (%)
Total Equity |  | 23.81% | 25000 | 135.8696 | Number of Turbines | 4 |  | Federal & State Tax Depreciation
Debt Issuance |  | 76.19% | 80000 | 434.7826 | Turbine Rating | 46 |  | EPC Costs | 0 | 15 | MACRS | 0%
[5 empty] | Heat Rate (HHV) | 9332 |  | Transaction Costs | 99768 | 20 | SL | 0%
Total Sources |  | 100% | 105000 | 570.6522 | Annual Operating Hours | 1200
[5 empty] | Percentage of Peak Run Time | 100% |  | Book Depreciation
[5 empty] | First Fiscal Year | 2002-12-31 |  | EPC Costs | 0 | 30 | SL | 10%
Uses of Funds |  |  |  |  | Operating Months in the 1st yr.* | 6 |  | Transaction Costs | 99768 | 20 | SL | 0%
[5 empty] | Start of Commercial Operation | 2002-05-01
EPC: |  |  |  |  | End of Commercial Operation | 2002-06-01
Turbine |  | 54.9% | 56048 | 304.6087 | Project Life (Years) | 20 |  | TAX ASSUMPTIONS:
BOP |  | 29.57% | 30189 | 164.0707 | Residual Value
Pipeline |  | 5.29% | 5400 | 29.3478 |  |  |  | Federal Income Tax Rate |  | 35%
Power Interconnection |  | 1.112% | 1135 | 6.1685 |  |  |  | State Income Tax Rate |  | 6%
SCR |  | 0% | 0 | 0 | TECHNICAL ASSUMPTIONS: |  |  | Franchise Tax Rate |  | 0.25%
Dual Fuel |  | 0% | 0 | 0 |  |  |  | Gross Receipt Tax Rate |  | 3%
Black Start |  | 0.9796% | 1000 | 5.4348 | Net Project Capacity (MW) | 184 |  | Annual Property Tax Rate |  | 1%
Gas Compression to 700 PSI |  | 0.6024% | 615 | 3.3424 | Initial Spare Parts (000$) | 1320 |  | Assessd Value Based on SL Depreciation - yrs
Demineralized Water Facility |  | 0% | 0 | 0 | Number of Starts per year | 120 |  | Salvage Value
Chillers |  | 3.978% | 4061 | 22.0707 | Cost per Start | 0 |  | Assessd Value Multiplier
Spare Parts |  | 1.293% | 1320 | 7.1739 | Evaporative Cooler (MW) | 12 |  | Milage Rate for School Tax
Sub Total |  | 97.73% | 99768 | 542.2174 |  |  |  | Years of School Tax Abatement
Milage rate for County Tax
Financing Costs: |  |  |  |  | PPA ASSUMPTIONS: |  |  | Years of County Tax Abatement
Legal Fees |  | 0% | 0 | 0 |  |  |  | Milage rate for City Tax
Financing Fee |  | 0.9796% | 1000 | 5.4348 | PPA Start Date | 2001-05-01 |  | Years of City Tax Abatement
Debt Reserves |  | 0% | 0 | 0 | PPA Temination | 2021-06-01
Sub Total |  | 0.9796% | 1000 | 5.4348
Fixed Price Period
Capitalized Interests |  | 0.8375% | 855 | 4.6467 | No. of Years | 3
Land |  | 0.452% | 461.44 | 2.5078 | Contractual Capacity (MW) | 184
Contingency |  | 0% | 0 | 0 | Demand Charge ($/kW-mo) | 5
[5 empty] | Energy Charge ($/MWh) | 1.4087
Total Uses |  | 100% | 102084.44 | 554.8067 | Block Charge ($/start/turbine) | 0
[5 empty] | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 180.32
FINANCING ASSUMPTIONS: |  |  |  |  | Net Generation (MW) | 216384
Debt Issued | 2000-08-01
Market Price Period
DEBT | Tranche 1 | Tranche 2 | Tranche 3 | Total | No. of Years | 17
Summary |  |  |  |  | Contractual Capacity | 497.4
Amount ('000 $) | 15000 | 25000 | 40000 | 80000 | Energy Charge ($/MWh) | 0.03
Term (yrs) | 4 | 10 | 20 |  | Block Charge ($/start/turbine) | #REF!
Final Maturity | 2003-07-31 | 2010-07-31 | 2020-07-31 |  | Capacity Factor (%) | 2%
Average Life (yrs) | 9.7625 | 9.7625 | 9.7625 |  | Degradation Factor (%) | 2%
[5 empty] | Degraded Capacity (MW) | 487.452
[5 empty] | Net Generation (MW) | 584942.4
Treasury Rate (%) | 4% | 4% | 4% | 4% | Market Period Energy Margin ($/MWh) | 1
Spread (%) | 4% | 4% | 4% | 4%
All In Coupon Rate (%) | 8% | 8% | 8% | 8% | Annual Escalator | 3%
Maximum DSR Amount (12mths) (000 $) | 10000
Maximum DSR Amount (12mths) (kW/mo.) | 0 |  |  |  | OPERATING COSTS ASSUMPTIONS:
Debt Service Reserve LOC Fee | 2% | [5 empty] | $/MW
Interest Income Rate | 5% |  |  |  | CPI Escalator | 3%
EQUITY |  |  |  |  | Escalated Costs:
Equity Closed | 2002-05-01
Equity Partner's Share | 50% | 12500 |  |  | Fixed O&M | 701.45 | 0
Enron's Share | 50% | 12500 |  |  | Variable O&M | 0.25403 | 0.0015217
[5 empty] | Fixed Price Period |  | 1.4087
SUMMARY OUTPUT: |  |  |  |  | Market Price Period |  | 1.4087
[5 empty] | Major Maintenance & Ongoing Capex | 1349.28 | 29.3322
DSCR |  | Avg. | Min |  | Insurance | 255.76 | 0
|  | 4.7002 | 0.60605 |  | SG&A | 443.2203 | 0
[5 empty] | Utilities, Start Power | 44.112 | 15.2489
Cost Summary |  | 000$/ MW |  |  | Marketing Fee |  | 0.07
EPC |  | 542.2174 |  |  | Admin Fees | 152.9412 | 29.3322
Soft Cost & Other Misc Project Cost |  | 18.0241 |  |  | O&M Fees | 200 | 5.56
Operating Expenses |  | 90.0349
Total |  | 650.2764 |  |  | Non-Escalated Costs:
[5 empty] | Fuel |  | 3.3248
[5 empty] | Property Taxes & Other | 844.787 | 4.3478
Equity Returns |  |  |  |  | Debt Service Reserve Fee |  | 0
20 Yrs After-Tax Cashflow & w/o Residual Value |  | #VALUE!
20 Yrs After-Tax Cashflow & w Residual Value |  | #VALUE!
Key Stats | 2000 | 2001 | 2002 | 2003
EBITDA (000 $) | 7854.5455 | 7820.6551 | 19114.882 | 30865.8473
Net Income (000 $) | 1997.9611 | 1977.2541 | 8878.0267 | 16057.8665
Pre-Tax Cashflow (000 $) | -2145.4545 | -1859.3449 | 9754.882 | 21825.8473
After-Tax Cashflow (000 $) | -1526.5095 | -1563.5918 | 5486.1634 | 12554.9562

## Power Price Assumption
PROJECT NAME:
CAPACITY PRICE ASSUMPTIONS
| Consultant Capacity Price Escalator | 3%
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
|  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Consultant Real $
| Base ($/kw-year) |  | 62.1359 | 64 | 62 | 61 | 59 | 58 | 57 | 56 | 56 | 55 | 55 | 54 | 54 | 53 | 52 | 51 | 50 | 49 | 48 | 47 | 46 | 45
| Low ($/kw-year) |  | 49.5146 | 51 | 52 | 52 | 52 | 52 | 52 | 50 | 48 | 45 | 43 | 41 | 40 | 39 | 37 | 36 | 35 | 35 | 35 | 34 | 34 | 34
Consultant Nominal $
| Base ($/kw-year ) |  | 65.92 | 67.8976 | 67.7491 | 68.656 | 68.3972 | 69.255 | 70.1028 | 70.9391 | 73.0673 | 73.9154 | 76.1329 | 76.9911 | 79.3008 | 80.1673 | 81.0143 | 81.84 | 82.6424 | 83.4192 | 84.1683 | 84.8872 | 85.5736 | 86.2247
| Low ($/kw-year) |  | 52.53 | 54.1059 | 56.8218 | 58.5265 | 60.2823 | 62.0907 | 63.9534 | 63.3385 | 62.6291 | 60.4762 | 59.5221 | 58.4562 | 58.7413 | 58.991 | 57.6448 | 57.7694 | 57.8497 | 59.5852 | 61.3727 | 61.4078 | 63.25 | 65.1475
1 | Base ($/kW-month) |  | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854
2 | Low ($/kW-month) |  | 4.3775 | 4.5088 | 4.7352 | 4.8772 | 5.0235 | 5.1742 | 5.3295 | 5.2782 | 5.2191 | 5.0397 | 4.9602 | 4.8713 | 4.8951 | 4.9159 | 4.8037 | 4.8141 | 4.8208 | 4.9654 | 5.1144 | 5.1173 | 5.2708 | 5.429
3 | Power Desk |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Custom |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| Market Price Scenario | 1 | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854

## IS
PROJECT NAME:
INCOME STATEMENT
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Revenue
Fixed Price Period:
Capacity Revenue |  | 5409.6 | 10819.2 | 10819.2 | 5409.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Revenue |  | 304.8306 | 313.9755 | 323.3947 | 166.5483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market Period:
Capacity Revenue |  | 0 | 0 | 0 | 16733.2614 | 33340.3375 | 33758.5044 | 34171.7551 | 34579.4181 | 35616.8007 | 36030.21 | 37111.1163 | 37529.4598 | 38655.3436 | 39077.689 | 39490.5853 | 39893.0855 | 40284.1942 | 40662.8656 | 41028.0016 | 41378.4491 | 41712.9982 | 42030.3797
Energy Revenue |  | 0 | 0 | 0 | 166.5483 | 927.4604 | 955.2842 | 983.9427 | 1013.461 | 1043.8648 | 1075.1808 | 1107.4362 | 1140.6593 | 1174.8791 | 1210.1254 | 1246.4292 | 1283.8221 | 1322.3367 | 1362.0068 | 1402.8671 | 1444.9531 | 1488.3017 | 1532.9507
Variable Energy Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Block Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Margin |  | 0 | 0 | 0 | 5.8494 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988 | 11.6988
Ancillary Services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  | 5714.4306 | 11133.1755 | 11142.5947 | 22481.8074 | 34279.4967 | 34725.4875 | 35167.3967 | 35604.578 | 36672.3644 | 37117.0896 | 38230.2513 | 38681.8179 | 39841.9215 | 40299.5133 | 40748.7134 | 41188.6065 | 41618.2298 | 42036.5713 | 42442.5675 | 42835.101 | 43212.9987 | 43575.0293
Expense
Fuel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed O&M |  | 350.725 | 722.4935 | 744.1683 | 766.4934 | 789.4882 | 813.1728 | 837.568 | 862.695 | 888.5759 | 915.2331 | 942.6901 | 970.9708 | 1000.1 | 1030.103 | 1061.0061 | 1092.8362 | 1125.6213 | 1159.39 | 1194.1717 | 1229.9968 | 1266.8967 | 1304.9036
Variable O&M |  | 0.25403 | 0.26165 | 0.27758 | 0.30332 | 0.34139 | 0.39576 | 0.47256 | 0.58119 | 0.73624 | 0.96062 | 1.291 | 1.787 | 2.5479 | 3.7417 | 5.6596 | 8.8175 | 14.1495 | 23.3869 | 39.8146 | 69.8152 | 126.094 | 234.572
Major Maintenance & Ongoing Capex |  | 410.19 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914 | 844.9914
Insurance |  | 127.88 | 263.4328 | 271.3358 | 279.4759 | 287.8601 | 296.4959 | 305.3908 | 314.5525 | 323.9891 | 333.7088 | 343.7201 | 354.0317 | 364.6526 | 375.5922 | 386.8599 | 398.4657 | 410.4197 | 422.7323 | 435.4143 | 448.4767 | 461.931 | 475.7889
SG&A |  | 221.6102 | 456.5169 | 470.2124 | 484.3188 | 498.8484 | 513.8138 | 529.2282 | 545.1051 | 561.4582 | 578.302 | 595.651 | 613.5206 | 631.9262 | 650.884 | 670.4105 | 690.5228 | 711.2385 | 732.5756 | 754.5529 | 777.1895 | 800.5052 | 824.5203
Utility Start Power |  | 22.056 | 45.4354 | 46.7985 | 48.2024 | 49.6485 | 51.1379 | 52.6721 | 54.2522 | 55.8798 | 57.5562 | 59.2829 | 61.0614 | 62.8932 | 64.78 | 66.7234 | 68.7251 | 70.7869 | 72.9105 | 75.0978 | 77.3507 | 79.6712 | 82.0614
Property, Other Tax (1) |  | 0 | 540.3023 | 529.3871 | 518.4719 | 507.5567 | 496.6415 | 485.7263 | 469.3535 | 452.9807 | 436.6079 | 414.7775 | 1178.8414 | 1096.9774 | 998.7406 | 900.5038 | 802.267 | 671.2847 | 523.9295 | 376.5743 | 327.4559 | 327.4559 | 0
Debt Service Reserve LOC Fee |  | 41.6667 | 41.6667 | 40.3333 | 39 | 37.6667 | 36.3333 | 35 | 33.6667 | 32.3333 | 31 | 29.6667 | 28.3333 | 27 | 25.6667 | 24.3333 | 23 | 21.6667 | 20.3333 | 19 | 17.6667 | 0 | 0
Marketing Fee |  | 0 | 0 | 0 | 0 | 0.0098 | 0.017304 | 0.017823 | 0.018358 | 0.018909 | 0.019476 | 0.02006 | 0.020662 | 0.021282 | 0.02192 | 0.022578 | 0.023255 | 0.023953 | 0.024671 | 0.025412 | 0.026174 | 0.026959 | 0.027768
Administrative Fee |  | 76.4706 | 157.5294 | 162.2553 | 167.123 | 172.1366 | 177.3007 | 182.6198 | 188.0984 | 193.7413 | 199.5535 | 205.5402 | 211.7064 | 218.0575 | 224.5993 | 231.3373 | 238.2774 | 245.4257 | 252.7885 | 260.3721 | 268.1833 | 276.2288 | 284.5156
O&M Fees |  | 100 | 206 | 212.18 | 218.5454 | 225.1018 | 231.8548 | 238.8105 | 245.9748 | 253.354 | 260.9546 | 268.7833 | 276.8468 | 285.1522 | 293.7067 | 302.5179 | 311.5935 | 320.9413 | 330.5695 | 340.4866 | 350.7012 | 361.2222 | 372.0589
Total Expense |  | 1350.8524 | 3278.63 | 3321.9397 | 3366.9254 | 3413.6495 | 3462.1553 | 3512.4974 | 3559.2891 | 3608.0589 | 3658.8877 | 3706.4142 | 4542.1114 | 4534.3196 | 4512.8274 | 4494.3658 | 4479.5199 | 4436.5495 | 4383.6322 | 4340.5011 | 4411.8536 | 4545.0235 | 4423.44
EBITDA |  | 4363.5781 | 7854.5455 | 7820.6551 | 19114.882 | 30865.8473 | 31263.3322 | 31654.8993 | 32045.2889 | 33064.3055 | 33458.2019 | 34523.8372 | 34139.7065 | 35307.6018 | 35786.6859 | 36254.3476 | 36709.0865 | 37181.6803 | 37652.9392 | 38102.0663 | 38423.2474 | 38667.9753 | 39151.5893
Depreciation & Amortization |  | 1536.52 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4534.56 | 4534.56
EBIT |  | 2827.0581 | 3269.9855 | 3236.0951 | 14530.322 | 26281.2873 | 26678.7722 | 27070.3393 | 27460.7289 | 28479.7455 | 28873.6419 | 29939.2772 | 29555.1465 | 30723.0418 | 31202.1259 | 31669.7876 | 32124.5265 | 32597.1203 | 33068.3792 | 33517.5063 | 33838.6874 | 34133.4153 | 34617.0293
Interest Expense (2) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBT |  | 2827.0581 | 3269.9855 | 3236.0951 | 14530.322 | 26281.2873 | 26678.7722 | 27070.3393 | 27460.7289 | 28479.7455 | 28873.6419 | 29939.2772 | 29555.1465 | 30723.0418 | 31202.1259 | 31669.7876 | 32124.5265 | 32597.1203 | 33068.3792 | 33517.5063 | 33838.6874 | 34133.4153 | 34617.0293
Book State Tax Benefit / (Expense) | 6% | -169.6235 | -196.1991 | -194.1657 | -871.8193 | -1576.8772 | -1600.7263 | -1624.2204 | -1647.6437 | -1708.7847 | -1732.4185 | -1796.3566 | -1773.3088 | -1843.3825 | -1872.1276 | -1900.1873 | -1927.4716 | -1955.8272 | -1984.1027 | -2011.0504 | -2030.3212 | -2048.0049 | -2077.0218
Shareholder Fed. Tax Benefit / (Expense) | 35% | -930.1021 | -1075.8252 | -1064.6753 | -4780.4759 | -8646.5435 | -8777.316 | -8906.1416 | -9034.5798 | -9369.8363 | -9499.4282 | -9850.0222 | -9723.6432 | -10107.8808 | -10265.4994 | -10419.3601 | -10568.9692 | -10724.4526 | -10879.4967 | -11027.2596 | -11132.9282 | -11229.8936 | -11389.0026
Net Income |  | 1727.3325 | 1997.9611 | 1977.2541 | 8878.0267 | 16057.8665 | 16300.7298 | 16539.9773 | 16778.5053 | 17401.1245 | 17641.7952 | 18292.8983 | 18058.1945 | 18771.7786 | 19064.4989 | 19350.2402 | 19628.0857 | 19916.8405 | 20204.7797 | 20479.1964 | 20675.438 | 20855.5167 | 21151.0049

## CF
PROJECT NAME:
ANNUAL CASH FLOW AND IRR
PROJECT CASH FLOW
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
EBITDA |  | 4363.5781 | 7854.5455 | 7820.6551 | 19114.882 | 30865.8473 | 31263.3322 | 31654.8993 | 32045.2889 | 33064.3055 | 33458.2019 | 34523.8372 | 34139.7065 | 35307.6018 | 35786.6859 | 36254.3476 | 36709.0865 | 37181.6803 | 37652.9392 | 38102.0663 | 38423.2474 | 38667.9753 | 39151.5893
Plus Capitalized Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Principal Payments |  | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | 0 | 0
Less Interest Payments |  | -3200 | -6000 | -5680 | -5360 | -5040 | -4720 | -4400 | -4080 | -3760 | -3440 | -3120 | -2800 | -2480 | -2160 | -1840 | -1520 | -1200 | -880 | -560 | -240 | 0 | 0
Pre Tax Cash Flow |  | -2836.4219 | -2145.4545 | -1859.3449 | 9754.882 | 21825.8473 | 22543.3322 | 23254.8993 | 23965.2889 | 25304.3055 | 26018.2019 | 27403.8372 | 27339.7065 | 28827.6018 | 29626.6859 | 30414.3476 | 31189.0865 | 31981.6803 | 32772.9392 | 33542.0663 | 34183.2474 | 38667.9753 | 39151.5893
EGC's State Tax Benefit / (Expense) |  | 0 | 0 | 0 | -479.55 | -1429.9575 | -1496.1291 | -1539.5752 | -1562.394 | -1624.1396 | -1647.1688 | -1711.7115 | -1688.0591 | -1758.7374 | -1786.8778 | -1815.5421 | -2021.1858 | -2227.9008 | -2256.1763 | -2283.124 | -2302.3948 | -2320.0785 | -2349.0954
EGC's Federal Tax Benefit / (Expense) |  | 244.9377 | 618.9451 | 295.7531 | -3789.1686 | -7840.9336 | -8203.7748 | -8442.0042 | -8567.1271 | -8905.6988 | -9031.9755 | -9385.8848 | -9256.1905 | -9643.7434 | -9798.0467 | -9955.2227 | -11082.8356 | -12216.3228 | -12371.367 | -12519.1298 | -12624.7984 | -12721.7639 | -12880.8729
After Tax Cash Flow |  | -2591.4842 | -1526.5095 | -1563.5918 | 5486.1634 | 12554.9562 | 12843.4282 | 13273.3198 | 13835.7678 | 14774.467 | 15339.0576 | 16306.2409 | 16395.4569 | 17425.1211 | 18041.7613 | 18643.5827 | 18085.0651 | 17537.4567 | 18145.3958 | 18739.8125 | 19256.0542 | 23626.1329 | 23921.6211
Equity Partner Net Income | 50% | 0 | 998.9806 | 988.627 | 4439.0134 | 8028.9333 | 8150.3649 | 8269.9886 | 8389.2527 | 8700.5622 | 8820.8976 | 9146.4492 | 9029.0973 | 9385.8893 | 9532.2495 | 9675.1201 | 9814.0429 | 9958.4202 | 10102.3898 | 10239.5982 | 10337.719 | 10427.7584 | 10575.5025
Equity Partner Distributable Cash | 50% | -1295.7421 | -763.2547 | -781.7959 | 2743.0817 | 6277.4781 | 6421.7141 | 6636.6599 | 6917.8839 | 7387.2335 | 7669.5288 | 8153.1204 | 8197.7285 | 8712.5605 | 9020.8807 | 9321.7914 | 9042.5325 | 8768.7283 | 9072.6979 | 9369.9063 | 9628.0271 | 11813.0664 | 11960.8105
EQUITY PARTNER'S CASHFLOW
('000 $) |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
|  | 2000-12-31 | 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31
Pre Tax Cash Flow |  | -1418.2109 | -1072.7273 | -929.6725 | 4877.441 | 10912.9236 | 11271.6661 | 11627.4496 | 11982.6444 | 12652.1527 | 13009.101 | 13701.9186 | 13669.8533 | 14413.8009 | 14813.3429 | 15207.1738 | 15594.5433 | 15990.8401 | 16386.4696 | 16771.0332 | 17091.6237 | 19333.9876 | 19575.7947
Equity Partner's State Taxes Benefit (Expense) |  | 0 | 0 | 0 | -239.775 | -714.9787 | -748.0646 | -769.7876 | -781.197 | -812.0698 | -823.5844 | -855.8558 | -844.0295 | -879.3687 | -893.4389 | -907.7711 | -1010.5929 | -1113.9504 | -1128.0882 | -1141.562 | -1151.1974 | -1160.0393 | -1174.5477
Equity Partner's Federal Taxes Benefit (Expense) |  | 122.4688 | 309.4725 | 147.8766 | -1894.5843 | -3920.4668 | -4101.8874 | -4221.0021 | -4283.5636 | -4452.8494 | -4515.9878 | -4692.9424 | -4628.0953 | -4821.8717 | -4899.0234 | -4977.6113 | -5541.4178 | -6108.1614 | -6185.6835 | -6259.5649 | -6312.3992 | -6360.8819 | -6440.4364
After Tax Cash Flow |  | -1295.7421 | -763.2547 | -781.7959 | 2743.0817 | 6277.4781 | 6421.7141 | 6636.6599 | 6917.8839 | 7387.2335 | 7669.5288 | 8153.1204 | 8197.7285 | 8712.5605 | 9020.8807 | 9321.7914 | 9042.5325 | 8768.7283 | 9072.6979 | 9369.9063 | 9628.0271 | 11813.0664 | 11960.8105
Equity Contributions from Equity Partner |  | -12500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Partner's Cashflow with No Residual
CF |  | -13795.7421 | -763.2547 | -781.7959 | 2743.0817 | 6277.4781 | 6421.7141 | 6636.6599 | 6917.8839 | 7387.2335 | 7669.5288 | 8153.1204 | 8197.7285 | 8712.5605 | 9020.8807 | 9321.7914 | 9042.5325 | 8768.7283 | 9072.6979 | 9369.9063 | 9628.0271 | 11813.0664 | 11960.8105
IRR |  | 2000-12-31: #VALUE!
Equity Partner's Cashflow with Residual Value
CF |  | -13795.7421 | -763.2547 | -781.7959 | 2743.0817 | 6277.4781 | 6421.7141 | 6636.6599 | 6917.8839 | 7387.2335 | 7669.5288 | 8153.1204 | 8197.7285 | 8712.5605 | 9020.8807 | 9321.7914 | 9042.5325 | 8768.7283 | 9072.6979 | 9369.9063 | 9628.0271 | 11813.0664 | 11960.8105
Residual Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net CF |  | -13795.7421 | -763.2547 | -781.7959 | 2743.0817 | 6277.4781 | 6421.7141 | 6636.6599 | 6917.8839 | 7387.2335 | 7669.5288 | 8153.1204 | 8197.7285 | 8712.5605 | 9020.8807 | 9321.7914 | 9042.5325 | 8768.7283 | 9072.6979 | 9369.9063 | 9628.0271 | 11813.0664 | 11960.8105
Equity Partner's After-Tax IRR w/ 5x EBITDA Residual (20 yr.) |  | 2000-12-31: #VALUE!

## Debt
|  | Tranche 1 | [5 empty] | Tranche 2 | [5 empty] | Tranche 3
|  | 3 year Treasury (as of April 26) |  |  | 4% |  |  | 8 year Treasury (as of April 26) |  |  | 4% |  |  | 30 year Treasury (as of April 26) |  |  | 4%
|  | Spread |  |  | 4% |  |  | Spread |  |  | 4% |  |  | Spread |  |  | 4%
|  | All In Coupon Rate |  |  | 8% |  |  | All In Coupon Rate |  |  | 8% |  |  | All In Coupon Rate |  |  | 8%
|  | Maturity Tranche 1 |  |  | 2.9952 |  |  | Maturity Tranche 2 |  |  | 9.9959 |  |  | Maturity Tranche 2 |  |  | 19.9973
|  | Average Life Tranche 1 |  |  | 9.7625 |  |  | Average Life Tranche 2 |  |  | 9.7625 |  |  | Average Life Tranche 3 |  |  | 9.7625
|  | Total amount ($ '000) |  |  | 15000 |  |  | Total amount ($ '000) |  |  | 25000 |  |  | Total amount ($ '000) |  |  | 40000
PROJECT NAME:
DEBT ISSUANCE
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Annual Amortization Tranche 1 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 2 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Annual Amortization Tranche 3 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 1 @ 8%
2000-08-01
Beginning Balance | 15000 | 14250 | 13500 | 12750 | 12000 | 11250 | 10500 | 9750 | 9000 | 8250 | 7500 | 6750 | 6000 | 5250 | 4500 | 3750 | 3000 | 2250 | 1500 | 750 | 0 | 0
Principal Payment | 0 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 0 | 0
Interest Payment | 0 | 570 | 540 | 510 | 480 | 450 | 420 | 390 | 360 | 330 | 300 | 270 | 240 | 210 | 180 | 150 | 120 | 90 | 60 | 30 | 0 | 0
Ending Balance | 15000 | 13875 | 13125 | 12375 | 11625 | 10875 | 10125 | 9375 | 8625 | 7875 | 7125 | 6375 | 5625 | 4875 | 4125 | 3375 | 2625 | 1875 | 1125 | 375 | 0 | 0
2000-02-01
Beginning Balance | 15000 | 13875 | 13125 | 12375 | 11625 | 10875 | 10125 | 9375 | 8625 | 7875 | 7125 | 6375 | 5625 | 4875 | 4125 | 3375 | 2625 | 1875 | 1125 | 375 | 0 | 0
Principal Payment | 750 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 0 | 0
Interest Payment | 600 | 555 | 525 | 495 | 465 | 435 | 405 | 375 | 345 | 315 | 285 | 255 | 225 | 195 | 165 | 135 | 105 | 75 | 45 | 15 | 0 | 0
Ending Balance | 14250 | 13500 | 12750 | 12000 | 11250 | 10500 | 9750 | 9000 | 8250 | 7500 | 6750 | 6000 | 5250 | 4500 | 3750 | 3000 | 2250 | 1500 | 750 | 0 | 0 | 0
Cash Interest Expense | 600 | 1125 | 1065 | 1005 | 945 | 885 | 825 | 765 | 705 | 645 | 585 | 525 | 465 | 405 | 345 | 285 | 225 | 165 | 105 | 45 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 0 | 0
Tranche 2 @ 8%
2000-08-01
Beginning Balance | 25000 | 23750 | 22500 | 21250 | 20000 | 18750 | 17500 | 16250 | 15000 | 13750 | 12500 | 11250 | 10000 | 8750 | 7500 | 6250 | 5000 | 3750 | 2500 | 1250 | 0 | 0
Principal Payment | 0 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 0 | 0
Interest Payment | 0 | 950 | 900 | 850 | 800 | 750 | 700 | 650 | 600 | 550 | 500 | 450 | 400 | 350 | 300 | 250 | 200 | 150 | 100 | 50 | 0 | 0
Ending Balance | 25000 | 23125 | 21875 | 20625 | 19375 | 18125 | 16875 | 15625 | 14375 | 13125 | 11875 | 10625 | 9375 | 8125 | 6875 | 5625 | 4375 | 3125 | 1875 | 625 | 0 | 0
2000-02-01
Beginning Balance | 25000 | 23125 | 21875 | 20625 | 19375 | 18125 | 16875 | 15625 | 14375 | 13125 | 11875 | 10625 | 9375 | 8125 | 6875 | 5625 | 4375 | 3125 | 1875 | 625 | 0 | 0
Principal Payment | 1250 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 0 | 0
Interest Payment | 1000 | 925 | 875 | 825 | 775 | 725 | 675 | 625 | 575 | 525 | 475 | 425 | 375 | 325 | 275 | 225 | 175 | 125 | 75 | 25 | 0 | 0
Ending Balance | 23750 | 22500 | 21250 | 20000 | 18750 | 17500 | 16250 | 15000 | 13750 | 12500 | 11250 | 10000 | 8750 | 7500 | 6250 | 5000 | 3750 | 2500 | 1250 | 0 | 0 | 0
Cash Interest Expense | 1000 | 1875 | 1775 | 1675 | 1575 | 1475 | 1375 | 1275 | 1175 | 1075 | 975 | 875 | 775 | 675 | 575 | 475 | 375 | 275 | 175 | 75 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 0 | 0
Tranche 3 @ 8%
2000-08-01
Beginning Balance | 40000 | 38000 | 36000 | 34000 | 32000 | 30000 | 28000 | 26000 | 24000 | 22000 | 20000 | 18000 | 16000 | 14000 | 12000 | 10000 | 8000 | 6000 | 4000 | 2000 | 0 | 0
Principal Payment | 0 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 0 | 0
Interest Payment | 0 | 1520 | 1440 | 1360 | 1280 | 1200 | 1120 | 1040 | 960 | 880 | 800 | 720 | 640 | 560 | 480 | 400 | 320 | 240 | 160 | 80 | 0 | 0
Ending Balance | 40000 | 37000 | 35000 | 33000 | 31000 | 29000 | 27000 | 25000 | 23000 | 21000 | 19000 | 17000 | 15000 | 13000 | 11000 | 9000 | 7000 | 5000 | 3000 | 1000 | 0 | 0
2000-02-01
Beginning Balance | 40000 | 37000 | 35000 | 33000 | 31000 | 29000 | 27000 | 25000 | 23000 | 21000 | 19000 | 17000 | 15000 | 13000 | 11000 | 9000 | 7000 | 5000 | 3000 | 1000 | 0 | 0
Principal Payment | 2000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 0 | 0
Interest Payment | 1600 | 1480 | 1400 | 1320 | 1240 | 1160 | 1080 | 1000 | 920 | 840 | 760 | 680 | 600 | 520 | 440 | 360 | 280 | 200 | 120 | 40 | 0 | 0
Ending Balance | 38000 | 36000 | 34000 | 32000 | 30000 | 28000 | 26000 | 24000 | 22000 | 20000 | 18000 | 16000 | 14000 | 12000 | 10000 | 8000 | 6000 | 4000 | 2000 | 0 | 0 | 0
Cash Interest Expense | 1600 | 3000 | 2840 | 2680 | 2520 | 2360 | 2200 | 2040 | 1880 | 1720 | 1560 | 1400 | 1240 | 1080 | 920 | 760 | 600 | 440 | 280 | 120 | 0 | 0
Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 | 0
EBITDA | 4363.5781 | 7854.5455 | 7820.6551 | 19114.882 | 30865.8473 | 31263.3322 | 31654.8993 | 32045.2889 | 33064.3055 | 33458.2019 | 34523.8372 | 34139.7065 | 35307.6018 | 35786.6859 | 36254.3476 | 36709.0865 | 37181.6803 | 37652.9392 | 38102.0663 | 38423.2474 | 38667.9753 | 39151.5893
Tranche 1 Cash Debt Service | 1350 | 1875 | 1815 | 1755 | 1695 | 1635 | 1575 | 1515 | 1455 | 1395 | 1335 | 1275 | 1215 | 1155 | 1095 | 1035 | 975 | 915 | 855 | 795 | 0 | 0
Tranche 2 Cash Debt Service | 2250 | 3125 | 3025 | 2925 | 2825 | 2725 | 2625 | 2525 | 2425 | 2325 | 2225 | 2125 | 2025 | 1925 | 1825 | 1725 | 1625 | 1525 | 1425 | 1325 | 0 | 0
Tranche 3 Cash Debt Service | 3600 | 5000 | 4840 | 4680 | 4520 | 4360 | 4200 | 4040 | 3880 | 3720 | 3560 | 3400 | 3240 | 3080 | 2920 | 2760 | 2600 | 2440 | 2280 | 2120 | 0 | 0
Less Capitalized Interest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Debt Service | 7200 | 10000 | 9680 | 9360 | 9040 | 8720 | 8400 | 8080 | 7760 | 7440 | 7120 | 6800 | 6480 | 6160 | 5840 | 5520 | 5200 | 4880 | 4560 | 4240 | 0 | 0
Total Cash Interest Expense | 3200 | 6000 | 5680 | 5360 | 5040 | 4720 | 4400 | 4080 | 3760 | 3440 | 3120 | 2800 | 2480 | 2160 | 1840 | 1520 | 1200 | 880 | 560 | 240 | 0 | 0
Total Accrued Interest Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Principal Payments | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 0 | 0
DSCR Fixed Price PPA Period | 0.60605 | 0.78545 | 0.80792 | 2.0422 | 3.4144 | 3.5852 | 3.7684 | 3.966 | 4.2609 | 4.4971 | 4.8489 | 5.0205 | 5.4487 | 5.8095 | 6.2079 | 6.6502 | 7.1503 | 7.7158 | 8.3557 | 9.0621
Average DSCR | 4.7002
Minimum DSCR | 0.60605
Amortization Option | 2
Tranche 1
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 2
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Tranche 3
Custom | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 37%
Straight Line | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Principal Repayments | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Time Factor | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
Average Life
Tranche 1 | 9.7625
Tranche 2 | 9.7625
Tranche 3 | 9.7625

## Depreciation
PROJECT NAME:
DEPRECIATION SCHEDULE
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) |  |  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
(Months) |  |  | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
US FEDERAL TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 100768 |  | 5038.4 | 9572.96 | 8615.664 | 7759.136 | 6983.2224 | 6277.8464 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 2972.656 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 1000 |  | 25 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0
Total Beginning Book Value | 101768 |  | 5063.4 | 9622.96 | 8665.664 | 7809.136 | 7033.2224 | 6327.8464 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 3022.656 | 50 | 50 | 50 | 50 | 0 | 0
Ending Value of Assets | 101768 |  | 96704.6 | 87081.64 | 78415.976 | 70606.84 | 63573.6176 | 57245.7712 | 51250.4592 | 45245.0704 | 39249.7584 | 33244.3696 | 27249.0576 | 21243.6688 | 15248.3568 | 9242.968 | 3247.656 | 225 | 175 | 125 | 75 | 25 | 25 | 25
STATE TAX DEPRECIATION & AMORTIZATION
Years
Total Hard Costs, Capitalized Interests, and Contingency- MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs and Capitalized Interests (Land not included) | 100768 |  | 5038.4 | 9572.96 | 8615.664 | 7759.136 | 6983.2224 | 6277.8464 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 5955.3888 | 5945.312 | 2972.656 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs | 1000 |  | 25 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0
Total Beginning Book Value | 101768 |  | 5063.4 | 9622.96 | 8665.664 | 7809.136 | 7033.2224 | 6327.8464 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 6005.3888 | 5995.312 | 3022.656 | 50 | 50 | 50 | 50 | 0 | 0
Ending Value of Assets | 101768 |  | 96704.6 | 87081.64 | 78415.976 | 70606.84 | 63573.6176 | 57245.7712 | 51250.4592 | 45245.0704 | 39249.7584 | 33244.3696 | 27249.0576 | 21243.6688 | 15248.3568 | 9242.968 | 3247.656 | 225 | 175 | 125 | 75 | 25 | 25 | 25
BOOK DEPRECIATION & AMORTIZATION
| Years | Residual
Total Hard Costs, Capitalized Interests, and Contingency- SL | 30 | 10% | 1.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
Transaction Costs | 20 |  | 2.5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 0% | 0%
Total Hard Costs, Capitalized Interests, and Contingency- SL | 100768 |  | 1511.52 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56 | 4534.56
Transaction Costs | 1000 |  | 25 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0
Total Beginning Book Value | 101768 |  | 1536.52 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4534.56 | 4534.56
Ending Book Value of Assets | 101768 |  | 100231.48 | 95646.92 | 91062.36 | 86477.8 | 81893.24 | 77308.68 | 72724.12 | 68139.56 | 63555 | 58970.44 | 54385.88 | 49801.32 | 45216.76 | 40632.2 | 36047.64 | 31463.08 | 26878.52 | 22293.96 | 17709.4 | 13124.84 | 8590.28 | 4055.72

## Tax
PROJECT NAME:
TAXES
| 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5 | 21.5
('000 $) | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
STATE TAXES
State Income Taxes
Pretax Book Income | 2827.0581 | 3269.9855 | 3236.0951 | 14530.322 | 26281.2873 | 26678.7722 | 27070.3393 | 27460.7289 | 28479.7455 | 28873.6419 | 29939.2772 | 29555.1465 | 30723.0418 | 31202.1259 | 31669.7876 | 32124.5265 | 32597.1203 | 33068.3792 | 33517.5063 | 33838.6874 | 34133.4153 | 34617.0293
Plus Book Depreciation & Amortization | 1536.52 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4534.56 | 4534.56
Less State Tax Depreciation | -5063.4 | -9622.96 | -8665.664 | -7809.136 | -7033.2224 | -6327.8464 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -3022.656 | -50 | -50 | -50 | -50 | 0 | 0
State Taxable Income | -699.8219 | -1768.4145 | -845.0089 | 11305.746 | 23832.6249 | 24935.4858 | 25659.5873 | 26039.9001 | 27068.9935 | 27452.8131 | 28528.5252 | 28134.3177 | 29312.2898 | 29781.2971 | 30259.0356 | 33686.4305 | 37131.6803 | 37602.9392 | 38052.0663 | 38373.2474 | 38667.9753 | 39151.5893
State Taxable Income | -699.8219 | -1768.4145 | -845.0089 | 11305.746 | 23832.6249 | 24935.4858 | 25659.5873 | 26039.9001 | 27068.9935 | 27452.8131 | 28528.5252 | 28134.3177 | 29312.2898 | 29781.2971 | 30259.0356 | 33686.4305 | 37131.6803 | 37602.9392 | 38052.0663 | 38373.2474 | 38667.9753 | 39151.5893
State Income Tax Rate | bar: 2002 to 2023
Current State Income Tax Expense (Benefit) | -41.9893 | -106.1049 | -50.7005 | 678.3448 | 1429.9575 | 1496.1291 | 1539.5752 | 1562.394 | 1624.1396 | 1647.1688 | 1711.7115 | 1688.0591 | 1758.7374 | 1786.8778 | 1815.5421 | 2021.1858 | 2227.9008 | 2256.1763 | 2283.124 | 2302.3948 | 2320.0785 | 2349.0954
Beginning NOL's | 0 | 41.9893 | 148.0942 | 198.7947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New NOL's | 41.9893 | 106.1049 | 50.7005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expired NOL's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | -198.7947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 41.9893 | 148.0942 | 198.7947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL STATE TAXES | 0 | 0 | 0 | 479.55 | 1429.9575 | 1496.1291 | 1539.5752 | 1562.394 | 1624.1396 | 1647.1688 | 1711.7115 | 1688.0591 | 1758.7374 | 1786.8778 | 1815.5421 | 2021.1858 | 2227.9008 | 2256.1763 | 2283.124 | 2302.3948 | 2320.0785 | 2349.0954
Plus: Supplemental Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total State Taxes Utilizing NOLs | 0 | 0 | 0 | 479.55 | 1429.9575 | 1496.1291 | 1539.5752 | 1562.394 | 1624.1396 | 1647.1688 | 1711.7115 | 1688.0591 | 1758.7374 | 1786.8778 | 1815.5421 | 2021.1858 | 2227.9008 | 2256.1763 | 2283.124 | 2302.3948 | 2320.0785 | 2349.0954
FEDERAL TAXES
Pretax Book Income | 2827.0581 | 3269.9855 | 3236.0951 | 14530.322 | 26281.2873 | 26678.7722 | 27070.3393 | 27460.7289 | 28479.7455 | 28873.6419 | 29939.2772 | 29555.1465 | 30723.0418 | 31202.1259 | 31669.7876 | 32124.5265 | 32597.1203 | 33068.3792 | 33517.5063 | 33838.6874 | 34133.4153 | 34617.0293
Plus Book Depreciation & Amortization | 1536.52 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4584.56 | 4534.56 | 4534.56
Less: Federal Tax Depreciation | -5063.4 | -9622.96 | -8665.664 | -7809.136 | -7033.2224 | -6327.8464 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -6005.3888 | -5995.312 | -3022.656 | -50 | -50 | -50 | -50 | 0 | 0
Less: State Taxes | 0 | 0 | 0 | -479.55 | -1429.9575 | -1496.1291 | -1539.5752 | -1562.394 | -1624.1396 | -1647.1688 | -1711.7115 | -1688.0591 | -1758.7374 | -1786.8778 | -1815.5421 | -2021.1858 | -2227.9008 | -2256.1763 | -2283.124 | -2302.3948 | -2320.0785 | -2349.0954
Taxable Income | -699.8219 | -1768.4145 | -845.0089 | 10826.196 | 22402.6674 | 23439.3566 | 24120.012 | 24477.5061 | 25444.8538 | 25805.6443 | 26816.8137 | 26446.2587 | 27553.5525 | 27994.4193 | 28443.4934 | 31665.2447 | 34903.7795 | 35346.7628 | 35768.9424 | 36070.8526 | 36347.8968 | 36802.494
Federal Tax Rate | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35%
Federal Tax Expense/ (Benefit) | -244.9377 | -618.9451 | -295.7531 | 3789.1686 | 7840.9336 | 8203.7748 | 8442.0042 | 8567.1271 | 8905.6988 | 9031.9755 | 9385.8848 | 9256.1905 | 9643.7434 | 9798.0467 | 9955.2227 | 11082.8356 | 12216.3228 | 12371.367 | 12519.1298 | 12624.7984 | 12721.7639 | 12880.8729
NOL Carryforward | 244.9377 | 863.8827 | 1159.6359 | 1159.6359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization | 0 | 0 | 0 | 1159.6359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Federal Cash Taxes Payable/(Benefit) | 0 | 0 | 0 | 2629.5327 | 7840.9336 | 8203.7748 | 8442.0042 | 8567.1271 | 8905.6988 | 9031.9755 | 9385.8848 | 9256.1905 | 9643.7434 | 9798.0467 | 9955.2227 | 11082.8356 | 12216.3228 | 12371.367 | 12519.1298 | 12624.7984 | 12721.7639 | 12880.8729