## ASS
ASSUMPTIONS | [7 empty] | #REF! |  |  |  | #REF!
WARNING: BALANCE SHEET IS NOT BALANCED
|  |  | #REF! |  |  |  |  | #REF!
Power Line Data |  |  | 2000 |  | Taxes | [7 empty] | Amount | Project and Enron Economics ($000) |  | Disc Rate | IRR | NPV
Capacity |  |  | 500 | MW | Project Company Tax Position |  |  | ASSUME EXEMPT |  | Project Costs ($000) |  |  | 2000
Availability |  |  | 100% |  | AL Corporate Net Income Tax |  | 5% |  |  | Major Mechanical & Elec. Equip. |  |  | 3300 | PROJECT |  | 10% | 44.24% | 7863.0213
Heat Rate |  | HHV | 12500 | Btu/kWh | Gross Receipts Tax |  | 0% |  |  | Electrical Equip. |  |  | 0 | Target IRR |  |  | 10%
Dispatch |  |  | 100% | [6 empty] | Import Duties |  |  | 0
Line Loss (Cross-Sound Cable Only) |  |  | 3% |  | US Taxes |  |  |  |  | TOTAL POWER PLANT EQUIPMENT, DUTIES & VAT |  |  | 3300 | Enron |  | 10% | 44.24% | 7863.0213
[5 empty] | Enron's Tax Position |  |  |  |  | Operations Mobilization |  |  | 0 | TOTAL PARTNERS |  |  |  | 7863.0213
Project Operations |  |  |  |  | State Corporate Tax |  | 5% |  |  | TOTAL CONSTRUCTION COSTS |  |  | 0
Start of Construction |  |  | #VALUE! | 2000 | Federal Income Tax |  | 35% |  |  | Transmission Line |  |  | 0 | Plus: Withholding Tax on Dividends |  |  |  | #REF!
Term of Construction (Mos) |  |  |  | 6 | [5 empty] | Construction Costs |  |  | 8800 | Less: Development Fees |  |  |  | #REF!
Start of Operations - Month / Year |  |  | 6 | 2001 | Depreciation Assumptions |  | Basis ($000) | Life (Yrs) | Method | Transmission Mobilization |  |  | 0 | Less: Tax Cost/(Benefit) on (1)s above |  |  |  | #REF!
Term of Contract (Yrs) |  |  |  | n/a | [5 empty] | TOTAL TRANSMISSION LINE COSTS |  |  | 8800 | Sub-total Partner Level Adjustments |  |  |  | #REF!
Type of Contract |  |  |  | n/a | Tax: | Asset | 13000 | 20 | MACRS | Mainline Pipe - 20" |  |  | 0
| 44.24% | 32.38 | 32.36 | 32.37 | [5 empty] | Lateral Pipe |  |  | 0 | RECONCILED PROJECT NPV |  |  |  | #REF!
Pricing |  | 2000 |  | Escalation | Book: | Asset | 13000 | 28.5 | S/L | Pipeline Mobilization |  |  | 0 | Unlocated Difference |  |  |  | #REF!
Margin to SOCO/FL |  | hardcoded | [7 empty] | TOTAL PIPELINE COSTS |  |  | 0
Lower transmission costs |  | hardcoded |  |  | US GAAP: | Asset | 13000 | 28.5 | S/L | IDC (Interest During Construction) |  |  | 0
Decrease transmission losses |  | hardcoded | [7 empty] | Withholding Tax on IDC |  |  | 0 | Financing
Capacity Payments: |  |  |  |  | Project Ownership |  | % of Equity | % of Cash Flow | Equity $s | Financing Costs |  |  | 0 | Debt/Equity Structure | (pari-passu, equity last, etc.)
Fixed Capacity |  | 0.0084 | /kW-Mon | 2% | Enron |  | 100% | 100% | 13000 | Misc Lenders' Expenses |  |  | 0
(includes ROE, Taxes, Debt Service, Fixed O&M) |  |  |  |  | Total |  | 100% | 100% | 13000 | Bank Environmental Consultant |  |  | 0 | Debt |  | 0% |  | 0
Energy (Variable) Payments: | [9 empty] | Bank Independent Engineer |  |  | 0 | Equity |  | 100% |  | 13000
Variable O&M |  | 0 | /kWh | 2% | [5 empty] | Completion Bond |  |  | 0 | Total Investment |  | 100% |  | 13000
Misc |  | 0 | /kWh | 2% | [5 empty] | Overheads |  |  | 0
Other |  | 0 | /kWh | 2% | [5 empty] | Insurance -Builders Risk (30 BP on Total Cost) and delay of operation (.25 of 1st yr DS) |  |  | 0 | Interest Rate |  | 0%
All-in-Cost |  |  | Cents/kWh | [6 empty] | Permits & Licenses |  |  | 0 | Dividend Rate |  | 0%
[10 empty] | Legal Fees |  |  | 0
Conn. Line Data |  |  | 2000 | [6 empty] | TOTAL THIRD PARTY DEVMT/FINANCING COSTS |  |  | 0 | Revenue Analysis
Capacity |  |  | 500 | kv | [5 empty] | Development Fees |  | 3% |  |  | Year 2001 | Year 2002 | Year 2003
Availability |  |  | 100% | [6 empty] | Development Costs |  |  | 0 | Forward Curve ($/MWh) | 120 | 93 | 80
Historical Dispatch | [9 empty] | Financial Advisor | 0% |  | 0 | Peaker Days | 20 | 20 | 20
[10 empty] | Profit |  |  | 0 | Peaker Hours | 16 | 16 | 16
Operating Expenses ($000) |  |  | CPI Rate: | 2% | [5 empty] | Commission & Startup (Operator) |  |  | 0 | SOCO premium over TVA ($ in 10 x 3) | 0.02 | 0.015 | 0.01
[10 empty] | TOTAL ENRON COSTS |  |  | 0 | Decrease TVA Transmission Cost (in 000's) | 3300 | 3300 | 3300
Fixed: |  | 2000 |  | Escalation | [5 empty] | Vendor Reps |  |  | 0 | Decrease Transmission Losses to TVA (in 000's) | 600 | 500 | 400
Miscellaneous O&M |  | 48 |  | 2% | [5 empty] | Owner's Engineer Services |  |  | 0
Miscellaneous G&A |  | 0 |  | 2% | [5 empty] | TOTAL TURNKEY OTHER COSTS |  |  | 0
Maintenance Reserve |  | 0 |  | 2% | [5 empty] | Working Capital |  |  | 0 | Cost Analysis
Plant Insurance |  | 0 |  | 2% | [5 empty] | Spare Parts | 0 |  | 0 | Month | % of Total Cost
Payroll |  | 0 |  | 2% | [5 empty] | Other Costs |  |  | 900 | 2000-08-01 | 3.1%
Spare Parts |  | 0 |  | 2% | [5 empty] | TOTAL OTHER COSTS |  |  | 900 | 2000-09-01 | 20.5%
Water & Chemicals |  | 0 |  | 2% | [5 empty] | Contingency - Material & Labor ? |  | 776012.5695 | 0 | 2000-10-01 | 0%
Plant Operations (O&M Fee) |  | 0 |  | 2% | [5 empty] | Contingency -Distribution Service to New Sub? |  |  | 0 | 2000-11-01 | 6.3%
Transmission Capacity Pmt. |  | 0 |  | 2% | [5 empty] | Contingency - |  |  | 0 | 2000-12-01 | 70%
Pipeline Operations |  | 0 |  | 2% | [5 empty] | TOTAL CONTINGENCY |  |  | 0 | 2001-01-01 | 0%
Other |  | 0 |  | 2% | [5 empty] | TOTAL PROJECT COSTS |  |  | 13000
Property Tax |  | 0 |  | 2%
Total Fixed O&M |  | 48 |  | 2% | [5 empty] | TOTAL PROJECT COSTS ($/kw) |  |  | 26
Variable: |  | 0 |  | 2%
Power Cost |  | 0 |  | 2%
Maintenance Reserve |  | 0 |  | 2%
Maintenance Excluding (Major Maint) |  | 0 |  | 2%
Other |  | 0 |  | 2%
Interest on Maintenance Reserve Account |  |  | 4%
:pss9~qlbcaqqrsROI~g
:pss10~qlbcaqqrsNDC~g
:pss11~qlbcaqqrsFIN~g
2
3
4
5
6
7
8
Note on A36: cwatts: confirmed data with Mitch Robinson
Note on C26: cwatts: fixed capacity payment confirmed by Mitch Robinson.
Note on D8: cwatts: As per Mitch Robinson, peak firing capacity is 500MW.
Note on E18: cwatts: This needs to be verified by the development group. No official legal contract exists.
Note on H19: cwatts: Includes breakers, transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on H21: cwatts: transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on H23: cwatts: transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on J19: cwatts: see Patrick Malloy's voice mail 8-31-00.
Note on J21: cwatts: Patrick Malloy states that the depreciable life for book and GAAP purposes will exceed MACRS (8-31-00). Jody Pierce states that convention is to depreciate the assets over the remaining life of the plant with a 10% salvage value.
Note on J23: cwatts: Patrick Malloy states that the depreciable life for book and GAAP purposes will exceed MACRS (8-31-00). Jody Pierce states that convention is to depreciate the assets over the remaining life of the plant with a 10% salvage value.
Note on R9: cwatts: Breakout of development cost as per Mitch Robinson's instructions. Includes all breaker costs.
Note on R16: cwatts: Breakout of development cost as per Mitch Robinson's instructions. Includes E&C costs, ROW, switchyard and towers.
Note on R46: cwatts: Breakout of development cost as per Mitch Robinson's instructions. Inlcudes all option costs (breakers and land)
CONVERGE
PRINT ALL

## CF
CASH FLOW - PROJECT
0
Current Year |  |  | 1 | 2 | 3
Calendar Year |  |  | 2001 | 2002 | 2003 | Totals
Months of Operation |  |  | 12 | 12 | 12
Capacity (MW) - Gross |  |  | 500 | 500 | 500
Units Produced (MWhr) |  |  | 160000 | 160000 | 160000
(in 000's)
REVENUES:
SOCO premium over TVA |  |  | 3200 | 2400 | 1600
Lower Transmission Costs |  |  | 3300 | 3300 | 3300
Lower Transmission Losses |  |  | 600 | 500 | 400
Total Benefits |  |  | 7100 | 6200 | 5300
Interest Income |  |  | 0 | 0 | 0
TOTAL REVENUES (+int inc.) |  |  | 7100 | 6200 | 5300 | 18600
EXPENSES:
Operation and Maintenance:
Fixed O&M:
Miscellaneous O&M |  |  | 48.96 | 49.9392 | 50.938 | 149.8372
Miscellaneous G&A |  |  | 0 | 0 | 0 | 0
Maintenance Reserve |  |  | 0 | 0 | 0 | 0
Plant Insurance |  |  | 0 | 0 | 0 | 0
Payroll |  |  | 0 | 0 | 0 | 0
Spare Parts |  |  | 0 | 0 | 0 | 0
Water & Chemicals |  |  | 0 | 0 | 0 | 0
Plant Operations (O&M Fee) |  |  | 0 | 0 | 0 | 0
Transmission Capacity Pmt. |  |  | 0 | 0 | 0 | 0
Pipeline Operations |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
Property Tax |  |  | 0 | 0 | 0 | 0
Total Fixed O&M |  |  | 48.96 | 49.9392 | 50.938 | 149.8372
Variable O&M:
Maintenance Reserve |  |  | 0 | 0 | 0 | 0
Maintenance Excluding (Major Maint) |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
Total Variable O&M |  |  | 0 | 0 | 0 | 0
Total Operations & Maintenance |  |  | 48.96 | 49.9392 | 50.938 | 149.8372
TOTAL EXPENSES |  |  | 48.96 | 49.9392 | 50.938 | 149.8372
Project Earnings Before Depr, Int & Taxes (EBDIT) |  | =D27-D56 | 7051.04 | 6150.0608 | 5249.062 | 18450.1628
Less: Book Depreciation Expense |  |  | 456.1404 | 456.1404 | 456.1404 | 1368.4211 | WARNING: CHECK DEPRECIATION
Earnings Before Int & Taxes (EBIT) |  |  | 6594.8996 | 5693.9204 | 4792.9217 | 17081.7418
Less: Interest Expense (before W/H Tax) |  |  | 0 | 0 | 0 | 0
Earnings Before Taxes (EBT) |  |  | 6594.8996 | 5693.9204 | 4792.9217 | 17081.7418
Less: Book Provision for Income Taxes |  |  | 2625.416 | 2084.6363 | 1752.9408 | 6462.9931
PROJECT BOOK INCOME |  |  | 9220.3156 | 7778.5568 | 6545.8625 | 23544.7349
Plus: Book Depreciation |  |  | 456.1404 | 456.1404 | 456.1404 | 1368.4211
Plus: Spare Parts |  |  | 0 | 0 | 0 | 0
Plus: Liquidation Proceeds | (Working Capital) |  | 0 | 0 | 0 | 0
Plus: Book Provision for Income Taxes |  |  | -2625.416 | -2084.6363 | -1752.9408 | -6462.9931
Less: Major Maintenance Margin |  |  | 0 | 0 | 0 | 0
Major Maintenance Margin Adjustment |  |  | 0 | 0 | 0 | 0
Less: Cash Taxes |  |  | 2625.416 | 2084.6363 | 1752.9408 | 6462.9931 | CHECK: TOTAL CASH TAXES DOES NOT MATCH TOTAL CASH TAXES CALCD
Less: Principal Payments |  |  | 0 | 0 | 0 | 0
NET A-T CASH FLOW DISTRIBUTED |  |  | 9676.456 | 8234.6971 | 7002.0028 | 24913.1559
Pre-Tax Debt Coverage | (EBDIT/(Debt Serv+W/H Tax)) |  | 0 | 0 | 0
After-Tax Debt Coverage | ((EBDIT-Taxes)/(Debt Serv+W/H Tax)) |  | 0 | 0 | 0
Note on A69: Todd Neugebauer: Both Coverage ratios add back maintenance expense because there is a reserve for it.
Note on D7: cwatts: As per Mitch Robinson, peak firing capacity is 500MW.
Note on D25: cwatts: This escalated O&M figure reflects a higher fixed O&M of $48K in the initial pertial year.
Note on E7: cwatts: As per Mitch Robinson, peak firing capacity is 500MW.
Note on F7: cwatts: As per Mitch Robinson, peak firing capacity is 500MW.

## RETURNS
RETURNS
0
Current Year |  | 0 | 1 | 2 | 3
Calendar Year |  | 2000 | 2001 | 2002 | 2003 | Totals
PROJECT RETURNS
| Equity Injection | -13000 | 0 | 0 | 0 | -13000
| Net A-T Cash Flow | 0 | 9676.456 | 8234.6971 | 7002.0028 | 24913.1559
| Total Cash Flow | -13000 | 9676.456 | 8234.6971 | 7002.0028 | 11913.1559
| 20 Year Running NPV | -13000 | -4203.2218 | 2602.313 | 7863.0213 | -6737.8875
| 20 Year Running IRR | #N/A | -25.57% | 25.08% | 44.24%
| Discount Rate | 10%
| Project NPV | 7863.0213
| Project IRR | 44.24%
| Discounted Payback Year | 1 | 0 | 1 | 0 | 1
ENRON RETURNS
100% | Equity Injection | -13000 | 0 | 0 | 0 | -13000
100% | Net A-T Cash Flow | 0 | 9676.456 | 8234.6971 | 7002.0028 | 24913.1559
| Total Cash Flow | -13000 | 9676.456 | 8234.6971 | 7002.0028 | 11913.1559
| 20 Year Running NPV | -13000 | -4203.2218 | 2602.313 | 7863.0213 | -6737.8875
| 20 Year Running IRR | #N/A | -25.57% | 25.08% | 44.24%
| Discount Rate | 10%
| Enron NPV | 7863.0213
| Enron IRR | 44.24%
| Discounted Payback Year | 1 | 0 | 1 | 0 | 1

## DRAWDOWN
DRAWDOWN SCHEDULE
0
| Total Cost Excluding IDC |  | 13000
PROJECT COSTS
|  |  |  | Monthly | Monthly | Cumulative
|  | Description |  | % of | Cost | Cost
| Month | of Activity |  | Total Cost | ($ 000's) | ($ 000's)
1 | 2000-08-01 | Circuit breaker option |  | 3.1% | 403 | 403
2 | 2000-09-01 | Towers, breakers, land options |  | 20.5% | 2665 | 3068
3 | 2000-10-01 | n/a |  | 0% | 0 | 3068
4 | 2000-11-01 | Circuit breaker purchase |  | 6.3% | 819 | 3887
5 | 2000-12-01 | Breakers, ROW, E&C, switchyard |  | 70% | 9100 | 12987
6 | 2001-01-01 | Construction |  | 0% | 0 | 12987
7 | 2001-02-01 | Construction |  | 0% | 0 | 12987
8 | 2001-03-01 | Construction |  | 0% | 0 | 12987
9 | 2001-04-01 | Construction |  | 0% | 0 | 12987
10 | 2001-05-01 | Construction |  | 0% | 0 | 12987
11 | 2001-06-01 | Operations |  | 0% | 0 | 12987
12 | 2001-07-01 | Operations |  | 0% | 0 | 12987
13 | 2001-08-01 | Operations |  | 0% | 0 | 12987
14 | 2001-09-01 | Operations |  | 0% | 0 | 12987
15 | 2001-10-01 | Operations |  | 0% | 0 | 12987
16 | 2001-11-01 | Operations |  | 0% | 0 | 12987
17 | 2001-12-01 | Operations |  | 0% | 0 | 12987
18 | 2002-01-01 | Operations |  | 0% | 0 | 12987
19 | 2002-02-01 | Operations |  | 0% | 0 | 12987
20 | 2002-03-01 | Operations |  | 0% | 0 | 12987
21 | 2002-04-01 | Operations |  | 0% | 0 | 12987
22 | 2002-05-01 | Operations |  | 0% | 0 | 12987
23 | 2002-06-01 | Operations |  | 0% | 0 | 12987
24 | 2002-07-01 | Operations |  | 0% | 0 | 12987
25 | 2002-08-01 | Operations |  | 0% | 0 | 12987
26 | 2002-09-01 | Operations |  | 0% | 0 | 12987
27 | 2002-10-01 | Operations |  | 0% | 0 | 12987
28 | 2002-11-01 | Operations |  | 0% | 0 | 12987
29 | 2002-12-01 | Operations |  | 0% | 0 | 12987
30 | 2003-01-01 | Operations |  | 0% | 0 | 12987
31 | 2003-02-01 | Operations |  | 0% | 0 | 12987
32 | 2003-03-01 | Operations |  | 0% | 0 | 12987
33 | 2003-04-01 | Operations |  | 0% | 0 | 12987
34 | 2003-05-01 | Operations |  | 0% | 0 | 12987
35 | 2003-06-01 | Operations |  | 0% | 0 | 12987
36 | 2003-07-01 | Operations |  | 0% | 0 | 12987
37 | 2003-08-01 | Operations |  | 0% | 0 | 12987
38 | 2003-09-01 | Operations |  | 0% | 0 | 12987
39 | 2003-10-01 | Operations |  | 0% | 0 | 12987
40 | 2003-11-01 | Operations |  | 0% | 0 | 12987
41 | 2003-12-01 | Operations |  | 0% | 0 | 12987
42 | 2004-01-01 |  |  | 0% | 0 | 12987
43 | 2004-02-01 |  |  | 0% | 0 | 12987
44 | 2004-03-01 |  |  | 0% | 0 | 12987
45 | 2004-04-01 |  |  | 0% | 0 | 12987
46 | 2004-05-01 |  |  | 0% | 0 | 12987
47 | 2004-06-01 |  |  | 0% | 0 | 12987
48 | 2004-07-01 |  |  | 0% | 0 | 12987
49 | 2004-08-01 |  |  | 0% | 0 | 12987
50 | 2004-09-01 |  |  | 0% | 0 | 12987
51 | 2004-10-01 |  |  | 0% | 0 | 12987
52 | 2004-11-01 |  |  | 0% | 0 | 12987
53 | 2004-12-01 |  |  | 0% | 0 | 12987
54 | 2005-01-01 |  |  | 0% | 0 | 12987
55 | 2005-02-01 |  |  | 0% | 0 | 12987
56 | 2005-03-01 |  |  | 0% | 0 | 12987
57 | 2005-04-01 |  |  | 0% | 0 | 12987
58 | 2005-05-01 |  |  | 0% | 0 | 12987
59 | 2005-06-01 |  |  | 0% | 0 | 12987
60 | 2005-07-01 |  |  | 0% | 0 | 12987
| TOTAL |  |  | 99.9% | 12987
1 | 2 | 3 | 4 | 5 | 6 | 7

## IDC
INTEREST DURING CONSTRUCTION
0
Current Month |  |  | 1 | 2 | 3 | 4 | 5 | 6
Calendar Month |  |  | 2000-08-01 | 2000-09-01 | 2000-10-01 | 2000-11-01 | 2000-12-01 | 2001-01-01 | TOTAL | 1
2
3
| (excl IDC) | Total | [7 empty] | 4
Project Cost | 13000 | 13000 | [7 empty] | 5
Interest Rate |  | 0% | [7 empty] | 6
Debt/Equity Structure | 0 | [8 empty] | 7
8
9
Construction Balance | [9 empty] | 10
Beginning Construction Balance |  |  | 0 | 403 | 3068 | 3068 | 3887 | 12987 |  | 11
Construction Drawdown |  |  | 403 | 2665 | 0 | 819 | 9100 | 0 | 12987 | 12
Ending Construction Balance |  |  | 403 | 3068 | 3068 | 3887 | 12987 | 12987 |  | 13
Cumulative % complete (excl IDC & Prepayment) |  |  | 3.1% | 23.6% | 23.6% | 29.9% | 99.9% | 99.9% |  | 14
All-In Cumulative % Complete (excl Prepayment) |  |  | 3.1% | 23.6% | 23.6% | 29.9% | 99.9% | 99.9% |  | 15
16
Debt Balance | [9 empty] | 17
Beginning Debt Balance |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 18
Plus: Debt Proceeds |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
Ending Balance Debt Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 20
21
Interest During Construction -- Monthly |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22
23
Equity Balance | [9 empty] | 24
Beginning Equity Balance |  |  | 0 | 403 | 3068 | 3068 | 3887 | 12987 |  | 25
Plus: Equity Proceeds |  |  | 403 | 2665 | 0 | 819 | 9100 | 0 | 12987 | 26
Ending Equity Balance |  |  | 403 | 3068 | 3068 | 3887 | 12987 | 12987 |  | 27
Total Interest During Construction |  | 0

## FIN
FINANCING
0
Current Year |  |  | 1 | 2 | 3
Calendar Year |  |  | 2001 | 2002 | 2003 | Totals
Months of Operation |  |  | 12 | 12 | 12
DEBT SERVICE
Interest |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Principal |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Debt Service |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
PRINCIPAL |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF!
REPAYMENT |  | Amount |  | #REF! |  | Amount |  | #REF! |  | Amount |  | #REF! |  | Amount |  | #REF! |  | Amount |  | #REF! |  | Amount |  | #REF!
|  | Term |  | #REF! | Years | Term |  | #REF! | Years | Term |  | #REF! | Years | Term |  | #REF! | Years | Term |  | #REF! | Years | Term |  | #REF! | Years
|  | Interest Rate |  | #REF! |  | Interest Rate |  | #REF! |  | Interest Rate |  | #REF! |  | Interest Rate |  | #REF! |  | Interest Rate |  | #REF! |  | Interest Rate |  | #REF!
|  | Grace Period: |  | #REF! | Payments | Grace Period: |  | #REF! | Payments | Grace Period: |  | #REF! | Payments | Grace Period: |  | #REF! | Payments | Grace Period: |  | #REF! | Payments | Grace Period: |  | #REF! | Payments
|  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | Total | Total
Year | Period | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Interest | Principal
2001 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2001 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2002 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2002 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2003 | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2003 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2004 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2004 | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2005 | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2005 | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2006 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2006 | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2007 | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2007 | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2008 | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2008 | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2009 | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2009 | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2010 | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2010 | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2011 | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2011 | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2012 | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2012 | 23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2013 | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2013 | 25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2014 | 26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2014 | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015 | 28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015 | 29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016 | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016 | 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017 | 32 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017 | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018 | 34 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018 | 35 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019 | 36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019 | 37 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020 | 38 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020 | 39 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTALS |  |  | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! |  | #REF! | #REF!

## TAXES_FEES
CASH TAXES, COMMITMENT FEE
0
Current Year | 1 | 2 | 3
Calendar Year | 2001 | 2002 | 2003 | Totals
Months of Operation | 12 | 12 | 12
CASH TAXES
EBDIT | 7051.04 | 6150.0608 | 5249.062 | 18450.1628
Less: Tax Depreciation | -487.5 | -938.47 | -866.71 | -2292.68
Less: Interest Expense (before W/H Tax) | 0 | 0 | 0 | 0
Taxable Income | 6563.54 | 5211.5908 | 4382.352 | 16157.4828
Tax Rate | 40% | 40% | 40%
TOTAL CASH TAXES PAID | 2625.416 | 2084.6363 | 1752.9408 | 6462.9931

## DEPR
DEPRECIATION CALCULATIONS
0
|  | Tax | Book | US GAAP
Total Project Cost |  | 13000 | 13000 | 13000
Less: Other Costs |  | -900 | -900 | -900 | MACRS Schedule
Less: Working Capital |  | 0 | 0 | 0 | 3.75% | 7.219% | 6.667%
Total Depreciable Basis |  | 12100 | 12100 | 12100 | 3.75% | 7.219% | 6.667%
Current Year |  |  |  |  | 1 | 2 | 3
Calendar Year |  |  |  |  | 2001 | 2002 | 2003 | Totals
Months of Operation |  |  |  |  | 12 | 12 | 12
Tax Depreciation: |  |  |  | Original
Current Tax Depreciation: |  |  |  | Basis
| Asset 1 |  |  | 13000 | 487.5 | 938.47 | 866.71 | 2292.68
| Total Current Tax Depreciation |  |  | 13000 | 487.5 | 938.47 | 866.71 | 2292.68
| Accumulated Tax Depreciation |  |  |  | 487.5 | 1425.97 | 2292.68
| Beginning Tax Basis |  |  |  | 0 | 12512.5 | 11574.03
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -487.5 | -938.47 | -866.71 | -2292.68
| Ending Tax Basis |  |  |  | 12512.5 | 11574.03 | 10707.32
Book Depreciation:
Current Book Depreciation:
| Asset 1 |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 1368.4211
| Total Current Book Depreciation |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 1368.4211
| Accumulated Book Depreciation |  |  |  | 456.1404 | 912.2807 | 1368.4211
| Beginning Book Basis |  |  |  | 0 | 12543.8596 | 12087.7193
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -456.1404 | -456.1404 | -456.1404 | -1368.4211
| Ending Book Basis |  |  |  | 12543.8596 | 12087.7193 | 11631.5789
US GAAP Depreciation:
Current Book Depreciation:
| Asset 1 |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 1368.4211
| Total Current Book Depreciation |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 1368.4211
| Accumulated Book Depreciation |  |  |  | 456.1404 | 912.2807 | 1368.4211
| Beginning Book Basis |  |  |  | 0 | 12543.8596 | 12087.7193
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -456.1404 | -456.1404 | -456.1404 | -1368.4211
| Ending Book Basis |  |  |  | 12543.8596 | 12087.7193 | 11631.5789
Note on F6: cwatts: Depreciation schedule as per Patrick Malloy's email 8-31-00

## BS_IS
BALANCE SHEET
0
|  |  | Opening | 1 | 2 | 3
($ in 000s) |  |  | Balance | 2001 | 2002 | 2003 | Totals
Assets:
| Cash and cash equivalents |  | 0 | 0 | 0 | 0 | 0
| Maintenance Reserve |  | 0 | 0 | 0 | 0
| Accounts Receivable |  | 0 | 0 | 0 | 0 | 0
| Inventory |  | 0 | 0 | 0 | 0 | 0
| Construction in progress |  | 0 | 0 | 0 | 0 | 0
Property, plant and equipment
|  | Cost | 0 | 13000 | 13000 | 13000 | 39000
|  | Accumulated depreciation | 0 | 456.1404 | 912.2807 | 1368.4211 | 2736.8421
|  | Property, plant, and equipment, net | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 36263.1579
| Land |  | 0 | 0 | 0 | 0 | 0
0
Total Assets |  |  | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 36263.1579
Liabilities:
| Accounts Payable |  | 0 | 0 | 0 | 0 | 0
| Interest Payable |  | 0 | 0 | 0 | 0 | 0
| Income taxes payable |  | 0 | 0 | 0 | 0 | 0
| Long-term debt |  | 0 | 0 | 0 | 0 | 0
| Other liabilities |  | 0 | 0 | 0 | 0 | 0
|  | Total liabilities | 0 | 0 | 0 | 0 | 0
Stockholders' equity:
| Capital Stock |  | 0 | 13000 | 13000 | 13000 | 39000
| Dividends |  | 0 | 0 | 0 | 0 | 0
| Retained earnings |  | 0 | 3956.9398 | 7373.2921 | 10249.0451 | 21579.2769
| Total stockholders' equity |  | 0 | 16956.9398 | 20373.2921 | 23249.0451 | 60579.2769
Total liabilities and stockholders' equity |  |  | 0 | 16956.9398 | 20373.2921 | 23249.0451 | 60579.2769
Balance Check: |  |  | 0 | -4413.0801 | -8285.5728 | -11617.4661 | -24316.119
INCOME STATEMENT
|  |  |  | 1 | 2 | 3
($ in 000's) |  |  |  | 2001 | 2002 | 2003 | Totals
Sales/Revenues (includes int. inc.) |  |  |  | 7100 | 6200 | 5300 | 18600
Fixed O&M |  |  |  | 48.96 | 49.9392 | 50.938 | 149.8372
Variable O&M |  |  |  | 0 | 0 | 0 | 0
Depreciation |  |  |  | 456.1404 | 456.1404 | 456.1404 | 1368.4211
Interest expense |  |  |  | 0 | 0 | 0 | 0
Total expenses |  |  |  | 505.1004 | 506.0796 | 507.0783 | 3036.5165
Income before income taxes |  |  |  | 6594.8996 | 5693.9204 | 4792.9217 | 17081.7418
Provision for income taxes (natl & state) |  |  |  | 2637.9599 | 2277.5682 | 1917.1687 | 6832.6967
0
Net income |  |  |  | 3956.9398 | 3416.3523 | 2875.753 | 10249.0451
STATEMENT OF CASH FLOWS
|  |  |  | 1 | 2 | 3
($ in 000's) |  |  |  | 2001 | 2002 | 2003 | Totals
Cash flows from operating activities:
| Cash received from customers |  |  | 7100 | 6200 | 5300 | 18600
| Cash paid to suppliers and employees |  |  | -48.96 | -49.9392 | -50.938 | -149.8372
| Spare Parts |  |  | 0 | 0 | 0 | 0
| Major Maintenance Reserve |  |  | 0 | 0 | 0
| Interest paid |  |  | 0 | 0 | 0 | 0
| Income taxes paid |  |  | 2625.416 | 2084.6363 | 1752.9408 | 6462.9931
|  | Net cash provided by operating activities |  | 9676.456 | 8234.6971 | 7002.0028 | 24913.1559
Cash flows from financing activities:
| Principal payments under long-term debt obligations |  |  | 0 | 0 | 0 | 0
| Proceeds from issuance of long-term debt |  |  | 0 | 0 | 0 | 0
| Proceeds from refinancing of long-term debt |  |  | 0 | 0 | 0 | 0
| Loans to Shareholders - Trapped Cash |  |  | 0 | 0 | 0 | 0
| Loans to Shareholders - Legal Reserve |  |  | 0 | 0 | 0 | 0
| Interest Income - Loans to Shareholders |  |  | 0 | 0 | 0 | 0
| Increase/(Decrease) in Labor Liability |  |  | 0 | 0 | 0 | 0
| Capital contributions |  |  | 13000 | 0 | 0 | 13000
| Construction in progress |  |  | -13000 | 0 | 0 | -13000
| Dividends paid |  |  | -9676.456 | -8234.6971 | -7002.0028 | -24913.1559
|  | Net cash provided by financing activities |  | -9676.456 | -8234.6971 | -7002.0028 | -24913.1559
Net increase in cash and cash equivalents |  |  |  | 0 | 0 | 0 | 0
Cash and cash equivalents at beginning of year |  |  |  | 0 | 0 | 0 | 0
Cash and cash equivalents at end of year |  |  |  | 0 | 0 | 0 | 0