## Calpine Deal
Includes no ramp-up. Simply a step-up from 200 to 1000 MW on Jan '04
Deal Value | 4600000000
Start | 2001-10-01 | 2004-01-01
End | 2003-12-31 | 2011-12-31
MW | 200 | 1000
Days | 822 | 2922
Hours | 19728 | 70128
MWh | 3945600 | 70128000
Total MWh | 74073600
$/KWh | 0.0621
Assumes a linear increase from 200 MW on Oct '01 to 1000 MW on Jan '04
Deal Value | 4600000000
Start | 2001-10-01 | 2004-01-01
End | 2003-12-31 | 2011-12-31
MW | 600 | 1000
Days | 822 | 2922
Hours | 19728 | 70128
MWh | 11836800 | 70128000
Total MWh | 81964800
$/KWh | 0.056122
Conclusion: The actual value probably lies somewhere in between. $0.058/KWh is a reasonable approximation.

## Incremental Load
Below is an excerpt from a Feb 8 article from the Dow Jones Energy Service:
Calif Gov Outlines Plan To Add 5000 MW By July 2001
(Copyright (c) 2001, Dow Jones & Company, Inc.)
Under Davis's emergency powers, he proposed that California bring 5,000 megawatts on-line by July 2001, when the Sutter Power Plant and other plants are expected to begin generating electricity. He said an additional 5,000 megawatts will come on-line by 2002, and another 15,000 MW by July 2004.
It can be assumed that these capacity additions will be a combination of peaking and baseload plants. In order to get a rough estimate for what these projections would indicate from a gas demand perspective, I made some rough assumptions below as to average plant dispatch per day and heat rate.
|  | 2001 | 2002 | 2003 | 2004
| Cum. New MW | 5000 | 10000 | 17500 | 25000
| Avg. Hours/day | 10 | 10 | 10 | 10
| Avg. Heat Rate | 8000 | 8000 | 8000 | 8000
| New MMBtu/d | 400000 | 800000 | 1400000 | 2000000
Although the dispatch and heat rate assumption clearly may vary, Gov. Davis' projections indicate a rather sharp increase in gas demand for Cali power generation. Are these projections feasible, given transportation constraints and pipeline construction lead time?