## 0102
Clear Sky Project Operational Report For January 2002
Executive Summary
This interim report was generated to comply with the contractual monthly reporting requirement from the Windsystem, Operations, & Maintenance Agreement.
The description of outages, safety near miss events, accidents, infrastructure work, and maintenance records are not included in this interim report.
All other required components are provided below.
|  |  |  | Operational Parameters |  | Operational Parameters
Site | Row | Pad | Reporting Month | kWh Generated 2 | kWh Consumed 2 | Net kWh Production | Capacity Factor | Availability1 | Operating Hrs
ClearSky | 1 | 001 | 2002-01-01 | 191941 | 1024 | 190917 | 17.11% | 84.4% | 627.9712
ClearSky | 1 | 002 | 2002-01-01 | 219688 | 544 | 219144 | 19.64% | 97.88% | 728.2526
ClearSky | 1 | 003 | 2002-01-01 | 200828 | 1225 | 199603 | 17.89% | 98.49% | 732.7752
ClearSky | 1 | 004 | 2002-01-01 | 195687 | 901 | 194786 | 17.45% | 93.74% | 697.39
ClearSky | 1 | 005 | 2002-01-01 | 171906 | 558 | 171348 | 15.35% | 89.36% | 664.862
ClearSky | 1 | 007 | 2002-01-01 | 206613 |  | 206613 | 18.51% |  | 0
ClearSky | 1 | 008 | 2002-01-01 | 157590 | 1071 | 156519 | 14.03% | 75.41% | 561.0581
ClearSky | 1 | 009 | 2002-01-01 | 241195 | 398 | 240797 | 21.58% | 94.65% | 704.1873
ClearSky | 1 | 013 | 2002-01-01 | 161573 | 616 | 160957 | 14.42% | 95.32% | 709.1644
ClearSky | 1 | 014 | 2002-01-01 | 203040 | 390 | 202650 | 18.16% | 93.46% | 695.3657
ClearSky | 1 | 015 | 2002-01-01 | 195268 | 2046 | 193222 | 17.31% | 88.2% | 656.2407
ClearSky | 1 | 017 | 2002-01-01 | 89158 | 928 | 88230 | 7.906% | 77.19% | 574.3088
ClearSky | 1 | 018 | 2002-01-01 | 190141 |  | 190141 | 17.04% |  | 0
ClearSky | 1 | 019 | 2002-01-01 | 177522 | 1175 | 176347 | 15.8% | 85.4% | 635.3763
ClearSky | 1 | 020 | 2002-01-01 | 223513 | 583 | 222930 | 19.98% | 93.03% | 692.1362
ClearSky | 1 | 021 | 2002-01-01 | 198038 | 461 | 197577 | 17.7% | 87.85% | 653.64
ClearSky | 1 | 022 | 2002-01-01 | 205314 | 429 | 204885 | 18.36% | 85.89% | 639.0446
ClearSky | 1 | 023 | 2002-01-01 | 249154 | 273 | 248881 | 22.3% | 83.42% | 620.6108
ClearSky | 1 | 024 | 2002-01-01 | 163649 | 815 | 162834 | 14.59% | 92.23% | 686.1914
ClearSky | 1 | 025 | 2002-01-01 | 241362 | 355 | 241007 | 21.6% | 76.46% | 568.8478
ClearSky | 1 | 026 | 2002-01-01 | 238995 | 926 | 238069 | 21.33% | 86.57% | 644.0951
ClearSky | 1 | 027 | 2002-01-01 | 265585 | 1056 | 264529 | 23.7% | 83.02% | 617.6591
ClearSky | 1 | 028 | 2002-01-01 | 330725 | 985 | 329740 | 29.55% | 85.66% | 637.3039
ClearSky | 1 | 029 | 2002-01-01 | 240435 | 759 | 239676 | 21.48% | 90.83% | 675.7994
ClearSky | 1 | 030 | 2002-01-01 | 220828 | 538 | 220290 | 19.74% | 88.45% | 658.0487
ClearSky | 1 | 031 | 2002-01-01 | 237174 | 691 | 236483 | 21.19% | 76.79% | 571.3172
ClearSky | 1 | 032 | 2002-01-01 | 197322 | 241 | 197081 | 17.66% | 99.2% | 738.0539
ClearSky | 1 | 033 | 2002-01-01 | 184520 | 538 | 183982 | 16.49% | 92.98% | 691.7859
ClearSky | 1 | 034 | 2002-01-01 | 183218 | 610 | 182608 | 16.36% | 84.56% | 629.1316
ClearSky | 1 | 035 | 2002-01-01 | 266034 | 537 | 265497 | 23.79% | 81.34% | 605.1982
ClearSky | 1 | 036 | 2002-01-01 | 166238 | 429 | 165809 | 14.86% | 96.67% | 719.1986
ClearSky | 1 | 037 | 2002-01-01 | 210569 | 1631 | 208938 | 18.72% | 50.39% | 374.8989
ClearSky | 1 | 038 | 2002-01-01 | 203768 | 1283 | 202485 | 18.14% | 66.38% | 493.8761
ClearSky | 1 | 039 | 2002-01-01 | 291435 | 1675 | 289760 | 25.96% | 58.08% | 432.1414
ClearSky | 1 | 040 | 2002-01-01 | 181677 | 746 | 180931 | 16.21% | 85.89% | 639.017
ClearSky | 1 | 041 | 2002-01-01 | 289129 | 1272 | 287857 | 25.79% | 70.71% | 526.1057
ClearSky | 1 | 042 | 2002-01-01 | 324087 |  | 324087 | 29.04% |  | 0
ClearSky | 1 | 043 | 2002-01-01 | 267305 | 1026 | 266279 | 23.86% | 88.63% | 659.3873
ClearSky | 1 | 044 | 2002-01-01 | 284784 | 1537 | 283247 | 25.38% | 61.51% | 457.6094
ClearSky | 1 | 045 | 2002-01-01 | 246342 | 408 | 245934 | 22.04% | 30.07% | 223.6942
ClearSky | 1 | 046 | 2002-01-01 | 276432 | 336 | 276096 | 24.74% | 79.82% | 593.8402
ClearSky | 1 | 047 | 2002-01-01 | 262486 | 543 | 261943 | 23.47% | 88.3% | 656.9526
ClearSky | 1 | 049 | 2002-01-01 | 243015 |  | 243015 | 21.78% |  | 0
ClearSky | 1 | 050 | 2002-01-01 | 231897 | 364 | 231533 | 20.75% | 81.8% | 608.6118
ClearSky | 1 | 051 | 2002-01-01 | 209296 | 166 | 209130 | 18.74% | 89.11% | 662.9978
ClearSky | 1 | 052 | 2002-01-01 | 201797 | 601 | 201196 | 18.03% | 86.83% | 645.985
ClearSky | 1 | 053 | 2002-01-01 | 216512 | 568 | 215944 | 19.35% | 77.57% | 577.1541
ClearSky | 1 | 054 | 2002-01-01 | 173575 | 589 | 172986 | 15.5% | 86.48% | 643.4391
ClearSky | 1 | 055 | 2002-01-01 | 155874 | 998 | 154876 | 13.88% | 77.35% | 575.515
ClearSky | 1 | 056 | 2002-01-01 | 269805 | 813 | 268992 | 24.1% | 35.52% | 264.2359
ClearSky | 1 | 057 | 2002-01-01 | 300508 | 1484 | 299024 | 26.79% | 71.66% | 533.1573
ClearSky | 1 | 058 | 2002-01-01 | 277190 | 1308 | 275882 | 24.72% | 63.47% | 472.197
ClearSky | 1 | 059 | 2002-01-01 | 92081 | 1330 | 90751 | 8.132% | 89.55% | 666.2478
ClearSky | 1 | 060 | 2002-01-01 | 152371 | 178 | 152193 | 13.64% | 87.8% | 653.2602
ClearSky | 1 | 061 | 2002-01-01 | 173761 | 637 | 173124 | 15.51% | 80.73% | 600.6406
ClearSky | 1 | 062 | 2002-01-01 | 234230 | 324 | 233906 | 20.96% | 95.23% | 708.5109
ClearSky | 1 | 063 | 2002-01-01 | 145130 | 629 | 144501 | 12.95% | 89.69% | 667.3038
ClearSky | 1 | 064 | 2002-01-01 | 217488 | 1116 | 216372 | 19.39% | 80.96% | 602.3627
ClearSky | 1 | 065 | 2002-01-01 | 177638 | 445 | 177193 | 15.88% | 92.6% | 688.9582
ClearSky | 1 | 066 | 2002-01-01 | 194607 | 504 | 194103 | 17.39% | 76.36% | 568.1384
ClearSky | 1 | 067 | 2002-01-01 | 217157 | 197 | 216960 | 19.44% | 91.75% | 682.6212
ClearSky | 1 | 068 | 2002-01-01 | 212816 | 537 | 212279 | 19.02% | 91.4% | 680.0344
ClearSky | 1 | 069 | 2002-01-01 | 247870 | 971 | 246899 | 22.12% | 85.66% | 637.3156
ClearSky | 1 | 070 | 2002-01-01 | 235307 | 1044 | 234263 | 20.99% | 68.21% | 507.4653
ClearSky | 1 | 071 | 2002-01-01 | 245600 |  | 245600 | 22.01% |  | 0
ClearSky | 1 | 072 | 2002-01-01 | 228434 | 1081 | 227353 | 20.37% | 77.99% | 580.2259
ClearSky | 1 | 073 | 2002-01-01 | 222299 | 351 | 221948 | 19.89% | 98.66% | 734.0362
ClearSky | 1 | 074 | 2002-01-01 | 217782 | 1292 | 216490 | 19.4% | 79.69% | 592.8865
ClearSky | 1 | 075 | 2002-01-01 | 231740 | 656 | 231084 | 20.71% | 85.17% | 633.6439
ClearSky | 1 | 076 | 2002-01-01 | 214838 | 458 | 214380 | 19.21% | 76.81% | 571.4657
ClearSky | 1 | 077 | 2002-01-01 | 175487 | 1391 | 174096 | 15.6% | 76.64% | 570.2165
ClearSky | 1 | 078 | 2002-01-01 | 207314 | 1018 | 206296 | 18.49% | 72.12% | 536.5972
ClearSky | 1 | 079 | 2002-01-01 | 191862 |  | 191862 | 17.19% |  | 0
ClearSky | 1 | 080 | 2002-01-01 | 242904 | 609 | 242295 | 21.71% | 76.91% | 572.2125
ClearSky | 1 | 081 | 2002-01-01 | 178144 | 396 | 177748 | 15.93% | 89.88% | 668.7286
ClearSky | 1 | 082 | 2002-01-01 | 223313 | 1096 | 222217 | 19.91% | 55.92% | 416.0571
ClearSky | 1 | 083 | 2002-01-01 | 231124 | 1244 | 229880 | 20.6% | 51.16% | 380.6158
ClearSky | 1 | 084 | 2002-01-01 | 179137 | 460 | 178677 | 16.01% | 93% | 691.9091
ClearSky | 1 | 085 | 2002-01-01 | 253626 | 635 | 252991 | 22.67% | 81.9% | 609.3137
ClearSky | 1 | 086 | 2002-01-01 | 166051 | 991 | 165060 | 14.79% | 66.11% | 491.8817
ClearSky | 1 | 087 | 2002-01-01 | 232603 | 429 | 232174 | 20.8% | 86.18% | 641.1448
ClearSky | 1 | 088 | 2002-01-01 | 255983 | 676 | 255307 | 22.88% | 68.2% | 507.3871
ClearSky | 1 | 089 | 2002-01-01 | 216998 | 577 | 216421 | 19.39% | 88.83% | 660.9144
ClearSky | 1 | 090 | 2002-01-01 | 136176 | 546 | 135630 | 12.15% | 90.81% | 675.5947
ClearSky | 1 | 091 | 2002-01-01 | 129445 | 943 | 128502 | 11.51% | 82.27% | 612.0763
ClearSky | 1 | 092 | 2002-01-01 | 278531 | 1052 | 277479 | 24.86% | 76.25% | 567.333
ClearSky | 1 | 093 | 2002-01-01 | 239213 | 1055 | 238158 | 21.34% | 64.75% | 481.7177
ClearSky | 1 | 096 | 2002-01-01 | 298642 | 610 | 298032 | 26.71% | 86.06% | 640.2681
ClearSky | 1 | 100 | 2002-01-01 | 282934 | 653 | 282281 | 25.29% | 87.72% | 652.6145
ClearSky | 1 | 102 | 2002-01-01 | 286804 | 887 | 285917 | 25.62% | 84.45% | 628.2932
ClearSky | 1 | 103 | 2002-01-01 | 318212 | 565 | 317647 | 28.46% | 79.75% | 593.3258
ClearSky | 1 | 104 | 2002-01-01 | 181104 | 510 | 180594 | 16.18% | 83.14% | 618.5486
ClearSky | 1 | 105 | 2002-01-01 | 196699 | 685 | 196014 | 17.56% | 78.52% | 584.1735
ClearSky | 1 | 106 | 2002-01-01 | 199353 | 939 | 198414 | 17.78% | 71.11% | 529.0952
ClearSky | 1 | 107 | 2002-01-01 | 249741 | 1160 | 248581 | 22.27% | 62.79% | 467.1544
ClearSky | 1 | 108 | 2002-01-01 | 160697 | 1167 | 159530 | 14.29% | 74.36% | 553.2735
ClearSky | 1 | 109 | 2002-01-01 | 317307 | 620 | 316687 | 28.38% | 87.67% | 652.2492
ClearSky | 1 | 113 | 2002-01-01 | 231238 |  | 231238 | 20.72% |  | 0
ClearSky | 1 | 114 | 2002-01-01 | 227379 | 129 | 227250 | 20.36% | 95.99% | 714.1897
ClearSky | 1 | 115 | 2002-01-01 | 290713 | 685 | 290028 | 25.99% | 79% | 587.7357
ClearSky | 1 | 116 | 2002-01-01 | 221840 | 2017 | 219823 | 19.7% | 52.96% | 394.0374
ClearSky | 1 | 117 | 2002-01-01 | 189257 | 625 | 188632 | 16.9% | 89.07% | 662.6733
ClearSky | 1 | 118 | 2002-01-01 | 248491 | 884 | 247607 | 22.19% | 74.9% | 557.2677
ClearSky | 1 | 119 | 2002-01-01 | 269431 | 897 | 268534 | 24.06% | 78.29% | 582.5048
ClearSky | 1 | 120 | 2002-01-01 | 211588 | 701 | 210887 | 18.9% | 94.67% | 704.3356
ClearSky | 1 | 121 | 2002-01-01 | 139950 | 966 | 138984 | 12.45% | 38.92% | 289.5322
ClearSky | 1 | 122 | 2002-01-01 | 363516 | 801 | 362715 | 32.5% | 90.1% | 670.344
|  | Project, Before line losses | 2002-01-01 | 23615693 | 78819 | 23536874 | 19.71% | 80.67% | 60016.2642
|  | Assumed 2% Line Loss | 2002-01-01 | 472313.86 | 1576.38 | 470737.48
|  | Project, After line losses | 2002-01-01 | 23143379.14 | 77242.62 | 23066136.52 | 19.32% | 80.67% | 60016.2642
|  | Project, After line losses | Year To Date | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes:
2) For Turbines 7,18,42,49,71,79,113 no data was provided
OUTAGES AND CURTAILMENTS IN Jan 2002
Clear Sky
Grid Availability= |  | 100%
Time Off |  | Time On | Machines Affected | Reason |  |  | Charge | Elapsed Hrs | No of WTG Affected | Lost WTGHrs
No outages reported
0
74400
1

## 0202
Clear Sky Project Operational Report For February 2002
Executive Summary
This interim report was generated to comply with the contractual monthly reporting requirement from the Windsystem, Operations, & Maintenance Agreement.
The description of outages, safety near miss events, accidents, infrastructure work, and maintenance records are not included in this interim report.
All other required components are provided below.
Operational Parameters
Site | Row | Pad | Reporting Month | kWh Generated | kWh Consumed | Net kWh Production | Capacity Factor | Availability1 | Operating Hrs
ClearSky | 1 | 001 | 2002-02-01 | 191941 | 1028 | 190913 | 19.04% | 94.59% | 635.6581
ClearSky | 1 | 002 | 2002-02-01 | 219688 | 790 | 218898 | 21.79% | 99.59% | 669.2743
ClearSky | 1 | 003 | 2002-02-01 | 200828 | 1782 | 199046 | 19.92% | 99.76% | 670.3848
ClearSky | 1 | 004 | 2002-02-01 | 195687 | 867 | 194820 | 19.41% | 94.8% | 637.0279
ClearSky | 1 | 005 | 2002-02-01 | 171906 | 883 | 171023 | 17.05% | 86.71% | 582.7069
ClearSky | 1 | 007 | 2002-02-01 | 206613 | 1006 | 205607 | 20.5% | 96.16% | 646.1976
ClearSky | 1 | 008 | 2002-02-01 | 157590 | 1082 | 156508 | 15.63% | 88.29% | 593.3393
ClearSky | 1 | 009 | 2002-02-01 | 241195 | 572 | 240623 | 23.93% | 94.59% | 635.6291
ClearSky | 1 | 013 | 2002-02-01 | 161573 | 635 | 160938 | 16.03% | 92.36% | 620.6842
ClearSky | 1 | 014 | 2002-02-01 | 203040 | 282 | 202758 | 20.14% | 99.47% | 668.4283
ClearSky | 1 | 015 | 2002-02-01 | 195268 | 1538 | 193730 | 19.37% | 85.11% | 571.9638
ClearSky | 1 | 017 | 2002-02-01 | 89158 | 252 | 88906 | 8.845% | 98.67% | 663.0789
ClearSky | 1 | 018 | 2002-02-01 | 190141 | 477 | 189664 | 18.86% | 92.27% | 620.0813
ClearSky | 1 | 019 | 2002-02-01 | 177522 | 616 | 176906 | 17.61% | 95% | 638.421
ClearSky | 1 | 020 | 2002-02-01 | 223513 | 520 | 222993 | 22.17% | 95.8% | 643.8051
ClearSky | 1 | 021 | 2002-02-01 | 198038 | 558 | 197480 | 19.65% | 92.47% | 621.3653
ClearSky | 1 | 022 | 2002-02-01 | 205314 | 464 | 204850 | 20.37% | 98.16% | 659.6402
ClearSky | 1 | 023 | 2002-02-01 | 249154 | 271 | 248883 | 24.72% | 99.15% | 666.2654
ClearSky | 1 | 024 | 2002-02-01 | 163649 | 898 | 162751 | 16.24% | 70.41% | 473.1379
ClearSky | 1 | 025 | 2002-02-01 | 241362 | 287 | 241075 | 23.94% | 93.64% | 629.2417
ClearSky | 1 | 026 | 2002-02-01 | 238995 | 954 | 238041 | 23.71% | 97.45% | 654.8499
ClearSky | 1 | 027 | 2002-02-01 | 265585 | 1069 | 264516 | 26.35% | 99.08% | 665.799
ClearSky | 1 | 028 | 2002-02-01 | 330725 | 668 | 330057 | 32.81% | 99.31% | 667.3655
ClearSky | 1 | 029 | 2002-02-01 | 240435 | 796 | 239639 | 23.85% | 98.51% | 662.0046
ClearSky | 1 | 030 | 2002-02-01 | 220828 | 529 | 220299 | 21.91% | 97.15% | 652.8416
ClearSky | 1 | 031 | 2002-02-01 | 237174 | 527 | 236647 | 23.53% | 93.11% | 625.7086
ClearSky | 1 | 032 | 2002-02-01 | 197322 | 545 | 196777 | 19.58% | 91.63% | 615.7415
ClearSky | 1 | 033 | 2002-02-01 | 184520 | 870 | 183650 | 18.31% | 78% | 524.128
ClearSky | 1 | 034 | 2002-02-01 | 183218 | 576 | 182642 | 18.18% | 93.59% | 628.9118
ClearSky | 1 | 035 | 2002-02-01 | 266034 | 469 | 265565 | 26.39% | 91.91% | 617.6507
ClearSky | 1 | 036 | 2002-02-01 | 166238 | 722 | 165516 | 16.49% | 87.25% | 586.2918
ClearSky | 1 | 037 | 2002-02-01 | 210569 | 668 | 209901 | 20.89% | 84.02% | 564.6041
ClearSky | 1 | 038 | 2002-02-01 | 203768 | 644 | 203124 | 20.22% | 82.87% | 556.898
ClearSky | 1 | 039 | 2002-02-01 | 291435 | 629 | 290806 | 28.91% | 96.44% | 648.0641
ClearSky | 1 | 040 | 2002-02-01 | 181677 | 884 | 180793 | 18.02% | 86.97% | 584.4498
ClearSky | 1 | 041 | 2002-02-01 | 289129 | 852 | 288277 | 28.68% | 85.58% | 575.0803
ClearSky | 1 | 042 | 2002-02-01 | 324087 | 779 | 323308 | 32.15% | 94.8% | 637.0266
ClearSky | 1 | 043 | 2002-02-01 | 267305 | 948 | 266357 | 26.52% | 71.12% | 477.951
ClearSky | 1 | 044 | 2002-02-01 | 284784 | 584 | 284200 | 28.25% | 94.88% | 637.6115
ClearSky | 1 | 045 | 2002-02-01 | 246342 | 384 | 245958 | 24.44% | 83.57% | 561.6104
ClearSky | 1 | 046 | 2002-02-01 | 276432 | 580 | 275852 | 27.42% | 94.13% | 632.5408
ClearSky | 1 | 047 | 2002-02-01 | 262486 | 182 | 262304 | 26.04% | 98.11% | 659.2847
ClearSky | 1 | 049 | 2002-02-01 | 243015 | 284 | 242731 | 24.11% | 97.45% | 654.8462
ClearSky | 1 | 050 | 2002-02-01 | 231897 | 239 | 231658 | 23.01% | 88.83% | 596.911
ClearSky | 1 | 051 | 2002-02-01 | 209296 | 568 | 208728 | 20.76% | 95.38% | 640.9811
ClearSky | 1 | 052 | 2002-02-01 | 201797 | 1048 | 200749 | 20.02% | 77.11% | 518.1484
ClearSky | 1 | 053 | 2002-02-01 | 216512 | 545 | 215967 | 21.48% | 94.29% | 633.596
ClearSky | 1 | 054 | 2002-02-01 | 173575 | 1112 | 172463 | 17.22% | 71.35% | 479.5026
ClearSky | 1 | 055 | 2002-02-01 | 155874 | 404 | 155470 | 15.46% | 68.01% | 457.012
ClearSky | 1 | 056 | 2002-02-01 | 269805 | 1051 | 268754 | 26.77% | 93.28% | 626.8385
ClearSky | 1 | 057 | 2002-02-01 | 300508 | 745 | 299763 | 29.81% | 90.15% | 605.7769
ClearSky | 1 | 058 | 2002-02-01 | 277190 | 925 | 276265 | 27.5% | 95.05% | 638.7245
ClearSky | 1 | 059 | 2002-02-01 | 92081 | 298 | 91783 | 9.135% | 48.91% | 328.6949
ClearSky | 1 | 060 | 2002-02-01 | 152371 | 820 | 151551 | 15.12% | 69.41% | 466.4473
ClearSky | 1 | 061 | 2002-02-01 | 173761 | 721 | 173040 | 17.24% | 76.71% | 515.4879
ClearSky | 1 | 062 | 2002-02-01 | 234230 | 656 | 233574 | 23.24% | 98.56% | 662.344
ClearSky | 1 | 063 | 2002-02-01 | 145130 | 354 | 144776 | 14.4% | 91.78% | 616.759
ClearSky | 1 | 064 | 2002-02-01 | 217488 | 615 | 216873 | 21.58% | 89.73% | 602.9867
ClearSky | 1 | 065 | 2002-02-01 | 177638 | 701 | 176937 | 17.62% | 89.18% | 599.2633
ClearSky | 1 | 066 | 2002-02-01 | 194607 | 924 | 193683 | 19.31% | 90.25% | 606.4504
ClearSky | 1 | 067 | 2002-02-01 | 217157 | 830 | 216327 | 21.54% | 90.24% | 606.3944
ClearSky | 1 | 068 | 2002-02-01 | 212816 | 848 | 211968 | 21.11% | 79.81% | 536.3415
ClearSky | 1 | 069 | 2002-02-01 | 247870 | 581 | 247289 | 24.59% | 91.75% | 616.5431
ClearSky | 1 | 070 | 2002-02-01 | 235307 | 723 | 234584 | 23.34% | 89.64% | 602.3592
ClearSky | 1 | 071 | 2002-02-01 | 245600 | 630 | 244970 | 24.37% | 92.25% | 619.9248
ClearSky | 1 | 072 | 2002-02-01 | 228434 | 909 | 227525 | 22.66% | 90.56% | 608.5429
ClearSky | 1 | 073 | 2002-02-01 | 222299 | 687 | 221612 | 22.05% | 82.64% | 555.3207
ClearSky | 1 | 074 | 2002-02-01 | 217782 | 528 | 217254 | 21.61% | 75.57% | 507.849
ClearSky | 1 | 075 | 2002-02-01 | 231740 | 1280 | 230460 | 22.99% | 80.07% | 538.0422
ClearSky | 1 | 076 | 2002-02-01 | 214838 | 598 | 214240 | 21.31% | 83.51% | 561.1875
ClearSky | 1 | 077 | 2002-02-01 | 175487 | 754 | 174733 | 17.41% | 76.75% | 515.7767
ClearSky | 1 | 078 | 2002-02-01 | 207314 | 780 | 206534 | 20.57% | 84.87% | 570.3578
ClearSky | 1 | 079 | 2002-02-01 | 191862 | 649 | 191213 | 19.03% | 87.28% | 586.5529
ClearSky | 1 | 080 | 2002-02-01 | 242904 | 779 | 242125 | 24.1% | 72% | 483.8476
ClearSky | 1 | 081 | 2002-02-01 | 178144 | 686 | 177458 | 17.67% | 81.34% | 546.6354
ClearSky | 1 | 082 | 2002-02-01 | 223313 | 767 | 222546 | 22.15% | 83.46% | 560.8664
ClearSky | 1 | 083 | 2002-02-01 | 231124 | 713 | 230411 | 22.93% | 85.64% | 575.5201
ClearSky | 1 | 084 | 2002-02-01 | 179137 | 870 | 178267 | 17.77% | 73.5% | 493.9276
ClearSky | 1 | 085 | 2002-02-01 | 253626 | 639 | 252987 | 25.16% | 85.13% | 572.0642
ClearSky | 1 | 086 | 2002-02-01 | 166051 | 928 | 165123 | 16.47% | 55.05% | 369.9572
ClearSky | 1 | 087 | 2002-02-01 | 232603 | 843 | 231760 | 23.08% | 82.02% | 551.206
ClearSky | 1 | 088 | 2002-02-01 | 255983 | 716 | 255267 | 25.4% | 86.75% | 582.9545
ClearSky | 1 | 089 | 2002-02-01 | 216998 | 662 | 216336 | 21.53% | 93.76% | 630.0517
ClearSky | 1 | 090 | 2002-02-01 | 136176 | 1206 | 134970 | 13.51% | 56.57% | 380.1195
ClearSky | 1 | 091 | 2002-02-01 | 129445 | 981 | 128464 | 12.84% | 60.62% | 407.3847
ClearSky | 1 | 092 | 2002-02-01 | 278531 | 778 | 277753 | 27.63% | 84.85% | 570.1705
ClearSky | 1 | 093 | 2002-02-01 | 239213 | 612 | 238601 | 23.73% | 82.26% | 552.8034
ClearSky | 1 | 096 | 2002-02-01 | 298642 | 746 | 297896 | 29.63% | 96.79% | 650.4494
ClearSky | 1 | 100 | 2002-02-01 | 282934 | 812 | 282122 | 28.07% | 75.8% | 509.3904
ClearSky | 1 | 102 | 2002-02-01 | 286804 | 582 | 286222 | 28.45% | 80.19% | 538.892
ClearSky | 1 | 103 | 2002-02-01 | 318212 | 642 | 317570 | 31.57% | 83.71% | 562.5393
ClearSky | 1 | 104 | 2002-02-01 | 181104 | 819 | 180285 | 17.97% | 76.62% | 514.8918
ClearSky | 1 | 105 | 2002-02-01 | 196699 | 1056 | 195643 | 19.51% | 76.16% | 511.8147
ClearSky | 1 | 106 | 2002-02-01 | 199353 | 1288 | 198065 | 19.78% | 64.98% | 436.6798
ClearSky | 1 | 107 | 2002-02-01 | 249741 | 679 | 249062 | 24.78% | 67.59% | 454.1791
ClearSky | 1 | 108 | 2002-02-01 | 160697 | 1232 | 159465 | 15.94% | 53.68% | 360.7585
ClearSky | 1 | 109 | 2002-02-01 | 317307 | 167 | 317140 | 31.48% | 96.58% | 649.0106
ClearSky | 1 | 113 | 2002-02-01 | 231238 | 816 | 230422 | 22.94% | 70.97% | 476.9227
ClearSky | 1 | 114 | 2002-02-01 | 227379 | 1394 | 225985 | 22.56% | 75.5% | 507.3373
ClearSky | 1 | 115 | 2002-02-01 | 290713 | 757 | 289956 | 28.84% | 79.15% | 531.8796
ClearSky | 1 | 116 | 2002-02-01 | 221840 | 986 | 220854 | 22.01% | 70.7% | 475.1092
ClearSky | 1 | 117 | 2002-02-01 | 189257 | 819 | 188438 | 18.78% | 60.32% | 405.3813
ClearSky | 1 | 118 | 2002-02-01 | 248491 | 587 | 247904 | 24.65% | 82.46% | 554.1276
ClearSky | 1 | 119 | 2002-02-01 | 269431 | 650 | 268781 | 26.73% | 97.32% | 653.9643
ClearSky | 1 | 120 | 2002-02-01 | 211588 | 933 | 210655 | 20.99% | 83.23% | 559.3219
ClearSky | 1 | 121 | 2002-02-01 | 139950 | 966 | 138984 | 13.88% | 38.92% | 261.5129
ClearSky | 1 | 122 | 2002-02-01 | 363516 | 801 | 362715 | 36.06% | 90.1% | 605.472
|  | Project, Before line losses | 2002-02-01 | 23615693 | 79386 | 23536307 | 21.9% | 85.05% | 61155.852
|  | Assumed 2% Line Loss | 2002-02-01 | 472313.86 | 1587.72 | 470726.14
|  | Project, After line losses | 2002-02-01 | 23143379.14 | 77798.28 | 23065580.86 | 21.46% | 85.05% | 61155.852
|  | Project, After line losses | Year To Date | 46286758.28 | 155040.9 | 46131717.38 | 20.39% | 82.86% | 121172.1162
Notes:
1) Availability is based on Visupro Mon file instead of data displayed on Visupro screen. Turbines 3,8,36,52, and 54 corrected for meter resets.
2) Turbines 3, 8, 36, 52, and 54 were corrected to compensate for unexpected meter resets.
Clear Sky
GRID VARIANCE
Chargeable to: A=AEP, N=Force Majeure, E=Enron, W= ABB
Month: | 2002-02-02 |  |  | Reason: U=unscheduled outage, S= scheduled outage, F=fluctuation
Charge | Date off | Time off | Date on | Time on | Hrs. | 138/69 KV | Reason | Comments
W | 2002-02-12 | 13:30 | 2002-02-12 | 2:15 PM | 0.75 | 69 | U | Leak on 69 KV transformer
E | 2002-02-20 | 9:00 | 2002-02-20 | 17:20 | 8.3333 | 138 | S | Tie buss installation, not completed high winds
E | 2002-02-23 | 8:00 | 2002-02-23 | 14:30 | 6.5 | 138 | S | Complete tie bus welding.
E | 2002-02-28 | 8:00 | 2002-02-28 | 19:00 | 11 | 69 | S | Completion on lien items against site.

## 0302
Clear Sky Project Operational Report For March 2002
Executive Summary
This interim report was generated to comply with the contractual monthly reporting requirement from the Windsystem, Operations, & Maintenance Agreement.
The description of outages, safety near miss events, accidents, infrastructure work, and maintenance records are not included in this interim report.
All other required components are provided below.
|  |  |  | Operational Parameters | [6 empty] | Raw |  |  |  | Corrections
Site | Row | Pad | Reporting Month | kWh Generated | kWh Consumed | Net kWh Production | Capacity Factor | Availability1 | Operating Hrs | Data Recovery | kWhgen | kWhcons | Avail,num | Avail, denom | kWhgen | kWhcons | Avail,num | Avail, denom
ClearSky | 1 | 001 | 2002-03-01 | 306425 | 1040 | 305385 | 27.46% | 96.11% | 645.8665 | 100% | 306425 | 1040 | 711.0733 | 739.8452
ClearSky | 1 | 002 | 2002-03-01 | 298906 | 2181 | 296725 | 26.78% | 96.56% | 648.8713 | 100% | 298906 | 2181 | 711.9506 | 737.3277
ClearSky | 1 | 003 | 2002-03-01 | 340500 | 1531 | 338969 | 30.51% | 95.84% | 644.0711 | 100% | 340500 | 1531 | 696.2197 | 726.41
ClearSky | 1 | 004 | 2002-03-01 | 226549 | 1082 | 225467 | 20.3% | 84.27% | 566.2781 | 100% | 226549 | 1082 | 592.3808 | 702.9761
ClearSky | 1 | 005 | 2002-03-01 | 324605 | 890 | 323715 | 29.09% | 97.02% | 651.9868 | 100% | 324605 | 890 | 714.7294 | 736.6686
ClearSky | 1 | 007 | 2002-03-01 | 310980 | 1138 | 309842 | 27.87% | 100% | 672 | 100% | 310980 | 1138 | 740.3953 | 739.8386
ClearSky | 1 | 008 | 2002-03-01 | 240446 | 991 | 239455 | 21.55% | 95.59% | 642.3443 | 100% | 240446 | 991 | 645.9375 | 675.7591
ClearSky | 1 | 009 | 2002-03-01 | 247084 | 811 | 246273 | 22.14% | 96.89% | 651.1159 | 100% | 247084 | 811 | 716.7186 | 739.7069
ClearSky | 1 | 013 | 2002-03-01 | 251741 | 777 | 250964 | 22.56% | 91.39% | 614.1208 | 100% | 251741 | 777 | 675.2153 | 738.8525
ClearSky | 1 | 014 | 2002-03-01 | 253077 | 417 | 252660 | 22.68% | 94.28% | 633.5398 | 100% | 253077 | 417 | 691.9219 | 733.9263
ClearSky | 1 | 015 | 2002-03-01 | 179856 | 2773 | 177083 | 16.12% | 55.84% | 375.2447 | 100% | 179856 | 2773 | 410.3833 | 734.9275
ClearSky | 1 | 017 | 2002-03-01 | 181083 | 808 | 180275 | 16.23% | 98.23% | 660.1181 | 100% | -538790 | -3351 | 1003.0089 | 697.2341 | 719873 | 4159 | 360.3761 | 43.0342
ClearSky | 1 | 018 | 2002-03-01 | 228418 | 749 | 227669 | 20.47% | 100% | 672 | 100% | 228418 | 749 | 741.3589 | 739.8441
ClearSky | 1 | 019 | 2002-03-01 | 226485 | 1422 | 225063 | 20.29% | 98.28% | 660.4728 | 100% | 226485 | 1422 | 723.1647 | 735.7861
ClearSky | 1 | 020 | 2002-03-01 | 192230 | 807 | 191423 | 17.22% | 97.31% | 653.9468 | 100% | 192230 | 807 | 665.6819 | 684.0591
ClearSky | 1 | 021 | 2002-03-01 | 266157 | 859 | 265298 | 23.85% | 99.58% | 669.1901 | 100% | 266157 | 859 | 736.8194 | 739.9133
ClearSky | 1 | 022 | 2002-03-01 | 243024 | 482 | 242542 | 21.78% | 94.69% | 636.3325 | 100% | 243024 | 482 | 699.0128 | 738.1936
ClearSky | 1 | 023 | 2002-03-01 | 211946 | 430 | 211516 | 18.99% | 81.95% | 550.7047 | 100% | 211946 | 430 | 594.7569 | 725.755
ClearSky | 1 | 024 | 2002-03-01 | 277206 | 861 | 276345 | 24.84% | 99.32% | 667.4401 | 100% | 277206 | 861 | 734.7842 | 739.8041
ClearSky | 1 | 025 | 2002-03-01 | 297250 | 374 | 296876 | 26.64% | 99.96% | 671.7389 | 100% | 297250 | 374 | 708.0597 | 708.335
ClearSky | 1 | 026 | 2002-03-01 | 317524 | 1045 | 316479 | 28.45% | 99.04% | 665.5774 | 100% | 317524 | 1045 | 732.8411 | 739.9127
ClearSky | 1 | 027 | 2002-03-01 | 280281 | 1385 | 278896 | 25.11% | 99.55% | 668.9886 | 100% | 280281 | 1385 | 736.5969 | 739.9127
ClearSky | 1 | 028 | 2002-03-01 | 268511 | 1525 | 266986 | 24.06% | 89.75% | 603.0938 | 100% | 268511 | 1525 | 663.9514 | 739.8108
ClearSky | 1 | 029 | 2002-03-01 | 272326 | 1181 | 271145 | 24.4% | 100% | 672 | 100% | 272326 | 1181 | 740.7422 | 739.9183
ClearSky | 1 | 030 | 2002-03-01 | 267201 | 806 | 266395 | 23.94% | 99.47% | 668.415 | 100% | 267201 | 806 | 719.7339 | 723.5941
ClearSky | 1 | 031 | 2002-03-01 | 274447 | 743 | 273704 | 24.59% | 99.3% | 667.3054 | 100% | 274447 | 743 | 734.75 | 739.9191
ClearSky | 1 | 032 | 2002-03-01 | 292849 | 689 | 292160 | 26.24% | 99.5% | 668.6074 | 100% | 290680 | 653 | 736.1836 | 739.9191 | 2169 | 36 | 0 | 0
ClearSky | 1 | 033 | 2002-03-01 | 266802 | 1041 | 265761 | 23.91% | 100% | 672 | 100% | 266802 | 1041 | 724.5817 | 721.8433
ClearSky | 1 | 034 | 2002-03-01 | 318028 | 650 | 317378 | 28.5% | 98.57% | 662.4043 | 100% | 318028 | 650 | 729.3536 | 739.9191
ClearSky | 1 | 035 | 2002-03-01 | 219062 | 814 | 218248 | 19.63% | 69.3% | 465.7093 | 100% | 219062 | 814 | 512.4281 | 739.4133
ClearSky | 1 | 036 | 2002-03-01 | 322417 | 780 | 321637 | 28.89% | 97.07% | 652.3427 | 100% | 322417 | 780 | 718.0283 | 739.665
ClearSky | 1 | 037 | 2002-03-01 | 263241 | 1024 | 262217 | 23.59% | 98.72% | 663.4107 | 100% | 263241 | 1024 | 730.2733 | 739.7283
ClearSky | 1 | 038 | 2002-03-01 | 241192 | 797 | 240395 | 21.61% | 90.21% | 606.204 | 100% | 241192 | 797 | 667.2592 | 739.6819
ClearSky | 1 | 039 | 2002-03-01 | 247904 | 887 | 247017 | 22.21% | 100% | 672 | 100% | 247904 | 887 | 742.1344 | 739.0563
ClearSky | 1 | 040 | 2002-03-01 | 274587 | 993 | 273594 | 24.6% | 98.82% | 664.0408 | 100% | 274587 | 993 | 730.8025 | 739.5619
ClearSky | 1 | 041 | 2002-03-01 | 215287 | 1482 | 213805 | 19.29% | 69.37% | 466.1547 | 100% | 215287 | 1482 | 501.3247 | 722.7005
ClearSky | 1 | 042 | 2002-03-01 | 271480 | 939 | 270541 | 24.33% | 92.95% | 624.6065 | 100% | 270402 | 886 | 687.4689 | 739.6322 | 1078 | 53
ClearSky | 1 | 043 | 2002-03-01 | 296739 | 1340 | 295399 | 26.59% | 99.95% | 671.6775 | 100% | 296739 | 1340 | 739.3744 | 739.7294
ClearSky | 1 | 044 | 2002-03-01 | 354682 | 872 | 353810 | 31.78% | 98% | 658.543 | 100% | -423986 | -2932 | 1304.6642 | 783.8425 | 778668 | 3804 | 582.1114 | 46.5247
ClearSky | 1 | 045 | 2002-03-01 | 338293 | 759 | 337534 | 30.31% | 99.39% | 667.9147 | 100% | 338293 | 759 | 731.6569 | 736.1322
ClearSky | 1 | 046 | 2002-03-01 | 300992 | 481 | 300511 | 26.97% | 94.74% | 636.6493 | 100% | 300992 | 481 | 680.505 | 718.2908
ClearSky | 1 | 047 | 2002-03-01 | 307500 | 778 | 306722 | 27.55% | 93.45% | 627.9626 | 100% | 307500 | 778 | 666.3228 | 713.0502
ClearSky | 1 | 049 | 2002-03-01 | 318738 | 257 | 318481 | 28.56% | 100% | 672 | 100% | 318738 | 257 | 739.2036 | 737.2061
ClearSky | 1 | 050 | 2002-03-01 | 306282 | 359 | 305923 | 27.44% | 98.65% | 662.8969 | 100% | 306282 | 359 | 729.7647 | 739.7861
ClearSky | 1 | 051 | 2002-03-01 | 218796 | 204 | 218592 | 19.61% | 86.38% | 580.4583 | 100% | 218796 | 204 | 632.5011 | 732.2502
ClearSky | 1 | 052 | 2002-03-01 | 322651 | 566 | 322085 | 28.91% | 94.4% | 634.3678 | 100% | 322651 | 566 | 684.2453 | 724.8363
ClearSky | 1 | 053 | 2002-03-01 | 282604 | 952 | 281652 | 25.32% | 81.46% | 547.4231 | 100% | 282604 | 952 | 583.4303 | 716.2013
ClearSky | 1 | 054 | 2002-03-01 | 315516 | 764 | 314752 | 28.27% | 94% | 631.6464 | 100% | 315516 | 764 | 691.6056 | 735.7897
ClearSky | 1 | 055 | 2002-03-01 | 318800 | 1004 | 317796 | 28.57% | 98.73% | 663.4381 | 100% | 318800 | 1004 | 727.3897 | 736.7769
ClearSky | 1 | 056 | 2002-03-01 | 287334 | 425 | 286909 | 25.75% | 99.39% | 667.8779 | 100% | 287334 | 425 | 732.1092 | 736.6277
ClearSky | 1 | 057 | 2002-03-01 | 296871 | 640 | 296231 | 26.6% | 97.92% | 657.9901 | 100% | 296871 | 640 | 720.6014 | 735.9444
ClearSky | 1 | 058 | 2002-03-01 | 284571 | 1197 | 283374 | 25.5% | 91.16% | 612.571 | 100% | 284571 | 1197 | 645.5939 | 708.2266
ClearSky | 1 | 059 | 2002-03-01 | 280523 | 1336 | 279187 | 25.14% | 97.34% | 654.1264 | 100% | -561535 | -4994 | 999.4092 | 893.2794 | 842058 | 6330 | 292.3825 | 166.9336
ClearSky | 1 | 060 | 2002-03-01 | 283096 | 262 | 282834 | 25.37% | 99.58% | 669.1475 | 100% | 283096 | 262 | 729.4153 | 732.5247
ClearSky | 1 | 061 | 2002-03-01 | 223100 | 953 | 222147 | 19.99% | 74.77% | 502.4557 | 100% | 223100 | 953 | 545.6769 | 729.8055
ClearSky | 1 | 062 | 2002-03-01 | 245416 | 671 | 244745 | 21.99% | 99.64% | 669.5827 | 100% | 245416 | 671 | 730.0219 | 732.6575
ClearSky | 1 | 063 | 2002-03-01 | 213288 | 1275 | 212013 | 19.11% | 88.03% | 591.5473 | 100% | 213288 | 1275 | 640.6942 | 727.8311
ClearSky | 1 | 064 | 2002-03-01 | 230054 | 1077 | 228977 | 20.61% | 99.07% | 665.7229 | 100% | 230054 | 1077 | 725.7953 | 732.6388
ClearSky | 1 | 065 | 2002-03-01 | 263289 | 827 | 262462 | 23.59% | 96.05% | 645.4261 | 100% | 263289 | 827 | 703.6619 | 732.6336
ClearSky | 1 | 066 | 2002-03-01 | 295867 | 768 | 295099 | 26.51% | 99.07% | 665.7702 | 100% | 295867 | 768 | 726.1044 | 732.8988
ClearSky | 1 | 067 | 2002-03-01 | 0 | 0 | 0 | 0% | 0% | 0
ClearSky | 1 | 068 | 2002-03-01 | 239844 | 1183 | 238661 | 21.49% | 97.64% | 656.1393 | 100% | 239844 | 1183 | 714.9808 | 732.2638
ClearSky | 1 | 069 | 2002-03-01 | 227590 | 463 | 227127 | 20.39% | 100% | 672.1506 | 100% | 227590 | 463 | 732.6731 | 732.5088
ClearSky | 1 | 070 | 2002-03-01 | 152506 | 718 | 151788 | 13.67% | 87.15% | 585.6733 | 100% | 152506 | 718 | 638.4742 | 732.5836
ClearSky | 1 | 071 | 2002-03-01 | 219388 | 436 | 218952 | 19.66% | 99.46% | 668.3728 | 100% | 219388 | 436 | 728.5564 | 732.5102
ClearSky | 1 | 072 | 2002-03-01 | 267410 | 908 | 266502 | 23.96% | 99.22% | 666.7704 | 100% | 267410 | 908 | 711.2258 | 716.8041
ClearSky | 1 | 073 | 2002-03-01 | 281944 | 786 | 281158 | 25.26% | 98.07% | 659.0463 | 100% | 281944 | 786 | 719.0167 | 733.1491
ClearSky | 1 | 074 | 2002-03-01 | 250080 | 1132 | 248948 | 22.41% | 95.82% | 643.9071 | 100% | 250080 | 1132 | 702.4072 | 733.0525
ClearSky | 1 | 075 | 2002-03-01 | 302295 | 888 | 301407 | 27.09% | 98.82% | 664.0515 | 100% | 302295 | 888 | 724.5294 | 733.2019
ClearSky | 1 | 076 | 2002-03-01 | 218834 | 661 | 218173 | 19.61% | 88.39% | 593.9573 | 100% | 218834 | 661 | 647.5603 | 732.6461
ClearSky | 1 | 077 | 2002-03-01 | 225093 | 990 | 224103 | 20.17% | 99.61% | 669.3898 | 100% | 225093 | 990 | 729.8186 | 732.6644
ClearSky | 1 | 078 | 2002-03-01 | 214972 | 938 | 214034 | 19.26% | 96.08% | 645.6248 | 100% | 214972 | 938 | 703.7078 | 732.4558
ClearSky | 1 | 079 | 2002-03-01 | 257116 | 688 | 256428 | 23.04% | 97.63% | 656.081 | 100% | 257116 | 688 | 714.9753 | 732.3233
ClearSky | 1 | 080 | 2002-03-01 | 273371 | 801 | 272570 | 24.5% | 97.22% | 653.3149 | 100% | 273371 | 801 | 712.175 | 732.5436
ClearSky | 1 | 081 | 2002-03-01 | 240689 | 748 | 239941 | 21.57% | 73.91% | 496.6432 | 100% | 240689 | 748 | 541.075 | 732.12
ClearSky | 1 | 082 | 2002-03-01 | 175982 | 468 | 175514 | 15.77% | 99.86% | 671.0511 | 100% | 175982 | 468 | 731.4786 | 732.513
ClearSky | 1 | 083 | 2002-03-01 | 178634 | 434 | 178200 | 16.01% | 99.64% | 669.5552 | 100% | 178634 | 434 | 729.4794 | 732.143
ClearSky | 1 | 084 | 2002-03-01 | 153452 | 603 | 152849 | 13.75% | 91.33% | 613.7534 | 100% | 153452 | 603 | 668.7314 | 732.1955
ClearSky | 1 | 085 | 2002-03-01 | 197546 | 508 | 197038 | 17.7% | 97.4% | 654.5086 | 100% | 197546 | 508 | 713.3786 | 732.4433
ClearSky | 1 | 086 | 2002-03-01 | 145465 | 630 | 144835 | 13.03% | 70.59% | 474.3598 | 100% | 145465 | 630 | 517.0767 | 732.5147
ClearSky | 1 | 087 | 2002-03-01 | 237220 | 348 | 236872 | 21.26% | 99.59% | 669.212 | 100% | 237220 | 348 | 693.3503 | 696.2388
ClearSky | 1 | 088 | 2002-03-01 | 223304 | 454 | 222850 | 20.01% | 98.85% | 664.2498 | 100% | 223304 | 454 | 721.1506 | 729.5647
ClearSky | 1 | 089 | 2002-03-01 | 232893 | 403 | 232490 | 20.87% | 100% | 672 | 100% | 232893 | 403 | 732.9339 | 732.4238
ClearSky | 1 | 090 | 2002-03-01 | 233466 | 425 | 233041 | 20.92% | 99.97% | 671.7717 | 100% | 233466 | 425 | 732.2478 | 732.4966
ClearSky | 1 | 091 | 2002-03-01 | 236777 | 525 | 236252 | 21.22% | 95.1% | 639.0508 | 100% | 236777 | 525 | 697.2825 | 733.2341
ClearSky | 1 | 092 | 2002-03-01 | 205677 | 455 | 205222 | 18.43% | 99.18% | 666.5189 | 100% | 205677 | 455 | 726.3331 | 732.3061
ClearSky | 1 | 093 | 2002-03-01 | 192466 | 503 | 191963 | 17.25% | 97.34% | 654.1072 | 100% | -323067 | -3188 | 1358.0758 | 800.9008 | 515533 | 3691 | 645.6303 | 68.9667
ClearSky | 1 | 096 | 2002-03-01 | 201737 | 563 | 201174 | 18.08% | 99.93% | 671.5569 | 100% | 201737 | 563 | 732.0728 | 732.5558
ClearSky | 1 | 100 | 2002-03-01 | 157543 | 740 | 156803 | 14.12% | 96.2% | 646.4696 | 100% | 157543 | 740 | 704.7542 | 732.5863
ClearSky | 1 | 102 | 2002-03-01 | 186415 | 601 | 185814 | 16.7% | 100% | 672.1303 | 100% | 186415 | 601 | 732.5703 | 732.4283
ClearSky | 1 | 103 | 2002-03-01 | 214821 | 502 | 214319 | 19.25% | 99.9% | 671.2967 | 100% | 214821 | 502 | 731.6861 | 732.4527
ClearSky | 1 | 104 | 2002-03-01 | 169838 | 488 | 169350 | 15.22% | 95.85% | 644.1218 | 100% | 169838 | 488 | 702.1297 | 732.5186
ClearSky | 1 | 105 | 2002-03-01 | 187124 | 569 | 186555 | 16.77% | 84.83% | 570.0853 | 100% | 187124 | 569 | 621.1408 | 732.1827
ClearSky | 1 | 106 | 2002-03-01 | 197819 | 407 | 197412 | 17.73% | 96.03% | 645.3281 | 100% | 197819 | 407 | 703.2689 | 732.3355
ClearSky | 1 | 107 | 2002-03-01 | 189062 | 535 | 188527 | 16.94% | 94% | 631.6821 | 100% | 189062 | 535 | 688.5083 | 732.4533
ClearSky | 1 | 108 | 2002-03-01 | 145820 | 898 | 144922 | 13.07% | 87.58% | 588.5396 | 100% | 145820 | 898 | 641.5597 | 732.5388
ClearSky | 1 | 109 | 2002-03-01 | 226951 | 426 | 226525 | 20.34% | 95.5% | 641.7748 | 100% | 226951 | 426 | 699.5483 | 732.4944
ClearSky | 1 | 113 | 2002-03-01 | 201978 | 497 | 201481 | 18.1% | 95.96% | 644.8417 | 100% | 201978 | 497 | 703.0925 | 732.7041
ClearSky | 1 | 114 | 2002-03-01 | 261583 | 129 | 261454 | 23.44% | 98.84% | 664.1777 | 100% | 261583 | 129 | 731.1514 | 739.7625
ClearSky | 1 | 115 | 2002-03-01 | 242448 | 398 | 242050 | 21.72% | 99.59% | 669.2501 | 100% | 242448 | 398 | 732.4728 | 735.4825
ClearSky | 1 | 116 | 2002-03-01 | 324963 | 1101 | 323862 | 29.12% | 83.16% | 558.8665 | 100% | 324963 | 1101 | 615.1722 | 739.7038
ClearSky | 1 | 117 | 2002-03-01 | 319871 | 622 | 319249 | 28.66% | 95.2% | 639.7154 | 100% | 319871 | 622 | 697.2728 | 732.4622
ClearSky | 1 | 118 | 2002-03-01 | 249225 | 453 | 248772 | 22.33% | 99.54% | 668.885 | 100% | 249225 | 453 | 729.0706 | 732.4658
ClearSky | 1 | 119 | 2002-03-01 | 158170 | 495 | 157675 | 14.17% | 92.93% | 624.4613 | 100% | 158170 | 495 | 680.3264 | 732.118
ClearSky | 1 | 120 | 2002-03-01 | 269100 | 335 | 268765 | 24.11% | 99.99% | 671.9132 | 100% | 269100 | 335 | 733.0742 | 733.1688
ClearSky | 1 | 121 | 2002-03-01 | 199164 | 632 | 198532 | 17.85% | 86.87% | 583.7875 | 100% | 199164 | 632 | 621.0814 | 714.9291
ClearSky | 1 | 122 | 2002-03-01 | 228391 | 566 | 227825 | 20.47% | 95.83% | 643.9936 | 100% | 228391 | 566 | 701.9053 | 732.4302
|  | Project, Before line losses | 2002-03-01 | 26418146 | 83024 | 26335122 | 22.12% | 93.75% | 67411.5775
|  | Assumed 2% Line Loss | 2002-03-01 | 528362.92 | 1660.48 | 526702.44
|  | Project, After line losses | 2002-03-01 | 25889783.08 | 81363.52 | 25808419.56 | 21.68% | 93.75% | 67411.5775
|  | Project, After line losses | Year To Date | 72176541.36 | 236404.42 | 71940136.94 | 20.82% | 86.49% | 188583.6937
Notes:
1) Availability is based on Visupro Mon file instead of data displayed on Visupro screen. Turbines 17, 44, 59, & 93 corrected for meter resets.
2) Turbines 32 and 42 were corrected to compensate for communication losses at the beginning or end of the month.