## Sheet1
Attachment __
Fault Current Management Plan
Capital Cost Allocation
(Preliminary)
NYISO | [5 empty] | Allocated | Cash Flows
Queue |  |  | Service |  | Allocation(2) | Cost Of
Number | Developer | Project | Year(1) | MW | Factor | Plan(3) | 2001 | 2002 | 2003 | 2004
[5 empty] | (%) | ($Million) | ($Million) | ($Million) | ($Million) | ($Million)
[7 empty] | 14 | 33 | 26 | 12
5 | Sithe Energies | Torne Valley | 2004 | 860 | 10.9807 | 9.3336 | 1.5373 | 3.6236 | 2.855 | 1.3177
6 | Sunset Energy | Sunset Energy | 2003 | 520 | 6.6395 | 5.6436 | 0.92953 | 2.191 | 1.7263 | 0.79674
7 | ANP | Ramapo Energy | 2004 | 1100 | 14.0451 | 11.9384 | 1.9663 | 4.6349 | 3.6517 | 1.6854
9/10 | Millennium | Millennium | 2004 | 480 | 6.1288 | 5.2095 | 0.85803 | 2.0225 | 1.5935 | 0.73545
11/12/13/14 | East Coast Power | East Coast Power | 2003(4) | 410 | 5.235 | 4.4498 | 0.7329 | 1.7276 | 1.3611 | 0.6282
16 | ABB | Oak Point | 2004 | 1075 | 13.7259 | 11.667 | 1.9216 | 4.5296 | 3.5687 | 1.6471
17 | KeySpan | Ravenswood | 2003 | 270 | 3.4474 | 2.9303 | 0.48264 | 1.1377 | 0.89633 | 0.41369
18 | NYPA | Poletti Expansion | 2004 | 500 | 6.3841 | 5.4265 | 0.89378 | 2.1068 | 1.6599 | 0.7661
19 | NYC Energy | SEFCO | 2002 | 79.9 | 1.0202 | 0.86716 | 0.14283 | 0.33666 | 0.26525 | 0.12242
24 | Orion | Astoria Repowering | 2004 | 499 | 6.3714 | 5.4157 | 0.89199 | 2.1026 | 1.6566 | 0.76457
25 | Con Edison | East River Repowering | 2003 | 288 | 3.6773 | 3.1257 | 0.51482 | 1.2135 | 0.95609 | 0.44127
29 | Mirant | Bowline Point No. 3 | 2004 | 750 | 9.5762 | 8.1398 | 1.3407 | 3.1602 | 2.4898 | 1.1491
31 | SCS | Astoria Energy | 2004 | 1000 | 12.7683 | 10.853 | 1.7876 | 4.2135 | 3.3198 | 1.5322
|  |  | Total | 7831.9 | 100 | 85 | 14 | 33 | 26 | 12
(1) The developers' projects are assumed to be in service by the summer of the specified year.
(2) The interim allocation is based on the project size (MW) divided by the sum of all the project sizes.
(3) Based on an assumed total estimated cost of $85 million.
(4) Year in which the first new generating unit is added.
2001-04-12