## Sheet1
DESKTOP DATABASE 7 IDENTIFICATION
1 | POWER | 41 | TEMP SHAFT BEARING (ROTOR BEARING)
2 | TOWER DEFLECTION | 42 | HIGH SPEED RUNNING NUMBER
3 | POWER FACTOR | 43 | DIGITAL 1
4 | REACTIVE POWER | 44 | DIGITAL 2
5 | VOLTAGE PHASE A_N | 45 | PARK POWER
6 | VOLTAGE PHASE B_N | 46 | TOWER ACCELERATION
7 | VOLTAGE PHASE C_N | 47 | DRIVE TRAIN ACCELERATION
8 | CURRENT PHASE A | 48 | TEMP GEARBOX BEARING B (NOT MONITORED)
9 | CURRENT PHASE B | 49 | T-TRANSFORMER 1 (NOT MONITORED)
10 | CURRENT PHASE C | 50 | T-TRANSFORMER 2 (NOT MONITORED)
11 | GENERATOR SPEED | 51 | T-TRANSFORMER 3 (NOT MONITORED)
12 | ROTOR SPEED | 52 | RESERVE 4
13 | BLADE 1 ACTUAL VALUE | 53 | RESERVE 5
14 | WIND SPEED | 54 | RESERVE 6
15 | NACELLE POSITION | 55 | RESERVE 7
16 | NACELLE REVOLUTION | 56 | RESERVE 8
17 | GEN./GEARBOX SPEED (WATCHDOG SPEED) | 57 | SCOPE CH 1
18 | WIND DEVIATION 1 SEC. | 58 | SCOPE CH 2
19 | BLADE 2 ACTUAL VALUE | 59 | SCOPE CH 3
20 | BLADE 3 ACTUAL VALUE | 60 | SCOPE CH 4
21 | BLADE 1 SET VALUE | 61 | DI 1 MAIN
22 | BLADE 2 SET VALUE | 62 | DI 2 MAIN
23 | BLADE 3 SET VALUE | 63 | DI 1 TOP
24 | POWER FACTOR SET VALUE (COS PHI) | 64 | DI 2 TOP
25 | N-SET 1 | 65 | DI 3 TOP
26 | N-SET 2 | 66 | DI 4 TOP
27 | TORQUE ACTUAL VALUE | 67 | DO 1 MAIN
28 | TORQUE SET VALUE | 68 | DO 2 MAIN
29 | OPERATING STATE ( NUMERICAL STATE OF TURBINE OPERATION) | 69 | DO 1 TOP
30 | CHANNEL 30 ( EMPTY) | 70 | DO 2 TOP
31 | WIND DEVIATION 10 SEC.
32 | TEMP GENERATOR 1 (WINDING TEMP)
33 | TEMP GENERATOR 2 (WINDING TEMP)
34 | TEMP BEARING A (FRONT GENERATOR)
35 | TEMP BEARING B (REAR GENERATOR)
36 | TEMP GEARBOX (OIL SUMP)
37 | TEMP OUTSIDE
38 | TEMP NACELLE
39 | TEMP GENERATOR COOLING AIR (TEMP FROM HEAT EXCHANGE GEN.)
40 | TEMP GEARBOX BEARING A (HIGH SPEED SHAFT)