## ERCOT GEN SHEET
Operator | Owner | Holding Company | Offtake | Enron Common Name | Min Gen | Max Gen | Pri Fuel | Sec Fuel | Gen type | County or City | My model equiv HR at max gen | Region | Month | Year | Status | Type | Notes
Garland | Garland |  |  | C.E. Newman | 15 | 40 | NG |  | ST | DALLAS | 12038.1119 | NORTH2001 |  |  | online
Garland | Garland |  |  | C.E. Newman | 6 | 17 | NG |  | ST | DALLAS | 13442.5485 | NORTH2001 |  |  | online
Garland | Garland |  |  | C.E. Newman | 6 | 17 | NG |  | ST | DALLAS | 13442.5485 | NORTH2001 |  |  | online
Garland | Garland |  |  | C.E. Newman | 3 | 8 | NG |  | ST | DALLAS | 16940.3181 | NORTH2001 |  |  | online
Garland | Garland |  |  | C.E. Newman | 3 | 8 | NG |  | ST | DALLAS | 16940.3181 | NORTH2001 |  |  | online
[5 empty] | 33 | 90

## POWERDAT
Plant Name | Plant NERC Region | Plant City | Plant County | Prime Mover | Utility/Non Utility Owned | Unit Number | Summer Capacity MW | Winter Capacity MW | Secondary Fuel
C.E. Newman | ERCOT | Garland | Dallas | STEAM | UTILITY | 1 | 8 | 8 | FO2
C.E. Newman | ERCOT | Garland | Dallas | STEAM | UTILITY | 2 | 8 | 8 | FO2
C.E. Newman | ERCOT | Garland | Dallas | STEAM | UTILITY | 3 | 17 | 17 | FO5
C.E. Newman | ERCOT | Garland | Dallas | STEAM | UTILITY | 4 | 18 | 18 | FO5
C.E. Newman | ERCOT | Garland | Dallas | STEAM | UTILITY | 5 | 37 | 37 | FO5