## Sheet1
|  | ET&S Gas Control |  |  | 2000-03-16
Assessment of Current Processes
|  | Timing | Currently
Activity | Department | Interval | Automated? | FTEs | Cost | Strategic? Explain
Monitor SCADA alarms | Gas Control, Field | Ongoing | Yes
*Analyze alarm for action needed | and OCC
*Make call-out to Field via OCC as
necessary
*Acknowledge alarm
*Make operational changes as necessary
Manage Linepack | Gas Control | Ongoing | Manual
*Determine requirements by analyzing
weather forecast, scheduled volumes,
pressures, etc
*Make operational changes as necessary
ie; add or drop horsepower, change line
configurations, increase or decrease
storage injections/withdrawals, utilize LNG,
etc.
Load Forecasting (NNG) | Gas Control | Twice Per 12 hr Shift | Yes
*Run Load Forecasting Program
*Develop Plan for North End utilizing Load
Forecasting data
Compressor Station Activity | Gas Control, OCC | Ongoing | Part automated
*Determine requirements by utilizing the | Field & System |  | & part manual
Operating Plan for the day and the Facility | Optimization
Opeating Guidelines (FOGS), and by
analyzing current and future pipeline
operating conditions
*Make changes as required by either
remote start/stop and set point control at
automated stations, or by making call-outs
to non-automated stations
Interconnect Activity | Gas Control, OCC | Ongoing | Part automated
*Verify orders from TMS and confirm orders | Field & System |  | & part manual
with interconnecting party | Interconnecting
*Verify that the point has capacity to flow | Party
scheduled quantity (does orifice plate need
to be changed?
*Adjust flow set-points as necessary at
points where we have control
*Monitor point throughout shift for
compliance with scheduled volume to
minimize imbalances
*Report daily variances at morning meeting
*Maintain adequate pressures to insure
efficient delivery or receipt of scheduled
volumes
Maintain Event Log | Gas Control and | Ongoing | Manual
*Dictate events pertinent to the pipeline | Assistant
operation throughout each shift
*Transcribe dictations daily for distribution
to office and Field management and for
permanent record of shift events
Maintain Operational Capacity in CAS | Gas Control | Daily | Manual
*Enter daily operational capacity of each | Co-ordinators
scheduled point in CAS and adjust as
necessary for outages or other operational
conditions
*Allocate points as necessary when noms
exceed capacity
Post Outages and Critical Events to EBB | Gas Control | Daily | Manual
*Post planned and unplanned outages and | Co-ordinators
force majueres
*Post SOL/SUL and Critical Days
Conduct Morning Meetings | Gas Control and | Daily | Manual
*Prepare and distribute copies of the daily | Co-ordinators
operating plans
*Report contents of daily operating plan
*Comment on operating conditions as
necessary or when asked
Customer Communication | Gas Control and | Ongoing | Manual
*Maintain communications and relationships | Co-ordinators
with interconnecting pipelines and LDC's
to insure safe, efficient operations and
enhance customer relations
Build Daily Operating Plan | Gas Control | Twice Per 12 hr Shift | Part automated
*Build Plan based upon scheduled volumes |  |  | & part manual
from TMS and by utilizing the Load
Forecasting data
*Revise Plan as necessary due to changes
in weather and scheduled activity
Monitor Gas Quality | Gas Control, OCC, Field, | Ongoing | Part automated
*Monitor various points for tariff compliance | Upstream Parties |  | & part manual
of gas quality, ie; BTU, H2O, H2S, etc.
*Work with upstream parties to maintain
compliance should quality go out of spec
*If quality stays out of spec, work with Field
and upstream party to shut-in out of spec
source or blend with other gas to maintain
tariff quality gas in the mainline