## Europe
Draft >>>> All numbers, amounts, issues are not correct
EWC Fleet Operations Report – March 2002
Europe
|  |  | YTD |  |  |  |  | Month |  |  |  |  | YTD Calculation
Fleet Statistics
| Type |  | New Turbines Installed | Avg # of Turbines | Average Availability | GWh Projected | GWh Actual | New Turbines Installed | Avg # of Turbines | Average Availability | GWh Projected | GWh Actual |  | Jan 02 | Feb 02 | Mar 02 | Apr 02 | May 02 | Jun 02 | Jul 02 | Aug 02 | Sep 02 | Oct 02 | Nov 02 | Dec 02
| EW 1.5 |  | 55 | 475 | 94.37% |  |  | 5 | 495 | 94.8% |  |  | EW 1.5 | 94.6% | 93.7% | 94.8%
| EW 600 |  |  | 280 | 98.9% |  |  |  | 280 | 99.3% |  |  | # 1.5s | 440 | 490 | 495
| EW 600e |  |  | 124 | 97.83% |  |  |  | 124 | 97.2% |  |  | EW 600 | 99.1% | 98.3% | 99.3%
| EW 600a |  |  | 68 | 96.23% |  |  |  | 68 | 98% |  |  | # EW 600 | 280 | 280 | 280
| Z 750 | [11 empty] | EW 600e | 98.1% | 98.2% | 97.2%
| Z 550 |  |  | 37 | 90.63% |  |  |  | 37 | 92.6% |  |  | # EW 600e | 124 | 124 | 124
| EW 900 |  |  | 1 | 86.9% |  |  |  | 1 | 76.1% |  |  | EW 600a | 95.1% | 95.6% | 98%
| Fleet |  | 55 | 985 | 96.07% | 0 | 0 | 5 | 1005 | 96.47% | 0 | 0 | # EW 600a | 68 | 68 | 68
Z 750
| Warranty - Financial Measures ($ in thousands) | [11 empty] | # Z 750
| Type |  | Warranty Fees and Reserves Ulitized | Warranty Cost [1] | Net Warranty Expense | Cost Under (Over) Reserve Level [2] | [6 empty] | Z 550 | 92% | 87.3% | 92.6%
| EW 1.5 |  | 0 | 0 | 0 | 0 | [6 empty] | # Z 550 | 37 | 37 | 37
12 | EW 600 |  | 0 | 0 | 0 | 0 | [6 empty] | EW 900 | 91.6% | 93% | 76.1%
| EW 600e |  | 0 | 0 | 0 | 0 | [6 empty] | # EW 900 | 1 | 1 | 1
| EW 600a |  | 0 | 0 | 0 | 0
| Z 750 |  | 0 | 0 | 0 | 0
| Z 550 |  |  | 0 |  | 0
| TW 500 |  | 0 | 0 | 0 | 0
| TW 300 |  |  | 0 |  | 0
| TW 80 |  | 0 | 0 | 0 | 0
| Other |  | 0 | 0 | 0 | 0
| Totals |  | 0 | 0 | 0 | 0
Operations - Financial Measures ($ in thousands)
| Type |  | Gross Revenue | Expense [3] | Net Revenue | G&A & Constr OH | EBIT
| EW 1.5 |  | 0 | 0 | 0 | 0 | 0
| EW 600 |  | 0 | 0 | 0 | 0 | 0
| EW 600e |  | 0 | 0 | 0 | 0 | 0
| EW 600a |  | 0 | 0 | 0 | 0 | 0
| Z 750 |  | 0 | 0 | 0 | 0 | 0
| Z 550 |  | 0 | 0 | 0 | 0 | 0
| TW 500 |  | 0 | 0 | 0 | 0 | 0
| TW 300 |  | 0 | 0 | 0 | 0 | 0
| TW 80 |  | 0 | 0 | 0 | 0 | 0
| Other |  | 0 | 0 | 0 | 0 | 0
| Totals |  | 0 | 0 | 0 | 0 | 0
| Notes: | [1] Warranty cost includes both mechanical and non-mechanical costs.
[2] The under (over) reserve is calculated based on …..
Key Fleet Issues - top three performance/failure issues and update on retrofit efforts
| EW 1.5 | 1.
2.
3.
| EW 600/e/a | 1.
2.
3.
| Z 750 | 1.
2.
3.
| Z 550 | 1.
2.
3.
| TW 500 | 1.
2.
3.
| TW 300 | 1.
2.
3.
| TW 80 | 1.
2.
3.

## Americas
1
EWC Fleet Operations Report – March 2002
Americas
Fleet Statistics
|  |  | YTD |  |  |  |  | Month
| Type |  | Turbines Installed YTD | Number of Turbines > 90 Days | Availability [1] WTGs >90 Days [2] | GWh Actual | GWh Projected [3] | Turbines Installed in Month | Number of Turbines > 90 Days | Availability [1] WTGs >90 Days [2] | GWh Actual | GWh Projected [3] |  | Oct | Nov | Dec | Jan | Feb | Mar
| EW 1.5 |  | 0 | 201.6667 | 92.22% | 265.98 |  | 0 | 279 | 96.2% | 101.78 | 49.78 | Fleet | 96.73% | 93.09% | 94.56% | 96.03% | 96.53% | 96%
| Z 750 |  | 0 | 664 | 96.93% | 418.501 | 434.733 | 0 | 664 | 96.3% | 135.409 | 157.697
| Z 550 |  | 0 | 11 | 92.3% | 3.793 | 3.649 | 0 | 11 | 94.5% | 1.176 | 1.3 | Type | Oct: Oct; Dec: Nov; Feb: Dec | Jan |  | Feb |  | Mar
| V 27 |  | 0 | 440 | 99.33% | 55.266 | 58.163 | 0 | 440 | 99% | 23.094 | 21.399 |  | # WTGs | Avail | # WTGs | Avail | # WTGs | Avail | # WTGs | Avail | # WTGs | Avail | # WTGs | Avail
| V 17 |  | 0 | 1041 | 96.47% | 27.458 | 37.488 | 0 | 1041 | 95.7% | 13.454 | 16.359 | EW 1.5 | 20 | 94.6% | 67 | 87.4% | 107 | 93.1% | 128 | 89.3% | 198 | 88.5% | 279 | 96.2%
| V 15 |  | 0 | 771 | 94.47% | 18.196 | 27.352 | 0 | 771 | 94.4% | 9.533 | 12.328 | Z 750 | 664 | 94.3% | 664 | 95.8% | 664 | 97.04% | 664 | 96.9% | 664 | 97.6% | 664 | 96.3%
| Fleet |  | 0 | 3128.6667 | 95.79% | 789.194 | 561.385 | 0 | 3206 | 96.25% | 284.446 | 258.863 | Z 550 | 11 | 92.3% | 11 | 89.2% | 11 | 93.51% | 11 | 91.3% | 11 | 91.1% | 11 | 94.5%
|  | [1] 1.5 Availability is Enron Availability. All others are Machine Availability. | [10 empty] | V 27 | 440 | 99.6% | 440 | 99% | 440 | 98.77% | 440 | 99.5% | 440 | 99.5% | 440 | 99%
|  | [2] Number of turbines and availability after completion of initial 90 day operational period. | [10 empty] | V 17 | 1041 | 98% | 1041 | 93.7% | 1041 | 94.8% | 1041 | 96.4% | 1041 | 97.3% | 1041 | 95.7%
|  | [3] GWh Based on Nacelle Mounted Anemometers for 1.5 MW Fleet and Projections for all others. Due to low data recovery projections only calculate for | [10 empty] | V 15 | 771 | 95.6% | 771 | 87.1% | 771 | 89.9% | 771 | 94% | 771 | 95% | 771 | 94.4%
Clear Sky, Mill Run and Sommerset in Feb and Mar. Actual production includes all sites.
[4] EW 1.5 Omits 15 WTGs at Trent due to foundation problems
Warranty - YTD Financial Measures ($ in thousands)
| Type |  | Avg # of Turbines under warranty YTD | Warranty Cost YTD [1] | Cost Under (Over) Reserve Level [2] | Warranty Fees and Reserves Ulitized | Net Warranty Expense YTD | Warranty Cost per WTG YTD
| EW 1.5 |  |  |  | 252.0833 |  | 0 | #DIV/0!
| Z 750 |  |  |  | 195.7083 |  | 0 | #DIV/0!
| Z 550 |  |  |  | 0 |  | 0 | #DIV/0!
| V15/17/27 |  |  |  | 0 |  | 0
| Totals |  | 0 | 0 | 447.7917 | 0 | 0
Operations - YTD Financial Measures ($ in thousands)
|  |  | Avg # of Turbines Operated YTD | Gross Revenue | Maint. Expense [1] | Net Revenue | G&A & Constr OH [2] | EBIT | Annualized Maint. Exp per kWh (cents) | Annualized Maintenance Expense per WTG
| EW 1.5 |  |  |  |  | 0 |  | 0 | 0 | #DIV/0!
| Z 750 |  |  |  |  | 0 |  | 0 | 0 | #DIV/0!
| Z 550 |  |  |  |  | 0 |  | 0 | 0 | #DIV/0!
| V15/17/27 |  |  |  |  | 0 |  | 0 | 0 | #DIV/0!
| Other [2] |  |  |  |  | 0 |  | 0
| Totals |  | 0 | 0 | 0 | 0 | 0 | 0
Top three fleet issues and update on efforts
| EW 1.5 | 1.
2.
3.
| Z 750 | 1.
2.
3.
| Z 550 | 1.
2.
3.
| V15/17/27 | 1.
2.