## capacity
NERC | COMPANY | STATUS | STATE | CITY | FUEL | DATE IN USE | 1998 | 1999 | 2000 | 2001 | 2002 | ? | Totals | I/C Study? | 1998 | 1999 | 2000 | 2001 | 2002 | ? | Totals | Comments | Equipment | Probability
SPP | AECI | Plans Reported | MO |  | NG | 1999-07-01 | [6 empty] | 0 |  |  | 200 |  |  |  |  | 200 | Planning two 100 MW gas turbines in northwest Missouri. The plant would be simple-cycle and operational by 7/99. (8/98 EU) |  | Medium
SPP | AECI | Plans Reported | MO | ? | NG | 1999-06-01 | [6 empty] | 0 |  |  | 100 |  |  |  |  | 100 | Will construct a 100 MW CT in southeast Missouri to come online 6/99. (Q3 PGM) |  | Medium
SPP | AECI | Plans Reported |  |  | NG CC | 1999 | [6 empty] | 0 |  |  | 125 |  |  |  |  | 125 | Developing a 250 MW CC plant to come online in 1999 with Duke Energy. AEC will keep ½ of the power. (Q3 PGM) |  | High
SPP | AECI & KAMO Power | Plans Reported | OK | Chouteau | NG CC | 2000-07-01 | [6 empty] | 0 |  |  |  | 500 |  |  |  | 500 | Plans to build a 500 MW baseload plant in northeast Oklahoma to meet its growing load commitments there in conjunction with KAMO Power. The plant is being built primarily to serve AECI’s member coops but some power will be available on the open market (10/98 EPD, 11/98 ER). * also on Merchant Grid | The plant will be gas-fired, two-on-one combined-cycle combustion turbine, consisting of two Seimens V84.3A CTs and two heat recovery steam generators. (10/98 EPD, 11/98 ER). | Medium
SPP | AECI and Duke Energy | Under Development | MO | Malden | NG CC | 1999 |  | 125 | 250 |  |  |  | 375 |  |  | 125 | 250 |  |  |  | 375 | 250 MW plant; AECI to buy 125; 125 to be Merchant Power; known as the St. Francis I facility. Could be Spring 1999. Parties plan 250 MW development bringing total at site to 500 MW. (MPS) | 170 MW Siemens V84.3A gas turbine and 80 MW steam turbine. (MPS) | Medium
SPP | AECI/KAMO Power | Plans Reported | OK | Chouteau | NG CC | 2000-07-01 |  |  | 530 |  |  |  | 530 |  |  |  | 530 |  |  |  | 530 | AECI will become new power supplier for nine coops on KAMO's system as of 7/1/98. (MPS) - Don't know how much |  | Medium
NPCC | AES | Plans Reported | CT | Southington | NG | 2001 |  |  |  | 720 |  |  | 720 |  |  |  |  | 720 |  |  | 720 |  |  | Medium
PJM | AES Corp | Plans Reported | PA | South Eastern PA | NG CC | 2000 |  |  | 200 |  |  |  | 200 |  |  |  | 200 |  |  |  | 200 | Ironwood Project. 720 MW plant - 200 is for merchant; 520 MW was scheduled to be sold to GPU, but they backed out. (NEP 1/1/99) |  | Medium
PJM | AES/Commonwealth Chesapeake Corp | Under Development | VA | Accomac | Oil | 1999 |  | 300 |  |  |  |  | 300 |  |  | 300 |  |  |  |  | 300 | Plans to market to PJM-based suppliers under a mix of long-term and short-term contracts; state approved proposal 8/7 (8/98 EU) |  | High
NPCC | AES/Conservation Law Foundation | Plans Reported | NH | Londonderry | NG | 2001-07-01 |  |  |  | 720 |  |  | 720 |  |  |  |  | 720 |  |  | 720 | Restart of facility; plant has stirred up strong opposition (10/98 NEP) |  | Medium
ERCOT | Air Liquide America | Plans Reported | TX | LaPorte | NG Cogen | [6 empty] | 285 | 285 | [6 empty] | 285 | 285 | Expansion of plant. (7/98 DJ) |  | Medium
SPP | Air Liquide America | Under Construction | LA | Geismar | NG Cogen | 1999 |  | 15 |  |  |  |  | 15 |  |  | 15 |  |  |  |  | 15 | 80 MW plant. BASF will buy 65 MW and rest sold into open market. (Q3 PGMQ) |  | Medium
SERC | Alabama Power (SOCO) | Plans Reported | AL | Bucks | NG CC | 2000 | [6 empty] | 0 |  |  |  | 560 | 240 |  |  | 800 | New 800 MW plant. (Q3 PGMQ) |  | Medium
ECAR | Allegheny Power | Operational | WV | Ft. Martin |  | 1998 | 276 | [5 empty] | 276 |  | 276 | [5 empty] | 276 | Allegheny Power acquisition from Duquesne in 10/96 (MPS) |  | Medium
NPCC | Alternative Energy, Inc. | Plans Reported | ME | Ashland | Wood | 1998 | 15.5 | [5 empty] | 15.5 |  | 15.5 | [5 empty] | 15.5 |  |  | Medium
NPCC | Alternative Energy, Inc. | Plans Reported | ME | Chester | Wood | 1998 | 37 | [5 empty] | 37 |  | 37 | [5 empty] | 37 |  |  | Medium
MAIN | Ameren | Plans Reported | MO |  |  | 2000 | [6 empty] | 0 |  |  |  | 200 | 200 |  | 60 | 460 | One source says Ameren is planning to build 400 MW in combustion turbines within two years; 200 MW in 2000 and 200 MW in 2001. Both projects are said to be slated for the southeast corner of Missouri. (11/98 MW). |  | Medium
ERCOT | American Nat Power/US Gen | Under Development | TX | Edinburg | NG CC | Summer - 2001 |  |  |  | 550 |  |  | 550 |  |  |  |  | 550 |  |  | 550 | Has been pushed back to summer 2001 at soonest. Could be 1100 MW built in two phases. (10/98 SEP) |  | Medium
ERCOT | American National Power | Under Construction | TX | Midlothian | NG CC | summer - 2000 |  |  | 1100 |  |  |  | 1100 |  |  |  | 1100 |  |  |  | 1100 | Has initial 2 year PPA with Texas Utilities for entire output (10/98 MW, SEP) | ABB | High
ERCOT | American National Power | Plans Reported | TX | ? | [8 empty] | 0 | [7 empty] | 0 | Projects in development for at least 3 other sites in TX. ANP could build as much as 4000 MW. (10/98 SEP) |  | Low
NPCC | American National Power | Operational | MA | Milford | NG CC | 1998 | 67 | [5 empty] | 67 | n/a | 67 | [5 empty] | 67 | 150 MW total plant. 83 MW under long-term contract to New England Power Co. Remainder sold into NEPOOL (MPS) Issued RFP for 75 MW from 12/1/98 to 3/31/99. Heat Rate of 8389 Btu/kWh. (11/98 EPD) Has44% |  | High
NPCC | American National Power | Plans Reported | MA | Bellingham | NG CC | 2000 |  |  | 580 |  |  |  | 580 |  |  |  | 580 |  |  |  | 580 | 10/98 MW. I/C study finished. |  | Medium
NPCC | American National Power | Plans Reported | MA | Blackstone | NG CC | 2001 |  |  |  | 580 |  |  | 580 |  |  |  |  | 580 |  |  | 580 | 700 MW - Plant will supply power to a 100 acre "eco-industrial" park; rest sold on market (10/98 MW). ANP has issued RFP for output of plant. (11/98 EPD). I/C study finished for 580 MW./ The Massachusetts Energy Facility Siting Board has given approval for the plant. Construction expected to begin in the spring. (Electric Power Daily 1/20/99) |  | Medium
NPCC | American National Power | Under Development | NY | Ramapo |  | ? | [5 empty] | 1000 | 1000 | [6 empty] | 1000 | 1000 | Could sell power to the NY, NE and PJM pools (10/98 MW) |  | Medium
NPCC | American National Power Goreham | Plans Reported | ME | Portland | NG CC | 2000-07-01 |  |  | 850 |  |  |  | 850 | Yes |  |  | 850 |  |  |  | 850 | (10/98 MW) |  | Medium
MAIN | Associated Elec Coop | Under Construction | MO | Nodaway | GT- NG | 1999-07-01 | [9 empty] | 200 |  |  |  |  | 200 | 2 x 100 Westinghouse CTs |  | Low
ERCOT | BASF | Plans Reported | TX | Freeport |  | 1999-07-01 |  | 92 |  |  |  |  | 92 |  |  | 92 |  |  |  |  | 92 | (6/98 WSJ) |  | Medium
NPCC | Berkshire Power (El Paso Energy & Power Development Corp) | Under Construction | MA | Agawam | NG CC | 1999 |  | 274 |  |  |  |  | 274 |  |  | 274 |  |  |  |  | 274 | Mass. DPU designated Berkshire Power as a public utility, exempting the facilty from local zoning requirements. (MPS) | ABB (MPS) | High
NPCC | Boralex Inc. | Plans Reported | ME | Stratton | Wood | 2001 |  |  |  | 48 |  |  | 48 |  |  |  |  | 48 |  |  | 48 | Currently operational plant. Cinergy is buying the next 3 years' output. When Boralex's deal with Cinergy expires in 2001, Boralex expects to sell the plant's output on the New England wholesale market. (10/98 NEP) |  | High
NPCC | Brockton Power | Plans Reported | MA | Brockton |  | Q2 - 2002 |  |  |  |  | 285 |  | 285 | Yes |  |  |  |  | 285 |  | 285 |  |  | Medium
NPCC | Brockton Power | Plans Reported | MA | Brockton | NG | 2001-01-01 |  |  |  | 272 |  |  | 272 | Yes |  |  |  | 272 |  |  | 272 |  |  | Medium
NPCC | Cabot LNG | Plans Reported | MA | Everett | NG | 2000-06-01 |  |  | 350 |  |  |  | 350 | Yes |  |  | 350 |  |  |  | 350 |  |  | Low
MAIN | CalEnergy/Mid American | Plans Reported | IL | Near Quad Cities | NG | 2000 |  |  | 600 |  |  |  | 600 |  |  |  | 600 |  |  |  | 600 | Summer 2000 - will sell power on merchant basis to IL and other mkts; located near Illinois-Iowa border (8/98 PR) |  | Medium
NPCC | Calpine | Plans Reported | ME | Westbrook | NG | 2000-11-01 |  |  | 540 |  |  |  | 540 |  |  |  | 540 |  |  |  | 540 | Calpine aquired development rights for this plant from Genesis Power Corp. Construction is scheduled to begin by end FEB. Project expected costs 300 million. Will serve New England Market. Financing already arranged through CSFB. ( Energy Insight Fax from David Wagman 2/22/99 ) |  | HIgh
ERCOT | Calpine Corp. | Operational | TX | Pasadena | NG Cogen | 1998-08-01 | 150 |  | 510 |  |  |  | 660 |  | 150 |  | 510 |  |  |  | 660 | This plant is currently oprerational and 240 MW is on-line. On 10/98, Calpine announced plans to expand it an additional 510 MW to come online June 2000. The plant currently gives 90 MW to Phillips and 50 MW of capacity to WTU. TU will purchase up to 150 MW under a two year agreement starting 12/1/99. (Calpine press release) | Westinghouse 501F turbine, Nooter/Eriksen HRSG and Mitsubishi steam turbine (MPS). For expansion - 2 166 MW 501F CTs (Biz Wire, 10/98) | High
ERCOT | Calpine Corp. | Under Development | TX | Edinburg | NG CC | 2001 |  |  |  | 700 |  |  | 700 |  |  |  |  | 700 |  |  | 700 | Magic Valley has committed to take 250-400 MW for 3 years, with option to increase. According to reports, construction to begin 4Q 99. Other possible customers include Central Power & Light (up to 285 MW), and Public Utility Board of Brownsville (up to 20-30 MW). (MPS). Plant may be killed due to necessary construction of $120 mill transmission line (CP&L is demanding this). (6/98 DJ) |  | Medium
SERC | Carolina Power & Light | Plans Reported | GA | Monroe | NG | 1999-06-01 | [6 empty] | 0 |  |  | 160 |  |  |  |  | 160 | Developing plans to build 160 –300 MW of gas-fired peaking capacity in Monroe, GA. The power would be sold to the Municipal Electric Authority of GA and to the competitive wholesale market. (12/98 SEP) |  | Medium
SERC | Carolina Power & Light | Plans Reported | NC | Rowan Cty | NG | 2001-06-01 | [6 empty] | 0 |  |  |  |  | 1100 |  |  | 1100 | Plans to build 1100 MW peaking plant for market sales. The new gas-fired CTs would come online by June 2001 and be built in Rowan County, NC, just outside CP&L’s service territory within Duke’s transmission corridors. Contracts have been lined up for a portion of capacity totaling 650 MW to date. These CTs would increase regional reserve capacity and advance the company’s strategy for selling more competitively. (11/98 PMW) |  | High
SERC | Carolina Power & Light | Plans Reported | NC | Asheville, Wayne Cty | NG | 1999 | [6 empty] | 0 |  |  | 160 | 840 |  |  |  | 1000 | Developing about 1000 MW of new gas-fired CTs at Asheville and Wayne County stations including a 160 MW gas fired CT at its Asheville station by mid 1999. Remainder to come online mid 2000. This capacity is designed to keep pace with load growth on the company’s own system. (11/98 PMW). |  | Medium
NPCC | Central Maine Power | Plans Reported | ME | Pownal | NG | 2002 |  |  |  |  | 600 |  | 600 | Yes |  |  |  |  | 600 |  | 600 |  |  | Medium
ECAR | Central Wayne WTE | Plans Reported | MI | Dearborn | Steam CoGen | 1999-12-01 | [9 empty] | 22 |  |  |  |  | 22 | Waste to Energy from former incinerator |  | Low
NPCC | Champion International Corp. | Plans Reported | ME | Bucksport | NG | 1999 |  | 120 |  |  |  |  | 120 | Yes |  | 120 |  |  |  |  | 120 | Champion is partnering with Hydro Quebec on the project (10/98 NEP). Selling excess to Central Maine Power. (10/98 MW). Part of the output will go to the paper mill (total of 174 MW plant) (MPS) | Has contract with GE (10/98 NEP) | High
FRCC | City of Lakeland | Plans Reported | FL |  |  | 1999-06-01 | [6 empty] | 0 |  |  | 245 |  |  |  |  | 245 | 9/98 ER |  | Medium
FRCC | City of Lakeland | Plans Reported | FL |  | NG CC | 2001 | [6 empty] | 0 |  |  |  |  | 120 |  |  | 120 | 9/98 ER |  | Low
FRCC | City of Lakeland | Plans Reported | FL | [9 empty] | 0 | [6 empty] | 230 | 230 | To be built in 2004. (9/98 ER) |  | Low
SPP | CLECO | Plans Reported | LA | Landry | NG | 2000-06-01 |  |  | 750 |  |  |  | 750 |  |  |  | 750 |  |  |  | 750 | Cleco corp has received approval from LA public service commision to repower an exisiting unit and add efficiency to increase capacity to 750MW
ECAR | CMS Energy/DTE | Plans Reported | MI | Rouge? | NG Cogen | 2000 |  |  |  | 150 |  |  | 150 |  |  | 150 | 150 | 200 |  |  | 500 | 550 MW plant to serve all electric/steam needs of Rouge Steel and Ford Motor. 400 MW will go to them for 15 years; excess sold to Michigan market. (11/98 MW) |  | Medium
MAIN | Coga Industries | Plans Reported | IL | Macoupin County | NG | 1999 | [9 empty] | 65 |  |  |  |  | 65 |  |  | Low
MAIN | CogenAmerica (45% owned by NRG) | Under Construction | IL | Morris | NG Cogen | 1998 | 117 | [5 empty] | 117 |  | 117 | [5 empty] | 117 | Plant is in operational testing mode. |  | High
SPP | COGENTRIX/Power resources group | Plans Reported | OK | Jenks | NG | 2001 |  |  |  | 850 |  |  | 850 |  |  |  |  | 850 |  |  | 850 | Three gas turbines. Can dispatch to both SPP and ERCOT. (MW 1/25/99) |  | Low
PJM | Columbia Energy/Westcoast Energy | Plans Reported | PA | Philadelphia | NG | 2001 |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 |  |  | 500 | Power will be sold into PJM. Known as Liberty Electric Power Plant and would be next to Peco's Eddystone Generation Station.(11/98 MW) |  | Medium
MAIN | ComEd | Plans Reported | IL |  | Nuclear | 2000 | [6 empty] | 0 |  |  |  | 50 | 50 |  |  | 100 | Said it will increase the capacity of the LaSalle power station by about 100 MW. (add 50-55 MW to LaSalle 1 by summer 2000 and a similar upgrade to Unit 2 by mid-2001). ComEd is expected to decide early next year whether it will make similar capacity enhancements at its Braidwood and Byron nuclear power sites. (12/98 PMW) |  | High
FRCC | Constellation Power | Plans Reported | FL | Cocoa | NG | Summer 2001 |  |  |  | 850 |  |  | 850 |  |  |  |  | 850 |  |  | 850 | Peaking power plant; back up fuel will be # distillate oil. (RDI). Known as the Oleander Power Project. (11/98 PMW) |  | Medium
ECAR | Constellation Power/D.B. Riley | Plans Reported | MI | Dearborn Heights | Solid waste incinerator | 1999 |  | 20 |  |  |  |  | 20 |  |  | 20 |  |  |  |  | 20 |  |  | Medium
ECAR | Consumers Energy | Under Construction |  |  | NG | [7 empty] | 0 | [6 empty] | 60 | 60 | Constructing a peaking unit at the Morrow stie of 60 MW or greater. (Enron law) |  | High
SERC | CP&L | Plans Reported | NC |  | NG | 1999-06-01 | [5 empty] | 1100 | 1100 | [6 empty] | 1100 | 1100 | Considering sites in two North Carolina counties for 1100 MW. The units will be natural gas fired generation to be operational 2001. |  | Low
ERCOT | CSW Energy | Under Construction | TX | Mission | NG CC | 1999-08-01 |  | 500 |  |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 | 340 MW up by summer 99; full operation end of 99. Project known as Frontera. Duke/Fluor Daniel is the contractor. Plant in Central Power & Light service area. (MPS) |  | Medium
ERCOT | CSW Energy | Operational | TX | Old Ocean | NG Cogen | 1998-01-01 | 330 |  |  |  |  | 121 | 451 |  | 330 |  |  |  |  | 121 | 451 | At Phillips Petroleum's Sweeny refinery. Phillips to take 1/3 of output. (MPS) 330 MW currently operational but an additional 121 MW is planned. (7/98 DJ) | 3 115 MW Westinghouse Model 501D5A CTs (MPS) | High
ERCOT | CSW Energy | Operational | TX | Boling | NG | 1997-01-01 | 78 | [5 empty] | 78 |  | 78 | [5 empty] | 78 | Peaking (MPS) |  | High
NPCC | CT Municipal Electric | Plans Reported | CT | Norwich | NG | Q1 - 2001 |  |  |  | 500 |  |  | 500 | Yes |  |  |  | 500 |  |  | 500 |  |  | Medium
ECAR | Dayton Power & Light | Under Construction | OH | Dayton | GT- NG | 1999-06-01 | [9 empty] | 84 |  |  |  |  | 84 |  |  | Low
MAIN | Dominion/Peoples | Plans Reported | IL | Elwood | NG | 1999-06-01 | [9 empty] | 600 |  |  |  |  | 600 | JV project. Originally 2x150 GE F turbines. Upgraded to 4x150 in October, 2 extra one month later in July. |  | Low
FRCC | Duke | Plans Reported | FL | New Smyrna Beach |  | 2001-11-01 | [6 empty] | 0 |  |  |  |  | 514 |  |  | 514 | Building a 514 MW, $160 million CT plant in New Smyrna Beach, FL pending regulatory approval expected to go into operation 11/01. UCNSB would receive 30 MW from the plant and would be able to purchase additional power as needed. (EU 8/98) * SEE MERCHANT GRID Has run into permitting problems due to opposition |  | Low
ERCOT | Duke Energy | Plans Reported | TX | Edinburg | NG CC | [6 empty] | 520 | 520 | [6 empty] | 520 | 520 | Working to obtain air permit (7/98 DJ)
NPCC | Duke Energy | Plans Reported | CT | Newington | NG | Q1 - 2001 |  |  |  | 520 |  |  | 520 |  |  |  |  | 520 |  |  | 520 | 9/98 NEP |  | Medium
ECAR | Duke Energy Power Services | Plans Reported | OH | Woodsdale? | NG | 2000-06-01 |  |  | 640 |  |  |  | 640 |  |  |  | 640 |  |  |  | 640 | Will be built adjacent to Cinergy's Woodsdale substation (eight 80 MW CTs). Construction is expected to begin 6/99. (12/98 MW) |  | Medium
FRCC | Duke Energy Power Services | Plans Reported | FL | New Smyrna Beach | NG | 2001-11-01 |  |  |  | 514 |  |  | 514 |  |  |  |  | 514 |  |  | 514 | UCNSB will receive 30 MW from the unit and will not be charged for capacity, will pay $18.50/MWh for energy during the first year. In addition UCNSB would have be able to buy additional power at prices to be determined. (8/98 EU) Has run into permitting problems. | Plant will use two F series CT - GE Frame 7FA or equivalent, 2 heat recovery steam generatiors and one steam turbine generator (8/98 EU) | Medium
NPCC | Duke Energy/United Illuminating (Bridgeport Energy LLC) | Operational | CT | Bridgeport | NG | 1998 | 340 | 180 |  |  |  |  | 520 |  | 340 | 180 |  |  |  |  | 520 | 340 MW already online; will be 520 MW total - extra coming online 6/99. (9/98 NEP). Duke Energy will handle fuel supply and marketing of the power. 1/3 of output will go to UI. (9/98 RDI) | Siemens (MPS) | High
ERCOT | Dynegy | Operational | TX | Channelview | NG Cogen | 1998 | 520 | [5 empty] | 520 |  | 520 | [5 empty] | 520 | 590 MW total facility. Steam host is ARCO Chemical, which takes 70 MW of power. Now selling in open mkt via ECI. The plant came online in 1985. (MPS) | All GE - 6 gas turbines and one steam turbine (MPS)
SERC | Dynegy | Plans Reported | NC | Rockingham Cty | NG | 2000-06-01 |  |  | 200 |  |  |  | 200 |  |  |  | 800 |  |  |  | 800 | Duke has signed power purchase agreement from 6/2000 - 2/2003, with option through 12/20/08 for 600 MW of capacity and energy.(7/98 RDI). Facility expanded to 800 MW; at least 200 MW will be sold into the wholesale market by mid-2000. Dynergy will be permitted to sell on the market that portion of the 600 MW Duke does not need on an hour-to-hour basis (11/98 PMW) |  | Medium
MAIN | Dynegy/NICOR | Plans Reported | IL | East Dundee | NG | 1999 |  | 250 |  |  |  |  | 250 |  |  | 250 |  |  |  |  | 250 | Peaking plant - expect construction to begin during Q1 1999 and to be in service this summer. Designed to meet capacity shortfalls in the Midwest but will also be able to support electricity demands in other regions of the country. Plan to sell power in wholesale market. (1/99 DJ) |  | Medium
ECAR | East Kentucky Power Coop | Plans Reported | KY | Clark County | NG | ? |  | 100 |  |  |  |  | 100 |  |  | 100 |  |  |  | 110 | 210 | A new 100-MW EKPC gas-fired combustion turbine, which malfunctioned a week before it was to go into operation last June, should be ready for service by late March if a test scheduled for mid-Feb. goes well. EKPC has asked the KPSC for permission to construct a fourth turbine at the Clark County site (EPD 2/4/99) |  | Medium
ECAR | East Kentucky Power Coop | Plans Reported | KY | Perry Cty | Coal-fired | ? | [6 empty] | 0 | [6 empty] | 400 | 400 | Studying proposal to construct a 400 MW coal-fired plant in Perry County, KY. Decision expected by early 1999. (11/98 EPD) |  | Low
NPCC | EMI | Plans Reported | MA | Dartmouth | NG | 1999-03-01 |  | 700 |  |  |  |  | 700 |  |  | 700 |  |  |  |  | 700 | Unknown if this has started construction. |  | Medium
NPCC | EMI and Calpine | Under Construction | MA | Dighton | NG CC | 1999-05-01 |  | 185 |  |  |  |  | 185 |  |  | 185 |  |  |  |  | 185 | 10/98 NEP. I/C study finished. | ABB supplying power train (MPS) | High
NPCC | EMI and Calpine | Plans Reported | ME | Rumford | NG | 2000-04-01 |  |  | 265 |  |  |  | 265 |  |  |  | 265 |  |  |  | 265 | 10/98 NEP. Aquila has signed a $500 million, 8-yr gas supply agreement. (11/98 EPD) Calpine & EMI have completed financing for the plant. (12/98 MW). I/C study finished. | GE (10/98 R) | High
NPCC | EMI and Calpine (Tiverton Power Associates) | Under Construction | RI | Tiverton | NG CC | Q2 - 2000 |  |  | 265 |  |  |  | 265 |  |  |  | 265 |  |  |  | 265 | Financing secured approximately 10/6/98 (RDI). I/C study finished. | GE (10/98 R) | High
MAIN | Empire District Co/WRI | Plans Reported | MO | Joplin | CC NG | Summer 2001 |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 |  |  | 500 | They have signed the agreement on 2/5/99. It’s a joint ownewrship and operated by Empire District. Construction starts Fall 1999. (BTU 2/8/99) |  | Medium
PJM | Enron | Plans Reported | PA | Linden | NG | ? | [5 empty] | 250 | 250 | [6 empty] | 250 | 250 | Currently 715 MW plant with power contracted out to ConEd. Enron is planning on adding 250 MW of merchant capacity (RDI). |  | Medium
SERC | Enron | Plans Reported | MS | Caledonia | NG | 1999-06-01 |  | 475 |  |  |  |  | 475 |  |  | 475 |  |  |  |  | 475 | Flow into TVA, as well as Southern/Entergy systems |  | High
SERC | Enron | Plans Reported | MS | New Albany | NG | 1999-06-01 |  | 390 |  |  |  |  | 390 |  |  | 390 |  |  |  |  | 390 | Flow into TVA, as well as Southern/Entergy systems |  | High
SERC | Enron | Plans Reported | TN | Brownsville | NG | 1999-07-01 |  | 475 |  |  |  |  | 475 |  |  | 475 |  |  |  |  | 475 | Peaking plant |  | High
NPCC | Entergy | Plans Reported | MA | Cape Cod? | Nuclear | 2002 |  |  |  |  | 134 |  | 134 | [5 empty] | 134 |  | 134 | Entergy buying Pilgrim nuclear plant - it will sell output to Boston Edison, ComEd, and Montaup Power through 2001. After that, the contracts will phase out for 3 years, leaving increasing amounts fo power free for merchant sales. 2002 - 134 MW, 2003 - 335 MW, 2005 - 670 MW. (11/98 PMW) |  | High
SPP | Entergy | Plans Reported | AK, LA |  | NG | 2000-06-01 | [6 empty] | 0 |  |  |  | 583 |  |  |  | 583 | Will spend $31 million to reactivate 12 gas-fired peaking plants in Arkansas & LA to make 583 MW of extra peaking capacity available on its system by June 1. The plants are currently on “extended reserve shutdown”. (12/98 PMW) |  | High
SPP | Exxon | Plans Reported | LA | Baton Rouge |  | 1999 |  | 50 |  |  |  |  | 50 |  |  | 50 |  |  |  |  | 50 |  |  | Medium
ECAR | FirstEnergy | Plans Reported | OH | R.E. Burger plant at Dilles Bottom | Coal | 2001 |  |  |  | 280 |  |  | 280 |  |  |  |  | 280 |  |  | 280 | Repowering of a portion of a 495 MW plant (RDI) Only 280 MW will be merchant |  | Medium
FRCC | FP&L | Plans Reported | FL | Fort Myers | NG CC | 2000 | [6 empty] | 0 |  |  |  | 1649 |  |  |  | 1649 | FPL will convert its 542 MW, oil-fired Fort Myers plant to a CC gas-burning unit by 2001 by adding two CTs. The conversion would triple the generating capacity of the plant. (10/98 MW, 9/98 ER) |  | Medium
FRCC | FP&L | Plans Reported | FL | Orlando | NG CC | 2002 | [6 empty] | 0 | [5 empty] | 914 |  | 914 | Will bring online first of six new turbines in early 2002 at its 933 MW Sanford Power Plant near Orlando. The conversion would boost capacity by about 914 MW.(10/98 MW)/ |  | Medium
FRCC | FP&L | Plans Reported | FL | Martin Cty |  | 2005-2007 | [6 empty] | 0 | [6 empty] | 996 | 996 | Has a need listed for 996 MW in 3 increments - 448 MW in 2005, 448 MW in 2006 (both at Martin Cty) and a 100 MW NG unit in 2007 at an undetermined location. |  | Low
FRCC | FPC | Plans Reported | FL |  | NG | 2001 | [6 empty] | 0 |  |  |  |  | 500 |  |  | 500 | Accelerating the building of its Hines 2 plant - expected to come online mid-2001. (10/98 PR) | 501 Westinghouse turbine | Medium
FRCC | FPC | Plans Reported | FL | Polk Cty | NG CC | 2004 | [6 empty] | 0 | [6 empty] | 1010 | 1010 | Plans to add total of 1,010 MW, including a 505 MW CC unit in 2004 at its Hines Energy Complex in Polk County and a second of the same size at the same site in 2006. (7/98 EU) |  | Low
FRCC | FPC | Plans Reported | FL |  | NG | 2000-12-01 | [6 empty] | 300 | [8 empty] | Plans to add 300 MW at its Intercession City Plant. Currently the plant now has 11 units totaling 900mw to meet peak demand. The GE units can be fired by either oil or gas.
MAPP | FPL Energy/Interstate Power | Plans Reported | IA | Clear Lake | Wind | 1999 |  | 42 |  |  |  |  | 42 |  |  | 42 |  |  |  |  | 42 |  |  | Low
NPCC | FPL Group | Plans Reported | ME | Wyman A |  | 2000-01-01 |  |  | 550 |  |  |  | 550 | Yes |  |  | 550 |  |  |  | 550 | ISO NE |  | Medium
NPCC | FPL Group | Plans Reported | ME | Wyman B |  | 2000-01-01 |  |  | 550 |  |  |  | 550 | Yes |  |  | 550 |  |  |  | 550 | ISO NE |  | Medium
NPCC | FPL Group | Plans Reported | ME | Wiscasset | NG CC | 2000 |  |  | 500 |  |  |  | 500 | Yes |  |  | 500 |  |  |  | 500 | ISO NE |  | Medium
NPCC | FPL Group | Plans Reported | ME | Yarmouth | NG CC | 2000 |  |  | 500 |  |  |  | 500 |  |  |  | 500 |  |  |  | 500 | ISO NE |  | Medium
NPCC | FPL-ESI New Bedford | Plans Reported | MA | New Bedford | NG | 2000-11-01 |  |  | 250 |  |  |  | 250 | Yes |  |  | 250 |  |  |  | 250 | ISO NE |  | Low
ECAR | Gauley River Power Prtnr | Under Construction | WV | Summersville | Hydro | 1999-12-01 | [9 empty] | 80 |  |  |  |  | 80 | Broke ground 5/98. Catamount, sub of CVPS, managing developer |  | Low
NPCC | GKO Inc. | Plans Reported | CT | South Norwalk | NG | 2000-01-01 |  |  | 175 |  |  |  | 175 | Yes |  |  | 175 |  |  |  | 175 | ISO NE |  | Medium
ECAR | Global Energy | Plans Reported | KY | Trapp | Coal-fired | ? | [5 empty] | 400 | 400 | [6 empty] | 400 | 400 | Clean coal plant with no dectectable emmsions using gasification technology. Lower cost than natural gas-fired and comined-cycle power. (MD 2/12/99) |  | Low
ERCOT | Golden Spread | Under Development | TX | Pampa/Denver City | NG CC | 2000-01-01 |  |  | 486 |  |  |  | 486 |  |  |  | 486 |  |  |  | 486 | Don't know how much power is merchant. (from Golden Spread RFP)
NPCC | Green Mountain Power Corp. | Plans Reported | VT | Highgate | NG | 2002 |  |  |  |  | 600 |  | 600 | Yes |  |  |  |  | 600 |  | 600 | ISO NE |  | Medium
SERC | Gulf Power (SOCO) | Plans Reported | FL |  | NG | 2006 | [6 empty] | 0 | [6 empty] | 60 | 60 | Gulf Power has plans for 30 MW gas fired unit in 2006 and another 30 MW in 2007 at undetermined sites (10/98 EU). |  | Low
NPCC | Houston Industries Power Generation (RI Hope Energy) | Plans Reported | RI | Johnston | NG CC | 2001 |  |  |  | 500 |  |  | 500 | Yes |  |  |  | 500 |  |  | 500 | ISO NE |  | Medium
ERCOT | Houston Industries Power Generation/Air Liquide America | Plans Reported | TX | Orange | NG Cogen | 1999-11-01 |  | 100 |  |  |  |  | 100 |  |  | 100 |  |  |  |  | 100 | Near Bayer Corp.'s synthetic rubber facility. Known as the Sabine project. (7/98 DJ) |  | High
MAIN | Houston Industries Power Generation/Wood River Refinery | Plans Reported | IL | Roxana | NG CC | 2001 |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 |  |  | 500 | 634 MW total. Portion for sale to Shell Wood River Refinery. Electricity will be sold through NorAm (7/98 ED) 140 MW sold to Shell. May have another 100 MW sold as well (GA) |  | High
MAIN | Illinois Power | Plans Reported | IL | ? | NG | Summer 1999 | [6 empty] | 0 |  |  | 411 |  |  |  |  | 411 | Plans to have an additional 411 MW of new generation online for the summer of 1999. This figure includes about 235 MW from five oil-fired units at IP’s Havana Power Station and 176 MW from four NG CTs projected for installation prior to the summer. (MW 10/98) |  | High
MAIN | Illinois Power | Under Construction | IL | ? | CT-NG | 1999-06-01 | [9 empty] | 176 |  |  |  |  | 176 | 4 turbines |  | Low
MAIN | Illinois Power | Under Construction | IL | ? | CT - Oil | 1999-06-01 | [9 empty] | 235 |  |  |  |  | 235 | 5 turbines |  | Low
NPCC | Indeck | Under Development | NH | Alexandria | Wood | 1998 | 15 | [5 empty] | 15 |  | 15 | [5 empty] | 15 | Indeck to re-open plant by mid 98 for sale to wholesale and retail markets in New England (MPS) |  | Medium
NPCC | Indeck | Plans Reported | RI | North Smithfield | NG | 2000 |  |  | 350 |  |  |  | 350 | Yes |  |  | 350 |  |  |  | 350 | Known as Tusipani Water Co. (ISO NE) |  | Medium
MAIN | Indeck Energy Services | Plans Reported | IL | McHenry County | NG | 2000-06-01 |  |  | 300 |  |  |  | 300 |  |  |  | 300 |  |  |  | 300 | Peaking facility; into ComEd's 138 kV system through Line Numbers 13809 and 12204. (RFP) Pushed back to summer 2000 and expanded to 180 MW (GA). |  | Medium
NPCC | Indeck Energy Services | Operational | MA | Pepperall | NG Cogen | 1997 | 38 | [5 empty] | 38 | n/a | 38 | [5 empty] | 38 | Indeck purchase of existing cogen facility from Kennetech. (MPS) |  | High
NPCC | Indeck Energy Services | Operational | ME | Jonesboro | Wastewood-fired | 1998 | 24.5 | [5 empty] | 24.5 | n/a | 24.5 | [5 empty] | 24.5 | (9/98 NEP) |  | High
NPCC | Indeck Energy Services | Operational | ME | West Enfield | Wastewood-fired | 1998 | 24.5 | [5 empty] | 24.5 | n/a | 24.5 | [5 empty] | 24.5 | (9/98 NEP) |  | High
NPCC | Indeck Energy Services | Plans Reported | ME | Yarmouth | NG | 2001 |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 |  |  | 500 | ISO NE |  | Medium
ECAR | Indianapolis Power & Light | Plans Reported | ? | ? | ? | 2001 | [6 empty] | 0 |  |  |  |  | 200 |  |  | 200 | Announced plans to build up to 200 MW of new CT to be used for peaking demand by spring of 2001 – it may be as early as the spring of 2000. (11/98 MW) |  | Low
NPCC | Industry & Energy Group (IEG) | Plans Reported | ME | Berwick | NG | 2001 |  |  |  | 500 |  |  | 500 |  |  |  |  | 500 |  |  | 500 | ISO NE |  | Medium
NPCC | Industry & Energy Group (IEG) | Plans Reported | ME | Falmouth | NG | ? | [6 empty] | 0 | [7 empty] | 0 | ISO NE |  | Medium
NPCC | Infrastructure Development Corp | Plans Reported | MA | Bellingham | NG | 2002 |  |  |  |  | 700 |  | 700 | [5 empty] | 700 |  | 700 | IDC agreed to reduce the size of the plant from 1035 MW to 700 MW after Bellingham town officials said they could not support a plant of that size. (10/98 EPD). Could be 2001. (ISO NE) |  | Medium
NPCC | International Power Partners | Plans Reported | ME | Westbrook | NG | 2000 |  |  | 300 |  |  |  | 300 |  |  |  | 300 |  |  |  | 300 | ISO NE |  | Medium
FRCC | Jacksonville Electric Authority | Plans Reported | FL |  | NG | 1999 | [6 empty] | 0 |  |  | 177 | 531 |  |  | 354 | 1062 | Plans for a 177 MW natural gas fired unit at its Kennedy station in 1999 and three 177-MW plants at the JEA CT site in 2000. (10/98 EU) In addition, its has plans for another 177 MW unit at that site in 2003 and a fifth 177 MW plant there in 2004. (from FL planning document) |  | Medium for 1999; Low for rest
FRCC | Jacksonville Electric Authority | Plans Reported | FL |  | Coke-fired | 2002 | [6 empty] | 0 | [5 empty] | 262 |  | 262 | Will add another 262 MW by repowering unit No. 2 at its Northside Generating Station to burn petroleum coke in 2002 (10/98 EU) |  | Medium
MAIN | KN Energy | Plans Reported | IL | Island Lake | NG | 2000 |  |  | 500 |  |  |  | 500 |  |  |  | 500 |  |  |  | 500 | Plant is under stiff opposition from residents (10/98 MW). Plan was rejected by Island Lake village board unanimously. Request for review date has not been set. (EPD 2/17/99) |  | Low
MAPP | Koch Refining | Plans Reported | MN | Rosemount | NG | ? | [5 empty] | 150 | 150 | [6 empty] | 150 | 150 | 250 MW plant; 150 MW sold to Enpower in 2001 |  | Medium
MAIN | Kohler Energy | Plans Reported | WI | Kohler | [7 empty] | 150 | 150 | [6 empty] | 150 | 150 | 150 MW - as yet unconfirmed. Have said they are moving forward with permitting with a wholesale makret participant, possibly Dominion Energy |  | Low
MAIN | KTL Power/Black & Veatch | Plans Reported | MO | near Weston | Coal | 2000 |  |  | 700 |  |  |  | 700 |  |  |  | 700 |  |  |  | 700 |  |  | Low
| Last Update: | 1999-01-20 | Please do not modify - AA
ERCOT | LG&E Power Development | Under Development | TX | Corpus Christi | NG Cogen | 2000-07-01 |  |  | 300 |  |  |  | 300 |  |  |  | 300 |  |  |  | 300 | (6/98 ER)
ERCOT | LG&E Power/Columbia Electric | Plans Reported | TX | Gregory | NG Cogen | 2000-07-01 |  |  | 550 |  |  |  | 550 |  |  |  | 550 |  |  |  | 550 | Provides elec to Reynolds metal plant (200+ MW); excess to be sold in ERCOT. (6/98 ER)
MAIN | LS Power | Plans Reported | IL | Kendall County | NG | 2001 |  |  |  | 1100 |  |  | 1100 |  |  |  |  | 1100 |  |  | 1100 | Four-turbine unit - expected to cost up to $400 million. (11/98 DJ) |  | Low
SERC | LS Power | Under Construction | MS | Batesville | NG | 2000 |  |  | 800 |  |  |  | 800 |  |  |  | 800 |  |  |  | 800 | Connect to TVA and Entergy grids (MPS). CP&L may have bought 400 MW for 6/00 - 6/02. 273 MW committed to a 15-year tolling agreement with Aquila. (Q3 PGMQ) |  | High
MAIN | Madison Gas & Electric | Plans Reported | WI | ? | NG | 2000-06-01 | [6 empty] | 0 |  |  |  | 83 |  |  |  | 83 | Selected WPSC to build an 83 MW gas-fired peaking CT to begin operation in 6/00. (8/98 MW). |  | High
MAIN | Madison Gas & Electric | Plans Reported | WI |  | Wind | 1999 | [6 empty] | 0 |  |  | 11 |  |  |  |  | 11 | Plans to install 17 wind turbines to produce 11 MW by summer of 99 in northeastern Wisconsin. (Wisconsin State Journal, 10/19/98) |  | Medium
ECAR | MCN Energy (Columbus Power Partners) | Plans Reported | OH | Columbus | NG | 2000-06-01 |  |  | 220 |  |  |  | 220 |  |  |  | 220 |  |  |  | 220 | Peaking facility at a former trash-burning power facility. In discussion with the Solid Waste Authority of Central Ohio and the Columbus Public Utilites Dept. Potential customers include AMP-Ohio (up to 60 MW). (10/98 MW, EPD) Power would be exported to the AEP grid (12/98 MW) |  | Medium
NPCC | Megan-Racine Associates | Plans Reported | NY | Canton | NG | [7 empty] | 0 | [7 empty] | 0 |  |  | Low
MAIN | Mid-American Power LLC | Operational | WI | Cassville | Coal-fired | 1996 | 53 |  | 300 |  |  |  | 353 |  | 53 |  | 300 |  |  |  | 353 | MidAm conversion of former Dairyland plant. May be repowered to 300 MW; start date uncertain; size could be increased to 500 MW (MPS) |  | High
SERC | Morgan Stanley | Plans Reported | GA |  | NG | 1999 |  | 0 |  |  |  |  | 0 |  |  | 100 |  |  |  |  | 100 | Building to supply to Oglethorpe contract. Has run into permit problems recently. (12/98 PMW) |  | Medium
SERC | Nation Energy | Plans Reported | LA | Chalmette | NG | 2000 |  |  | 110 |  |  |  | 110 |  |  |  | 110 |  |  |  | 110 | To be built at Chalmette Refining, LLC (JV of Mobil and Petrolenas de |  | Medium
ECAR | NIPSCO Industries | Plans Reported | MI or OH or IL | ? | ? | ? | [5 empty] | 300 | 300 | [6 empty] | 300 | 300 | Has been in discussions with 3 companies to build merchant plant in the midwest. Would probably be in the 300 MW range. (6/98 EU) |  | Low
ECAR | Nordic Electric and the city of Wyandotte, MI | Plans Reported | MI | Wyandotte | NG CC | 2001-07-01 |  |  |  | 480 |  |  | 480 |  |  |  |  | 480 |  |  | 480 | Currently negotiating with WEPCO to become involved as major equity participant. All permitting expected to be done by 10/98. Aggressively seeking offtake customers. (6/98 EU) |  | Medium
MAPP | Norther Alternative Energy | Plans Reported | MN | ? | Wind | 1999-06-01 |  | 164 | 43 | 43 | 43 |  | 293 |  |  | 164 | 43 | 43 | 43 |  | 293 | 103mw are scheduled to be online by mid-99. NSP is required by legilation to have 425 mw of wind energy. To date 132 mw are installed. (EPD 2/17/99) |  | High
ERCOT | Occidental Energy Ventures and Conoco Global Power | Under Construction | TX | Ingleside | NG Cogen | 1999-12-01 |  | 205 |  |  |  |  | 205 |  |  | 205 |  |  |  |  | 205 | 440 MW plant. Oxychem to purchase majority of power (235); excess (205) sold into ERCOT; plant to be QF (MPS) | 26E 7FA gas turbines, ABB steam turbine (MPS) | High
SPP | OGE | Plans Reported | ? | ? | NG | Summer 1999 | [6 empty] | 0 |  |  | 95 |  |  |  |  | 95 | OGE has purchased options on two 47.5 MW GE gas turbines that will be operated as merchant plants. Looking into site possibilities currently (12/98 PMW). |  | Medium
ECAR | Ohio Nat Energy, JV Ohio Edison & National Power | Plans Reported | OH | Shadyside | Clean coal | 2000 |  |  | 280 |  |  |  | 280 |  |  |  | 280 |  |  |  | 280 | Avg heating value of 5,500 Btu/lb and ash content of 50% |  | Medium
MAPP | OPPD | Plans Reported | NE |  | NG | 2000 | [6 empty] | 0 |  |  |  | 80 |  |  |  | 80 | Seeking bids for construction of an 80-100 MW combustion peaking turbine to begin operation in the spring of 2000 at OPPD’s Sarpy County Station. (11/98 EPD) |  | Medium
MAPP | OPPD | Plans Reported | NE |  |  | 2002 | [6 empty] | 0 | [5 empty] | 175 |  | 175 | Plans to add up to 175 MW from 2002 on; analyzing possibility of adding new units. (GA) |  | Low
NPCC | Orion Power Holdings (Goldman Sachs & Constellation) | Plans Reported | NY | ? | Hydro | 2001-09-01 |  |  |  | 661 |  |  | 661 |  |  |  |  | 661 |  |  | 661 | Orion is buying 72 hydro plants from NIMO. NIMO will purchase the output until 9/01 and then Orion will sell the power on the wholesale market. (12/98 PMW) |  | High
NPCC | Orion Power Holdings (Goldman Sachs & Constellation) | Plans Reported | NY | ? | NG Cogen | 1999 |  | 105 |  |  |  |  | 105 |  |  | 105 |  |  |  |  | 105 | Orion purchased the Carr St. Generating Station from US Gen. The contract for the plant was terminated in NIMO's restructuring, so Constellation will sell the output on the merchant market (12/98 PMW). |  | High
NPCC | Orrington Generation Partners | Plans Reported | ME | Orrington | NG | 2001 |  |  |  | 700 |  |  | 700 | Yes |  |  |  | 700 |  |  | 700 | ISO NE |  | Medium
ERCOT | Panda Energy | Plans Reported | TX | Paris | NG CC | 2000-06-01 |  |  | 1000 |  |  |  | 1000 |  |  |  | 1000 |  |  |  | 1000 | Output to be sold to ERCOT, SPP and others. Duke/Fluor Daniel will build the plant (10/98 ER)
ERCOT | Panda Energy | Plans Reported | TX | Marion | NG CC | 2000 |  |  | 750 |  |  |  | 750 |  |  |  | 750 |  |  |  | 750 | Located near LCRA's Marion station, the plant will feed power for sale to any member of ERCOT. Known as "Guadalupe Power Plant" (8/98 BTU)
PJM | Panda Energy | Plans Reported | MD | [8 empty] | 230 | 230 | [6 empty] | 230 | 230 | Has applied for CPCN for 230 MW plant |  | Medium
MAIN | Panenergy & Assoc. | Plans Reported | MO |  | NG | 1999 |  | 125 | [7 empty] | 250 |  |  |  |  | 250 | Combined Cycle (RDI)
NPCC | Patriot Power | Plans Reported | MA | Holyoke |  | 2001 |  |  |  | 300 |  |  | 300 |  |  |  |  | 300 |  |  | 300 | ISO NE |  | Medium
PJM | PEI Power Corp | Operational | PA | Archbald | NG Cogen | 1998 | 25 | [5 empty] | 25 |  | 25 | [5 empty] | 25 | Sells into PJM (9/98 NEP) |  | High
MAIN | Peoples Energy/Dominion Energy | Plans Reported | IL | Joliet | NG | 1999-06-01 |  | 600 |  |  |  |  | 600 |  |  | 600 |  |  |  |  | 600 | Peaking plant. Inside ComEd control area. Known as Elwood plant (was expanded to 600 MW from 300). | GE will provide 2 150 MW PG7231FA turbines (10/98 PR) | High
ERCOT | PG&E or US Gen/UDS | Under Development | TX | Three Rivers | NG Cogen | 2000 |  |  | 325 |  |  |  | 325 |  |  |  | 325 |  |  |  | 325 | 750 MW plant - to supply UDS with electricity; surplus (~325 MW) to be sold on TX power mkt. Listed on CERA report. |  | High
MAIN | Polsky Energy | Plans Reported | IL | Wood River |  | 1999 |  | 15 |  |  |  |  | 15 |  |  | 15 |  |  |  |  | 15 |  |  | Medium
MAIN | Polsky Energy | Plans Reported | WI | DePere/Green Bay | NG Cogen | 1999-05-01 |  | 75 |  |  |  |  | 75 |  |  | 255 |  |  |  |  | 255 | 255 MW facility at Intl Paper's Nicolet Paper mill. Up to 75 MW may be built for merchant market during 2000-2004 pending industrial host need for full project capacity. (MPS) Phase one is 180 MW under contract til 04. Phase two adds 75 MW. The additional MW goes under contract 04. If construction is accelerated, it is anticipated that the 75 MW will be sold as merchant capacity. (RDI) |  | High
NPCC | Polsky Energy | Plans Reported | ME | Livermore Falls | NG | 2000-12-01 |  |  | 40 |  |  |  | 40 | Yes |  |  | 40 |  |  |  | 40 |  |  | Medium
SERC | Polsky Energy | Plans Reported | AL | Mobile | NG Cogen | ? | [5 empty] | 115 | 115 | [6 empty] | 115 | 115 | Sell steam to an International Paper plant in Mobile. Sell power to the bulk power market. May not be a merchant plant - looking to secure long-term deals (3Q PGMQ) |  | Medium
NPCC | Polsky Energy Corp. | Plans Reported | CT | Versaille | NG | 2000 |  |  | 240 |  |  |  | 240 | Yes |  |  | 240 |  |  |  | 240 | Known as Versaille Energy Center. (ISO NE) |  | Medium
MAIN | Polsky Energy/Alliant Utilities | Plans Reported | WI | Dane Cty or Johnston | NG | 2000-06-01 |  |  | 525 |  |  |  | 525 |  |  |  | 525 |  |  |  | 525 | Alliant will take full 525-MW ouptut of the plant on a peaking basis for 8 years: 1. Up to 150 MW earmarked for use by Wisc. Power & Light by the year 2000; IES Utilities and Interstate Power has wholesale power contracts that expire in 2001. (7/98 EU) A citizens group is opposing the siting by raising suit. (EPD) |  | High
MAPP | Polsky Energy/Minnesota Valley Alfalfa Producers | Plans Reported | MN | Granite Falls | Gasified alfalfa, CC | 2000 |  |  | 75 |  |  |  | 75 |  |  |  | 75 |  |  |  | 75 | Up to 103 MW; 115 kv transmission lines would run for 2-6 miles to NSP's existing Granite Falls, substation |  | Medium
NPCC | Polsky Energy/Wisconsin Energy/Internatonal Paper | Under Construction | ME | Jay | NG Cogen | 1999-10-01 |  | 165 |  |  |  |  | 165 | Yes |  | 165 |  |  |  |  | 165 | Known as the Androscoggin Cogeneration Center. Has heat rate of less than 6000 Btu/kWh. IP will take some of the energy. (6/98 EU). Has only applied for 115 MW in I/C Study (ISO NE). Project has "step-in" rights to IPC's existing 100 MW capacity in case mill closes. (MPS). I/C study finished. |  | High
NPCC | Power Development Corp | Plans Reported | MA | Berkshire | NG | 2000 |  |  | 272 |  |  |  | 272 |  |  |  | 272 |  |  |  | 272 |  |  | Medium
NPCC | Power Development Corp & El Paso Energy (BP) | Plans Reported | CT | Meriden | NG | Q3 - 2001 |  |  |  | 544 |  |  | 544 |  |  |  |  | 544 |  |  | 544 | Q3 PGMQ. MPS has date as 2000 and as 520 MW. (MPS) | ABB (MPS) | Medium
NPCC | Power Development Corp & El Paso Energy (BP) | Plans Reported | CT | Milford | NG CC | Q1 - 2000 |  |  | 544 |  |  |  | 544 | Yes |  |  | 544 |  |  |  | 544 | Would sell power on a merchant basis with a target price of 4 cents/kWh. (3Q PGMQ) | ABB (MPS) | Medium
NPCC | Power Development Corp (BP) | Under Development | MA | Westfield | NG CC | Q1 - 2001 |  |  |  | 276 |  |  | 276 | Yes |  |  |  | 276 |  |  | 276 |  |  | Medium
PJM | PP&L Global | Plans Reported | PA | Martins Creek | NG CC | 2002 |  | 550 |  |  | 500 |  | 1050 |  |  | 550 |  |  | 500 |  | 1050 | Could be anywhere from 500 - 600 MW. Adjacent to the site of a generating station now operated by PP&L. (10/98 MW) Power will be sold in PJM (11/98 PMW) |  | Medium
NPCC | PP&L Global/Stone & Webster | Plans Reported | CT | Wallingford | NG | 2001 |  |  |  | 550 |  |  | 550 | Yes |  |  |  | 550 |  |  | 550 | Plant could sell power to CMEEC or sell to the merchant market (Q3 PGM) |  | Medium
FRCC | Progress Energy | Plans Reported | FL | ? | ? | 1999 | [6 empty] | 0 | [7 empty] | 0 | Capacity unknown (RDI) |  | Low
SERC | Progress Energy | Plans Reported | GA | ? | ? | Summer 99 | [6 empty] | 0 | [7 empty] | 0 | May be up to 500 MW; may be near Atlanta |  | Low
SERC | Progress Energy | Plans Reported | NC | ? | ? | Summer 99 | [6 empty] | 0 | [7 empty] | 0 | RDI |  | Low
SERC | Progress Energy | Plans Reported | SC | ? | ? | Summer 99 | [6 empty] | 0 | [7 empty] | 0 | RDI |  | Low
ERCOT | San Antonio Public Service | Plans Reported | TX | ? | NG CC | 2000 | [6 empty] | 0 |  |  |  | 511 |  |  |  | 511 | Plans to begin construction in October, 98 on a 511-MW CC natural gas plant operational in 2000 (DJ) |  | Medium
FRCC | Seminole Electric Coop | Plans Reported | FL | Hardee Cty | NG CC | 2002-01-01 | [6 empty] | 0 | [5 empty] | 500 |  | 500 | Plans to build a 500 MW gas CC plant at an existing plant site in Hardee County. The power would replace electricity currently purchased from another utility (10/98 DJ). |  | Medium
FRCC | Seminole Electric Coop | Plans Reported | FL |  | NG | 2002 | [6 empty] | 0 | [5 empty] | 900 | 600 | 1500 | Has plans for 10 x 150-MW natural gas-fired units, including six in 2002, three in 2004, and one in 2005. (10/98 EU) |  | Low
NPCC | Sempra Energy (Rocky River Power) | Plans Reported | CT | New Milford | NG | 2001-07-01 |  |  |  | 530 |  |  | 530 | Yes |  |  |  | 530 |  |  | 530 |  |  | Medium
NPCC | Sithe Energies | Plans Reported | MA | Charlestown | NG | 2001 |  |  |  | 1750 |  |  | 1750 | Yes |  |  |  | 1750 |  |  | 1750 | Expansion of Mystic Station. (ISO NE). |  | Medium
NPCC | Sithe Energies | Plans Reported | NY | Ramapo |  | 2001 |  |  |  | 700 |  |  | 700 |  |  |  |  | 700 |  |  | 700 | From 700-800 MW. Expects to receive approval from state within a year and estimates plant could be in operation 12-15 months after state approves. Will market power in the wholesale markets of PJM, NYPP, and NEPOOL. (11/98 PMW) |  | Medium
NPCC | Sithe Energies | Plans Reported | MA | Everett | NG | 2001 |  |  |  | 1500 |  |  | 1500 |  |  |  |  | 1500 |  |  | 1500 | (MPS) |  | Medium
NPCC | Sithe Energies | Plans Reported | MA | Framingham | NG | 2001 |  |  |  | 750 |  |  | 750 | Yes |  |  |  | 750 |  |  | 750 | ISO NE says plans are withdrawn. |  | Low
NPCC | Sithe Energies | Plans Reported | MA | West Medway | NG | 2001 |  |  |  | 540 |  |  | 540 | Yes |  |  |  | 540 |  |  | 540 | ISO NE |  | Medium
NPCC | Sithe Energies | Plans Reported | MA | Weymouth | NG | 2001 |  |  |  | 750 |  |  | 750 | Yes |  |  |  | 750 |  |  | 750 | Expansion of Edgar Station. (ISO NE) |  | Medium
NPCC | Sithe Energies | Under Development | NY | Scriba | NG | 2001 |  |  |  | 750 |  |  | 750 |  |  |  |  | 750 |  |  | 750 | Expansion of Independence facility. (8/98 EU) |  | Medium
SERC | Sonat Energy | Under Development | GA | Columbus | NG | 2000-06-01 |  |  | 465 |  |  |  | 465 |  |  |  | 680 |  |  |  | 680 | 215 MW of 680 MW committed to 5 yr contract to GA Power; peaking plant; known as Cataula facility; plant will have direct access to GA Power, Muni Elec Authority of GA, Oglethorpe Power, City of Dalton. On 11/17 the Ga. Cty. Commission revoked the permit for the plant - Calpine/Sonat filed suit on 12/6 and the Commission has decided to review the case. (12/98 SEP) Calpine withdrawn from project. (1/99, EPD) | 4 GE turbines (MPS) | Medium
ERCOT | Southern Co. | Operational | TX | Wichita Falls | NG Cogen | 1999-10-01 |  | 80 |  |  |  |  | 80 |  |  | 80 |  |  |  |  | 80 | SEI buying plant from Wichita Falls Energy. Site could be used to build a larger power plant. |  | High
ECAR | Southern Energy | Plans Reported | MI |  | NG | ? | [5 empty] | 500 | 500 | [6 empty] | 500 | 500 | Proposal sent to state regulators. (10/98 ER) |  | Low
NPCC | Southern Energy | Plans Reported | MA | Sandwich | NG CC | Q2 - 2001 |  |  |  | 561 |  |  | 561 | Yes |  |  |  | 561 |  |  | 561 | ISO NE |  | Medium
NPCC | Southern Energy | Plans Reported | MA | Cambridge |  | Q3 - 2001 |  |  |  | 172 |  |  | 172 | Yes |  |  |  | 172 |  |  | 172 | Repowering of Kendall station. (ISO NE) |  | Medium
NPCC | Southern Energy | Plans Reported | NH | Newington | NG | 2000-02-01 |  |  | 525 |  |  |  | 525 | Yes |  |  | 525 |  |  |  | 525 |  |  | Medium
NPCC | Stone & Webster | Plans Reported | MA | Wareham |  | 2001 |  |  |  | 500 |  |  | 500 | Yes |  |  |  | 500 |  |  | 500 | Glen Charlie Unit One (ISO NE) |  | Medium
NPCC | Stone & Webster | Plans Reported | ME | Wiscasset | NG | 2001 |  |  |  |  | 1400 |  | 1400 | [5 empty] | 1400 |  | 1400 | May repower Maine Yankee nuclear plant (8/98 EU). |  | Medium
FRCC | TECO | Plans Reported | FL |  | NG | 2002 | [6 empty] | 0 | [5 empty] | 540 |  | 540 | Will need 540 MW, which includes three 180 MW natural gas units at its Polk Power Park in 2002, 2003, and 2005. (7/89 EU) |  | Low
ERCOT | Tenaska | Under Construction | TX | Grimes Cty (near Shiro) | NG CC | 2000 |  |  | 830 |  |  |  | 830 |  |  |  | 830 |  |  |  | 830 | Potential markets are in ERCOT, SE, Midwest and Florida. Plant to be connected to ERCOT and SERC. Financing secured. (9/98 DJ). Illinova bought a 20% stake (about 116) in the plant. Montana Power owns a 25% stake. (ER 10/98) Project will interconnect with ERCOT via HLP's 345 kV transmission line and with grids outside ERCOT via Entergy's 345kV line. (MPS) | Three GE Frame 7FA gas turbines, three HRSGs, and one GE steam turbines. Project claims unique ability to dispatch power to multiple grids extending beyong ERCOT. (MPS) | High
MAPP | Tenaska/NRG Energy | Plans Reported | MN | Martin Cty | NG | 2001-05-01 |  |  |  | 362 |  |  | 362 |  |  |  |  | 362 |  |  | 362 | Not a merchant plant. Intent is to have output fully subscribed for an extended period by utilities in MAPP. Available to IOUs and mnuis and coops. Called Lakefield Junction. 3 Turbines - peaking plant (8/98 EU) |  | Medium
NPCC | Towantic Energy (Arena Capital LTD) | Plans Reported | CT | Oxford | NG | 2002 |  |  |  |  | 540 |  | 540 | Yes |  |  |  |  | 540 |  | 540 | Could be Westport, CT. (ISO NE) |  | Low
NPCC | Tractebel and Sprague Energy | Plans Reported | NH | Newington | NG | 0.01 |  |  | 700 |  |  |  | 700 | Yes |  |  | 700 |  |  |  | 700 | Has applied for I/C study under Piscataqua Power name. (ISO NE) |  | Medium
NPCC | Tractebel Energy Marketing, Inc. | Plans Reported | CT | Sherman | NG | 2001-01-01 | [6 empty] | 0 | Yes | [6 empty] | 0 | Plans withdrawn. (ISO NE) |  | n/a
MAPP | TranAlta Energy Corp | Plans Reported | SK | Lloydminster | CC NG | 1999-12-01 | [9 empty] | 210 |  |  |  |  | 210 | Cogen |  | Low
MAIN | Trigen Energy | Plans Reported | MO | St Louis | NG Cogen | 1999-06-01 | [9 empty] | 15 |  |  |  |  | 15 |  |  | Low
MAIN | Trigen Energy | Plans Reported | IL | St. Louis |  | 2000 |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  | Medium
SERC | TVA | Plans Reported | TN |  | NG | 2000 | [6 empty] | 0 |  |  |  | 700 |  |  |  | 700 | Will install up to 700 MW of new gasfired CT peaking capacity by 2000. Negotiating contract with GE to install 8 natural gas CT able to produce between 500 and 700 MW at its coal-fired 1,255 MW Gallatin plant and its 1,485 MW Johnsonville plant (7/98 ER) |  | Medium
SERC | TVA | Plans Reported |  |  | NG | 2001-06-01 | [6 empty] | 0 |  |  |  |  | 500 | 500 |  | 1000 | Issued RFP for up to 1,200 MW of peaking power from plants it wants built in its area. One bid is for a 500 – 600 MW plant to begin service in 6/2001; the second is for the same plant to begin service in 6/2002 (6/98 PMW) |  | Medium
NPCC | U.S. Generating | Under Development | CT | Killingly | NG | 2001-06-01 |  |  |  | 810 |  |  | 810 | Yes |  |  |  | 810 |  |  | 810 | May be known as Lake Island Generating Co. (ISO NE) |  | Medium
NPCC | U.S. Generating | Under Construction | MA | Charlton | NG CC | 2000-06-01 |  |  | 400 |  |  |  | 400 |  |  |  | 400 |  |  |  | 400 | Millenium facility (MPS). I/C study finished. | Gas & steam turbines by Westinghouse (MPS) | High
NPCC | U.S. Generating | Plans Reported | MA | Somerset | ? | 2001 |  |  |  | 477 |  |  | 477 | Yes |  |  |  | 477 |  |  | 477 | Brayton Point Station. I/C study finished. (ISO NE) |  | Medium
NPCC | U.S. Generating | Under Development | NY | Athens | NG | 2001 |  |  |  | 1080 |  |  | 1080 |  |  |  |  | 1080 |  |  | 1080 |  |  | Medium
PJM | U.S. Generating | Plans Reported | NJ | Linden | NG CC | 2002 |  |  |  |  | 1100 |  | 1100 | [5 empty] | 1100 |  | 1100 | Will sell power at market rates throughout the PJM Interconnection. (11/98 PMW) To be called Liberty Project. (RDI) |  | High
PJM | U.S. Generating | Plans Reported | NJ | West Deptford | NG CC | 2002 |  |  |  |  | 800 |  | 800 | [5 empty] | 800 |  | 800 | To be named Mantua Creek generating plant. (RDI) |  | Medium
MAIN | Unannounced (Anon) | PLN | IL | Chicago | CT - NG | 1999-06-01 |  | 136 |  |  |  |  | 136 |  |  | 136 |  |  |  |  | 136 | Managed by ASNI Consultants. Developer is anonymous
MAPP | UPA | Plans Reported | WI | Arpin | [8 empty] | 0 | [6 empty] | ? | 0 | Discussing joint development of plant with Enron. (GA) |  | Low
SERC | US Generating Co | Plans Reported | GA | ? | NG | 2000-06-01 |  |  | 440 |  |  |  | 440 |  |  |  | 440 |  |  |  | 440 | RDI |  | Low
SERC | VEPCO | Plans Reported | VA | Fauquier Cty | NG | 2000-06-01 | [6 empty] | 0 |  |  |  | 600 |  |  |  | 600 | Had plans to build six 150 MW units. Virginia PUC recently forced VEPCO to enter bidding process for all 6 turbines |  | Medium
NPCC | Vermont Power & Energy Development Corp. | Plans Reported | VT | Bennington |  | 2001-11-01 |  |  |  | 270 |  |  | 270 | Yes |  |  |  | 270 |  |  | 270 |  |  | Medium
NPCC | Vermont Power & Energy Development Corp. | Plans Reported | VT | Rutland |  | 2001-11-01 |  |  |  | 1080 |  |  | 1080 | Yes |  |  |  | 1080 |  |  | 1080 |  |  | Medium
MAIN | WEPCO | Plans Reported | WI | Germantown | NG | mid-2000 | [6 empty] | 0 |  |  |  | 135 |  |  |  |  | Wepco will convert its Germantown Power Plant from oil to natural gas-fired and increase its apacity by 135 MW, parent company. (Capacity creep) (MegawattDaily 1/12/99)
NPCC | Westbrook Power | Plans Reported | ME | Westbrook | NG | 2000-03-01 |  |  | 520 |  |  |  | 520 | Yes |  |  | 520 |  |  |  | 520 | ISO NE |  | Medium
MAIN | White Oak Energy | Plans Reported | IL | Joliet | PC | 1999 | [9 empty] | 130 |  |  |  |  | 130 |  |  | Low
MAIN | White Oak Energy | Plans Reported | IL | Lockport | PC | 1999 | [9 empty] | 130 |  |  |  |  | 130 |  |  | Low
NPCC | Williams Energy Group | Plans Reported | CT | Norwich | NG | 2001 |  |  |  | 500 |  |  | 500 | Yes |  |  |  | 500 |  |  | 500 |  |  | Medium
PJM | Williams Energy Group | Under Development | PA | Hazleton | NG CC | 1999 |  | 250 |  |  |  |  | 250 |  |  | 250 |  |  |  |  | 250 | Existing 130 MW facility; in June 99 it will repower to 250 MW (MPS) |  | Medium
MAIN | Wisconsin Public Service | Plans Reported | WI |  | NG | 1999-06-01 | [6 empty] | 0 |  |  | 180 |  |  |  |  | 180 | Will have 180 MW peaking plant online by 6/1/99 (10/98 ED) |  | High
NPCC | Wisvest (Wisconsin Energy) | Operational | CT | Bridgeport | Oil & coal | 2000-06-01 |  |  | 590 |  |  |  | 590 | n/a |  |  | 590 |  |  |  | 590 | Wisvest bought the plant from United Illuminating. It will supply power from the plants to UI from mid-99 to 6/00. After that, the plant will run on a merchant basis selling to the regional market (10/98 NEP) |  | High
NPCC | Wisvest (Wisconsin Energy) | Operational | CT | New Haven | Oil & gas | 2000-06-01 |  |  | 446 |  |  |  | 446 | n/a |  |  | 446 |  |  |  | 446 | Wisvest bought the plant from United Illuminating. It will supply power from the plants to UI from mid-99 to 6/00. After that, the plant will run on a merchant basis selling to the regional market (10/98 NEP) |  | High
SPP | WRI | Plans Reported |  |  | NG | 2000 | [6 empty] | 0 |  |  |  | 200 | 100 |  |  | 300 | Planning to add 300 MW of peaking capacity (3 CTs) to be co-owned by KPL and KGE. Two of the units will start in 2000. The third will start in 2001. (MW 10/98)
MAPP | Zond Systems | Under Construction | MN | Ruthton | WND | 1999 | [9 empty] | 103.5 |  |  |  |  | 104 |  |  | Low