## Sheet1
Project | CENTRAL IOWA PROJECT
Location | Boone County Iowa
Client | Central Iowa Power Company
Configuration | 2 x 1
MW, iso | 264
Power Island | 56100000 | 212.5
Balance of Plant | 57636000 | 218.3182
Engineering | 5000000 | 18.9394
Project Management | 2500000 | 9.4697
Construction Management | 6000000 | 22.7273
Startup, Commissioning | 2100000 | 7.9545
Other | 1000000 | 3.7879
Total | 130336000 | 493.697
Clarifications / Assumptions
2 x GE 7EA w/100MW Steam Turbine
Battery / Inside The Fence Cost
Natural Gas Fired, No Secondary Fuel
Green Field Site
Excludes Piling
All Utilities Furnished to Battery Limits
Includes Gas Turbine Enclosure / Building
Excludes Contingency, Escalation and Profit