## COVER
TRENT MESA
MONTHLY REPORT
FOR
2002-01-02
**ALL TIMES ARE GMT**

## WTG Down
Mill Run/Somerset
SIGNIFICANT WTG DOWN TIME
Month: | 2002-01-02 |  |  |  | Reason: F=fault, U=unscheduled maint. S= scheduled maint. C=curtail
WTG # | Date off | Time off | Date on | Time on | Hrs. | Reason | Comments
mr1 | 2002-02-05 | 0100 | 2002-02-05 | 0105 |  | f | GBOPTL
mr1 | 2002-02-05 | 0214 | 2002-02-05 | 0219 |  | f | GBOPTL
mr1 | 2002-02-05 | 0255 | 2/5 0300 |  |  | f | GBOPTL
mr1 | 2002-02-05 | 0352 | 2/5 0357 |  |  | f | GBOPTL
mr2 | 2002-02-05 | 0100 | 2/5 0105 |  |  | f | GBOPTL
mr2 | 2002-02-05 | 0215 | 2002-02-05 | 0220 |  | f | GBOPTL
mr3 | 2002-02-05 | 0130 | 2002-02-05 | 0135 |  | f | GBOPTL
mr3 | 2002-02-05 | 0245 | 2/5 0250 |  |  | f | GBOPTL
mr4 | 2002-02-05 | 0320 | 2/5 0325 |  |  | f | GBOPTL
mr5 | 2002-02-05 | 0402 | 2002-02-05 | 0407 |  | f | GBOPTL
mr6 | 2002-02-05 | 0420 | 2002-02-05 | 0425 |  | f | GBOPTL
mr7 | 2002-02-05 | 0703 | 2002-02-05 | 0708 |  | f | GBOPTL
mr8 | 2002-02-05 | 0747 | 2002-02-05 | 0752 |  | f | GBOPTL
mr9 | 2002-02-05 | 0752 | 2002-02-05 | 0757 |  | f | GBOPTL
mr10 | 2002-02-05 | 0808 | 2002-02-05 | 0813 |  | f | GBOPTL
mr5 | 2002-02-06 | 0630 | 2002-02-06 | 0800 |  | f | MS3 bad replaced
ss3 | 2002-02-06 | 0700 | 2002-02-06 | 0800 |  | f | PC lock up
mr6 | 2002-02-06 | 0923 | 2002-02-06 | 0928 |  | f | GBOPTL
ss2 | 2002-02-07 | 1059 | 2002-02-07 | 1105 |  | f | wind flag defect
mr6 | 2002-02-07 | 1211 | 2002-02-07 | 1315 |  | f | PC lock up
mr4 | 2002-02-08 | 1400 | 2002-02-08 | 1600 |  | f | MS3 bad replaced
mr1 | 2002-02-11 | 0120 | 2002-02-11 | 0125 |  | f | GBOPTL
mr10 | 2002-02-11 | 0146 | 2002-02-11 | 0151 |  | f | GBOPTL
ss1 | 2002-02-11 | 0234 | 2002-02-11 | 0239 |  | f | Wrong yaw direction
ss3 | 2002-02-11 | 0402 | 2002-02-11 | 0407 |  | f | Gen over speed
mr6 | 2002-02-11 | 0513 | 2002-02-11 | 0525 |  | f | Blade faults
mr7 | 2002-02-11 | 0658 | 2002-02-11 | 0703 |  | f | GBOPTL
mr8 | 2002-02-11 | 0715 | 2002-02-11 | 0720 |  | f | GBOPTL
ss3 | 2002-02-11 | 0800 | 2002-02-11 | 0805 |  | f | GBOPTL
ss4 | 2002-02-11 | 0816 | 2002-02-11 | 0821 |  | f | GBOPTL
ss1 | 2002-02-11 | 0934 | 2002-02-11 | 0939 |  | f | GBOPTL
ss3 | 2002-02-11 | 1001 | 2002-02-11 | 1005 |  | f | GBOPTL
mr7 | 2002-02-11 | 1006 | 2002-02-11 | 1011 |  | f | GBOPTL
mr7 | 2002-02-11 | 1058 | 2002-02-11 | 1103 |  | f | GBOPTL
mr3 | 2002-02-11 | 1854 | 2002-02-11 | 1859 |  | f | Wrong yaw direction
mr7 | 2002-02-11 | 1904 | 2002-02-11 | 1909 |  | f | GBOPTL
mr8 | 2002-02-11 | 2304 | 2002-02-11 | 2309 |  | f | GBOPTL
mr3 | 2002-02-12 | 1306 | 2002-02-12 | 1311 |  | f | Wrong yaw direction
ss1 | 2002-02-15 | 0925 | 2002-02-15 | 0930 |  | f | Gen over speed
ss2 | 2002-02-15 | 0926 | 2002-02-15 | 0931 |  | f | Gen over speed
ss3 | 2002-02-15 | 0927 | 2002-02-15 | 0932 |  | f | Gen over speed
ss4 | 2002-02-15 | 0927 | 2002-02-15 | 0933 |  | f | Gen over speed
ss5 | 2002-02-15 | 0928 | 2002-02-15 | 0934 |  | f | Gen over speed
mr7 | 2002-02-17 | 0817 | 2002-02-17 | 0822 |  | f | GBOPTL
mr8 | 2002-02-17 | 0948 | 2002-02-17 | 0953 |  | f | GBOPTL
mr1 | 2002-02-17 | 1056 | 2002-02-17 | 1001 |  | f | GBOPTL
mr10 | 2002-02-17 | 1123 | 2002-02-17 | 1128 |  | f | GBOPTL
ss3 | 2002-02-17 | 1458 | 2002-02-17 | 1550 |  | f | PC lock up
mr9 | 2002-02-21 | 0335 | 2002-02-21 | 340 |  | f | Blade faults
mr7 | 2002-02-22 | 0630 | 2002-02-22 | 635 |  | f | GBOPTL
mr5 | 2002-02-23 | 0330 | 2002-02-23 | 800 |  | f | Pad mount trip
mr6 | 2002-02-25 | 0603 | 2002-02-25 | 642 |  | f | Battery charge not OK
ss3 | 2002-02-26 | 2019 | 2002-02-26 | 2024 |  | f | Gen over speed
mr10 | 2002-02-26 | 2057 | 2002-02-26 | 2101 |  | f | Gen over speed
mr10 | 2002-02-27 | 0030 | 2002-02-27 | 35 |  | f | GBOPTL
mr1 | 2002-02-27 | 0235 | 2002-02-27 | 240 |  | f | GBOPTL
mr10 | 2002-02-27 | 0253 | 2002-02-27 | 258 |  | f | GBOPTL
mr8 | 2002-02-27 | 0330 | 2/27 0335 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 0533 | 2002-02-27 | 538 |  | f | GBOPTL
mr6 | 2002-02-27 | 0628 | 2/27 0640 |  |  | f | Battery charge not OK
mr1 | 2002-02-27 | 0628 | 2002-02-27 | 645 |  | f | GBOPTL
mr7 | 2002-02-27 | 0718 | 2002-02-27 | 800 |  | f | GBOPTL
mr1 | 2002-02-27 | 0730 | 2/27 0815 |  |  | f | GBOPTL
mr10 | 2002-02-27 | 0742 | 2/27 0800 |  |  | f | GBOPTL
mr4 | 2002-02-27 | 0800 | 2/27 0805 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 0830 | 2/27 0835 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 0850 | 2002-02-27 | 855 |  | f | GBOPTL
ss2 | 2002-02-27 | 0857 | 2/27 0907 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 0904 | 2/27 1041 |  |  | f | GBOPTL
mr6 | 2002-02-27 | 0908 | 2/27 1013 |  |  | f | Battery charge not OK
mr7 | 2002-02-27 | 0912 | 2/27 1013 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 1033 | 2/27 1050 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 1049 | 2/27 1056 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 1100 | 2/27 1103 |  |  | f | GBOPTL
mr10 | 2002-02-27 | 1112 | 2002-02-27 | 1115 |  | f | GBOPTL
mr7 | 2002-02-27 | 1136 | 2/27 1140 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 1205 | 2/27 1210 |  |  | f | GBOPTL
mr8 | 2002-02-27 | 1218 | 2/27 1223 |  |  | f | GBOPTL
mr7 | 2002-02-27 | 1236 | 2/27 1240 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 1244 | 2/27 1250 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 1310 | 2002-02-27 | 1318 |  | f | GBOPTL
mr1 | 2002-02-27 | 1342 | 2002-02-27 | 1346 |  | f | GBOPTL
mr1 | 2002-02-27 | 1400 | 2/27 1405 |  |  | f | GBOPTL
mr1 | 2002-02-27 | 1420 | 2/27 1425 |  |  | f | GBOPTL
mr10 | 2002-02-27 | 1426 | 2/27 1434 |  |  | f | GBOPTL
mr9 | 2002-02-27 | 1945 | 2/27 1950 |  |  | f | GOS (high gust)
mr9 | 2002-02-27 | 2012 | 2/27 2017 |  |  | f | GOS (high gust)
ss2 | 2002-02-28 | 0514 | 2/28 0518 |  |  | f | GBOPTL
mr1 | 2002-02-28 | 0541 | 2/28 0545 |  |  | f | GBOPTL
mr1 | 2002-02-28 | 0557 | 2/28 0606 |  |  | f | GBOPTL
mr8 | 2002-02-28 | 0606 | 2002-02-28 | 608 |  | f | GBOPTL
mr7 | 2002-02-28 | 0610 | 2/28 0641 |  |  | f | Battery charge not OK
mr8 | 2002-02-28 | 0618 | 2/28 0641 |  |  | f | GBOPTL
mr10 | 2002-02-28 | 0637 | 2/28 0641 |  |  | f | GBOPTL
mr8 | 2002-02-28 | 0645 | 2/28 0649 |  |  | f | GBOPTL
mr7 | 2002-02-28 | 0650 | 2/28 0654 |  |  | f | Battery charge not OK
mr4 | 2002-02-28 | 0718 | 2/28 0722 |  |  | f | GBOPTL
mr8 | 2002-02-28 | 0950 | 2/28 0954 |  |  | f | GBOPTL
mr6 | 2002-02-28 | 1115 | 2/28 1140 |  |  | f | Battery charge not OK
mr7 | 2002-02-28 | 1200 | 2/28 1216 |  |  | f | GBOPTL
mr8 | 2002-02-28 | 1518 | 2/28 1524 |  |  | f | GBOPTL
mr2 | 2002-02-28 | 1800 | 2/28 1810 |  |  | f | Battery charge not OK
mr9 | 2002-02-28 | 2140 | 2/28 2145 |  |  | f | GBOPTL
ss6 | 1905-10-28 | 1035 | 2002-02-28 | 1040 |  | f | GBOPTL

## GRID
Mill Run/Somerset
GRID VARIANCE
Chargeable to: A=AEP, N=Force Majeure, E=Enron, T= TXU
Month: | 2002-01-02 |  |  | Reason: U=unscheduled outage, S= scheduled outage, F=fluctuation
Charge | Date off | Time off | Date on | Time on | Hrs. | Reason | Comments
| 2002-02-09 | 1330 | 2002-02-09 | 0130 | 12 | U | A Phase fuse blown
| 12-Feb. | 1800 | 12-Feb. | 230 | 8.5 | U | C Phase fuse blown

## WEATHER
Mill Run/Somerset
WEATHER EVENTS
Month: | Jna-02
Date | Time | Event | Comments

## RECALL
Mill Run/Somerset
CREW CALL-OUTS
Month: | 2002-01-02
Date | Time | Who | Reason

## LOW PRODUCERS
Mill Run/Somerset
BOTTOM FIVE PRODUCERS
WTG | kW Hours | Sys. Avl | Mach. Avl | Line Avl | Reason

## PROJECTS
Mill Run/Somerset
SPECIAL PROJECTS
2002-01-02
1. 750 to 444 crimps being replaced
2. Battery retrofit started
3. Burnt cable replacements in 31, 53 and 54 started
4. Foundation inspections on 4, 48 and 69 started
2002-02-02
1. Complete crimp replacements
2. Complete battery retrofit
3. Complete cable replacements
4. Move WTG 48