## Ordered Out Hours
Enron Wind Maintenance Corp.
Site: Millrun
DATE: 5/01/02
ORDERED OUT HOURS LOG APRIL 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Reason/Activity | Off | On | Off | On | Hours
7 | Ordered out by the customer due to noise levels every day at the same time. The customer calls it curtailment. | 2002-04-01 | 2002-04-02 | 20:00 | 6:00 | 10 | 0.41667
| 4/01 THUR 4/30 0.4167 x 30 DAYS | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
Note - Log downtime due to WTGs ordered out of service by owner, EWC etc - not covered by other downtime logs.

## Curtailment Log
GE Wind Maintenance Corp.
Site: Millrun
DATE: 6/01/02
CURTAILMENT LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed | Wind | Wind
Location | Description - Reason/Activity | Begin | End | Begin | End | Hours | Begin | End
| NONE |  |  |  |  | 0 |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - When recording windspeed, indicate whether it is in m/s or mph, and where the data is from, ie wtg #, met tower, etc.

## ETS - Grid Downtime
GE Wind Maintenance Corp.
Site: Millrun
DATE: 6/01/02
ETS - GRID DOWNTIME LOG MAY 2002
Pad | Feeder |  | Date | Date | Time | Time | Elapsed
Location | Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
Millrun |  | Grid outage | 2002-05-07 | 2002-05-07 | 11:28 | 11:56 | 0.46667 | 0.019444
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - some facilities do not have feeders, in those cases identify the turbines effected.

## SCADA
GE Wind Maintenance Corp.
Site: Millrun
DATE: 6/01/02
SCADA MALFUNCTION LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Begin | End | Begin | End | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Scada problems that result in the loss of data which could effect availability.

## WTG Downtime
GE Wind Maintenance Corp.
Site: Millrun
DATE: 6/01/02
WTG DOWNTIME LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
8 | Thunder Storm with lightning hitting the tower IGBT Failure | 2002-05-01 | 2002-05-09 | 0:01 | 10:00 | 201.9833 | 8.416
5 | SEG Failure | 2002-05-01 | 2002-05-04 | 7:40 | 10:15 | 74.5833 | 3.1076
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - if the event is considered a force majeure event, include the wording force majeure in the description.