## MAINTENANCE
[6 empty] | EL PASO NORTH MAINLINE | [7 empty] | EL PASO SOUTH MAINLINE
| SJ Triangle | SJ West | Maricopa Crossover | North EOCs | New Generation | Hackberry | Havasu Croosover | SWG Topock | SoCal Topock | PG&E Topck | Mojave Topock | Keystone West | Waha West | Cornudas West | New Generation | Samalyuca | South EOCs | Fuel | Total Crossovers | SoCal Ehrenberg
2001-05-01 | 2473118 | 2250029 | 134562 | 54638 | 0 | 2060829 | 459258 | 109933 | 484491 | 786525 | 220622 | 896719 | 550049 | 1446768 | 0 | 81293 | 832383 | 79705 | 593820 | 1047207
2001-05-02 | 2442025 | 2241854 | 136256 | 46260 | 0 | 2059338 | 470512 | 119805 | 511576 | 741693 | 215752 | 897155 | 550029 | 1447184 | 0 | 91147 | 804615 | 93970 | 606768 | 1064220
2001-05-03 | 2551870 | 2221917 | 132264 | 59624 | 0 | 2030029 | 503233 | 114169 | 486400 | 733150 | 193077 | 856293 | 718949 | 1575242 | 0 | 79203 | 793058 | 94012 | 635497 | 1244466
2001-05-04 | 2752731 | 2235621 | 133292 | 72300 | 0 | 2030029 | 478295 | 107669 | 495880 | 748087 | 200098 | 886917 | 750029 | 1636946 | 0 | 94897 | 882664 | 97120 | 611587 | 1173852
2001-05-05 | 2433372 | 2127730 | 131409 | 88504 | 0 | 1907817 | 571403 | 107426 | 427474 | 557565 | 243949 | 654918 | 732769 | 1387687 | 0 | 98358 | 722462 | 92333 | 702812 | 1177346
2001-05-06 | 2540021 | 2161401 | 132504 | 70781 | 0 | 1958116 | 571067 | 105366 | 404575 | 643501 | 233607 | 810893 | 507844 | 1318737 | 0 | 99349 | 778377 | 94718 | 703571 | 1049864
2001-05-07 | 2561041 | 2115029 | 131725 | 46309 | 0 | 1936995 | 524180 | 99270 | 478980 | 646294 | 188271 | 664704 | 741559 | 1406263 | 0 | 91630 | 751926 | 89170 | 655905 | 1129442 | 181000
2001-05-08 | 2674794 | 2115029 | 131379 | 42432 | 0 | 1941218 | 425208 | 100863 | 455750 | 793836 | 165561 | 660288 | 750008 | 1410296 | 0 | 82993 | 732107 | 82134 | 556587 | 1069649 | 131000
2001-05-09 | 2702648 | 2222543 | 135267 | 77247 | 0 | 2010029 | 490434 | 93989 | 443435 | 835726 | 146445 | 675029 | 745804 | 1420833 | 0 | 84451 | 812588 | 83673 | 625701 | 1065822 | 86000
2001-05-10 | 2768887 | 2208587 | 134547 | 64011 | 0 | 2010029 | 528907 | 86579 | 447484 | 788859 | 158200 | 640029 | 748967 | 1388996 | 0 | 80401 | 837246 | 53449 | 663454 | 1081354 | 86000
2001-05-11 | 2807016 | 2209492 | 134033 | 65430 | 0 | 2010029 | 581133 | 102284 | 429322 | 714377 | 182913 | 640029 | 745446 | 1385475 | 0 | 74422 | 893680 | 110672 | 715166 | 1021867 | 86000
2001-05-12 | 2838876 | 2209547 | 136944 | 62574 | 0 | 2010029 | 609522 | 111754 | 399992 | 664858 | 223903 | 640029 | 746046 | 1386075 | 0 | 94237 | 906709 | 146152 | 746466 | 985443 | 86000
2001-05-13 | 2743709 | 2201003 | 124921 | 66053 | 0 | 2010029 | 615477 | 113203 | 439985 | 621908 | 219456 | 640029 | 743427 | 1383456 | 0 | 93107 | 805699 | 131664 | 740398 | 1093384 | 86000
2001-05-14 | 2735817 | 2199315 | 132192 | 57094 | 0 | 2010029 | 550294 | 106747 | 499102 | 654361 | 199525 | 640029 | 746299 | 1386328 | 0 | 91010 | 829526 | 98608 | 682486 | 1049670 | 86000
2001-05-15 | 2674290 | 2196978 | 131205 | 55744 | 0 | 2010029 | 525956 | 94607 | 449150 | 769554 | 170762 | 640029 | 740156 | 1380185 | 0 | 91442 | 813695 | 85252 | 657161 | 1046957 | 86000
2001-05-16 | 2764499 | 2196703 | 133424 | 53250 | 0 | 2010029 | 474533 | 103817 | 454605 | 794285 | 182789 | 627662 | 750029 | 1377691 | 0 | 90081 | 774844 | 91910 | 607957 | 1028813 | 86000
2001-05-17 | 277514 | 2186137 | 122544 | 53564 | 0 | 2010029 | 561942 | 103069 | 457025 | 676482 | 211511 | 640029 | 703789 | 1343818 | 0 | 91520 | 773776 | 50108 | 684486 | 1112900 | 86000
2001-05-18 | 2778119 | 2193761 | 140184 | 43548 | 0 | 2010029 | 565583 | 108666 | 448517 | 691094 | 196169 | 637827 | 749542 | 1387369 | 0 | 93389 | 794046 | 86096 | 705767 | 1119605 | 86000
2001-05-19 | 2768874 | 2193302 | 131713 | 53749 | 0 | 2007840 | 599380 | 103555 | 417621 | 676509 | 210775 | 640029 | 705186 | 1345215 | 0 | 95989 | 868195 | 30716 | 731093 | 1081408 | 86000
2001-05-20 | 2722942 | 2160000 | 99286 | 50685 | 0 | 2010029 | 524460 | 107427 | 391455 | 758147 | 228540 | 640029 | 644575 | 1284604 | 0 | 96025 | 682823 | 47688 | 623746 | 1081814 | 86000
2001-05-21 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 511000 | 100000 | 450000 | 729000 | 220000 | 650000 | 725000 | 1375000 | 0 | 88000 | 790000 | 90000 | 643000 | 1050000 | 21000
2001-05-22 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 650000 | 736000 | 1386000 | 0 | 88000 | 790000 | 90000 | 622000 | 1040000
2001-05-23 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 650000 | 736000 | 1386000 | 0 | 88000 | 790000 | 90000 | 622000 | 1040000
2001-05-24 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 590000 | 736000 | 1326000 | 0 | 88000 | 790000 | 90000 | 622000 | 980000
2001-05-25 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 590000 | 736000 | 1326000 | 0 | 88000 | 790000 | 90000 | 622000 | 980000
2001-05-26 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 675000 | 731000 | 1406000 | 0 | 88000 | 790000 | 90000 | 622000 | 1060000
2001-05-27 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 490000 | 100000 | 450000 | 750000 | 220000 | 675000 | 731000 | 1406000 | 0 | 88000 | 790000 | 90000 | 622000 | 1060000
2001-05-28 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 440000 | 100000 | 500000 | 750000 | 220000 | 675000 | 741000 | 1416000 | 0 | 88000 | 790000 | 90000 | 572000 | 1020000
2001-05-29 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 440000 | 100000 | 500000 | 750000 | 220000 | 700000 | 736000 | 1436000 | 0 | 88000 | 790000 | 90000 | 572000 | 1040000
2001-05-30 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 440000 | 100000 | 500000 | 750000 | 220000 | 700000 | 736000 | 1436000 | 0 | 88000 | 790000 | 90000 | 572000 | 1040000
2001-05-31 | 2500000 | 2200000 | 132000 | 58000 | 0 | 2010000 | 440000 | 100000 | 500000 | 750000 | 220000 | 700000 | 736000 | 1436000 | 0 | 88000 | 790000 | 90000 | 572000 | 1040000
AVG | 2532650.4194 | 2195031.5484 | 131343.5806 | 58767.6452 | 0 | 2004920.3226 | 511025.0645 | 103232.1935 | 457187.7097 | 726639.0645 | 206836.2903 | 686569.871 | 714532.3226 | 1401102.1935 | 0 | 89127.2258 | 799368.3548 | 88037.0968 | 642368.6452 | 1066938.1613
Note on M3: kholst: Assumes 900 Capacity w/ Maintenance: -130 for 1-2, 275 for 7th, -225 for 8-20, -250 for 21 = AVG -120 for month

## FLOWS
[7 empty] | SOUTHERN CALIFORNIA GAS COMPANY | [18 empty] | PACIFIC GAS & ELECTRIC | [13 empty] | EL PASO NORTH MAINLINE | [7 empty] | EL PASO SOUTH MAINLINE | [9 empty] | TRANSWESTERN | [8 empty] | KERN/MOJAVE
| System Sendout | Annual Growth | Sendout Adjustments | New Plant Demand | EPNG Topock | EPNG Ehrenberg | TW Needles | Elk Hills Wheeler | Kern Wheeler | PG&E KRS | Southern Trails | Storage Recovery | California Production | Total Wheeler | Total Receipts | Daily Storage | Storage Balance | On-System Demand | Annual Growth | Demand Adjustments | New Plant Demand | Fuel | KRS | SWG | Total Demand | EPNG Topock | TW Topock | Kern Daggett | Total Baha | PGT Malin | California Production | Total Receipts | Daily Storage | Storage Balance | SJ Triangle | SJ West | Maricopa Crossover | North EOCs Other | New Generation | Hackberry | Havasu Croosover | SWG Topock | SoCal Topock | PG&E Topck | Mojave Topock | Keystone West | Waha West | Cornudas West | Line 2000 | New Generation | Samalyuca | South EOCs | Wilcox Lateral | Fuel | Total Crossovers | SoCal Ehrenberg | TW Needles | TW PG&E | TW Mojave | TW EOC's | New Generation | TOTAL DELIVERIES | NW Plant Receipts | NW Inter- connects | UT/NV LDC's | LDC's Adjustments | EPNG Topock | TW Topock | California Production | New Generation | Cali End Users | End User Adjustment | Fuel | PG&E Daggett | SoCal Wheeler | TOTAL CA DELIVERIES
1997-05-01 | 2216129.0323 |  |  |  | 529096.7742 | 708258.0645 | 556612.9032 |  | 294870.9677 | 480774.1935 |  |  | 170967.7419 |  | 2740580.6452 | [7 empty] | 480774.1935
1997-06-01 | 2185300 |  |  |  | 515066.6667 | 697833.3333 | 533466.6667 |  | 268533.3333 | 488700 |  |  | 207166.6667 |  | 2710766.6667 | [7 empty] | 488700
1997-07-01 | 2460935.4839 |  |  |  | 479129.0323 | 843290.3226 | 570645.1613 |  | 196419.3548 | 406032.2581 |  |  | 192935.4839 |  | 2688451.6129 | [7 empty] | 406032.2581
1997-08-01 | 2513838.7097 |  |  |  | 514032.2581 | 759774.1935 | 529806.4516 |  | 195612.9032 | 438580.6452 |  |  | 187870.9677 |  | 2625677.4194 | [7 empty] | 438580.6452
1997-09-01 | 2709566.6667 |  |  |  | 516633.3333 | 973200 | 446800 |  | 248300 | 413000 |  |  | 186400 |  | 2784333.3333 | [7 empty] | 413000
1997-10-01 | 2319903.2258 |  |  |  | 530000 | 726935.4839 | 444774.1935 |  | 230967.7419 | 446483.871 |  |  | 198064.5161 |  | 2577225.8065 | [7 empty] | 446483.871
1997-11-01 | 2419633.3333 |  |  |  | 494400 | 575733.3333 | 378333.3333 |  | 231300 | 448633.3333 |  |  | 193266.6667 |  | 2321666.6667 | [7 empty] | 448633.3333
1997-12-01 | 3118516.129 |  |  |  | 386451.6129 | 538806.4516 | 313096.7742 |  | 131903.2258 | 292774.1935 |  |  | 194516.129 |  | 1857548.3871 | [7 empty] | 292774.1935
1998-01-01 | 2979709.6774 |  |  |  | 418483.871 | 700483.871 | 648032.2581 |  | 156161.2903 | 309838.7097 |  |  | 193580.6452 |  | 2426580.6452 | [7 empty] | 309838.7097
1998-02-01 | 3107285.7143 |  |  |  | 458714.2857 | 647607.1429 | 534428.5714 |  | 153107.1429 | 420071.4286 |  |  | 181500 |  | 2395428.5714 | [7 empty] | 420071.4286
1998-03-01 | 2722354.8387 |  |  |  | 530032.2581 | 719741.9355 | 699193.5484 |  | 275451.6129 | 346709.6774 |  |  | 181225.8065 |  | 2752354.8387 | [7 empty] | 346709.6774
1998-04-01 | 2586866.6667 |  |  |  | 528500 | 678366.6667 | 626100 |  | 385933.3333 | 323100 |  |  | 202966.6667 |  | 2744966.6667 | [7 empty] | 323100
1998-05-01 | #DIV/0! |  |  |  | 523536.0645 | 728308 | 672643.6 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! | [7 empty] | #DIV/0!
1998-06-01 | #DIV/0! |  |  |  | 524943.3793 | 597677.3103 | 676325.6333 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! | [7 empty] | #DIV/0!
1998-07-01 | #DIV/0! |  |  |  | 530440.9677 | 605879.7097 | 658084.3548 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! | [7 empty] | #DIV/0!
1998-08-01 | 2905967.7419 |  |  |  | 514064.5161 | 981774.1935 | 693387.0968 |  | 242967.7419 | 303967.7419 |  |  | 256870.9677 |  | 2993032.2581 | [7 empty] | 303967.7419
1998-09-01 | 2551133.3333 |  |  |  | 515533.3333 | 732233.3333 | 709000 |  | 310900 | 218666.6667 |  |  | 245620.6897 |  | 2731954.023 | [7 empty] | 218666.6667
1998-10-01 | 2319483.871 |  |  |  | 503096.7742 | 874451.6129 | 643387.0968 |  | 267193.5484 | 226161.2903 |  |  | 199032.2581 |  | 2713322.5806 | [7 empty] | 226161.2903
1998-11-01 | 2501400 |  |  |  | 424533.3333 | 963900 | 648366.6667 |  | 218433.3333 | 187466.6667 |  |  | 186833.3333 |  | 2629533.3333 | 128133.3333 | 98791000 | [5 empty] | 187466.6667
1998-12-01 | 3137766.6667 |  |  |  | 432322.5806 | 1045580.6452 | 650354.8387 |  | 161387.0968 | 59615.3846 |  |  | 191806.4516 |  | 2541066.9975 | -596699.6691 | 81080000 | [5 empty] | 59615.3846
1999-01-01 | 2987387.0968 |  |  |  | 481806.4516 | 872161.2903 | 605000 |  | 149258.0645 | 100043.4783 |  |  | 190096.7742 |  | 2398366.0589 | -589021.0379 | 65284000 | [5 empty] | 100043.4783
1999-02-01 | 2933071.4286 |  |  |  | 515035.7143 | 681107.1429 | 679678.5714 |  | 215892.8571 | 139500 |  |  | 185607.1429 |  | 2416821.4286 | -516250 | 52783000 | [5 empty] | 139500
1999-03-01 | 2835258.0645 |  |  |  | 533161.2903 | 679548.3871 | 552806.4516 |  | 287225.8065 | 280806.4516 |  |  | 177774.1935 |  | 2511322.5806 | -323935.4839 | 44969000 | [5 empty] | 280806.4516
1999-04-01 | 2801266.6667 |  |  |  | 508533.3333 | 685933.3333 | 585866.6667 |  | 309800 | 274400 |  |  | 179966.6667 |  | 2544500 | -256766.6667 | 38789000 | [5 empty] | 274400
1999-05-01 | 2214161.2903 |  |  |  | 520870.9677 | 783225.8065 | 573419.3548 |  | 332709.6774 | 325322.5806 |  |  | 173580.6452 |  | 2709129.0323 | 494967.7419 | 56057000 | [5 empty] | 325322.5806
1999-06-01 | 2421600 |  |  |  | 530300 | 701233.3333 | 613433.3333 |  | 383666.6667 | 362200 |  |  | 246166.6667 |  | 2837000 | 415400 | 68397000 | [5 empty] | 362200
1999-07-01 | 2643096.7742 |  |  |  | 523064.5161 | 744774.1935 | 663451.6129 |  | 379000 | 362612.9032 |  |  | 249193.5484 |  | 2922096.7742 | 279000 | 77117000 | 1703931.0345 |  |  |  |  | 362612.9032
1999-08-01 | 2706516.129 |  |  |  | 515451.6129 | 569612.9032 | 626483.871 |  | 483387.0968 | 267580.6452 |  |  | 264096.7742 |  | 2726612.9032 | 20096.7742 | 78044000 | 1901035.7143 |  |  |  |  | 267580.6452
1999-09-01 | 2645233.3333 |  |  |  | 509566.6667 | 810300 | 677400 |  | 417833.3333 | 254300 |  |  | 259800 |  | 2929200 | 283966.6667 | 86618000 | 1983586.2069 |  |  |  |  | 254300
1999-10-01 | 2964096.7742 |  |  |  | 477806.4516 | 1037419.3548 | 721645.1613 |  | 389774.1935 | 194419.3548 |  |  | 255903.2258 |  | 3076967.7419 | 112870.9677 | 89228000 | 2175451.6129 |  |  |  |  | 194419.3548
1999-11-01 | 2738600 |  | 237200 |  | 513033.3333 | 943800 | 722433.3333 |  | 329066.6667 | 110800 |  |  | 261500 |  | 2880633.3333 | 142033.3333 | 92944000 | 2223551.7241 |  |  |  |  | 110800 | [41 empty] | 145931 | [5 empty] | 509098
1999-12-01 | 3114903.2258 |  | -22863.4409 |  | 469903.9032 | 936062.6452 | 695830.6452 |  | 161982.6129 | 137157.2581 |  |  | 265055.9677 |  | 2665993.0323 | -448910.1935 | 78580000 | 2764258.0645 |  |  |  |  | 137157.2581 | [41 empty] | 200931 | [5 empty] | 492467
2000-01-01 | 3123483.871 |  | 136096.7742 |  | 530096.7742 | 871548.3871 | 676967.7419 |  | 197064.5161 | 78225.8065 |  |  | 257645.1613 |  | 2611548.3871 | -511935.4839 | 62970000 | 2630774.1935 |  |  |  |  | 78225.8065 | [41 empty] | 223117 | [5 empty] | 551215
2000-02-01 | 3069448.2759 |  | 136376.8473 |  | 535103.4483 | 657034.4828 | 674586.2069 |  | 275965.5172 | 163931.0345 |  |  | 269068.9655 |  | 2575689.6552 | -493758.6207 | 48405000 | 2454206.8966 |  |  |  |  | 163931.0345 | [41 empty] | 155633 | [5 empty] | 545096
2000-03-01 | 2825354.8387 |  | -9903.2258 |  | 527709.6774 | 865516.129 | 684709.6774 |  | 349645.1613 | 223225.8065 |  |  | 249967.7419 |  | 2900774.1935 | 75419.3548 | 49222000 | 2118096.7742 |  |  |  |  | 223225.8065 | [41 empty] | 157573 | [5 empty] | 499623
2000-04-01 | 2422966.6667 |  | -378300 |  | 531633.3333 | 778566.6667 | 608866.6667 |  | 461900 | 188200 |  |  | 245300 |  | 2814466.6667 | 391500 | 60911000 | 1763166.6667 |  |  |  |  | 188200 | [41 empty] | 178718 | [5 empty] | 497366
2000-05-01 | 2665677.4194 |  | 451516.129 |  | 522387.0968 | 651290.3226 | 663548.3871 |  | 490516.129 | 264612.9032 |  |  | 229612.9032 |  | 2821967.7419 | 156290.3226 | 65633000 | 1902387.0968 |  |  |  |  | 264612.9032 | [41 empty] | 180959 | [5 empty] | 499444
2000-06-01 | 3097900 |  | 676300 |  | 520966.6667 | 963266.6667 | 696866.6667 |  | 391066.6667 | 342500 |  |  | 252066.6667 |  | 3166733.3333 | 68833.3333 | 67650000 | 2096666.6667 |  |  |  |  | 342500 | [41 empty] | 209334 | [5 empty] | 510187
2000-07-01 | 3320806.4516 |  | 677709.6774 |  | 522096.7742 | 1043258.0645 | 708645.1613 |  | 392903.2258 | 381354.8387 |  |  | 246645.1613 |  | 3294903.2258 | -25903.2258 | 66434000 | 2189483.871 |  | 485552.8365 |  |  | 381354.8387 | [41 empty] | 223909 | [5 empty] | 553925
2000-08-01 | 3616161.2903 |  | 909645.1613 |  | 502709.6774 | 957451.6129 | 711064.5161 |  | 344000 | 424451.6129 |  |  | 271290.3226 |  | 3210967.7419 | -405193.5484 | 53831000 | 2553161.2903 |  | 652125.576 |  |  | 424451.6129 | [41 empty] | 260117 | [5 empty] | 532866
2000-09-01 | 3191666.6667 |  | 546433.3333 |  | 499333.3333 | 1093733.3333 | 705933.3333 |  | 350100 | 397033.3333 |  |  | 265033.3333 |  | 3311166.6667 | 119500 | 57385000 | 2501233.3333 |  | 517647.1264 |  |  | 397033.3333 | [41 empty] | 224251 | [5 empty] | 588744
2000-10-01 | 3104806.4516 |  | 140709.6774 |  | 511612.9032 | 1165096.7742 | 703612.9032 |  | 383838.7097 | 312290.3226 |  |  | 277483.871 |  | 3353935.4839 | 249129.0323 | 65292000 | 2397870.9677 |  | 222419.3548 |  |  | 312290.3226 | [41 empty] | 225459 | [5 empty] | 594398
2000-11-01 | 3509000 |  | 770400 |  | 510266.6667 | 1094700 | 648266.6667 |  | 269166.6667 | 194333.3333 |  |  | 306533.3333 |  | 3023266.6667 | -485733.3333 | 50042000 | 2973300 |  | 749748.2759 |  |  | 194333.3333 | [41 empty] | 308003 | [5 empty] | 539300 | 30202
2000-12-01 | 3433677.4194 |  | 318774.1935 |  | 527032.2581 | 1181935.4839 | 737516.129 |  | 391709.6774 | 303677.4194 |  |  | 297451.6129 |  | 3439322.5806 | 5645.1613 | 50168000 | 2880935.4839 |  | 116677.4194 |  |  | 303677.4194 | [41 empty] | 314779 | [5 empty] | 506352 | 13885
2001-01-01 | 4231161 |  | 1107677.129 |  | 533194 | 1190032 | 756613 |  | 422548 | 330484 |  |  | 288903 |  | 3521774 | -709387 | 28000000 | 3040290 |  | 409515.8065 |  |  | 330484 | [41 empty] | 294421 | [5 empty] | 522310 | -28905
2001-02-01 | 4093750 |  | 1024301.7241 |  | 532214 | 1200964 | 770893 |  | 475821 | 283179 |  |  | 314786 |  | 3577857 | -515893 | 13953000 | 2828393 |  | 374186.1034 |  |  | 283179 | [41 empty] | 293981 | [5 empty] | 463800 | -81296
2001-03-01 | 3280839 |  | 455484.1613 |  | 536645 | 1194129 | 784742 |  | 362935 | 370452 |  |  | 308452 |  | 3557355 | 276516 | 22111000 | 2352452 |  | 234355.2258 |  |  | 370452 | [10 empty] | 50461500 | [30 empty] | 239064 | [5 empty] | 409429 | -90194 |  |  |  |  | Year-on-Year
2001-04-01 | 3126344.6667 | 0% | 703378 | 0 | 501241 | 1114897 | 776621 | 46607 | 460379 | 290552 |  |  | 262379 | 797538 | 3452676 | 326331.3333 | 31900940 | 2330654.6667 | 0% | 567488 | 0 | 43379 | 290552 | 8759 | 2673344.6667 | 718793 | 81517 | 119586 | 919896 | 1823034 | 202759 | 2945689 | 272344.3333 | 58631830 | 2564948 | 2203761 | 115820 | 74547 | 0 | 2013394 | 459840 | 81412 | 501241 | 718793 | 252108 | 853465 | 577572 | 1431037 | 0 | 0 | 69300 | 752500 | 0 | 70000 | 575660 | 1114897 | 776621 | 81517 | 17962 | 13440 | 30674.065 | 920214.065 | 629900 | 159908 | 171158 | 0 | 252108 | 17962 | 141484 | 0 | 415351 | -82015 | 34888 | 119586 | 460379 | 948189
2001-05-01 | 2915677.4194 | 0% | 250000 | 0 | 457187.7097 | 1066938.1613 | 764000 | 131000 | 305000 | 365000 |  |  | 282000 | 801000 | 3371125.871 | 455448.4516 | 46019842 | 2002387.0968 | 0% | 100000 | 0 | 40000 | 365000 | 45000 | 2452387.0968 | 726639.0645 | 76000 | 110433.2903 | 913072.3548 | 1768000 | 200000 | 2881072.3548 | 428685.2581 | 71921073 | 2532650.4194 | 2195031.5484 | 190111.2258 | 58767.6452 | 0 | 2004920.3226 | 511025.0645 | 103232.1935 | 457187.7097 | 726639.0645 | 206836.2903 | 686569.871 | 655764.6774 | 1342334.5484 | 0 | 0 | 89127.2258 | 799368.3548 | 0 | 88037.0968 | 701136.2903 | 1066938.1613 | 764000 | 76000 | 20000 | 12000 | 44868.978 | 916868.978 | 621000 | 153000 | 170959 | -10000 | 206836.2903 | 20000 | 65000 | 0 | 459444 | -40000 | 20000 | 110433.2903 | 305000 | 854877.2903 | 344868.978
2001-06-01 | 3247900 | 0% | 150000 | 0 | 483333.3333 | 1160500 | 800000 | 50000 | 425000 | 325000 |  | 25000 | 300000 | 800000 | 3568833.3333 | 320933.3333 | 55647842 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 609500 | 150000 | 80479 | 839979 | 1750000 | 198000 | 2787979 | 216312.3333 | 78410443 | 2538333.3333 | 2187000 | 123485.3333 | 50000 | 16848 | 2046666.6667 | 596833.3333 | 107000 | 483333.3333 | 609500 | 250000 | 900000 | 531381.3333 | 1431381.3333 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 720318.6667 | 1160500 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666 | 319627.96
2001-07-01 | 3344678.4516 | 0% | -50000 | 73872 | 490000 | 1110000 | 750000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3500000 | 155321.5484 | 60462810 | 2220695.871 | 0% | 0 | 31212 | 40000 | 325000 | 10000 | 2595695.871 | 680000 | 200000 | 12166 | 892166 | 1750000 | 198000 | 2840166 | 244470.129 | 85989017 | 2650000 | 2200000 | 115760 | 38000 | 84240 | 2000000 | 458000 | 122000 | 490000 | 680000 | 250000 | 900000 | 742240 | 1642240 | 0 | 81000 | 125000 | 825000 | 0 | 75000 | 573760 | 1110000 | 750000 | 200000 | 25000 | 10000 | 81579.96 | 1066579.96 | 635000 | 140000 | 223909 | 0 | 250000 | 25000 | 150000 | 0 | 513925 | -40000 | 25000 | 12166 | 425000 | 936091 | 261903.96
2001-08-01 | 3704887.2903 | 0% | -50000 | 138726 | 490000 | 1050000 | 750000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3440000 | -264887.2903 | 52251304 | 2676674.0903 | 0% | -50000 | 173512.8 | 40000 | 325000 | 10000 | 3051674.0903 | 680000 | 200000 | 72439.592 | 952439.592 | 1750000 | 198000 | 2900439.592 | -151234.4983 | 81300747.552 | 2650000 | 2200000 | 115760 | 51000 | 84240 | 2000000 | 444000 | 136000 | 490000 | 680000 | 250000 | 900000 | 740128 | 1640128 | 0 | 84888 | 125000 | 825000 | 40000 | 75000 | 559760 | 1050000 | 750000 | 200000 | 25000 | 10000 | 81579.96 | 1066579.96 | 765000 | 140000 | 260117 | 0 | 250000 | 25000 | 150000 | 14577.408 | 532866 | 0 | 25000 | 72439.592 | 425000 | 1069883 | 477524.168
2001-09-01 | 3344544.6667 | 0% | -50000 | 202878 | 450000 | 1070000 | 750000 | 50000 | 400000 | 325000 |  | 50000 | 300000 | 775000 | 3395000 | 50455.3333 | 53764964 | 2624746.1333 | 0% | -50000 | 173512.8 | 40000 | 325000 | 10000 | 2999746.1333 | 680000 | 200000 | 19117.96 | 899117.96 | 1750000 | 198000 | 2847117.96 | -152628.1733 | 76721902.352 | 2650000 | 2200000 | 115760 | 22000 | 84240 | 2000000 | 486000 | 134000 | 450000 | 680000 | 250000 | 900000 | 733680 | 1633680 | 0 | 100440 | 125000 | 825000 | 40000 | 75000 | 601760 | 1070000 | 750000 | 200000 | 25000 | 10000 | 81579.96 | 1066579.96 | 765000 | 140000 | 224251 | 0 | 250000 | 25000 | 150000 | 72887.04 | 588744 | 0 | 25000 | 19117.96 | 400000 | 1105749 | 615537.8
2001-10-01 | 3242348.4516 | 0% | -50000 | 187542 | 400000 | 1175000 | 750000 | 50000 | 400000 | 325000 |  | 50000 | 300000 | 775000 | 3450000 | 207651.5484 | 60202162 | 2519202.1677 | 0% | -50000 | 171331.2 | 40000 | 325000 | 10000 | 2894202.1677 | 800000 | 200000 | 22255.96 | 1022255.96 | 1750000 | 198000 | 2970255.96 | 76053.7923 | 79079569.912 | 2650000 | 2200000 | 115760 | 38000 | 84240 | 2000000 | 411000 | 139000 | 400000 | 800000 | 250000 | 900000 | 688680 | 1588680 | 200000 | 100440 | 125000 | 800000 | 40000 | 75000 | 526760 | 1175000 | 750000 | 200000 | 25000 | 10000 | 81579.96 | 1066579.96 | 775000 | 140000 | 225459 | 0 | 250000 | 25000 | 150000 | 72887.04 | 594398 | 0 | 25000 | 22255.96 | 400000 | 1114541 | 598020.2
2001-11-01 | 3263580 | 0% | -350000 | 104580 | 430000 | 1175000 | 725000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3480000 | 216420 | 66694762 | 2984612 | 0% | -100000 | 111312 | 40000 | 325000 | 10000 | 3359612 | 800000 | 245000 | 18977.4 | 1063977.4 | 1800000 | 198000 | 3061977.4 | -297634.6 | 70150531.912 | 2650000 | 2250000 | 93840 | 0 | 56160 | 2100000 | 417000 | 203000 | 430000 | 800000 | 250000 | 950000 | 671120 | 1621120 | 200000 | 66960 | 125000 | 850000 | 40000 | 75000 | 510840 | 1175000 | 725000 | 245000 | 25000 | 10000 | 54386.64 | 1059386.64 | 810000 | 140000 | 308003 | 0 | 250000 | 25000 | 150000 | 58719.6 | 539300 | 0 | 25000 | 18977.4 | 425000 | 1066997 | 2118.24
2001-12-01 | 3608705.4194 | 0% | 50000 | 125028 | 430000 | 1150000 | 725000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3455000 | -153705.4194 | 61929894 | 2895156.2839 | 0% | -100000 | 114220.8 | 40000 | 325000 | 10000 | 3270156.2839 | 800000 | 245000 | 4636.44 | 1049636.44 | 1800000 | 198000 | 3047636.44 | -222519.8439 | 63252416.752 | 2650000 | 2250000 | 93840 | 0 | 56160 | 2100000 | 417000 | 203000 | 430000 | 800000 | 250000 | 950000 | 671120 | 1621120 | 200000 | 66960 | 125000 | 875000 | 40000 | 75000 | 510840 | 1150000 | 725000 | 245000 | 25000 | 10000 | 54386.64 | 1059386.64 | 810000 | 140000 | 314779 | 0 | 250000 | 25000 | 150000 | 99232.56 | 506352 | 0 | 25000 | 4636.44 | 425000 | 1060221 | 465988
2002-01-01 | 3916413 | 0% | -450000 | 135252 | 430000 | 1100000 | 725000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3405000 | -511413 | 46076091 | 3055965.2 | 0% | -100000 | 115675.2 | 40000 | 325000 | 10000 | 3430965.2 | 800000 | 245000 | 9036.44 | 1054036.44 | 1800000 | 198000 | 3052036.44 | -378928.76 | 51505625.192 | 2650000 | 2250000 | 93840 | 0 | 56160 | 2100000 | 373000 | 247000 | 430000 | 800000 | 250000 | 950000 | 665120 | 1615120 | 200000 | 66960 | 125000 | 875000 | 40000 | 75000 | 466840 | 1100000 | 725000 | 245000 | 25000 | 10000 | 54386.64 | 1059386.64 | 810000 | 140000 | 294421 | 0 | 250000 | 25000 | 150000 | 99232.56 | 522310 | 0 | 25000 | 9036.44 | 425000 | 1080579 | -22333.6
2002-02-01 | 3679002 | 0% | -550000 | 135252 | 500000 | 1100000 | 725000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3475000 | -204002 | 40364035 | 2844068.2 | 0% | -100000 | 115675.2 | 40000 | 325000 | 10000 | 3219068.2 | 730000 | 245000 | 67986.44 | 1042986.44 | 1800000 | 198000 | 3040986.44 | -178081.76 | 46519335.912 | 2650000 | 2250000 | 93840 | 0 | 56160 | 2100000 | 380000 | 240000 | 500000 | 730000 | 250000 | 950000 | 663520 | 1613520 | 200000 | 72360 | 125000 | 875000 | 40000 | 75000 | 473840 | 1100000 | 725000 | 245000 | 25000 | 10000 | 54386.64 | 1059386.64 | 810000 | 140000 | 293981 | 0 | 250000 | 25000 | 150000 | 99232.56 | 463800 | 0 | 25000 | 67986.44 | 425000 | 1081019 | -116933.6
2002-03-01 | 3235419 | 0% | -150000 | 104580 | 530000 | 1100000 | 725000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3505000 | 269581 | 48721046 | 2363764 | 0% | -100000 | 111312 | 40000 | 325000 | 10000 | 2738764 | 700000 | 245000 | 167165.64 | 1112165.64 | 1800000 | 198000 | 3110165.64 | 371401.64 | 58032786.752 | 2650000 | 2250000 | 93840 | 0 | 56160 | 2100000 | 438000 | 182000 | 530000 | 700000 | 250000 | 950000 | 577120 | 1527120 | 200000 | 93960 | 125000 | 825000 | 40000 | 75000 | 531840 | 1100000 | 725000 | 245000 | 25000 | 10000 | 54386.64 | 1059386.64 | 810000 | 140000 | 239064 | 0 | 250000 | 25000 | 150000 | 109341.36 | 409429 | 0 | 25000 | 167165.64 | 425000 | 1135936 | 279740
2002-04-01
CAP. (Win) | [36 empty] | 150000 |  |  | 2010000 | 550000 | [15 empty] | 800000 | 400000 | 300000 |  |  | 1090000 | 825000
Cap. (Sum) | [62 empty] | 725000
| SoCal |  | PG&E |  |  |  |  | SJ Triangle |  | 2850
| Bear | Expected | Bear | Expected | [47 empty] | 2001 | 2000 | Diff
2001-05-01 | 150000 | 150000 | 225000 | 225000 |  |  |  | SJ West | Navajo | 2350 | [40 empty] | South EOC | 800000 | 543698 | 256302
2001-06-01 | 150000 | 150000 | 200000 | 200000 |  |  |  |  | Hackberry | 2200 | [40 empty] | North EOC | 61000 | 50300 | 10700
2001-07-01 | 100000 | 100000 | 150000 | 150000 | [46 empty] | SWG Topock | 104000 | 122000 | -18000
2001-08-01 | 0 | 50000 | 0 | 0 |  |  |  | SJ East | Plains Station | 650 | [40 empty] | SoCal | 2850000 | 2666000 | 184000
2001-09-01 | 0 | 50000 | -100000 | 0 | [46 empty] | PG&E | 2100000 | 1902000 | 198000
2001-10-01 | 0 | 50000 | -100000 | 0 |  |  |  | Keystone West | Pecos River Station | [44 empty] | 631002
2001-11-01 | -300000 | -200000 | -100000 | 0
2001-12-01 | 100000 | 200000 | -100000 | 0 |  |  |  | Cornudas West |  | 1650
2002-01-01 | -400000 | -300000 | -100000 | 0 |  |  |  |  | Keystone West | 800 - 1100
2002-02-01 | -500000 | -400000 | -100000 | 0 |  |  |  |  | Waha West | 750
2002-03-01 | -100000 | 0 | -100000 | 0
[17 empty] | 46019842 | [16 empty] | 71921073
2001-06-01 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 46366942 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 72252885.3333 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 448000 | 107000 | 520000 | 725000 | 250000 | 900000 | 685048 | 1585048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 581152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-02 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 46714042 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 72584697.6667 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 448000 | 107000 | 520000 | 725000 | 250000 | 900000 | 685048 | 1585048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 581152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-03 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 47061142 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 72916510 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 448000 | 107000 | 520000 | 725000 | 250000 | 900000 | 685048 | 1585048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 581152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-04 | 3247900 | 0% | 150000 | 0 | 300000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3375000 | 127100 | 47188242 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 73248322.3333 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 668000 | 107000 | 300000 | 725000 | 250000 | 900000 | 465048 | 1365048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 801152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-05 | 3247900 | 0% | 150000 | 0 | 300000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3375000 | 127100 | 47315342 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 73580134.6667 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 668000 | 107000 | 300000 | 725000 | 250000 | 900000 | 465048 | 1365048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 801152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-06 | 3247900 | 0% | 150000 | 0 | 300000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3375000 | 127100 | 47442442 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 73911947 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 668000 | 107000 | 300000 | 725000 | 250000 | 900000 | 465048 | 1365048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 801152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-07 | 3247900 | 0% | 150000 | 0 | 300000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3375000 | 127100 | 47569542 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 74243759.3333 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 668000 | 107000 | 300000 | 725000 | 250000 | 900000 | 465048 | 1365048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 801152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-08 | 3247900 | 0% | 150000 | 0 | 300000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3375000 | 127100 | 47696642 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 74575571.6667 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 668000 | 107000 | 300000 | 725000 | 250000 | 900000 | 465048 | 1365048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 801152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-09 | 3247900 | 0% | 150000 | 0 | 520000 | 740000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3160000 | -87900 | 47608742 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 725000 | 150000 | 80479 | 955479 | 1750000 | 198000 | 2903479 | 331812.3333 | 74907384 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 448000 | 107000 | 520000 | 725000 | 250000 | 900000 | 250048 | 1150048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 581152 | 740000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-10 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 47955842 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75074196.3333 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-11 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 48302942 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75241008.6667 | 2410000 | 2250000 | 183152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 470048 | 1370048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 796152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-12 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 48650042 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75407821 | 2410000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-13 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 48997142 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75574633.3333 | 2700000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-14 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 49344242 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75741445.6667 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-15 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 0 | 300000 | 800000 | 3595000 | 347100 | 49691342 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 75908258 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-16 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 50088442 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76075070.3333 | 2430000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-17 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 50485542 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76241882.6667 | 2430000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-18 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 50882642 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76408695 | 2330000 | 2060000 | 43152 | 50000 | 16848 | 2000000 | 563000 | 107000 | 520000 | 560000 | 250000 | 900000 | 660048 | 1560048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 606152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-19 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 51279742 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76575507.3333 | 2330000 | 2120000 | 53152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 600048 | 1500048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 666152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-20 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 51676842 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76742319.6667 | 2550000 | 2060000 | 43152 | 50000 | 16848 | 2000000 | 563000 | 107000 | 520000 | 560000 | 250000 | 900000 | 660048 | 1560048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 606152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-21 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 52073942 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 76909132 | 2550000 | 2120000 | 53152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 600048 | 1500048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 666152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-22 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 52471042 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77075944.3333 | 2550000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-23 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 52868142 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77242756.6667 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-24 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 53265242 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77409569 | 2600000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-25 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 53662342 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77576381.3333 | 2460000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-26 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 54059442 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77743193.6667 | 2460000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-27 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 54456542 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 77910006 | 2570000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-28 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 54853642 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 78076818.3333 | 2570000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-29 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 55250742 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 78243630.6667 | 2500000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
2001-06-30 | 3247900 | 0% | 150000 | 0 | 520000 | 1175000 | 800000 | 50000 | 425000 | 325000 |  | 50000 | 300000 | 800000 | 3645000 | 397100 | 55647842 | 2196666.6667 | 0% | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 560000 | 150000 | 80479 | 790479 | 1750000 | 198000 | 2738479 | 166812.3333 | 78410443 | 2500000 | 2200000 | 133152 | 50000 | 16848 | 2050000 | 613000 | 107000 | 520000 | 560000 | 250000 | 900000 | 520048 | 1420048 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 746152 | 1175000 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
AVG | 3247900 | 0 | 150000 | 0 | 483333.3333 | 1160500 | 800000 | 50000 | 425000 | 325000 |  | 25000 | 300000 | 800000 | 3568833.3333 | 320933.3333 | 55647842 | 2196666.6667 | 0 | 100000 | 0 | 40000 | 325000 | 10000 | 2571666.6667 | 609500 | 150000 | 80479 | 839979 | 1750000 | 198000 | 2787979 | 216312.3333 | 78410443 | 2538333.3333 | 2187000 | 123485.3333 | 50000 | 16848 | 2046666.6667 | 596833.3333 | 107000 | 483333.3333 | 609500 | 250000 | 900000 | 531381.3333 | 1431381.3333 | 0 | 16200 | 100000 | 800000 | 0 | 75000 | 720318.6667 | 1160500 | 800000 | 150000 | 25000 | 10000 | 81579.96 | 1066579.96 | 640000 | 140000 | 209334 | 0 | 250000 | 25000 | 150000 | 0 | 465187 | -45000 | 25000 | 80479 | 425000 | 950666
Note on J57: kholst: This assumes that backbone expansion of 85 + 40 is completed, BUT Kern/Maj doesn't have enought gas to fill it
Note on M2: kholst: Montebello 23Bcf at rate of 50,000 per day
Note on AD52: kholst: Capacity reduced to 800 June 10-30. Avg for month will be 866
Note on AD93: kholst: Baha maintenance. Capacity reduced to 800 June 10-30.
Note on AR52: kholst: Topock down by 240,000 June4-8. Month avg = -40,000
Note on AR87: kholst: Topock down by 240,000 June4-8.
Note on AS52: kholst: Reduced to meet Baha maintenance constraint. See not in PGE section.
Note on AS93: kholst: Reduced to meet Baha maintenance constraint. See not in PGE section.
Note on AU51: kholst: Assumes 900 Capacity w/ Maintenance: -130 for 1-2, 275 for 7th, -225 for 8-20, -250 for 21 = AVG -120 for month
Note on AV92: kholst: Down to 250,000
Note on BK51: kholst: Assumes maintenace: West thoreau -120 for 1-7 & 13-24, -370 for 8-12 = 133 AVG for month
Note on BL54: kholst: Emergency Expansion

## PLANTS
PLANT | DATE | MW | HEAT RATE | GAS | PIPELINE | STATE | ZONE | OWNER | NOTES
South Point | 2001-04-01 | 545 | 6930 | 90644.4 | EPNG & TW | Arizona | TW - Right before Needles | Calpine | Plan to byt TW gas only because of EPNG cuts
Griffith | 2001-06-01 | 520 | 7000 | 87360 | EPNG & TW | Arizona | Northmainline - between Seligman Station and Hackberry Also on TW | PP&L/Duke
Desert Basin | 2001-06-01 | 500 | 7500 | 90000 | EPNG | Arizona | Southmainline - between Tuscon Station and Casa Grande Station | Reliant |  | 60000 | Mojave | LaPaloma
Tri Center Power Plant | 2001-06-01 | 360 |  |  |  | Nevada |  |  | Renoe | 60000 | Oxy
Los Medanos | 2001-07-01 | 500 | 6950 | 83400 | PG&E | California |  | Calpine |  | 50000 | Kern
Sutter | 2001-07-01 | 500 | 7500 | 90000 | PG&E | California |  | Calpine |  | Rumor that LaPaloma will not start until June'02
Larkspur Energy (Peaker) | 2001-07-01 | 90 | 10000 | 21600 | SoCal | California | SoCal |  | San Diego - peaker
Indigo Energy (Peaker) | 2001-07-01 | 135 | 10000 | 32400 | SoCal | California | SoCal |  | Palm Springs -peaker
Huntington Beach (Restart) | 2001-08-01 | 450 | 9000 | 97200 | SoCal | California | SoCal
United Golden Gate (Peaker) | 2001-08-01 | 51 | 10000 | 12240 | PG&E | California | PGE | ElPaso | San Fran - peaker
Alliance Century & Drews (Peaker) | 2001-08-01 | 80 | 10000 | 19200 | SoCal | California | SoCal | Alliance | Colton (LA) - peaker
King City Peaker | 2001-08-01 | 50 | 10000 | 12000 | PGE | California | PGE | Calpine | King City - peaker
Rosarita | 2001-08-01 | 550 | 6750 | 89100 | SoCal | Mexico | SoCal |  | Served by SDGE
Sunrise I | 2001-08-01 | 320 | 10545 | 80985.6 | Kern | California |  |  | Kern&PG&E?
West Phoenix Upgrade I | 2001-08-01 | 120 | 7500 | 21600 | EPNG | Arizona
La Paloma I | 2001-11-01 | 521 | 6750 | 84402 | Kern | California
Kyrene (Oasis) | 2002-02-01 | 250 | 7500 | 45000 | EPNG | Nevada | Southmainline | Oasis LLC | City of Tempe (Phoenix)
La Paloma II | 2002-03-01 | 520 | 6750 | 84240 | Kern | California
Sunrise II | 2003-01-01 | 240 |  |  | Kern | California
West Phoenix Upgrade II | 2003-06-01 | 500 | 7500 | 90000 | EPNG | Arizona
West Phoenix 5 Upgrade | 2003-08-01 | 500 | 7500 | 90000 | EPNG | Arizona
Grigs List Problems: | 1. W Phoenix 4 s/b 120 MW |  |  |  | Questions: Will Huntington Beach 3-4 be back this summer?
2. Hermosillo cannot find this one
Jeff Oh (503-464-7789) | 3. APS W. Phoenix cannot find |  |  |  | El Segundo Generating considering replacing 1-2 with new units - net increase of 280 MW)
4. Naco-Nogales cannot find
5. Panda Gila is Dec-02 start
PLANT | [20 empty] | South Point |  |  | Griffith |  |  | Desert Basin |  |  | Tri Centre Power Plant |  |  | Los Medanos |  |  | Sutter |  |  | Larkspur Energy (Peaker) |  |  | Indigo Energy (Peaker) |  |  | HuntingtonBeach 3&4 Restart |  |  | United Golden Gate (Peaker) |  |  | Alliance Drews & Century (Peakers) |  |  | King City (Peaker) |  |  | Rosarita |  |  | Sunrise I |  |  | West Phoenix Upgrade I |  |  | La Paloma I |  |  | Kyrene (Oasis) |  |  | La Paloma II
OWNER | [20 empty] | Calpine |  |  | PP&L/Duke |  |  | Reliant | [5 empty] | Calpine |  |  | Calpine | [26 empty] | APS | [5 empty] | Oasis LLC
DATE | [20 empty] | 2001-04-01 |  |  | 2001-06-01 |  |  | 2001-06-01 |  |  | 2001-06-01 |  |  | 2001-07-01 |  |  | 2001-07-01 |  |  | 2001-07-01 |  |  | 2001-07-01 |  |  | 2001-07-01 |  |  | 2001-08-01 |  |  | 2001-08-01 |  |  | 2001-08-01 |  |  | 2001-08-01 |  |  | 2001-08-01 |  |  | 2001-08-01 |  |  | 2001-11-01 |  |  | 2002-02-01 |  |  | 2002-03-01
MW | [20 empty] | 545 |  |  | 520 |  |  | 500 |  |  | 360 |  |  | 500 |  |  | 500 |  |  | 90 |  |  | 135 |  |  | 450 |  |  | 51 |  |  | 80 |  |  | 50 |  |  | 550 |  |  | 320 |  |  | 120 |  |  | 521 |  |  | 250 |  |  | 520
HEAT RATE | [20 empty] | 6930 |  |  | 7500 |  |  | 7500 | [5 empty] | 6950 |  |  | 7500 |  |  | 10000 |  |  | 10000 |  |  | 9000 |  |  | 10000 |  |  | 10000 |  |  | 10000 |  |  | 6750 |  |  | 10545 |  |  | 7500 |  |  | 6750 |  |  | 7500 |  |  | 6750
GAS | [20 empty] | 90644.4 |  |  | 93600 |  |  | 90000 | [5 empty] | 83400 |  |  | 90000 |  |  | 21600 |  |  | 32400 |  |  | 97200 |  |  | 12240 |  |  | 19200 |  |  | 12000 |  |  | 89100 |  |  | 80985.6 |  |  | 21600 |  |  | 84402 |  |  | 45000 |  |  | 84240
PIPELINE | [20 empty] | TW |  |  | EPNG & TW |  |  | EPNG | [5 empty] | PG&E |  |  | PG&E |  |  | SoCal |  |  | SoCal |  |  | SoCal |  |  | PGE |  |  | SoCal |  |  | SoCal |  |  | SoCal |  |  | Kern |  |  | EPNG |  |  | Kern |  |  | EPNG |  |  | Kern
ZONE | TOTAL |  | EP South | EP South MW |  | EP North | EP North MW |  | TW | TW MW |  | Kern | Kern MW |  | SoCal | SoCal MW |  | PG&E | PG&E MW |  | TW | TW MW |  | EP North | EP North MW |  | EP South | EP South MW |  |  |  |  | PG&E | PG&E MW |  | PG&E | PG&E MW |  | SoCal | SoCal MW |  | SoCal | SoCal MW |  | SoCal | SoCal MW |  | PG&E | PG&E MW |  | SoCal | SoCal MW |  | PG&E | PG&E MW |  | SoCal | SoCal MW |  | Kern | Kern MW |  | EP South | EP South MW |  | Kern | Kern MW |  | EP South | EP South MW |  | Kern | Kern MW
| Gas | MW | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor | Gas | MW | Load Factor
2001-04-01 | 30674.065 | 184.428 | 0 | 0 | 90% | 0 | 0 | 90% | 30674.065 | 184.428 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 34082.2944 | 204.92 | 37.6% | 0 | 0 | 0% | 0 | 0 | 0% |  |  |  | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-05-01 | 44868.978 | 269.775 | 0 | 0 | 90% | 0 | 0 | 90% | 44868.978 | 269.775 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 49854.42 | 299.75 | 55% | 0 | 0 | 0% | 0 | 0 | 0% |  |  |  | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-06-01 | 114627.96 | 674.1 | 16200 | 90 | 90% | 16848 | 93.6 | 90% | 81579.96 | 490.5 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 0 | 0 | 90% | 90644.4 | 545 | 100% | 18720 | 104 | 20% | 18000 | 100 | 20% |  |  |  | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-07-01 | 351903.96 | 1912.5 | 81000 | 450 | 90% | 84240 | 468 | 90% | 81579.96 | 490.5 | 90% | 0 | 0 | 90% | 73872 | 324 | 90% | 31212 | 180 | 90% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 16680 | 100 | 20% | 18000 | 100 | 20% | 17280 | 72 | 80% | 25920 | 108 | 80% | 38880 | 180 | 40% | 0 | 0 | 80% | 0 | 0 | 80% | 0 | 0 | 80% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-08-01 | 577524.168 | 3103.02 | 84888 | 471.6 | 90% | 84240 | 468 | 90% | 81579.96 | 490.5 | 90% | 14577.408 | 57.6 | 90% | 138726 | 642.6 | 90% | 173512.8 | 972.72 | 90% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 17280 | 72 | 80% | 25920 | 108 | 80% | 77760 | 360 | 80% | 9792 | 40.8 | 80% | 15360 | 64 | 80% | 9600 | 40 | 80% | 17820 | 110 | 20% | 16197.12 | 64 | 20% | 4320 | 24 | 20% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-09-01 | 715537.8 | 3815.82 | 100440 | 558 | 90% | 84240 | 468 | 90% | 81579.96 | 490.5 | 90% | 72887.04 | 288 | 90% | 202878 | 1038.6 | 90% | 173512.8 | 972.72 | 90% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 17280 | 72 | 80% | 25920 | 108 | 80% | 77760 | 360 | 80% | 9792 | 40.8 | 80% | 15360 | 64 | 80% | 9600 | 40 | 80% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-10-01 | 698020.2 | 3738.78 | 100440 | 558 | 90% | 84240 | 468 | 90% | 81579.96 | 490.5 | 90% | 72887.04 | 288 | 90% | 187542 | 970.65 | 90% | 171331.2 | 963.63 | 90% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 15120 | 63 | 70% | 22680 | 94.5 | 70% | 68040 | 315 | 70% | 8568 | 35.7 | 70% | 13440 | 56 | 70% | 8400 | 35 | 70% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
2001-11-01 | 452118.24 | 2452.32 | 66960 | 372 | 60% | 56160 | 312 | 60% | 54386.64 | 327 | 60% | 58719.6 | 254.52 | 60% | 104580 | 556.5 | 60% | 111312 | 630.3 | 60% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 10800 | 45 | 50% | 16200 | 67.5 | 50% | 48600 | 225 | 50% | 6120 | 25.5 | 50% | 9600 | 40 | 50% | 6000 | 25 | 50% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 16880.4 | 104.2 | 20% | 0 | 0 | 0% | 0 | 0 | 0%
2001-12-01 | 515988 | 2805.12 | 66960 | 372 | 60% | 56160 | 312 | 60% | 54386.64 | 327 | 60% | 99232.56 | 504.6 | 60% | 125028 | 647.1 | 60% | 114220.8 | 642.42 | 60% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 15120 | 63 | 70% | 22680 | 94.5 | 70% | 68040 | 315 | 70% | 8568 | 35.7 | 70% | 13440 | 56 | 70% | 8400 | 35 | 70% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 0 | 0 | 0% | 0 | 0 | 0%
2002-01-01 | 527666.4 | 2856.48 | 66960 | 372 | 60% | 56160 | 312 | 60% | 54386.64 | 327 | 60% | 99232.56 | 504.6 | 60% | 135252 | 692.4 | 60% | 115675.2 | 648.48 | 60% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 17280 | 72 | 80% | 25920 | 108 | 80% | 77760 | 360 | 80% | 9792 | 40.8 | 80% | 15360 | 64 | 80% | 9600 | 40 | 80% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 0 | 0 | 0% | 0 | 0 | 0%
2002-02-01 | 533066.4 | 2886.48 | 72360 | 402 | 60% | 56160 | 312 | 60% | 54386.64 | 327 | 60% | 99232.56 | 504.6 | 60% | 135252 | 692.4 | 60% | 115675.2 | 648.48 | 60% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 17280 | 72 | 80% | 25920 | 108 | 80% | 77760 | 360 | 80% | 9792 | 40.8 | 80% | 15360 | 64 | 80% | 9600 | 40 | 80% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 9000 | 50 | 20% | 0 | 0 | 0%
2002-03-01 | 529740 | 2914.8 | 93960 | 522 | 60% | 56160 | 312 | 60% | 54386.64 | 327 | 60% | 109341.36 | 567 | 60% | 104580 | 556.5 | 60% | 111312 | 630.3 | 60% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 10800 | 45 | 50% | 16200 | 67.5 | 50% | 48600 | 225 | 50% | 6120 | 25.5 | 50% | 9600 | 40 | 50% | 6000 | 25 | 50% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 16848 | 104 | 20%
2002-04-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-05-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-06-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-07-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-08-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-09-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-10-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-11-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2002-12-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-01-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-02-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-03-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-04-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-05-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-06-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-07-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-08-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-09-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-10-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-11-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
2003-12-01 | 1028148 | 5616.4 | 156600 | 870 | 100% | 93600 | 520 | 100% | 90644.4 | 545 | 100% | 249627.6 | 1361 | 100% | 242460 | 1229.5 | 100% | 195216 | 1090.9 | 100% | 90644.4 | 545 | 100% | 93600 | 520 | 100% | 90000 | 500 | 100% |  |  |  | 83400 | 500 | 100% | 90000 | 500 | 100% | 19440 | 81 | 90% | 29160 | 121.5 | 90% | 87480 | 405 | 90% | 11016 | 45.9 | 90% | 17280 | 72 | 90% | 10800 | 45 | 90% | 89100 | 550 | 100% | 80985.6 | 320 | 100% | 21600 | 120 | 100% | 84402 | 521 | 100% | 45000 | 250 | 100% | 84240 | 520 | 100%
|  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0

## EXPANSIONS
PIPELINE | DATE | VOLUME | RECEIPT | DELIVERY
Kern | 2001-07-01 | 135000 | Rockies | California
Kern | 2003-05-01 | 900000 | Rockies | California
EPNG - All American | 2001-10-01 | 230000 | Perm | Ehrenburg
Southern Trails | 2002-05-01 | 80000 | South TransColorado | Into SoCal | Maybe as late as July
Wilcox | 2001-08-01 | 130000 | South Mainline | To Mexico
Baja Norte | 2002-09-01 | 500000 | Ehrenberg | To Mexico
Sonoran I |  | 750000 | SJ | Needles | Summer 2003
Sonoran II |  | 1250000 | Needles | San Fran