## Ordered Out Hours
Enron Wind Maintenance Corp.
Site: FENNER
DATE: 5/01/02
ORDERED OUT HOURS LOG APRIL 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Reason/Activity | Off | On | Off | On | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - Log downtime due to WTGs ordered out of service by owner, EWC etc - not covered by other downtime logs.

## Curtailment Log
GE Wind Maintenance Corp.
Site: FENNER
DATE: 6/01/02
CURTAILMENT LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed | Wind | Wind
Location | Description - Reason/Activity | Begin | End | Begin | End | Hours | Begin | End
| NONE |  |  |  |  | 0 |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - When recording windspeed, indicate whether it is in m/s or mph, and where the data is from, ie wtg #, met tower, etc.

## ETS - Grid Downtime
GE Wind Maintenance Corp.
Site: FENNER
DATE: 6/01/02
ETS - GRID DOWNTIME LOG MAY 2002
Pad | Feeder |  | Date | Date | Time | Time | Elapsed
Location | Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
|  | Grid outage | 2002-05-23 | 2002-05-23 | 4:15 | 11:24 | 7.15 | 0.29792
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - some facilities do not have feeders, in those cases identify the turbines effected.

## SCADA
GE Wind Maintenance Corp.
Site: FENNER
DATE: 6/01/02
SCADA MALFUNCTION LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Begin | End | Begin | End | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Scada problems that result in the loss of data which could effect availability.

## WTG Downtime
GE Wind Maintenance Corp.
Site: FENNER
DATE: 6/01/02
WTG DOWNTIME LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
5 | Pitch Encoder Failure | 2002-05-09 | 2002-05-09 | 3:56 | 15:21 | 11.4167 | 0.47569
10 | Pitch Controller Failure | 2002-05-04 | 2002-05-05 | 22:12 | 11:44 | 13.5333 | 0.56389
17 | Pitch Motor Failure | 2002-05-20 | 2002-05-21 | 7:15 | 21:15 | 38 | 1.5833
18 | Pitch Motor Failure | 2002-05-26 | 2002-05-26 | 4:30 | 16:45 | 12.25 | 0.51042
[6 empty] | 0 | 0
[6 empty] | 0 | 0
0
0
0
0
0
0
0
0
0
Note - if the event is considered a force majeure event, include the wording force majeure in the description.