## Main
Today's Forecast vs. Actual | [6 empty] | 2001-11-01 | - Actual vs. Forecast | [6 empty] | Morning Report |  |  |  |  | Morning Report |  |  |  | Short Term Forecast
Forecast - | Last Updated on: 11/02/2001 01:53:00 PM | [14 empty] | TIME STAMP |  |  |  |  | TIME STAMP |  |  | NEPOOL Load | Last Updated: November 2, 2001 11:27 AM
Actual - | Last Updated on: 11/2/2001 3:17:34 PM | [13 empty] | Date: Friday, November 2,2001 | 8:37 |  |  |  | Date: Monday, August 13,2001 | 0.34948
| Today's Forecast |  | Today's Actual |  | Delta |  |  | Forecast |  | Actual |  |  | Delta |  | Last Updated on: 8/8/2001 3:39:48 PM |  |  |  |  | Last Updated on: 8/8/2001 3:39:48 PM |  |  |  |  | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7
| Demand | ECP | Demand | ECP | Demand | ECP |  | Demand | ECP | Demand | ECP | BO-Temp | Demand | ECP | Peak Load for Thursday, November 1,2001 hour ending 18 was 17252 MW. |  |  |  |  | Peak Load for Sunday, August 12,2001 hour ending 21 was 15424 MW. |  |  |  |  | 2001-11-03 | 2001-11-04 | 2001-11-05 | 2001-11-06 | 2001-11-07 | 2001-11-08
PEAK | 16625 | 32.2281 | 15814 | 40.6722 | 811 | -8.4441 | PEAK | 16875 | 30.9281 | 17260 | 36.7431 |  | 385 | 5.815 |  |  |  |  | 5:38 | [5 empty] | Sat | Sun | Mon | Tue | Wed | Thu
OFF PEAK | 13375 | 22.2175 | 13483 | 23.6571 | -108 | -1.4396 | OFF PEAK | 13750 | 24.1062 | 13921 | 24.7437 |  | 171 | 0.6375 | Operable Capacity Analysis (MW): |  |  |  |  | Operable Capacity Analysis (MW): |  |  |  | Total installed Capacity | 27697 | 27697 | 27697 | 27697 | 27697 | 27697
24 HOUR | 13864.5833 | 28.8912 | 13792.625 | 33.2281 | 71.9583 | -4.3369 | 24 HOUR | 14029.1667 | 28.6542 | 14323.625 | 32.7433 |  | 294.4583 | 4.0892 | A. Installed Generating Capacity |  |  | 27697 | 26170 | A. Installed Generating Capacity |  |  | 26179
[15 empty] | B. Capacity Additions HOL Bid > SCC |  |  | 147 | 758 | B. Capacity Additions HOL Bid > SCC |  |  | 478 | Other Gen OOS | -6834 | -7014 | -6880 | -6052 | -5892 | -5892
HE1 | 10675 | 21.9 | 11597 | 25.2 | 922 | 3.3 | HE1 | 10900 | 25.56 | 11626 | 23.24 |  | 726 | -2.32 | C. Pre-OP4 Dispatchable Loads |  |  | 16 | 16 | C. Pre-OP4 Dispatchable Loads |  |  | 16 | Total Gen Avail | 20863 | 20683 | 20817 | 21645 | 21805 | 21805
HE2 | 10175 | 20.07 | 11220 | 21.59 | 1045 | 1.52 | HE2 | 10475 | 20.96 | 11464 | 24.01 |  | 989 | 3.05 | D. Generation Outages and Reductions |  |  | 7253 | 3841 | D. Generation Outages and Reductions |  |  | 3095 | Import at Peak | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
HE3 | 9975 | 20.8 | 11148 | 20.38 | 1173 | -0.42 | HE3 | 10225 | 19.72 | 11200 | 22.71 |  | 975 | 2.99 | E. Generation Unavailable Due to Start Time |  |  | 2436 | 3162 | E. Generation Unavailable Due to Start Time |  |  | 2085 | Total Avail. Gen + Imports | 21963 | 21783 | 21917 | 22745 | 22905 | 22905
HE4 | 9875 | 19.61 | 11022 | 17.08 | 1147 | -2.53 | HE4 | 10200 | 19.74 | 11171 | 20.46 |  | 971 | 0.72 | F. Capacity Deliveries: Net Purchases = (-) Net Sales = (+) |  |  | 9689 | 7003 | F. Capacity Deliveries: Net Purchases = (-) Net Sales = (+) |  |  | 5180
HE5 | 10200 | 19.72 | 11049 | 21.77 | 849 | 2.05 | HE5 | 10450 | 19.74 | 11439 | 23.13 |  | 989 | 3.39 |  | NYBB | -441 |  |  |  | NYBB | 186
HE6 | 11250 | 19.88 | 11655 | 22.44 | 405 | 2.56 | HE6 | 11575 | 21.9 | 12401 | 26.99 |  | 826 | 5.09 |  | NB | -250 |  |  |  | NB | -549
HE7 | 13375 | 30.81 | 13483 | 37.14 | 108 | 6.33 | HE7 | 13750 | 43.33 | 13921 | 34.04 |  | 171 | -9.29 |  | HQ | -441 |  |  |  | HQ | -1708 |  | Projected Peak Load | 15100 | 15300 | 17600 | 17100 | 16400 | 16265
HE8 | 14825 | 34.55 | 14916 | 38.99 | 91 | 4.44 | HE8 | 15050 | 26.75 | 15067 | 29.87 |  | 17 | 3.12 |  | Net Deliveries |  | -1132 | -1457 |  | Net Deliveries |  | -2071
HE9 | 15375 | 27.74 | 15344 | 37.58 | -31 | 9.84 | HE9 | 15350 | 26.74 | 15303 | 36.63 |  | -47 | 9.89 | G. Total Available Capacity (A+B+C-D-E-F) |  |  | 19303 | 21398 | G. Total Available Capacity (A+B+C-D-E-F) |  |  | 23564 | Required Reserve | 1740 | 1740 | 1740 | 1740 | 1740 | 1740
HE10 | 15625 | 38.11 | 15564 | 40.74 | -61 | 2.63 | HE10 | 15500 | 29.66 | 15394 | 42.6 |  | -106 | 12.94 | H. Peak Load Forecast for hour 18 |  |  | 16425 | 17350 | H. Peak Load Forecast for hour 20 |  |  | 19350
HE11 | 15850 | 36.66 | 15814 | 44.32 | -36 | 7.66 | HE11 | 15675 | 34.16 | 15588 | 43.18 |  | -87 | 9.02 | I. Total Operating Reserve Requirement |  |  | 1734 | 1725 | I. Total Operating Reserve Requirement |  |  | 1854 | Total Load + Reqd Reserves | 16840 | 17040 | 19340 | 18840 | 18140 | 18005
HE12 | 15875 | 34.81 | 15812 | 46.01 | -63 | 11.2 | HE12 | 15725 | 31.99 | 15656 | 42.92 |  | -69 | 10.93 | J. Capacity Required |  |  | 18159 | 19075 | J. Capacity Required |  |  | 21204
HE13 | 15750 | 32.5 | 15689 | 49.68 | -61 | 17.18 | HE13 | 15550 | 27.74 | 15517 | 31.46 |  | -33 | 3.72 | K. Surplus = (+) Deficiency = (-) (G - J) |  |  | 1144 | 2323 | K. Surplus = (+) Deficiency = (-) (G - J) |  |  | 2360
HE14 | 15725 | 34.66 | 15664 | 49.5 | -61 | 14.84 | HE14 | 15525 | 32.2 | 15484 | 35.48 |  | -41 | 3.28 | [9 empty] | Projected Surplus (Deficiency) | 5123 | 4743 | 2577 | 3905 | 4765 | 4900
HE15 | 15400 | 30.81 | 15442 | 32.28 | 42 | 1.47 | HE15 | 15350 | 31.99 | 15273 | 33.22 |  | -77 | 1.23
HE16 | 15325 | 30.17 | 15263 | 26.95 | -62 | -3.22 | HE16 | 15425 | 31.4 | 15219 | 29.72 |  | -206 | -1.68 | Largest First Contingency: SEABROOK at 1160 MW |  |  |  |  | Largest First Contingency: PHASE 2 at 1500 MW
HE17 | 15800 | 30.81 |  |  | -15800 | -30.81 | HE17 | 15900 | 31.4 | 15922 | 42.32 |  | 22 | 10.92 | [9 empty] | Load Relief Actions Anticiapted
HE18 | 16625 | 40 |  |  | -16625 | -40 | HE18 | 16875 | 40 | 17260 | 54.01 |  | 385 | 14.01 | Reserve Summary (MW) |  |  |  |  | Reserve Summary (MW) |  |  |  | Power Watch | bar: 2001-11-03 to 2001-11-08
HE19 | 16475 | 37.77 |  |  | -16475 | -37.77 | HE19 | 16750 | 37.5 | 17008 | 44.97 |  | 258 | 7.47 | Ten Minute Reserve Requirement: |  |  | 1160 | 1160 | Ten Minute Reserve Requirement: |  |  | 1500 | Power Warning | bar: 2001-11-03 to 2001-11-08
HE20 | 15825 | 30.18 |  |  | -15825 | -30.18 | HE20 | 16250 | 34 | 16442 | 38.55 |  | 192 | 4.55 | Ten Minute Reserve Estimate: |  |  | 1160 | 1160 | Ten Minute Reserve Estimate: |  |  | 1500
HE21 | 14950 | 26.96 |  |  | -14950 | -26.96 | HE21 | 15525 | 26.75 | 15629 | 31.37 |  | 104 | 4.62 | Thirty Minute Reserve Requirement: |  |  | 574 | 564 | Thirty Minute Reserve Requirement: |  |  | 568
HE22 | 13900 | 25.11 |  |  | -13900 | -25.11 | HE22 | 14450 | 30.6 | 14427 | 24.7 |  | -23 | -5.9 | Thirty Minute Reserve Estimate: |  |  | 1718 | 2887 | Thirty Minute Reserve Estimate: |  |  | 2928 | Kevin Load | Sat | Sun | Mon | Tue | Wed | Thu
HE23 | 12575 | 24.81 |  |  | -12575 | -24.81 | HE23 | 12850 | 21.97 | 13142 | 26.89 |  | 292 | 4.92 | Expected ICU Operation: |  |  | - | - | Expected ICU Operation: |  |  | -
HE24 | 11325 | 24.95 |  |  | -11325 | -24.95 | HE24 | 11375 | 21.9 | 12214 | 23.37 |  | 839 | 1.47 | Expected Actions of OP 4: |  |  |  |  | Expected Actions of OP 4: |  |  |  | Projected Peak Load | 15204 | 15358 | 17913 | 17909 | 17966 | 17912
[15 empty] | Additional Capacity Available from OP 4 Actions: |  |  |  |  | Additional Capacity Available from OP 4 Actions:
| Today: | 2025-09-26 |  |  |  |  | Select | Date: | 2001-11-01
Estimate Unavailable Gen Here:
Temperatures | [14 empty] | Interchange Summary (MW) |  |  |  |  | Interchange Summary (MW) |  |  |  |  | 2001-11-03: 0
| Today |  | Tomorrow | [12 empty] | Transfer Limit | Scheduled Contracts |  |  |  | Transfer Limit | Scheduled Contracts
| BO HI | BO DP | BO HI | BO DP | [10 empty] | NYPP | -1700 | -441 |  |  | NYPP | 800 | 186 |  |  | 2001-11-03: Unav due to St Time Estimate
| 63 | 37 | 66 | 37 | [10 empty] | NB | -700 | -250 |  |  | NB | -700 | -549 |  |  | 2001-11-03: 0
| HF HI | HF DP | HF HI | HF DP | [10 empty] | HQ | -2218 | -441 |  |  | HQ | -2225 | 1708
| 64 | 37 | 67 | 37 | [19 empty] | Outages | -6834 | -7014 | -6880 | -6052 | -5892 | -5892
[10 empty] | HE 09-23 | 5 | [12 empty] | Surplus | 5123 | 4743 | 2577 | 2577 | 4765 | 4900
HE 10-23
[10 empty] | HE 11-23 | [10 empty] | Enter Date: | 2001-08-08
HE 12-23
HE 13-23
HE 14-23
HE 15-23
HE 16-23
HE 17-23

## Charts
Outages

## Chart for Selected Date
Charts for Selected Date | 2001-11-01