## Sheet1
Scheduling Coordinator Certification Checklist
Scheduling Coordinator (SC) Applicant:
{company name}
SC Contact:
| {SC name, Title} |  | Types of business to be conducted by Scheduling Coordinator:
{SC telephone}
| {SC fax} |  |  |  | Yes/No | Agreements Required
| {SC email} |  | California Generators, without A/ S capability |  |  | SCA, MSA ISO; PGA**
| {Preferred short name (WSCC) :_________________} |  | California Generators, with A/S capability* |  |  | SCA, MSA ISO, PGA**
| (4 Characters) |  | California Load with A/S Capability |  |  | PLA***
|  |  | California Loads, Non-ISO Grid connected |  |  | SCA, MSA SC
| SC Client Relations Representative: |  | California Loads, ISO Grid connected |  |  | SCA, MSA ISO
| {Client Rep Name} |  | Interchange Scheduling A/S* |  |  | SCA, Contracts
| {CR Phone #} |  | Interchange Scheduling Energy |  |  | SCA, Contracts
|  |  | SC to SC transfers, confined within the ISO Control Area |  |  | SCA
*Certification for Ancillary Services
**PGA to be completed by Generator
*** PLA - If SC represents dispatchable load.
{company name}
BUSINESS REQUIREMENTS:
| SC Application (SCAP) | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | SC Application Submit completed Scheduling Coordinator Application |  | Form |  | CR Lead
2 | Application Fee Submit $500 application fee |  | CRR |  | CR Lead
3 | SCAP B Complete SCAP Appendix B |  | CRR |  | CR Lead
4 | AFT Complete/submit Application File Template (AFT) specific to SC or default to standard portfolio of ISO resources (Interties, Demand Zones, Load Groups). |  | CRR |  | MOM
| Contracts / Agreements* | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | SCA Execute Scheduling Coordinator Agreement | C | CRR |  | C & C
2 | MSA/SC Execute Meter Service Agreement for SC metered entities+C65 | C | CRR |  | C & C
3 | MSA/ISO Execute Meter Service Agreement for ISO metered entities , if required. | C | CRR |  | C & C
4 | PGA Execute Participating Generator Agreement (PGA), if required. | C | CRR |  | C & C
5 | PLA Execute Participating Load Agreement (PLA), if required. | C | CRR |  | C & C
* CRR to use "Information Request Sheets" specific to each contract, provided by Contracts and Compliance.
{company name}
| Financial Security | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | Establish Financial Security with ISO: | C | CRR |  | Finance
| - short term AI/PI credit rating | C | CRR |  | Finance
| - letter of credit | C | CRR |  | Finance
| - letter of guarantee | C | CRR |  | Finance
| - security / escrow deposit | C | CRR |  | Finance
2 | Letter of Understanding (supports AIPI credit rating and guarantee)
TECHNICAL REQUIREMENTS:
| Information Technology Connectivity/ Security | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | IT Security Execute IT Security Agreement. | C | CRR |  | Aldo Nevarez (IT)
2 | API Sublicense If SC requests, execute API Sublicense Agreement. | C | CRR |  | Tony John (M.O.)
3 | ECN Connectivity Develop communications interface with the ISO (ECN via MCI). Timeline = 30 days. | T | CRR |  | Stacy Hendrickson (IT)
4 | EDI - Invoice Demonstrate ability to receive ISO invoices via Electronic Data Interchange (EDI). | T | CRR |  | Settlements
5 | EDI - Acknowledgement Demonstrate ability to transmit Functional Acknowledgements (FA) to the ISO confirming receipt of invoices. | T | CRR |  | Settlements
6 | Fed-Wire Test Send Demonstrate ability to send funds to ISO bank account with valid Invoice identification. Send $10.00 transaction to the ISO. | T | CRR |  | Settlements
7 | Fed-Wire Test Receive Demonstrate ability to receive, reconcile and identify funds received from ISO. Receive $10.00 transaction from the ISO. | T | CRR |  | Settlements
{company name}
| Information Technology Connectivity/ Security (cont.) | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
8 | ADS Registration Establish connectivity with ISO ADS (Automated Dispatching System) for Real Time dispatched energy instructions. | T | CRR |  | MOM
9 | AR Web Establish connectivity with ISO Settlements Dispute System (SDS). | T | CRR
| Scheduling Operations Requirements | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | Unannounced Contact Drill Confirm direct person to person phone contact to real-time Scheduling Center. Successfully complete five (5) drills (7x24 hour basis). | T | Spence Gerber |  | Spence Gerber
2 | Alternate Scheduling Capability Confirm system redundancy capabilities for Scheduling System (DA/HA) - alternate method of performing and submitting balanced schedules to the ISO in the event of system hardware / software failures. Describe method and capabilities currently in place. (i.e. Flat ASCII Files, ...) | S | Client Rep |  | Spence Gerber
3 | Emergency Power Supply Confirm back-up power supply to Scheduling System (DA/HA) - for use in the event of loss of power to the scheduling and communications systems. Describe method and capabilities currently in place. | S | Client Rep |  | Spence Gerber
4 | Unannounced Contact Drill (HA) Confirm direct person to person phone contact to Scheduling (HA) Office. Successfully complete five (5) drills (7x24 hour basis). | T | Spence Gerber |  | Spence Gerber
5 | Unannounced Contact Drill (DA) Confirm direct person to person phone contact to Scheduling (DA) Office. Successfully complete five (5) drills (daily basis). | T | Spence Gerber |  | Spence Gerber
6 | RT Scheduling Test Demonstrate ability to perform real-time scheduling in a timely manner in response to ISO normal and emergency mitigation requests. Successfully complete three (3) drills for unscheduled flow and tieline outages on a 7x24 hour basis. | T | Spence Gerber |  | Spence Gerber
{company name}
| Dispatch Operations Requirements | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | 24x7 Scheduling Center Confirm 24-hours/7 days per week staffed Scheduling / Dispatch Center. (Not applicable for SC's who's ONLY business function is SC to SC trades within the ISO Grid.) And, if applicable: | S | Client Rep |  | Ed Riley
2 | Fallover Capability Confirm system fail-over capabilities for real-time Scheduling / Dispatch Center - for use in the event of operational systems hardware / software failures, as applicable. Describe method and capabilities currently in place. | S | Client Rep |  | Ed Riley
3 | Emergency Powered Supply Confirm back-up power supply to real-time Scheduling / Dispatch Center - for use in the event of loss of power to the scheduling, dispatch operations and communications systems. Describe method and capabilities currently in place. | S | Client Rep |  | Ed Riley
4 | Unannounced Contact Drill Confirm direct person to person phone contact to real-time Operations / Dispatch Center. Successfully complete five (5) drills (7x24 hour basis). | T | Ed Riley |  | Ed Riley
5 | Backup Voice Communications Confirm telephone back-up communication method. | T | Ed Riley |  | Ed Riley
6 | SC Delegated Authority Confirm SC Operations staff's knowledge, skill and level of authority required, directly address and resolve normal and emergency issues with the ISO operations staff. | S | Client Rep |  | Ed Riley
7 | Dispatch Instruction Compliance Confirm SC understanding of consequences related to non-performance or inadequate response times, to normal and emergency ISO operating instructions. | S | Client Rep |  | Ed Riley
8 | Emergency Procedure Compliance Confirm SC understanding of its responsibility to be familiar with and abide by the ISO emergency operating procedures as posted on the ISO website, restoration orders and reporting requirements, as applicable, in the event of loss of communications, power source, system hardware/software, or facilities. | S | Client Rep |  | Ed Riley
9 | SC Emergency Plan Provide SC's emergency operating plan to the ISO. Send to Client Relations Representative to be reviewed and forwarded to the Dispatch and Security Coordination Department. Attach first page of SC Energy Plan to Site Survey. | S | Client Rep |  | Ed Riley
{company name}
| Dispatch Operations Requirements (cont.) | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
10 | WSCC Compliance Confirm SC understanding of obligations, sites comply with WSCC minimum operating and reliability criteria, interchange scheduling procedures, and unscheduled power flow mitigation. | S | Client Rep |  | Ed Riley
11 | RT Dispatch Operations Test Demonstrate ability to perform real-time operations in a timely manner in response to ISO normal and emergency requests. Successfully complete three (3) drills for unscheduled flow mitigation and tieline outages on a 7x24 hour basis. | T | Ed Riley |  | Ed Riley
| Market Operations Requirements | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | ASCII File Demonstrate ability to produce valid ASCII text file scheduling template. | T | Nancy Traweek |  | Ziad Alaywan
2 | 5-day SI Proficiency Test Successfully demonstrate ability to submit 5 days of balanced schedules / bids to the ISO by successfully completing proficiency test to be coordinated by ISO, using either TWE web-browser or API, as appropriate. | T | Nancy Traweek |  | Ziad Alaywan
3 | PMI Download Confirm ability to receive ISO Public Market Information . | T | Nancy Traweek |  | Ziad Alaywan
4 | SC Notification Confirm ability to receive Market Status notifications and revised preferred schedules. | T | Nancy Traweek |  | Ziad Alaywan
5 | SI Interface Confirm ability to operate and/or schedule, as applicable, in the event of a loss of local access link to ISO Point of Presence (POP). Describe method and capabilities currently in place. | S | Client Rep |  | Ziad Alaywan Fred Lee
6 | SC Master File Confirm "Application File Template" (SC Master File) information or standard default Master File resource portfolio specific to SC. | C | Client Rep |  | Bill Simmons
7 | Settlements Authorize ECN Administrative Certificate completion and allow SC access. | T | Settlements |  | Settlements
{company name}
| Meter Data Acquisition System (MDAS) Requirements for SC's Submitting Both Load and Generation Data | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | Set up and Receive User Account Information After the ISO creates an SC user account and provides the account information to the SC, the SC must create a user account for the ISO providing access/permission rights required when the ISO sends acknowledgement files to the SC. | T | MDAS System Administrator |  | Mark Morosky
2 | Test MDAS Connectivity Demonstrate REMnet connection to ISO Meter Data Acquisition System (MDAS) by performing the login function. | T | MDAS System Administrator |  | Mark Morosky
3 | Meter Data Test 1) The SC must demonstrate the ability to send settlement ready meter data to MDAS in the MDEF format specified by the ISO and 2) The SC's must demonstrate a complete understanding of requirements for submitting meter data during Daylight Savings Time. | T | MDAS System Administrator |  | Mark Morosky
4 | ISO Meter Data Test The SC must demonstrate the ability to send ISO grid-level revenue meter data in its raw state, without modification (i.e. raw un-edited values) in the required MDEF format via FTP, Fed-EX or U.S. Mail. Applicable for SC's representing ISO grid-connected generators or loads. | T | Senior MDAS Analyst |  | Mark Morosky
5 | Emergency Power Confirm ability to perform MDAS functions with the loss of AC power. Describe method and capabilities currently in place. | S | Senior MDAS Analyst |  | Mark Morosky
6 | Meter Data Security Confirm meter data back-up and recovery procedures by describing existing procedures. | S | Senior MDAS Analyst |  | Mark Morosky
7 | Confirm Understanding of Various SQMD Requirements Payment Calendar, Late SQMD Program, SC Monthly Estimation Report, MP 4.2.1(a) audit requirement. | S | Data Quality Group |  | Mark Morosky
{company name}
| Meter Data Acquisition System (MDAS) Requirements for SC's Submitting Only Generation Data (ISO Metered Entities) | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | Meter Reading The SC must be able to demonstrate the ability to interrogate ISO metering via the REMNET, optical probe or RS-232 connection. | T | Senior MDAS Analyst |  | Mark Morosky
2 | Meter Reading Software The SC must demonstrate competence in the use of MV-LT or meter manufacturers software when reading ISO meters via optical probe or RS-232 connection. | T | Senior MDAS Analyst |  | Mark Morosky
3 | Meter Data Format The SC must confirm the ability to deliver raw meter data to the ISO in files using either the HHF or the MDEF format. | T | Senior MDAS Analyst |  | Mark Morosky
4 | Meter Data Transport Demonstrate the ability to transport raw, valid, pre-settlement meter data to MDAS via FTP over the WENET or via Fed-Ex or via U.S. Mail. | T | Senior MDAS Analyst |  | Mark Morosky
ISO TRAINING REQUIREMENTS:
| Training | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | SI Training Attend Scheduling Coordinator SI training class | S | Client Rep |  | MOM
2 | Settlements Training Attend ISO Settlements training class | S | Client Rep |  | CR Lead
3 | UFAS Training Complete Unscheduled Flow Training (Loop Flow Mitigation Qualification/Training). | S | CRR |  | OE Director(?)
{company name}
ACTIVATE "CERTIFIED" SC:
| Completion of Certification | Confirm via Completion of Contract or Test or Survey/Site Visit (C/T/S) | Confirmed by: | SC Response | Approved by: | Date Completed
1 | SI Password Issue SC SI Password & SI IP Address |  | CRR
2 | BA # BA Account Number Assignment / Set up |  | CRR |  | Settlements
3 | Emergency Pager Authorize / Distribute SC Emergency Pager (Use ISO SC Pager Request form). |  | CRR |  | Stacy Hendrickson
4 | SC Certification Letter Issue SC Certification Letter |  | CRR |  | CS VP
5 | SC Certification Certificate Prepare SC Certification Certificate |  | CRR |  | CR Director
6 | ISO Contacts/ E-mail Distribution(s) Update ISO SC Contacts -REMEDY and OA listings / distributions. |  | CRR |  | CR Lead
7 | Notification of New SC Issue internal ISO Notification of newly certified SC. Update Certified SC list on CAISO website. |  | CRR |  | CR Lead

## Sheet2
| Meter Data Processing (MDAS) | #REF! | #REF! | #REF!
#REF! | Confirm REMnet "Ping" to CAISO MDAS system
#REF! | Confirm CAISO compliant Meter Data Acquisition System (MDAS) hardware and software
#REF! | Confirm ability to perform MDAS functions with the loss of AC power
#REF! | Confirm ability and method of performing accurate meter data collection and techniques for Validation, Estimation and Editing (VEE) for providing settlement-ready distribution level data, including:
a. Confirm CAISO certification of server
b. Confirm use of certified estimation algorithms
c. Confirm use of certified load profiles
d. Confirm load profile expansion using cumulative meter data
e. Confirm interval meter and load profile data aggregation
#REF! | Confirm ability to send and receive revenue meter data in the required interval and at the required frequency
#REF! | Confirm CAISO Grid level certification and confirm ability to pass through ISO Grid level revenue meter data in its raw state, without modification (i.e. non-settlement ready)
#REF! | Confirm data back-up and recovery procedures
#REF! | Confirm ability to generate adequate audit trails / records
#REF! | Confirm adequate record keeping of meter / account information (example: Customer Name, Customer Address, Meter Number, Meter Constants, etc.)
#REF! | Confirm execution of third party meter agreements and confirm third party certifications, as appropriate