## 02-22-02
2002-02-22 08:49
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 40642
B | Scheduled Tie Flows | 2637
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 43279
E | PJM Load Forecast | 34200
F | Operating Reserve | 9079
G | Unscheduled Capacity | 8552
Scheduled Tie Flow Breakdown
H | APS | 1878
I | FE | 422
J | NYPP | 101
K | VP | 236
L | Total | 2637
M | Forecast Eastern Transfer Limit | 5900
N | Forecast Central Transfer Limit | 3900
O | Forecast Western Transfer Limit | 5600
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 1100 | 1900 | 400
Q | PJM Load Forecast | 31500 | 32500 | 22300
R | Actual Load | 31193 | 33151 | 22333
S | West Dispatch Rate ($/MWhr) | 20.13 | 38.91 | 13.43
T | East Dispatch Rate ($/MWhr) | 20.13 | 38.91 | 13.43

## 02-21-02
2002-02-21 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 39361
B | Scheduled Tie Flows | 2973
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 42335
E | PJM Load Forecast | 34000
F | Operating Reserve | 8335
G | Unscheduled Capacity | 8829
Scheduled Tie Flow Breakdown
H | APS | 1778
I | FE | 722
J | NYPP | 95
K | VP | 378
L | Total | 2973
M | Forecast Eastern Transfer Limit | 5700
N | Forecast Central Transfer Limit | 3900
O | Forecast Western Transfer Limit | 5500
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 900 | 1900 | 400
Q | PJM Load Forecast | 32300 | 34500 | 23500
R | Actual Load | 32654 | 34068 | 23579
S | West Dispatch Rate ($/MWhr) | 17.94 | 24.54 | 14.55
T | East Dispatch Rate ($/MWhr) | 17.94 | 24.54 | 14.55

## 02-20-02
2002-02-20 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 40893
B | Scheduled Tie Flows | 2630
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 43523
E | PJM Load Forecast | 35000
F | Operating Reserve | 8523
G | Unscheduled Capacity | 6461
Scheduled Tie Flow Breakdown
H | APS | 1628
I | FE | 672
J | NYPP | 94
K | VP | 236
L | Total | 2630
M | Forecast Eastern Transfer Limit | 5300
N | Forecast Central Transfer Limit | 3800
O | Forecast Western Transfer Limit | 5200
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 800 | 1900 | 300
Q | PJM Load Forecast | 35500 | 35300 | 26500
R | Actual Load | 35735 | 34527 | 26518
S | West Dispatch Rate ($/MWhr) | 54.74 | 25.45 | 17.48
T | East Dispatch Rate ($/MWhr) | 54.74 | 25.45 | 17.48

## 02-19-02
2002-02-19 10:47
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 43067
B | Scheduled Tie Flows | 2580
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 45650
E | PJM Load Forecast | 35300
F | Operating Reserve | 10350
G | Unscheduled Capacity | 5929
Scheduled Tie Flow Breakdown
H | APS | 1628
I | FE | 622
J | NYPP | 94
K | VP | 236
L | Total | 2580
M | Forecast Eastern Transfer Limit | 6100
N | Forecast Central Transfer Limit | 4100
O | Forecast Western Transfer Limit | 6200
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 1000 | 2000 | 300
Q | PJM Load Forecast | 33700 | 34600 | 26000
R | Actual Load | 33977 | 34967 | 26158
S | West Dispatch Rate ($/MWhr) | 27.22 | 23.03 | 16.09
T | East Dispatch Rate ($/MWhr) | 27.22 | 23.03 | 16.09

## 02-18-02
2002-02-19 11:06
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | #N/A
B | Scheduled Tie Flows | 1949
C | Capacity Adjustments | #N/A
D | Total Scheduled Capability | #N/A
E | PJM Load Forecast | #N/A
F | Operating Reserve | #N/A
G | Unscheduled Capacity | #N/A
Scheduled Tie Flow Breakdown
H | APS | #N/A
I | FE | #N/A
J | NYPP | -241
K | VP | #N/A
L | Total | 1949
M | Forecast Eastern Transfer Limit | 5900
N | Forecast Central Transfer Limit | 4100
O | Forecast Western Transfer Limit | 6000
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 1200 | 2000 | 400
Q | PJM Load Forecast | 28000 | 31500 | 22500
R | Actual Load | 27958 | 32459 | 22418
S | West Dispatch Rate ($/MWhr) | 17.43 | 18.95 | 14.12
T | East Dispatch Rate ($/MWhr) | 17.43 | 18.95 | 14.12

## 02-15-02
2002-02-15 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 43027
B | Scheduled Tie Flows | 2940
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 45639
E | PJM Load Forecast | 35500
F | Operating Reserve | 10139
G | Unscheduled Capacity | 9025
Scheduled Tie Flow Breakdown
H | APS | 1224
I | FE | 1236
J | NYPP | 71
K | VP | 409
L | Total | 2940
M | Forecast Eastern Transfer Limit | 6200
N | Forecast Central Transfer Limit | 4200
O | Forecast Western Transfer Limit | 6000
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 800 | 1900 | 300
Q | PJM Load Forecast | 37800 | 37600 | 28100
R | Actual Load | 37982 | 36622 | 28312
S | West Dispatch Rate ($/MWhr) | 55.19 | 19.74 | 18.14
T | East Dispatch Rate ($/MWhr) | 55.19 | 19.74 | 18.14

## 02-14-02
2002-02-14 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 44561
B | Scheduled Tie Flows | 3244
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 47805
E | PJM Load Forecast | 37000
F | Operating Reserve | 10805
G | Unscheduled Capacity | 6859
Scheduled Tie Flow Breakdown
H | APS | 1614
I | FE | 921
J | NYPP | 95
K | VP | 614
L | Total | 3244
M | Forecast Eastern Transfer Limit | 6600
N | Forecast Central Transfer Limit | 4300
O | Forecast Western Transfer Limit | 5950
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 800 | 1900 | 400
Q | PJM Load Forecast | 34900 | 36900 | 25600
R | Actual Load | 34660 | 37280 | 25511
S | West Dispatch Rate ($/MWhr) | 25.6 | 29.67 | 15.71
T | East Dispatch Rate ($/MWhr) | 25.6 | 29.67 | 15.71

## 02-13-02
2002-02-13 09:21
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 44653
B | Scheduled Tie Flows | 2575
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 47228
E | PJM Load Forecast | 37000
F | Operating Reserve | 10228
G | Unscheduled Capacity | 6252
Scheduled Tie Flow Breakdown
H | APS | 1220
I | FE | 921
J | NYPP | -55
K | VP | 489
L | Total | 2575
M | Forecast Eastern Transfer Limit | 6500
N | Forecast Central Transfer Limit | 4300
O | Forecast Western Transfer Limit | 6100
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 800 | 1900 | 300
Q | PJM Load Forecast | 36500 | 36200 | 27800
R | Actual Load | 36699 | 36434 | 27799
S | West Dispatch Rate ($/MWhr) | 24.87 | 20.34 | 17.5
T | East Dispatch Rate ($/MWhr) | 24.87 | 20.34 | 16.69

## 02-12-02
2002-02-12 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 44889
B | Scheduled Tie Flows | 3507
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 48396
E | PJM Load Forecast | 37500
F | Operating Reserve | 10896
G | Unscheduled Capacity | 6264
Scheduled Tie Flow Breakdown
H | APS | 1525
I | FE | 1421
J | NYPP | -53
K | VP | 614
L | Total | 3507
M | Forecast Eastern Transfer Limit | 6400
N | Forecast Central Transfer Limit | 4100
O | Forecast Western Transfer Limit | 6000
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 1100 | 1900 | 300
Q | PJM Load Forecast | 33700 | 36700 | 22200
R | Actual Load | 34400 | 37756 | 22202
S | West Dispatch Rate ($/MWhr) | 22.93 | 28.92 | 0
T | East Dispatch Rate ($/MWhr) | 22.93 | 28.92 | 0

## 02-11-02
2002-02-11 08:01
Operations Summary for Today's Forecast Peak
A | Internal Scheduled Capacity | 44642
B | Scheduled Tie Flows | 3063
C | Capacity Adjustments | 0
D | Total Scheduled Capability | 47705
E | PJM Load Forecast | 37500
F | Operating Reserve | 10205
G | Unscheduled Capacity | 6652
Scheduled Tie Flow Breakdown
H | APS | 1273
I | FE | 1421
J | NYPP | -245
K | VP | 614
L | Total | 3063
M | Forecast Eastern Transfer Limit | 6500
N | Forecast Central Transfer Limit | 4100
O | Forecast Western Transfer Limit | 6200
Previous Periods Operation Summary
|  | Day | Evening | Midnight
P | Hour | 1200 | 1900 | 500
Q | PJM Load Forecast | 29400 | 30600 | 23200
R | Actual Load | 28174 | 31185 | 23262
S | West Dispatch Rate ($/MWhr) | 15.68 | 22.91 | 10.18
T | East Dispatch Rate ($/MWhr) | 15.68 | 26.48 | 10.18