## Short List
WSCC Point of Delivery Long Names and Acronyms
Point of Delivery Name | System Reporting | TP NERC Acronym | E-Tag Acronym | Registered TSIN Name | Description
Avista Power System | Avista | AVA | AVA | AVA.System
Interface between BPAT and Avista | BPA Transmission | BPAT | AVA | AVA.BPAT
Bernalillo, Algodones 115 | Public Service Company of NM | PSNM | BA | BA115
BC - Alberta Border (PATH 1) | Power Pool of Alberta | PPOA | BCAB | BC.AB.BORDER
BC.AB.Border | B.C. Hydro & Power Authority | BCHA | BCAB | BC.AB.Border
Benton County PUD | BPA Transmission | BPAT | BCPD | BCPD
BC.US.Border | B.C. Hydro & Power Authority | BCHA | BCUS | BC.US.Border
BC-US Border - Westside | Puget Sound Energy | PSEI | BCUS | BC.US.BORDER
Interface between BC Hydro and NW US | BPA Transmission | BPAT | BCUS | BC.US.Border
Big Eddy | BPA Transmission | BPAT | BIGEDDY | BigEddy
Blythe 161 | WAPA-DSW | WALC | BLY1 | BLYTHE161
IPCO | PACIFICORP | PPW | BOBR | Interface with IPCO @ Borah/Brady
PACE-IPCO INTERFACE (BORAHBRADY) | IDAHO POWER COMPANY | IPCO | BOBR
Bonneville Power Adminstration - Transmission | Puget Sound Energy | PSEI | BPAT | BPAT.PSEI
BPAT | PACIFICORP | PPW | BPAT | Interface with BPA at multiple.
PGE-BPAT INTERFACE | Portland General Electric | PGE | BPAT | PGE-BPAT
Boardman Generation | BPA Transmission | BPAT | BRDMAN | Boardman
Centralia Generation | BPA Transmission | BPAT | CENT | Centrailia
Cholla 345 | Arizona Public Service Co. | AZPS | CH3 | CHOLLA345
Cholla 500 | Arizona Public Service Co. | AZPS | CH5 | CHOLLA500
Chelan Co. PUD Control Area | Chelan County PUD | CHPD | CHPD
Columbia | Grant County PUD | GCPD | CLBS
COB | PACIFICORP | PPW | COBH | Interface with BPA at multiple.
Colstrip | Avista | AVA | COLS | Colstrip
Colstrip | Montana Power | MPCO | COLS | COLSTRIP
3rd AC Intertie - Captain Jack | BPA Transmission | BPAT | CPTJACK |  | Reserved as COB
Eugene Water and Electric Board | BPA Transmission | BPAT | EWEB | EWEB
Four Corners 230 | Arizona Public Service Co. | AZPS | FC2 | FOURCORNE230
AZPS-PACE INTERFACE (FOUR CORNERS 345) | PACIFICORP | PPW | FC3 | Interface with APS at 4C.
Four Corners 345 | Arizona Public Service Co. | AZPS | FC3 | FOURCORNE345
Garrison MPCO Connection for Colstrip | BPA Transmission | BPAT | GARR | Garrison
Interface between BPAT and Grant Co. PUD | BPA Transmission | BPAT | GCPD | BPAT.GCPD
Hill Top 230 | WAPA-DSW | WALC | HLT2 | HILLTOP230
AVA-MPCO Interface (Hot Springs) | Avista | AVA | HTSP | Hot Springs
Hot Springs | Montana Power | MPCO | HTSP | HotSprings
Interface between BPAT and Montana | BPA Transmission | BPAT | HTSP | HotSprings
IPCO TO MPCO INTERFACE (HOTSPRINGS) (AMPS LINE) | IDAHO POWER COMPANY | IPCO | HTSP
Idaho Power Company System | IDAHO POWER COMPANY | IPCO | IPCO
John Day | BPA Transmission | BPAT | JOHNDAY | JohnDay | For transactions to & from the So. Intertie only
Interface between BPAT and Idaho | BPA Transmission | BPAT | LGBP | LaGrande
IPCO-BPAT INTERFACE (LAGRANDE) | IDAHO POWER COMPANY | IPCO | LGBP
AVA-IPCO Interface (Lolo) | Avista | AVA | LOLO | Lolo
IPCO-AVA INTERFACE (LOLO) | IDAHO POWER COMPANY | IPCO | LOLO
Malin PACW Connection toward Nevada | BPA Transmission | BPAT | MAL2 | Malin230
AC Intertie - Malin 500 | BPA Transmission | BPAT | MAL5 | Malin | Reserved as COB; E-TAG Paths: MAL5-JOHNDAY or JOHNDAY-MAL5
Malin 230 | PACIFICORP | PPW | MAL5 | Interface with BPA.
Mead 230 | WAPA-DSW | WALC | MED2 | MEAD230
Mead 500 | WAPA-DSW | WALC | MED5 | MEAD500
Mid-Columbia | Puget Sound Energy | PSEI | MIDC | MIDC PLAYER TO DISCUSS
Mid-Columbia Remote Resources | BPA Transmission | BPAT | MIDC
WANAPUM | PACIFICORP | PPW | MIDC | Interface with Mid-C
MIDWAY | WAPA-RMR | WACM | MIDW | MIDWAY
Montana Power System | Montana Power | MPCO | MONT | MPCO.System
Interface between BPAT and Montana | BPA Transmission | BPAT | MPCO | BPAT.MPCO
North Gila 500/69 (AZPS to CISO) | California ISO | CISO | NG5 | NG4 | North Gila 500/69KV
North Gila 500/69-INTERFACE WITH CISO | Arizona Public Service Co. | AZPS | NG5 | NRTHGILA500
Palo Verde-North Gila (SRP to CISO) | California ISO | CISO | NG5 | NGIL | North Gila 500KV
AVA-PACW INTERFACE (NORTH LEWISTON) | PACIFICORP | PPW | NLEW | Interface with AVA at N. Lewiston
Nevada - Oregon Border | BPA Transmission | BPAT | NOB | NOB
Nevada Oregon Border (PNWDC) | LADWP | LDWP | NOB
North of path 15 load zone inside CISO control area | California ISO | CISO | NP15 | NONE | Network service
Navajo 500 | Arizona Public Service Co. | AZPS | NV5 | NAVAJO500
Interface between BPAT and PGE | BPA Transmission | BPAT | PGE | BPAT.PGE
PGE | PACIFICORP | PPW | PGE | Interface with PGE @ multiple
PGE System | Portland General Electric | PGE | PGES
Pinnacle Peak 230 | Salt River Project | SRP | PP2
Pinnacle Peak 230 | WAPA-DSW | WALC | PP2 | PINNACLE.PK
Pinnacle Peak 345 | Arizona Public Service Co. | AZPS | PP3 | PNPKAPS345
Pinnacle Peak 345 | WAPA-DSW | WALC | PP3 | PINNACLE.PK345
Power Pool of Alberta | Power Pool of Alberta | PPOA | PPOA | PPOA
Interface between BPAT and PSEI | BPA Transmission | BPAT | PSEI | BPAT.PSEI
Puget Sound Energy System | Puget Sound Energy | PSEI | PSEI | PSEI.SYSTEM
Palo Verde 500 | Salt River Project | SRP | PV5 | PALOVERDE500
INTERFACES | Seattle City Light | SCL | SCL
Shiprock 115 | WAPA-DSW | WALC | SHR1 | SHIPROCK115
Shiprock 230 | WAPA-DSW | WALC | SHR2 | SHIPROCK230
Shiprock 345 | WAPA-DSW | WALC | SHR3 | SHIPROCK345
San Juan 345 | Public Service Company of NM | PSNM | SJN | SJ345
Snohomish Co. PUD | BPA Transmission | BPAT | SNOH | SNOH
South of path 15 load zone inside CISO control area | California ISO | CISO | SP15 | NONE | Network service
Summit | Sierra Pacific Power Company | SPPC | SUM | SUMMIT
Lugo-Victorville (LDWP-CISO) | California ISO | CISO | VVL | LUGO | Lugo 500KV
Victorville/Lugo midpnt | LADWP | LDWP | VVL
Westwing 230 | Arizona Public Service Co. | AZPS | WW2 | WESTWING230
Westwing 500 | Arizona Public Service Co. | AZPS | WW5 | WESTWING500
Yellowtail | Montana Power | MPCO | YT | Yellowtail
YELLOWTAIL | PACIFICORP | PPW | YTP | Interface with WACM
YELLOWTAIL | WAPA-RMR | WACM | YTP | YELLOWTAILP
YELLOWTAIL | WAPA-RMR | WACM | YTW | YELLOWTAILW
Midway-Vincent load zone inside CISO control area | California ISO | CISO | ZP26 | NONE | Midway-Vincent 500KV
Note on D3: Mark W. Hackney: This is currently acceptable under manual imput. If future specs use the TSIN names, these will be discontinued.

## Acronyms for POD's
WSCC Point of Delivery Long Names and Acronyms
Point of Delivery Name | System Reporting | TP NERC Acronym | E-Tag Acronym | Registered TSIN Name | Description
A.A.Lambert | B.C. Hydro & Power Authority | BCHA | AAL | A.A.Lambert
Alberta - Saskatchewan Border (DC Tie) | Power Pool of Alberta | PPOA | ABSK | PPOA.SPC
Airway | LADWP | LDWP | AIR
ALCOA - Valhalla Substation | BPA Transmission | BPAT | ALCOA | ALCOA
Alturas | Sierra Pacific Power Company | SPPC | ALTS | ALTURAS
Ambrosia 230 | Public Service Company of NM | PSNM | AMBRS | AMBROSIA230
Apache 115 | WAPA-DSW | WALC | APE1 | APACHE115
AULT | WAPA-RMR | WACM | AU | AULT
Avista Power System | Avista | AVA | AVA | AVA.System
Interface between BPAT and Avista | BPA Transmission | BPAT | AVA | AVA.BPAT
Bernalillo, Algodones 115 | Public Service Company of NM | PSNM | BA | BA115
BC - Alberta Border (PATH 1) | Power Pool of Alberta | PPOA | BCAB | BC.AB.BORDER
BC.AB.Border | B.C. Hydro & Power Authority | BCHA | BCAB | BC.AB.Border
GMS.MCA.REV | B.C. Hydro & Power Authority | BCHA | BCHG | GMS.MCA.REV
BCHA.Network.Load | B.C. Hydro & Power Authority | BCHA | BCLD | BCH.Netwk.Ld
BCHA.Network | B.C. Hydro & Power Authority | BCHA | BCNT | BCHA.Network
Benton County PUD | BPA Transmission | BPAT | BCPD | BCPD
BC.US.Border | B.C. Hydro & Power Authority | BCHA | BCUS | BC.US.Border
BC-US Border - Westside | Puget Sound Energy | PSEI | BCUS | BC.US.BORDER
Interface between BC Hydro and NW US | BPA Transmission | BPAT | BCUS | BC.US.Border
Big Eddy | BPA Transmission | BPAT | BIGEDDY | BigEddy
Blythe 161 | WAPA-DSW | WALC | BLY1 | BLYTHE161
Blythe (WALC to CISO) | California ISO | CISO | BLYT | BLYT
Black Mesa 230 | WAPA-DSW | WALC | BMA2 | BLACKMESA230
Boundary (Interface to SCL) | BPA Transmission | BPAT | BNDY
IPCO | PACIFICORP | PPW | BOBR | Interface with IPCO @ Borah/Brady
PACE-IPCO INTERFACE (BORAHBRADY) | IDAHO POWER COMPANY | IPCO | BOBR
BONANZA | WAPA-RMR | WACM | BOZ | BONANZA
BPA - Power Business Line (FCRPS) | BPA Transmission | BPAT | BPAP | BPAPower
Bonneville Power Adminstration - Transmission | Puget Sound Energy | PSEI | BPAT | BPAT.PSEI
BPAT | PACIFICORP | PPW | BPAT | Interface with BPA at multiple.
PGE-BPAT INTERFACE | Portland General Electric | PGE | BPAT | PGE-BPAT
Boardman Generation | BPA Transmission | BPAT | BRDMAN | Boardman
Benton Rural Electric Assoc. | BPA Transmission | BPAT | BREA
AVA-MPCO Interface (Burke) | Avista | AVA | BRKE | Burke
Burke | Montana Power | MPCO | BRKE | Burke
Blackwater DC Cnvtr 230 | Public Service Company of NM | PSNM | BW | BW230
Cranbrook 500 kV Bus | B.C. Hydro & Power Authority | BCHA | CBK5 | BCHA.Network
Clallam Co. PUD | BPA Transmission | BPAT | CCPD
Centralia Generating Station | Puget Sound Energy | PSEI | CENT | CENTRALIA
Centralia Generation | BPA Transmission | BPAT | CENT | Centrailia
Columbia Fall Aluminum | PACIFICORP | PPW | CFA | Interface with BPA.
Columbia Falls Aluminum | BPA Transmission | BPAT | CFA | ColFalls Alum
Cholla 345 | Arizona Public Service Co. | AZPS | CH3 | CHOLLA345
Cholla 500 | Arizona Public Service Co. | AZPS | CH5 | CHOLLA500
Chelan Co. PUD Control Area | Chelan County PUD | CHPD | CHPD
Interface between BPAT and Chelan Co. PUD | BPA Transmission | BPAT | CHPD | BPAT.CHPD
Cheney, City of | BPA Transmission | BPAT | CHY
Klamath Falls, City of | BPA Transmission | BPAT | CKF
Columbia | Grant County PUD | GCPD | CLBS
Central Lincoln Electric | BPA Transmission | BPAT | CLE | CentrLincoln
Central Lincoln Electric | BPA Transmission | BPAT | CLE | CentrLincoln
Clatskanie | BPA Transmission | BPAT | CLSK | Clatskanie
Interface between BPAT and Tacoma (Cowlitz NE & Tacoma) | BPA Transmission | BPAT | CNE | BPAT.TPWR
Coronado 500kV Switchyard | Salt River Project | SRP | CO5 | CORONADO500
California - Oregon Border | BPA Transmission | BPAT | COB | COB | For Reservations Only - Schedule as COBH, MAL5 or CPTJACK
California - Oregon Border Hub | BPA Transmission | BPAT | COBH |  | Reserved as COB
COB | PACIFICORP | PPW | COBH | Interface with BPA at multiple.
Colstrip | Avista | AVA | COLS | Colstrip
Colstrip | Montana Power | MPCO | COLS | COLSTRIP
Cowlitz Co. PUD | BPA Transmission | BPAT | COWL | CWZ
Clearwater Power Co. | BPA Transmission | BPAT | CPC
3rd AC Intertie - Captain Jack | BPA Transmission | BPAT | CPTJACK |  | Reserved as COB
Clark Public Utilities | BPA Transmission | BPAT | CPU | Clark
CAISO | PACIFICORP | PPW | CRAG | Interface with CAISO
Cascade-Crag View (PACW to CISO) | California ISO | CISO | CRAG | CASC | Crag View 115KV
CRAIG | WAPA-RMR | WACM | CRG | CRAIG
Crossover | Montana Power | MPCO | CROS | Crossover
Columbia River People's | BPA Transmission | BPAT | CRP
Crystal 500kV | Nevada Power Company | NEVP | CRY
Silver Peak-Control (SPP to CISO) | California ISO | CISO | CTRL | SLVP | Control A & C 55KV
Davis Dam 230 | WAPA-DSW | WALC | DAD2 | DAVISDAM230
Davis | LADWP | LDWP | DAV2
Devers-Coachella (IID to CISO) | California ISO | CISO | DEV2 | NONE | Devers 230KV
Devers-Mirage (IID to CISO) | California ISO | CISO | DEV2 | MIR | Devers 230KV
Palo Verde-Devers (SRP to CISO) | California ISO | CISO | DEV5 | DEVR | Devers 500KV
DAVE JOHNSTON | WAPA-RMR | WACM | DJ | DAVE JOHNSTON
WACM | PACIFICORP | PPW | DJ | Interface with WACM @ DJ/Wyodak
Douglas PUD Control Area | Douglas County Public Utility District | DOPD | DOPD | DOPD
Interface between BPAT and Douglas Co. PUD | BPA Transmission | BPAT | DOPD | BPAT.DOPD
Drum-Summit (SPP to CISO) | California ISO | CISO | DRUM | SUMM | Drum #1 & #2 115KV
Douglas Switchyard 230 | Douglas County Public Utility District | DOPD | DS2 | DOSWYD230
Eldorado 500kV | LADWP | LDWP | ELD
McCullough-Eldorado (LDWP to CISO) | California ISO | CISO | ELD | ELDM | Eldorado 500KV
Mead-Eldorado (WALC to CISO) | California ISO | CISO | ELD2 | NONE | Eldorado 230KV
Moenkopi-Eldorado (APZS to CISO) | California ISO | CISO | ELD5 | ELDP | Eldorado 500KV
Elf Atochem - Oregon West | BPA Transmission | BPAT | ELF | ElfAtochem
Ellensburg, City of | BPA Transmission | BPAT | ELN
Emerald PUD | BPA Transmission | BPAT | EMP | Emerald
ENTR(Enterprise) | PACIFICORP | PPW | ENPR | Interface with IPCO
IPCO-PACW Interface (Enterprise & Midpoint 500) | IDAHO POWER COMPANY | IPCO | ENPR
Eastern Technical Area 115 | Public Service Company of NM | PSNM | ETA | ETA115
Eugene Water and Electric Board | BPA Transmission | BPAT | EWEB | EWEB
Four Corners 230 | Arizona Public Service Co. | AZPS | FC2 | FOURCORNE230
AZPS-PACE INTERFACE (FOUR CORNERS 345) | PACIFICORP | PPW | FC3 | Interface with APS at 4C.
Four Corners 345 | Arizona Public Service Co. | AZPS | FC3 | FOURCORNE345
Franklin Co. PUD | BPA Transmission | BPAT | FCPD | Franklin
F. GORGE | PACIFICORP | PPW | FGE | Interface with WACM
FLAMING GORGE | WAPA-RMR | WACM | FGE | FLAMINGGORGE
Flathead Electric | BPA Transmission | BPAT | FLAT | Flathead
Forest Grove, City of | BPA Transmission | BPAT | FSTG | FTGR
Goldendale Aluminum Corp. (formerly Columbia Alum.) | BPA Transmission | BPAT | GAC | GAC
Gallegos 115 | Public Service Company of NM | PSNM | GALL | GALLEGOS115
Garrison | Montana Power | MPCO | GARR | ?
Garrison MPCO Connection for Colstrip | BPA Transmission | BPAT | GARR | Garrison
Interface between BPAT and Grant Co. PUD | BPA Transmission | BPAT | GCPD | BPAT.GCPD
Parker-Gene (WALC to CISO) | California ISO | CISO | GENE | PARK | Gene 161KV
Grays Harbor PUD | BPA Transmission | BPAT | GHPD | GHPUD
Greenlee 345 | Tucson Electric Power Co. | TEPC | GL3 | GREENLEE345
Gila 161 | WAPA-DSW | WALC | GLA1 | GILA161
Glen Canyon 230 | WAPA-DSW | WALC | GLC2 | GLENCANYON230
WALC | PACIFICORP | PPW | GLC2 | Interface with WALC @ Glen CYN
Glen Canyon 345 | WAPA-DSW | WALC | GLC3 | GLENCANYON345
GMS | B.C. Hydro & Power Authority | BCHA | GMS | GMS
Gonder | Sierra Pacific Power Company | SPPC | GON | GONDER
SPPC | PACIFICORP | PPW | GON | Interface with SPP @ Gonder
Georgia-Pacific | BPA Transmission | BPAT | GP | GeorgiaPac
Griffith 230 | WAPA-DSW | WALC | GRF2 | GRIFFITH230
Harry Allen 345kV | Nevada Power Company | NEVP | HA
Haiwee | LADWP | LDWP | HAI
Haiwee (LDWP to CISO) | California ISO | CISO | HAI | NONE | Haiwee 55KV
Hayden 115kV Substation | Salt River Project | SRP | HD1 | HAYDEN115
Hermiston Generation | BPA Transmission | BPAT | HERM | Hermiston
Interface between BPAT and Sierra Pacific | BPA Transmission | BPAT | HILLTOP | Hilltop
Hill Top 230 | WAPA-DSW | WALC | HLT2 | HILLTOP230
Humboldt | Sierra Pacific Power Company | SPPC | HMBT | HUMBOLDT
IDAHO TO SPPC N-S (HUMBOLT) | IDAHO POWER COMPANY | IPCO | HMBT
HESPERUS | WAPA-RMR | WAUM | HSP | HESPERUS
AVA-MPCO Interface (Hot Springs) | Avista | AVA | HTSP | Hot Springs
Hot Springs | Montana Power | MPCO | HTSP | HotSprings
Interface between BPAT and Montana | BPA Transmission | BPAT | HTSP | HotSprings
IPCO TO MPCO INTERFACE (HOTSPRINGS) (AMPS LINE) | IDAHO POWER COMPANY | IPCO | HTSP
MPC-IPC(AMPS) | PACIFICORP | PPW | HTSP | Interface with MPC & IPCO
Idaho Falls Elect. Dept., City of | BPA Transmission | BPAT | IDFP
Idaho Light & Power | BPA Transmission | BPAT | ILPC
Ingledow 500 kV Bus | B.C. Hydro & Power Authority | BCHA | ING5 | BCHA.Network
Intalco Aluminum | BPA Transmission | BPAT | INT | Intalco
Inyo (LDWP Gorge-Rinaldi line interconnection --- LDWP to CISO) | California ISO | CISO | INY | NONE | INYO 230 KV
Idaho Power Company System | IDAHO POWER COMPANY | IPCO | IPCO
IPCO | PACIFICORP | PPW | IPCO | Interface with IPCO @ Midpoint
Inland Power & Light | BPA Transmission | BPAT | IPL4
Imperial Valley-El Centro (IID to CISO) | California ISO | CISO | IVLY | IVAL | Imperial Valley 500KV
Imperial Valley-La Rosita (CFE to CISO) | California ISO | CISO | IVLY | IVAL | Imperial Valley 500KV
BRIDGER | PACIFICORP | PPW | JBSN | Interface with IPCO & PACW from PACEW
PACEW-IPCO INTERFACE (JIM BRIDGER) | IDAHO POWER COMPANY | IPCO | JBSN
Jefferson | Montana Power | MPCO | JEFF | Jefferson
MPCO TO IPCO INTERFACE (STATELINE) (JEFFERSON LINE) | IDAHO POWER COMPANY | IPCO | JEFF
John Day | BPA Transmission | BPAT | JOHNDAY | JohnDay | For transactions to & from the So. Intertie only
Kaiser Aluminum - Bell | Avista | AVA | KBELL | KaiserBell
Kaiser Aluminum/ Bell | BPA Transmission | BPAT | KBELL | KaiserBell
Kittitas Co. PUD | BPA Transmission | BPAT | KIT
Knob 161 | WAPA-DSW | WALC | KNB1 | KNOB161
Knox 230 | Salt River Project | SRP | KNX2 | KNOX230
Klickitat Co. PUD | BPA Transmission | BPAT | KPUD | Klickitat
Kaiser Aluminum - Tacoma | Avista | AVA | KTAC | KaiserTac
Kaiser Aluminum/ Tacoma | BPA Transmission | BPAT | KTAC | KaiserTac
Kootenai Electric Coop | BPA Transmission | BPAT | KTE
Kaiser Aluminum - Trentwood | Avista | AVA | KTRENT | KaiserTrent
Kaiser Aluminum/ Trentwood | BPA Transmission | BPAT | KTRENT | KaiserTrent
Kyrene 230 | Salt River Project | SRP | KY2 | KYRENE230
Kyrene 500 | Salt River Project | SRP | KY5 | KYRENE500
Lake | SMUD | SMUD | LAK
Lewis Co. PUD | BPA Transmission | BPAT | LCP
Lincoln Electric Coop | BPA Transmission | BPAT | LEC
Laguna Bell-Valasco (LDWP to CISO) | California ISO | CISO | LGB | NONE | Laguna Bell 230 KV normally open
Interface between BPAT and Idaho | BPA Transmission | BPAT | LGBP | LaGrande
IPCO-BPAT INTERFACE (LAGRANDE) | IDAHO POWER COMPANY | IPCO | LGBP
Liberty 230 | WAPA-DSW | WALC | LIB2 | LIBERTY
Liberty 345 | WAPA-DSW | WALC | LIB3 | LIBERTY
AVA-IPCO Interface (Lolo) | Avista | AVA | LOLO | Lolo
IPCO-AVA INTERFACE (LOLO) | IDAHO POWER COMPANY | IPCO | LOLO
LARAMIE RIVER | WAPA-RMR | WACM | LRS | LARAMIERIVER
Luna 345 | Public Service Company of NM | PSNM | LUNA | LUNA345
SCL - IPCO INTERFACE (LUCKY PEAK) | IDAHO POWER COMPANY | IPCO | LYPK
Malin PACW Connection toward Nevada | BPA Transmission | BPAT | MAL2 | Malin230
AC Intertie - Malin 500 | BPA Transmission | BPAT | MAL5 | Malin | Reserved as COB; E-TAG Paths: MAL5-JOHNDAY or JOHNDAY-MAL5
Malin 230 | PACIFICORP | PPW | MAL5 | Interface with BPA.
McCullough 230kV | LADWP | LDWP | MC2
McCullough 500kV | LADWP | LDWP | MC5 | MCL
McMinnville, City of | BPA Transmission | BPAT | MCMN
Mason Co. PUD #1 | BPA Transmission | BPAT | MCP1
Mason Co. PUD #3 | BPA Transmission | BPAT | MCP3
Mead 230 | WAPA-DSW | WALC | MED2 | MEAD230
Mead 500 | WAPA-DSW | WALC | MED5 | MEAD500
Merchant | Nevada Power Company | NEVP | MHT
Mid-Columbia | Puget Sound Energy | PSEI | MIDC | MIDC PLAYER TO DISCUSS
Mid-Columbia Remote Resources | BPA Transmission | BPAT | MIDC
WANAPUM | PACIFICORP | PPW | MIDC | Interface with Mid-C
MIDWAY | WAPA-RMR | WACM | MIDW | MIDWAY
Miguel-Tijuana (CFE to CISO) | California ISO | CISO | MIGL | NONE | Miguel 500KV
MILE CITY CONVERTER STATION | WAPA-UM | WAUM | MILCTYDC-EW
MILE CITY CONVERTER STATION | WAPA-UM | WAUM | MILCTYDC-WE
Mimbres 115 | Public Service Company of NM | PSNM | MIMB | MIMBRES115
Devers-Capwind-Concho-Mirage (IID to CISO) | California ISO | CISO | MIRA | MIR92 | Mirage 92KV normally open
McKinley 345 | Tucson Electric Power Co. | TEPC | MK3 | MCKINLEY345
Moenkopi 500 | Arizona Public Service Co. | AZPS | MK5 | MOENKOPI500
Marketplace 500 | LADWP | LDWP | MKP
Mohave-Laughlin (NEVP to CISO) | California ISO | CISO | MOHA | LAUG | Mohave 500KV normally open
DG&T | PACIFICORP | PPW | MONA | Interface with LA & DGT
LDWP | PACIFICORP | PPW | MONA | Interface with LDWP @ Mona
Mona | LADWP | LDWP | MONA
MONA | PACIFICORP | PPW | MONA | Interface with LDWP & DGT
Montana Power System | Montana Power | MPCO | MONT | MPCO.System
Interface between BPAT and Montana | BPA Transmission | BPAT | MPCO | BPAT.MPCO
Missoula Electric Coop | BPA Transmission | BPAT | MSE
Mission Valley Coop | BPA Transmission | BPAT | MVC
Northwest Aluminum | Avista | AVA | NAC | NWAluminum
Northwest Aluminum | BPA Transmission | BPAT | NAC | NWAluminum
New Blythe 230 | WAPA-DSW | WALC | NBL2 | NEWBLYTHE230
Nevada Power Control Area | Nevada Power Company | NEVP | NEVP
North Gila 500/69 (AZPS to CISO) | California ISO | CISO | NG5 | NG4 | North Gila 500/69KV
North Gila 500/69-INTERFACE WITH CISO | Arizona Public Service Co. | AZPS | NG5 | NRTHGILA500
Palo Verde-North Gila (SRP to CISO) | California ISO | CISO | NG5 | NGIL | North Gila 500KV
AVA-PACW INTERFACE (NORTH LEWISTON) | PACIFICORP | PPW | NLEW | Interface with AVA at N. Lewiston
AVA-PACW Interface (N Lewiston) | Avista | AVA | NLW | N Lewiston
Nelway 230 kV BUS | B.C. Hydro & Power Authority | BCHA | NLY2 | BCHA.Network
Nevada - Oregon Border | BPA Transmission | BPAT | NOB | NOB
Nevada Oregon Border (PNWDC) | LADWP | LDWP | NOB
Norton 115 | Public Service Company of NM | PSNM | NORT | NORTON115
North of path 15 load zone inside CISO control area | California ISO | CISO | NP15 | NONE | Network service
Natal 60 kV Bus | B.C. Hydro & Power Authority | BCHA | NTL6 | BCHA.Network
Navajo 500 | Arizona Public Service Co. | AZPS | NV5 | NAVAJO500
SPPC TO IDAHO S-N (NORTH VALMY) | IDAHO POWER COMPANY | IPCO | NVLY
North Valmy 345 | Sierra Pacific Power Company | SPPC | NVY | N.VALMY
North Wasco Co. PUD | BPA Transmission | BPAT | NWC | NorthWasco
Northwest Market Hub | BPA Transmission | BPAT | NWH | NWH
Ojo 345 | Public Service Company of NM | PSNM | OJO | OJO345
Okanogan PUD | BPA Transmission | BPAT | OKPD | Okanogan
Oregon Metallurgical | BPA Transmission | BPAT | ORMT | OregonMetal
Oregon Trail Electric Coop | BPA Transmission | BPAT | OTEC | OregonTrail
Interface between BPAT and PacifiCorp | BPA Transmission | BPAT | PACW | BPAT.PACW
WANAPUM | Grant County PUD | GCPD | PACW
Parker Davis 161 | WAPA-DSW | WALC | PAD1 | PARKERDAVIS161
Parker Davis 230 | WAPA-DSW | WALC | PAD2 | PARKERDAVIS230
Pacific Co. PUD | BPA Transmission | BPAT | PCP
PGE-PCW INTERFACE | Portland General Electric | PGE | PCW | PGE-PCW
Peninsula Light | BPA Transmission | BPAT | PEN
Interface between BPAT and PGE | BPA Transmission | BPAT | PGE | BPAT.PGE
PGE | PACIFICORP | PPW | PGE | Interface with PGE @ multiple
PGE System | Portland General Electric | PGE | PGES
Pacific Northwest Generating Coop | BPA Transmission | BPAT | PNGC | PNGC
Pend Oreille | Avista | AVA | PO | POPD
Pond Oreille PUD | BPA Transmission | BPAT | POND | POND
Pinnacle Peak 230 | Salt River Project | SRP | PP2
Pinnacle Peak 230 | WAPA-DSW | WALC | PP2 | PINNACLE.PK
Pinnacle Peak 345 | Arizona Public Service Co. | AZPS | PP3 | PNPKAPS345
Pinnacle Peak 345 | WAPA-DSW | WALC | PP3 | PINNACLE.PK345
Power Pool of Alberta | Power Pool of Alberta | PPOA | PPOA | PPOA
Princeton | B.C. Hydro & Power Authority | BCHA | PRN | Princeton
Interface between BPAT and PSEI | BPA Transmission | BPAT | PSEI | BPAT.PSEI
Puget Sound Energy System | Puget Sound Energy | PSEI | PSEI | PSEI.SYSTEM
Port Townsend | BPA Transmission | BPAT | PT | PtTownsend
Port Angeles, City of | BPA Transmission | BPAT | PTA
Palo Verde 500 | Salt River Project | SRP | PV5 | PALOVERDE500
Reynolds Metals - Longview | BPA Transmission | BPAT | RACL | ReynoldsLong
Reynolds Metals - Troutdale | BPA Transmission | BPAT | RACT | ReynoldsTrdl
Rancho Seco | SMUD | SMUD | RAN
Richland, City of | BPA Transmission | BPAT | RCHL | Richland
NEVP-PACE (Red Butte) | Nevada Power Company | NEVP | RE
Red Butte 345 | PACIFICORP | PPW | REDB | Interface with NEVP
Rogers 230 | WAPA-DSW | WALC | RGS2 | ROGERS230
Interface between BPAT and Seattle City Light | BPA Transmission | BPAT | SCL | BPAT.SCL
INTERFACES | Seattle City Light | SCL | SCL
Seattle City Light System | Puget Sound Energy | PSEI | SCL | SCL.SYSTEM
SIDNEY CONVERTER STATION EAST | WAPA-RMR | WACM | SCSE | SIDNEYE230
SIDNEY CONVERTER STATION WEST | WAPA-RMR | WACM | SCSW | SIDNEYW230
AVA-SCL Interface (Summer Falls) | Avista | AVA | SF | Summer Falls Main Canal
Saguaro 500 | Arizona Public Service Co. | AZPS | SG5 | SAGUARO500
STEGALL WEST230 | WAPA-RMR | WACM | SGW | STEGALLW230
Shiprock 115 | WAPA-DSW | WALC | SHR1 | SHIPROCK115
Shiprock 230 | WAPA-DSW | WALC | SHR2 | SHIPROCK230
Shiprock 345 | WAPA-DSW | WALC | SHR3 | SHIPROCK345
Silver King 500kV Switchyard | Salt River Project | SRP | SI5 | SILVERKIN500
San Juan 345 | Public Service Company of NM | PSNM | SJN | SJ345
Slatt | BPA Transmission | BPAT | SLAT
S.Slocan 60 kV Bus | B.C. Hydro & Power Authority | BCHA | SLC6 | S.Slocan
Silver Peak | Sierra Pacific Power Company | SPPC | SLPK | SILVER.PEAK
Snohomish Co. PUD | BPA Transmission | BPAT | SNOH | SNOH
South Loop 345 | Tucson Electric Power Co. | TEPC | SO3 | SOUTHLOOP345
South of path 15 load zone inside CISO control area | California ISO | CISO | SP15 | NONE | Network service
Springerville 345 | Tucson Electric Power Co. | TEPC | SP3 | SPRINGER345
Spaulding-Summit (SPP to CISO) | California ISO | CISO | SPAU | SUMM | Spaulding 60KV
SPPC Internal | Sierra Pacific Power Company | SPPC | SPPC | ADD FOR ALL CONTROL AREAS
Tacoma-Avista Interfaces (Stafford) | Tacoma Power | TPWR | STF
Tacoma Power System at Starwood | Puget Sound Energy | PSEI | STR | TCL.STARWOOD
AVA-TCL Interface (Stratford) | Avista | AVA | STRF | Stratford
Springfield Utility Board | BPA Transmission | BPAT | SUB | SUB
Summit | Sierra Pacific Power Company | SPPC | SUM | SUMMIT
Sylmar | LADWP | LDWP | SYL
Tillamook People's Utility Board | BPA Transmission | BPAT | TLMK | Tillamook
Toluca | LADWP | LDWP | TOL
Topock 230 | WAPA-DSW | WALC | TOP2 | TOPOCK230
Vanalco | BPA Transmission | BPAT | VANA | Vanalco
VANTAGE | Grant County PUD | GCPD | VANT
Vigilante Electric Coop | BPA Transmission | BPAT | VEC | Vernon
Vail 345 | Tucson Electric Power Co. | TEPC | VL3 | VAIL345
WACMVR(Vernal) | PACIFICORP | PPW | VNL | Interface with WACM @ Vernal
Vernon | B.C. Hydro & Power Authority | BCHA | VNT | Vernon
Vera Water & Power | BPA Transmission | BPAT | VRA | Vera Irrigation
Lugo-Victorville (LDWP-CISO) | California ISO | CISO | VVL | LUGO | Lugo 500KV
Victorville/Lugo midpnt | LADWP | LDWP | VVL
Waneta 230 kV Bus | B.C. Hydro & Power Authority | BCHA | WAN2 | BCHA.Network
Whatcom Co. PUD | BPA Transmission | BPAT | WCP | Whatcom
West Kootenay Power Ltd. | B.C. Hydro & Power Authority | BCHA | WK | WestKootenay
West Mesa 115 | Public Service Company of NM | PSNM | WM11 | WM115
West Mesa 345 | Public Service Company of NM | PSNM | WM34 | WM345
Westwing 230 | Arizona Public Service Co. | AZPS | WW2 | WESTWING230
Westwing 500 | Arizona Public Service Co. | AZPS | WW5 | WESTWING500
Yellowtail | Montana Power | MPCO | YT | Yellowtail
YELLOWTAIL | PACIFICORP | PPW | YTP | Interface with WACM
YELLOWTAIL | WAPA-RMR | WACM | YTP | YELLOWTAILP
YELLOWTAIL | WAPA-RMR | WACM | YTW | YELLOWTAILW
Midway-Vincent load zone inside CISO control area | California ISO | CISO | ZP26 | NONE | Midway-Vincent 500KV
Note on D3: Mark W. Hackney: This is currently acceptable under manual imput. If future specs use the TSIN names, these will be discontinued.