## Summary
GENCO SUMMARY
Valuation Date: | Week of | 2000-06-05
ASSET SUMMARY: | [8 empty] | VALUATION:
[10 empty] | 2000 | 2001 | 2002
1999 Assets |  |  | 2000 Assets | [5 empty] | GenCo EBITDA (000 $) | 365748.5785 | 223676.1285 | 155805.1501
Total Cost (000$) | 431600.161 |  | Current Estimates of Total Cost (000$) |  |  |  | 592082.6351
$/kW @ ISO MW of 1381 MW | 312.5273 |  | $/kW @ ISO MW of 1686 MW |  |  |  | 351.1759 |  |  | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton | GenCo
Current Book Value as of 29-Mar-00 (000$) | 419175.6608 |  | Dollar Spent on the 2000 Assets as of 28-Apr-00 (000$) |  |  |  | 516468.9813 |  | Enterprise Value (without Salvage Value) | 98140.0948 | 96605.1659 | 72975.8842 | 108324.7954 | 97243.3108 | 119441.1089 | 592730.36
[9 empty] | Enterprise Value (with Salvage Value) | 197429.3796 | 197105.2956 | 151882.6125 | 215888.1873 | 198752.4779 | 250615.977 | 1211673.9299
1999 & 2000 Assets Total Cost: | 1023682.7961
$/kW @ ISO MW of 3067 MW | 333.7733 | [7 empty] | 2000 Capacity Prices ($/kW-mo) | 14.1318 | 14.2697 | 13.1715 | 23.1794 | 20.226 | 18.1966 | 16.7059
[9 empty] | 2001 Capacity Prices ($/kW-mo) | 8.6768 | 8.3123 | 8.0172 | 9.0578 | 8.4646 | 8.284 | 8.4801
[9 empty] | 2002 Capacity Prices ($/kW-mo) | 6.3478 | 6.0677 | 5.8504 | 6.6708 | 6.1199 | 6.0035 | 6.1836
FINANCING ASSUMPTIONS:
| Debt |  | Equity |  | Total
Capitalization Ratio | 50% |  | 50% |  | 100%
Amount ('000 $) | 511841.398 |  | 511841.398 |  | 1023682.7961
Cost of Funds
10-yr Treasury Rate (%) | 6.15% | (Dated: 2-Jun-00)
Spread (%) | 3.111% | (Dated: 2-Jun-00)
All In Coupon Rate (%) | 9.261% |  | 20% |  | 14.63% | (Wtg Avg)
GenCo Book Value at the end of Year 3 (000$) | 932287.6063
Salvage Value at year 3 ($/kW) | 303.9738 | (Year 3 Book Value / ISO MW of 3067 MW)
Rates
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
Treasury (%) | 6.15% | 6.33% | 6.51% | 6.5% | 6.52% | 6.22% | 5.98% | 5.87%
Spreads (%) | 3.111% | 3.015% | 2.784% | 2.644% | 2.587% | 2.74% | 3.22% | 3.24%
All-in Rate (%) | 9.261% | 9.345% | 9.294% | 9.144% | 9.107% | 8.96% | 9.2% | 9.11%
Enterprise Values (with Salvage)
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
Wilton | 250615.977 | 243613.069 | 235379.9579 | 222284.6671 | 217247.1225 | 213822.0791 | 215319.3314 | 213935.0064
Gleason | 215888.1873 | 204375.368 | 193727.5103 | 185886.0014 | 180460.8764 | 177406.9221 | 179089.6382 | 177569.5557
Brownsville | 197429.3796 | 201606.0948 | 189524.1625 | 181011.7955 | 175266.8378 | 172032.9454 | 174377.9155 | 172632.826
Caledonia | 197105.2956 | 200803.1747 | 187998.6602 | 179521.9024 | 172423.0865 | 169764.8272 | 171872.6871 | 170181.3682
Wheatland | 198752.4779 | 196380.6594 | 186630.9413 | 175928.4851 | 171980.4544 | 168718.7649 | 169921.9409 | 168753.2131
New Albany | 151882.6125 | 155354.1261 | 145308.9665 | 139184.7812 | 133943.7203 | 132084.6626 | 133447.3004 | 132085.0783
Enterprise Values (with Salvage)
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
GenCo | 1211673.9299 | 1202132.4919 | 1138570.1986 | 1083817.6328 | 1051322.0978 | 1033830.2014 | 1044028.8137 | 1035157.0477
Capacity Prices | 2000 | 2001 | 2002
Wheatland | 20.226 | 8.4646 | 6.1199
Gleason | 23.1794 | 9.0578 | 6.6708
Wilton | 18.1966 | 8.284 | 6.0035
Brownsville | 14.1318 | 8.6768 | 6.3478
Caledonia | 14.2697 | 8.3123 | 6.0677
New Albany | 13.1715 | 8.0172 | 5.8504
GenCo | 16.7059 | 8.4801 | 6.1836
Valuation
Required Changes for Weekly/Monthly Valuation
Weekly Changes
1 | Desk (Source: Jenny Latham)
2 | 10-yr Treasury
3 | Spreads
4 | USD Libor Forward Curve (Source: http://home.ect.enron.com/dept/irfx/curves/)
Monthly Changes
1 | Accounting Numbers
2 | Depreciation Value

## Capacity Prices
CAPACITY PRICE SUMMARY
1999 Assets | [5 empty] | 2000 Assets
Brownsville
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 14.1318 | 15.3332 | 12.8674 | 11.0927 | 10.2619 | 8.9076 | 9.5097 | 9.0523
2001 | 8.6768 | 8.6188 | 7.9864 | 7.6532 | 7.2055 | 7.184 | 7.2108 | 7.2093
2002 | 6.3478 | 6.255 | 6.2594 | 6.1141 | 5.8311 | 5.7296 | 5.7445 | 5.7256
Caledonia
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 14.2697 | 15.338 | 12.697 | 10.928 | 9.809 | 8.5459 | 9.1093 | 8.6657
2001 | 8.3123 | 8.2536 | 7.6494 | 7.3307 | 6.8613 | 6.8752 | 6.9017 | 6.902
2002 | 6.0677 | 5.9858 | 5.9834 | 5.8462 | 5.5439 | 5.4723 | 5.4874 | 5.4705
New Albany
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 13.1715 | 14.358 | 11.8519 | 10.3252 | 9.4213 | 8.2323 | 8.7833 | 8.3531
2001 | 8.0172 | 7.9621 | 7.3754 | 7.0738 | 6.5852 | 6.6375 | 6.6637 | 6.6635
2002 | 5.8504 | 5.7693 | 5.7769 | 5.6488 | 5.3291 | 5.2897 | 5.3048 | 5.2873
Gleason
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 23.1794 | 24.0401 | 20.2597 | 17.6434 | 16.6093 | 14.6396 | 15.5798 | 14.8847
2001 | 9.0578 | 7.0595 | 6.8016 | 6.5242 | 6.0848 | 6.0023 | 6.0268 | 6.0417
2002 | 6.6708 | 4.9669 | 4.9741 | 4.8879 | 4.5606 | 4.4203 | 4.4386 | 4.4522
Wheatland
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 20.226 | 23.8601 | 20.421 | 17.262 | 16.5341 | 14.3464 | 15.0194 | 14.3961
2001 | 8.4646 | 7.763 | 7.4835 | 6.9368 | 6.5542 | 6.3768 | 6.4342 | 6.498
2002 | 6.1199 | 5.2756 | 5.2359 | 4.9232 | 4.6786 | 4.7558 | 4.7738 | 4.7778
Wilton
Capacity Prices
Valuation Date | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 18.1966 | 22.5138 | 19.8612 | 16.8256 | 16.1157 | 14.017 | 14.681 | 14.0691
2001 | 8.284 | 6.6331 | 6.6073 | 6.1401 | 5.7602 | 5.6717 | 5.7331 | 5.8076
2002 | 6.0035 | 4.552 | 4.6666 | 4.3591 | 4.1193 | 4.2234 | 4.2425 | 4.2578

## Assumptions
ASSUMPTIONS
TECHNICAL ASSUMPTIONS: | 1999 PROJECTS |  |  | 2000 PROJECTS |  |  | GENCO
| Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Number of Turbines | 4 | 6 | 6 | 3 | 4 | 8 | 31
Commercial Operation Date | 1999-06-15 | 1999-06-15 | 1999-07-01 | 2000-06-01 | 2000-06-01 | 2000-06-01
ISO Capacity (MW) | 492 | 498 | 391 | 533 | 503 | 650 | 3067
Gross Summer Capacity (June - Sept) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Summer Availability | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Net Summer Capacity (MW) | 427.5 | 418 | 337.25 | 475 | 441.75 | 570 | 2669.5
Gross Shoulder Capacity (Apr, May, Oct) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Shoulder Availability | 75% | 75% | 75% | 75% | 75% | 75% | 75%
Net Summer Capacity (MW) | 337.5 | 330 | 266.25 | 375 | 348.75 | 450 | 2107.5
Gross Winter Capacity (Nov - Mar) (MW) | 510 | 535 | 455 | 555 | 525 | 690 | 3270
Winter Availability | 75% | 75% | 75% | 75% | 75% | 75% | 75%
Net Winter Capacity (MW) | 382.5 | 401.25 | 341.25 | 416.25 | 393.75 | 517.5 | 2452.5
Weighted Average Capacity Per Year | 386.25 | 389.0208 | 321.1667 | 425.5208 | 398.5 | 518.125 | 2438.5833
Heat Rate (Btu/kWh) | 11800 | 12200 | 12200 | 10600 | 11700 | 12200 | 11775.7441
Annual Operating Hours | 1365 | 1685 | 1086 | 915 | 902 | 3250 | 9203
Annual Generation (MWh) | 527231.25 | 655500.1042 | 348787 | 389351.5625 | 359447 | 1683906.25 | 3964223.1667
Number of Starts per year | 75 | 75 | 75 | 75 | 75 | 75 | 75
Operating Costs (Annualized 2000$) | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Annual Escalator | 3% | 3% | 3% | 3% | 3% | 3% | 3%
Mobilization | 0 | 0 | 0 | 1448.6417 | 1580.424 | 1471.68 | 823.7325
Fixed Operation & Maintenance | 1563.6315 | 1721.302 | 1878.0666 | 1242.4817 | 1515.7903 | 1448.5406 | 1541.8857
Variable Operation & Maintenance | 426.3631 | 249.3288 | 224.7381 | 375.12 | 446.16 | 528 | 387.455
Major Maintenance & Ongoing Capex | 1000 | 1006 | 1000 | 1028.5714 | 1028.5714 | 1028.5714 | 1016.6823
O&M Management Fee | 207.019 | 207.019 | 207.019 | 342.8571 | 342.8571 | 342.8571 | 281.7815
Owner's Expense | 431.7852 | 410.9307 | 362.6722 | 322.2511 | 306.2677 | 400.6471 | 373.1156
Property Taxes (Not Escalated) | 250 | 591.2 | 488.8 | 158.1 | 174.2349 | 572.0571 | 375.8914
Total | 3878.7987 | 4185.7805 | 4161.2959 | 4918.0231 | 5394.3054 | 5792.3534 | 4800.544

## Spark-Spread
SPARK-SPREAD VALUE FROM TRADING
MONTHLY VALUES
Valuation Date
| 2000-01-31 | 2000-02-29 | 2000-03-31 | 2000-04-30 | 2000-05-31 | 2000-06-01 | 2000-06-30 | 2000-07-31 | 2000-08-31 | 2000-09-30 | 2000-10-31 | 2000-11-30 | 2000-12-31 | 2001-01-31 | 2001-02-28 | 2001-03-31 | 2001-04-30 | 2001-05-31 | 2001-06-30 | 2001-07-31 | 2001-08-31 | 2001-09-30 | 2001-10-31 | 2001-11-30 | 2001-12-31 | 2002-01-31 | 2002-02-28 | 2002-03-31 | 2002-04-30 | 2002-05-31 | 2002-06-30 | 2002-07-31 | 2002-08-31 | 2002-09-30 | 2002-10-31 | 2002-11-30 | 2002-12-31
| 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002
USD Libor Forward Curve (http://home.ect.enron.com/dept/irfx/curves/) |  |  |  |  | 6.18% | 6.715% | 6.811% | 6.901% | 6.997% | 7.036% | 7.092% | 7.147% | 7.199% | 7.244% | 7.286% | 7.324% | 7.347% | 7.371% | 7.391% | 7.406% | 7.421% | 7.433% | 7.442% | 7.45% | 7.458% | 7.465% | 7.471% | 7.476% | 7.478% | 7.48% | 7.481% | 7.482% | 7.482% | 7.483% | 7.482% | 7.482% | 0%
Revenue from Desk (Real) (Source: Jenny Latham)
Brownsville | 119.526 | 73.677 | -30.044 | -34.523 | 1835.186 | -39.251 | 9368.42 | 25593.7599 | 26335.7295 | 968.9522 | 74.4022 | 46.2753 | 63.5225 | 207.9727 | 209.6093 | 30.0922 | 74.2067 | 471.9301 | 5670.4995 | 14031.0448 | 15000.2095 | 839.6921 | 77.5994 | 49.7108 | 62.9984 | 171.3285 | 176.7204 | 24.445 | 143.1821 | 364.6517 | 3621.3615 | 9646.5352 | 9594.9602 | 915.4776 | 140.2334 | 86.0864 | 110.1265
Caledonia | 213.762 | 140.606 | -308.827 | -3.246 | 3390.302 | 348.335 | 9029.8578 | 26066.8466 | 25587.2019 | 887.3548 | 59.972 | 37.8202 | 54.0642 | 186.8997 | 188.8904 | 23.7824 | 63.5663 | 431.7535 | 5461.782 | 13602.6704 | 14541.0207 | 774.7172 | 63.4136 | 41.4404 | 54.2706 | 154.5913 | 160.0856 | 19.5399 | 126.9394 | 335.8611 | 3483.2513 | 9341.7992 | 9290.1829 | 855.2865 | 121.7191 | 74.5198 | 97.7332
New Albany | -12.977 | 7.004 | -1.605 | -108.792 | 694.969 | -0.513 | 7136.0732 | 20911.9729 | 20474.437 | 651.9776 | 43.8426 | 32.1178 | 47.1205 | 169.8498 | 172.7443 | 20.5035 | 48.397 | 375.6803 | 4304.3007 | 10834.3566 | 11585.4604 | 573.8762 | 47.4728 | 36.284 | 48.2455 | 141.7257 | 147.5873 | 16.9263 | 102.307 | 294.7847 | 2739.4467 | 7428.1059 | 7386.8571 | 644.2856 | 97.8709 | 67.4403 | 89.3101
Sub-Total: 1999 Peakers | 320.311 | 221.287 | -340.476 | -146.561 | 5920.457 | 308.571 | 25534.3511 | 72572.5793 | 72397.3684 | 2508.2845 | 178.2169 | 116.2133 | 164.7072 | 564.7222 | 571.244 | 74.3782 | 186.17 | 1279.364 | 15436.5822 | 38468.0718 | 41126.6906 | 2188.2856 | 188.4857 | 127.4352 | 165.5145 | 467.6455 | 484.3933 | 60.9112 | 372.4286 | 995.2975 | 9844.0596 | 26416.4403 | 26272.0001 | 2415.0496 | 359.8234 | 228.0465 | 297.1698
Gleason | 0 | 0 | 0 | 0 | 0 | 0 | 7499.1877 | 28777.8455 | 29612.7776 | 1254.2711 | 136.2519 | 83.5059 | 104.3716 | 298.346 | 297.6166 | 57.4481 | 128.056 | 648.5253 | 6538.0093 | 15897.5209 | 16984.6974 | 1070.6866 | 135.4188 | 84.6158 | 99.7623 | 242.5174 | 247.1394 | 45.5344 | 223.0939 | 494.6605 | 4188.6806 | 10957.8815 | 10899.4 | 1135.5937 | 217.5992 | 132.9795 | 161.3125
Wheatland | 0 | 0 | 0 | 0 | -116.546 | 5.19 | 9768.6542 | 32852.9954 | 21038.0959 | 1032.6309 | 29.0292 | 24.3532 | 15.2057 | 160.714 | 169.0076 | 17.487 | 61.4251 | 612.6513 | 5873.3069 | 14041.9755 | 14997.0069 | 859.7239 | 64.375 | 65.4163 | 40.6182 | 163.8263 | 165.29 | 32.0454 | 91.9693 | 476.694 | 3544.7445 | 9611.1521 | 9569.4852 | 939.7749 | 102.5906 | 88.7434 | 69.5793
Wilton Center | 0 | 0 | 0 | 0 | -134.31 | -8.765 | 11770.3727 | 36432.7706 | 26016.9269 | 1201.9022 | 29.3597 | 41.0153 | 31.8013 | 229.1838 | 240.6587 | 28.4499 | 60.8258 | 593.5707 | 7458.2702 | 17925.9752 | 19233.9527 | 1059.9877 | 62.2768 | 83.971 | 56.0673 | 225.5784 | 230.8999 | 46.4296 | 106.554 | 526.9891 | 4485.4051 | 12321.0891 | 12269.203 | 1175.9519 | 107.2514 | 114.4868 | 93.773
Sub-Total: 2000 Peakers | 0 | 0 | 0 | 0 | -250.856 | -3.575 | 29038.2146 | 98063.6115 | 76667.8004 | 3488.8041 | 194.6408 | 148.8743 | 151.3787 | 688.2438 | 707.2829 | 103.385 | 250.3068 | 1854.7473 | 19869.5863 | 47865.4716 | 51215.6569 | 2990.3982 | 262.0706 | 234.0031 | 196.4478 | 631.9221 | 643.3293 | 124.0094 | 421.6172 | 1498.3437 | 12218.8302 | 32890.1227 | 32738.0881 | 3251.3205 | 427.4412 | 336.2098 | 324.6649
Total Revenue, Real | 320.311 | 221.287 | -340.476 | -146.561 | 5669.601 | 304.996 | 54572.5657 | 170636.1908 | 149065.1688 | 5997.0887 | 372.8577 | 265.0876 | 316.0859 | 1252.966 | 1278.5269 | 177.7632 | 436.4768 | 3134.1112 | 35306.1685 | 86333.5434 | 92342.3476 | 5178.6837 | 450.5563 | 361.4383 | 361.9623 | 1099.5676 | 1127.7226 | 184.9206 | 794.0457 | 2493.6411 | 22062.8898 | 59306.5631 | 59010.0882 | 5666.3701 | 787.2646 | 564.2562 | 621.8347
Revenue from Desk (Nominal)
Brownsville | 119.526 | 73.677 | -30.044 | -34.523 | 1835.186 | -39.251 | 9417.5586 | 26027.6125 | 26942.3791 | 996.9487 | 77.0154 | 48.1853 | 66.5546 | 219.2598 | 222.2443 | 32.1076 | 79.6548 | 509.7602 | 6162.2867 | 15343.1379 | 16505.7502 | 929.5665 | 86.4398 | 55.7083 | 71.0396 | 194.4028 | 201.6526 | 28.0674 | 165.381 | 423.7871 | 4233.7509 | 11347.2215 | 11356.0298 | 1089.9524 | 167.9845 | 103.7348 | 110.1265
MW | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 14.25 | 413.25 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5 | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 427.5 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5 | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 427.5 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5
Implied Capacity Price | 0.31249 | 0.19262 | -0.078546 | -0.10229 | 5.4376 | -2.7545 | 22.789 | 60.8833 | 63.0231 | 2.332 | 0.22819 | 0.12597 | 0.174 | 0.57323 | 0.58103 | 0.083941 | 0.23601 | 1.5104 | 14.4147 | 35.8904 | 38.6099 | 2.1744 | 0.25612 | 0.14564 | 0.18572 | 0.50824 | 0.5272 | 0.073379 | 0.49002 | 1.2557 | 9.9035 | 26.5432 | 26.5638 | 2.5496 | 0.49773 | 0.2712 | 0.28791
Caledonia | 213.762 | 140.606 | -308.827 | -3.246 | 3390.302 | 348.335 | 9077.2206 | 26508.7187 | 26176.6091 | 912.9937 | 62.0784 | 39.3811 | 56.6449 | 197.0431 | 200.2765 | 25.3752 | 68.2331 | 466.363 | 5935.4678 | 14874.7047 | 16000.4735 | 857.6372 | 70.6379 | 46.44 | 61.1978 | 175.4115 | 182.671 | 22.4354 | 146.6201 | 390.3275 | 4072.2857 | 10988.7604 | 10995.3134 | 1018.2899 | 145.8064 | 89.797 | 97.7332
MW | 401.25 | 401.25 | 401.25 | 330 | 330 | 13.9333 | 404.0667 | 418 | 418 | 418 | 330 | 401.25 | 401.25 | 401.25 | 401.25 | 401.25 | 330 | 330 | 418 | 418 | 418 | 418 | 330 | 401.25 | 401.25 | 401.25 | 401.25 | 401.25 | 330 | 330 | 418 | 418 | 418 | 418 | 330 | 401.25 | 401.25
Implied Capacity Price | 0.53274 | 0.35042 | -0.76966 | -0.0098364 | 10.2736 | 25.0001 | 22.4647 | 63.418 | 62.6235 | 2.1842 | 0.18812 | 0.098146 | 0.14117 | 0.49107 | 0.49913 | 0.06324 | 0.20677 | 1.4132 | 14.1997 | 35.5854 | 38.2786 | 2.0518 | 0.21405 | 0.11574 | 0.15252 | 0.43716 | 0.45525 | 0.055914 | 0.4443 | 1.1828 | 9.7423 | 26.2889 | 26.3046 | 2.4361 | 0.44184 | 0.22379 | 0.24357
New Albany | -12.977 | 7.004 | -1.605 | -108.792 | 694.969 | -0.513 | 7173.5029 | 21266.4622 | 20946.0704 | 670.8156 | 45.3825 | 33.4434 | 49.3697 | 179.0679 | 183.1572 | 21.8767 | 51.9502 | 405.795 | 4677.6012 | 11847.516 | 12748.2697 | 635.2997 | 52.881 | 40.6615 | 54.4036 | 160.8131 | 168.4094 | 19.4345 | 118.1687 | 342.5898 | 3202.7001 | 8737.6826 | 8742.649 | 767.0758 | 117.2388 | 81.266 | 89.3101
MW | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 11.2417 | 326.0083 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25 | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 337.25 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25 | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 337.25 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25
Implied Capacity Price | -0.038028 | 0.020525 | -0.0047033 | -0.40861 | 2.6102 | -0.045634 | 22.004 | 63.0584 | 62.1084 | 1.9891 | 0.17045 | 0.098003 | 0.14467 | 0.52474 | 0.53672 | 0.064107 | 0.19512 | 1.5241 | 13.8698 | 35.1298 | 37.8007 | 1.8838 | 0.19861 | 0.11915 | 0.15942 | 0.47125 | 0.49351 | 0.056951 | 0.44383 | 1.2867 | 9.4965 | 25.9086 | 25.9233 | 2.2745 | 0.44033 | 0.23814 | 0.26171
Sub-Total: 1999 Peakers | 320.311 | 221.287 | -340.476 | -146.561 | 5920.457 | 308.571 | 25668.2821 | 73802.7934 | 74065.0586 | 2580.758 | 184.4762 | 121.0098 | 172.5692 | 595.3709 | 605.678 | 79.3594 | 199.8382 | 1381.9182 | 16775.3557 | 42065.3585 | 45254.4933 | 2422.5035 | 209.9587 | 142.8099 | 186.641 | 530.6274 | 552.7331 | 69.9373 | 430.1698 | 1156.7044 | 11508.7367 | 31073.6645 | 31093.9923 | 2875.3181 | 431.0297 | 274.7978 | 297.1698
Gleason | 0 | 0 | 0 | 0 | 0 | 0 | 7538.5219 | 29265.6731 | 30294.9148 | 1290.5115 | 141.0374 | 86.9524 | 109.3536 | 314.5379 | 315.5567 | 61.2955 | 137.4576 | 700.5113 | 7105.0334 | 17384.1548 | 18689.4171 | 1185.285 | 150.8461 | 94.8244 | 112.4962 | 275.1794 | 282.0066 | 52.2818 | 257.6823 | 574.8794 | 4897.0064 | 12889.7583 | 12899.888 | 1352.019 | 260.6604 | 160.2414 | 161.3125
MW |  |  |  |  | 0 | 0 | 332.5 | 475 | 475 | 475 | 375 | 416.25 | 416.25 | 416.25 | 416.25 | 416.25 | 375 | 375 | 475 | 475 | 475 | 475 | 375 | 416.25 | 416.25 | 416.25 | 416.25 | 416.25 | 375 | 375 | 475 | 475 | 475 | 475 | 375 | 416.25 | 416.25
Implied Capacity Price |  |  |  |  | 0 | 0 | 22.6722 | 61.6119 | 63.7788 | 2.7169 | 0.3761 | 0.20889 | 0.26271 | 0.75565 | 0.75809 | 0.14726 | 0.36655 | 1.868 | 14.958 | 36.5982 | 39.3461 | 2.4953 | 0.40226 | 0.22781 | 0.27026 | 0.66109 | 0.67749 | 0.1256 | 0.68715 | 1.533 | 10.3095 | 27.1363 | 27.1577 | 2.8464 | 0.69509 | 0.38496 | 0.38754
Wheatland | 0 | 0 | 0 | 0 | -116.546 | 5.19 | 9819.8921 | 33409.9029 | 21522.7133 | 1062.4674 | 30.0487 | 25.3583 | 15.9316 | 169.4363 | 179.1952 | 18.6582 | 65.9348 | 661.7616 | 6382.6831 | 15355.0907 | 16502.2262 | 951.7424 | 71.7089 | 73.3086 | 45.8028 | 185.8902 | 188.6097 | 36.794 | 106.2282 | 553.9993 | 4144.1776 | 11305.6004 | 11325.8791 | 1118.8804 | 122.8925 | 106.9365 | 69.5793
MW |  |  |  |  | 348.75 | 14.725 | 427.025 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75 | 393.75 | 393.75 | 393.75 | 348.75 | 348.75 | 441.75 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75 | 393.75 | 393.75 | 393.75 | 348.75 | 348.75 | 441.75 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75
Implied Capacity Price |  |  |  |  | -0.33418 | 0.35246 | 22.9961 | 75.6308 | 48.7215 | 2.4051 | 0.086161 | 0.064402 | 0.040461 | 0.43031 | 0.4551 | 0.047386 | 0.18906 | 1.8975 | 14.4486 | 34.7597 | 37.3565 | 2.1545 | 0.20562 | 0.18618 | 0.11632 | 0.4721 | 0.47901 | 0.093445 | 0.3046 | 1.5885 | 9.3813 | 25.5928 | 25.6387 | 2.5328 | 0.35238 | 0.27158 | 0.17671
Wilton Center | 0 | 0 | 0 | 0 | -134.31 | -8.765 | 11832.1098 | 37050.3607 | 26616.2328 | 1236.6295 | 30.3909 | 42.7081 | 33.3193 | 241.6221 | 255.1654 | 30.3552 | 65.2915 | 641.1516 | 8105.106 | 19602.2971 | 21164.4256 | 1173.4409 | 69.3716 | 94.1019 | 63.2239 | 255.959 | 263.476 | 53.3097 | 123.074 | 612.4508 | 5243.9084 | 14493.2998 | 14521.1062 | 1400.0689 | 128.4756 | 137.9575 | 93.773
MW |  |  |  |  | 450 | 19 | 551 | 570 | 570 | 570 | 450 | 517.5 | 517.5 | 517.5 | 517.5 | 517.5 | 450 | 450 | 570 | 570 | 570 | 570 | 450 | 517.5 | 517.5 | 517.5 | 517.5 | 517.5 | 450 | 450 | 570 | 570 | 570 | 570 | 450 | 517.5 | 517.5
Implied Capacity Price |  |  |  |  | -0.29847 | -0.46132 | 21.4739 | 65.0006 | 46.6951 | 2.1695 | 0.067535 | 0.082528 | 0.064385 | 0.4669 | 0.49307 | 0.058657 | 0.14509 | 1.4248 | 14.2195 | 34.39 | 37.1306 | 2.0587 | 0.15416 | 0.18184 | 0.12217 | 0.49461 | 0.50913 | 0.10301 | 0.2735 | 1.361 | 9.1998 | 25.4268 | 25.4756 | 2.4563 | 0.2855 | 0.26658 | 0.1812
Sub-Total: 2000 Peakers | 0 | 0 | 0 | 0 | -250.856 | -3.575 | 29190.5238 | 99725.9367 | 78433.861 | 3589.6085 | 201.477 | 155.0189 | 158.6045 | 725.5963 | 749.9174 | 110.3089 | 268.6838 | 2003.4244 | 21592.8224 | 52341.5426 | 56356.0688 | 3310.4683 | 291.9266 | 262.2349 | 221.5228 | 717.0286 | 734.0922 | 142.3856 | 486.9846 | 1741.3295 | 14285.0924 | 38688.6585 | 38746.8733 | 3870.9683 | 512.0285 | 405.1354 | 324.6649
Total Revenue, Nominal | 320.311 | 221.287 | -340.476 | -146.561 | 5669.601 | 304.996 | 54858.8059 | 173528.7301 | 152498.9195 | 6170.3665 | 385.9532 | 276.0287 | 331.1737 | 1320.9671 | 1355.5954 | 189.6683 | 468.522 | 3385.3426 | 38368.1781 | 94406.9011 | 101610.5621 | 5732.9719 | 501.8852 | 405.0448 | 408.1639 | 1247.656 | 1286.8253 | 212.3229 | 917.1543 | 2898.0339 | 25793.8291 | 69762.323 | 69840.8655 | 6746.2864 | 943.0582 | 679.9332 | 621.8347
Total MW | 1125 | 1125 | 1125 | 933.75 | 1732.5 | 73.15 | 2453.85 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2107.5 | 2107.5 | 2669.5 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2107.5 | 2107.5 | 2669.5 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5
ANNUAL VALUES
Jenny's Numbers
| 2000 | 2001 | 2002 | 2000 | 2001 | 2002
Capacity Revenue from Desk (Real $)
Brownsville | 2000-01-31: 64375.6326; 2000-02-29: 36725.5655; 2000-03-31: 24995.1084; 2000-04-30: 64375.6326; 2000-05-31: 36725.5655; 2000-06-01: 24995.1084; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Caledonia | 2000-01-31: 65504.0495; 2000-02-29: 35434.2072; 2000-03-31: 24061.5094; 2000-04-30: 65504.0495; 2000-05-31: 35434.2072; 2000-06-01: 24061.5094; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
New Albany | 2000-01-31: 49875.6276; 2000-02-29: 28217.1712; 2000-03-31: 19156.6476; 2000-04-30: 49875.6276; 2000-05-31: 28217.1712; 2000-06-01: 19156.6476; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Gleason | 2000-01-31: 67468.2113; 2000-02-29: 42240.703; 2000-03-31: 28946.3925; 2000-04-30: 67468.2113; 2000-05-31: 42240.703; 2000-06-01: 28946.3925; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Wheatland | 2000-01-31: 64649.6085; 2000-02-29: 36963.7077; 2000-03-31: 24855.895; 2000-04-30: 64649.6085; 2000-05-31: 36963.7077; 2000-06-01: 24855.895; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Wilton Center | 2000-01-31: 75381.0736; 2000-02-29: 47033.1897; 2000-03-31: 31703.6114; 2000-04-30: 75381.0736; 2000-05-31: 47033.1897; 2000-06-01: 31703.6114; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Total Capacity Revenue (Real $) | 2000-01-31: 387254.2032; 2000-02-29: 226614.5442; 2000-03-31: 153719.1643; 2000-04-30: 387254.2032; 2000-05-31: 226614.5442; 2000-06-01: 153719.1643; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Capacity Revenue from Desk (Nominal $)
Brownsville | 2000-01-31: 65500.8252; 2000-02-29: 40216.9558; 2000-03-31: 29422.0913
Caledonia | 2000-01-31: 66614.5785; 2000-02-29: 38803.8499; 2000-03-31: 28325.4514
New Albany | 2000-01-31: 50763.1326; 2000-02-29: 30898.4797; 2000-03-31: 22547.338
Gleason | 2000-01-31: 68726.9648; 2000-02-29: 46251.4158; 2000-03-31: 34062.9155
Wheatland | 2000-01-31: 65774.9583; 2000-02-29: 40477.5487; 2000-03-31: 29265.4672
Wilton Center | 2000-01-31: 76698.6761; 2000-02-29: 51505.5526; 2000-03-31: 37326.859
Total Capacity Revenue (Nominal $) | 2000-01-31: 394079.1356; 2000-02-29: 248153.8025; 2000-03-31: 180950.1225
Capacity Prices (Net Capacity, $/kW-mo) | 2000-01-31: 2000; 2000-02-29: 2001; 2000-03-31: 2002
Brownsville | 2000-01-31: 14.1318; 2000-02-29: 8.6768; 2000-03-31: 6.3478
Caledonia | 2000-01-31: 14.2697; 2000-02-29: 8.3123; 2000-03-31: 6.0677
New Albany | 2000-01-31: 13.1715; 2000-02-29: 8.0172; 2000-03-31: 5.8504
Gleason | 2000-01-31: 23.1794; 2000-02-29: 9.0578; 2000-03-31: 6.6708
Wheatland | 2000-01-31: 20.226; 2000-02-29: 8.4646; 2000-03-31: 6.1199
Wilton Center | 2000-01-31: 18.1966; 2000-02-29: 8.284; 2000-03-31: 6.0035
Average Capacity Price (Nominal $) | 2000-01-31: 16.7059; 2000-02-29: 8.4801; 2000-03-31: 6.1836
Note on A492: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## 99 Acct Sumry
GENCO '99 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'99 Peakers
|  | Brownsville | Caledonia | New Albany
Source: 99 O&M analysis - 0001.xls
Mobilization |  | 0 | 0 | 0
Operations & Maintenance: | Classification
O&M Expenses
Fuel Handling Sstem (Gas) | Fixed | 7328 | 13504.04 | 7328
Feedwater System | Variable | 0 | 0 | 0
Air Pollution Control System | Fixed | 0 | 1413 | 15773.9
Combustion Air System | Fixed | 10028
Fire Protection System | Fixed | 3668 | 3811 | 7618
Demineralized Water System | Variable | 129514 | 67381 | 66156
Wastewater System | Fixed | 1156 | 1958 | 1156
Recirculating Water System | Fixed | 3856 | 3856 | 11572
Building Utilities & HVAC System | Fixed | 9507.94 | 11323 | 7917.6
Electrical Distribution System | Fixed | 18357.72 | 12670.33 | 28748.49
Steam Distribution System | Fixed | 0 | 11 | 0
Distributed Control System | Fixed | 9061.35 | 50100 | 50147
Plant Consumable Supplies | Fixed | 47513.43 | 50754.74 | 54828.14
Plant G&A | Fixed | 234983.05 | 271658.25 | 283341.74
Reimbursable Labor | Fixed | 723929.07 | 769874.32 | 1016310.71
Tools & Equipment | Fixed | 73629.04 | 38773.77 | 57229.72
Utilities | Fixed | 359412.87 | 449134.98 | 286787.9
Instrument/Service Air | Fixed | 1672 | 1166 | 1208
Gas T/G System | Variable | 235202.26 | 181947.83 | 158582.15
HRSG System | Variable | 61646.83 | 0 | 0
Other - Non-Scope Costs | Fixed | 59529 | 41293.53 | 48099.39
Subtotal Other O&M |  | 1989994.56 | 1970630.79 | 2102804.74
O&M Management Fee |  | 207019 | 207019 | 207019
Major Maintenance Accrual |  | 1000000 | 1006000 | 1000000
Subtotal - Oper & Maint Expense |  | 3197013.56 | 3183649.79 | 3309823.74
Owner's Expense:
Insurance | Owners | 284061 | 261456 | 270554
Property Taxes |  | 250000 | 591200 | 488800
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 68416.6667 | 68416.6667 | 68416.6667
Gas Pipeline Metering Cost | Owners | 20525 | 20525 | 20525
Misc | Owners | 58782.5 | 60533 | 3176.5
Franchise Taxes | Owners | 0 | 0 | 0
0
Subtotal - Owner's Expense |  | 681785.1667 | 1002130.6667 | 851472.1667
Total O&M excluding Capital Costs |  | 3878798.7267 | 4185780.4567 | 4161295.9067
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5447002.3959 | 6745353.2014 | 6706426.8651
Depreciation Expense |  | 3805252 | 4590793 | 4488989
Subtotal - Other Expense |  | 9252254.3959 | 11336146.2014 | 11195415.8651
Total O&M |  | 13131053.1226 | 15521926.6581 | 15356711.7718
| Check | 13131053.1226 | 15521926.6581 | 15356711.7718
| Difference | 0 | 0 | 0

## 00 Acct Sumry
GENCO '00 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'00 Peakers
|  | Gleason | Wheatland | Wilton
Source: 00 O&M analysis - 0001.xls
Mobilization |  | 845041 | 921914 | 858480
Operations & Maintenance: | Classification
O&M Expenses
Air Pollution Control System | Fixed | 19723 | 19745 | 19735
Feedwater System | Variable | 0 | 0 | 0
Fire Protection System | Fixed | 0 | 0 | 0
Demineralized Water System | Variable | 79695 | 106260 | 0
Wastewater System | Fixed | 0 | 0 | 0
Recirculating Water System | Fixed | 0 | 0 | 0
Building Utilities & HVAC System | Fixed | 2246 | 2246 | 2246
Electrical Distribution System | Fixed | 11929 | 11929 | 11929
Distributed Control System | Fixed | 4667 | 4667 | 4667
Plant Consumable Supplies | Fixed | 9654 | 9654 | 9654
Plant G&A | Fixed | 118140 | 118140 | 118140
Reimbursable Labor | Fixed | 444047 | 589750 | 458186
Tools & Equipment | Fixed | 11000 | 15550 | 11000
Utilities | Fixed | 92729 | 101885 | 198779
Instrument/Service Air | Fixed | 438 | 438 | 438
Gas T/G System | Variable | 139125 | 154000 | 308000
HRSG System | Variable | 0 | 0 | 0
Other - Non-Scope Costs | Fixed | 10208 | 10207 | 10208
Subtotal Other O&M |  | 943601 | 1144471 | 1152982
O&M Management Fee |  | 200000 | 200000 | 200000
Major Maintenance Accrual |  | 600000 | 600000 | 600000
Subtotal - Oper & Maint Expense |  | 1743601 | 1944471 | 1952982
Owner's Expense:
Insurance | Owners | 120686.5 | 111362.8333 | 155602.5
Property Taxes |  | 92225 | 101637 | 333700
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 49268.3333 | 49268.3333 | 60083.3333
Gas Pipeline Metering Cost | Owners | 18025 | 18025 | 18025
Misc | Owners | 0 | 0 | 0
Franchise Taxes | Owners | 0 | 0 | 0
Subtotal - Owner's Expense |  | 280204.8333 | 280293.1667 | 567410.8333
Total O&M excluding Capital Costs |  | 2868846.8333 | 3146678.1667 | 3378872.8333
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5491946 | 6096180 | 9322568
Depreciation Expense |  | 2448114 | 2676594 | 4015032
0
Subtotal - Other Expense |  | 7940060 | 8772774 | 13337600
Total O&M |  | 10808906.8333 | 11919452.1667 | 16716472.8333
| Check | 10808906.8333 | 11919452.1667 | 16716472.8333
| Difference | 0 | 0 | 0

## Consolidated
INCOME STATEMENT - GENCO
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 16.7059 | 8.4801 | 6.1836
Capacity Revenue from Desk (Real $) |  | 387254.2032 | 226614.5442 | 153719.1643
Capacity Revenue from Desk (Nominal $) |  | 394079.1356 | 248153.8025 | 180950.1225
Expense
Mobilization |  | 4500.7457 | 0 | 0
Fixed Operation & Maintenance |  | 9369.8126 | 9650.907 | 9940.4342
Variable Operation & Maintenance |  | 2249.7101 | 2317.2014 | 2386.7174
Major Maintenance & Ongoing Capex |  | 6091.7143 | 6274.4657 | 6462.6997
O&M Management Fee |  | 1649.6284 | 1699.1173 | 1750.0908
Owner's Expense |  | 2234.554 | 2301.5906 | 2370.6383
Property Taxes |  | 2234.392 | 2234.392 | 2234.392
Total Expense |  | 28330.5571 | 24477.674 | 25144.9724
EBITDA |  | 365748.5785 | 223676.1285 | 155805.1501
Salvage Value |  | 0 | 0 | 932287.6063 | 932287.6063
Without Salvage Value
Net Equity Cashflow | 0 | 365748.5785 | 223676.1285 | 155805.1501
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 592730.36 |  |  |  | 592730.36
With Salvage Value
Net Equity Cashflow | 0 | 365748.5785 | 223676.1285 | 1088092.7564
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 1211673.9299 |  |  |  | 1211673.9299
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Brownsville
INCOME STATEMENT - BROWNSVILLE
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 14.1318 | 8.6768 | 6.3478
Capacity Revenue from Desk (Real $) |  | 64375.6326 | 36725.5655 | 24995.1084
Capacity Revenue from Desk (Nominal $) |  | 65500.8252 | 40216.9558 | 29422.0913
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1563.6315 | 1610.5404 | 1658.8566
Variable Operation & Maintenance |  | 426.3631 | 439.154 | 452.3286
Major Maintenance & Ongoing Capex |  | 1000 | 1030 | 1060.9
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 431.7852 | 444.7387 | 458.0809
Property Taxes |  | 250 | 250 | 250
Total Expense |  | 3878.7987 | 3987.6627 | 4099.7926 | 3878.7987
EBITDA |  | 61622.0265 | 36229.2931 | 25322.2987
Salvage Value |  | 0 | 0 | 149555.1035
Without Salvage Value
Net Equity Cashflow | 0 | 61622.0265 | 36229.2931 | 25322.2987
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 98140.0948
With Salvage Value
Net Equity Cashflow | 0 | 61622.0265 | 36229.2931 | 174877.4022
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 197429.3796
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Caledonia
INCOME STATEMENT - CALEDONIA
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 14.2697 | 8.3123 | 6.0677
Capacity Revenue from Desk (Real $) |  | 65504.0495 | 35434.2072 | 24061.5094
Capacity Revenue from Desk (Nominal $) |  | 66614.5785 | 38803.8499 | 28325.4514
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1721.302 | 1772.941 | 1826.1292
Variable Operation & Maintenance |  | 249.3288 | 256.8087 | 264.513
Major Maintenance & Ongoing Capex |  | 1006 | 1036.18 | 1067.2654
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 410.9307 | 423.2586 | 435.9563
Property Taxes |  | 591.2 | 591.2 | 591.2
Total Expense |  | 4185.7805 | 4293.6179 | 4404.6904 | 4185.7805
EBITDA |  | 62428.798 | 34510.232 | 23920.761
Salvage Value |  | 0 | 0 | 151378.9462
Without Salvage Value
Net Equity Cashflow | 0 | 62428.798 | 34510.232 | 23920.761
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 96605.1659
With Salvage Value
Net Equity Cashflow | 0 | 62428.798 | 34510.232 | 175299.7072
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 197105.2956
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## New Albany
INCOME STATEMENT - NEW ALBANY
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 13.1715 | 8.0172 | 5.8504
Capacity Revenue from Desk (Real $) |  | 49875.6276 | 28217.1712 | 19156.6476
Capacity Revenue from Desk (Nominal $) |  | 50763.1326 | 30898.4797 | 22547.338
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1878.0666 | 1934.4086 | 1992.4408
Variable Operation & Maintenance |  | 224.7381 | 231.4803 | 238.4247
Major Maintenance & Ongoing Capex |  | 1000 | 1030 | 1060.9
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 362.6722 | 373.5523 | 384.7589
Property Taxes |  | 488.8 | 488.8 | 488.8
Total Expense |  | 4161.2959 | 4271.4708 | 4384.9509 | 4161.2959
EBITDA |  | 46601.8367 | 26627.0089 | 18162.3871
Salvage Value |  | 0 | 0 | 118853.7509
Without Salvage Value
Net Equity Cashflow | 0 | 46601.8367 | 26627.0089 | 18162.3871
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 72975.8842
With Salvage Value
Net Equity Cashflow | 0 | 46601.8367 | 26627.0089 | 137016.1381
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 151882.6125
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Gleason
INCOME STATEMENT - GLEASON
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 23.1794 | 9.0578 | 6.6708
Capacity Revenue from Desk (Real $) |  | 67468.2113 | 42240.703 | 28946.3925
Capacity Revenue from Desk (Nominal $) |  | 68726.9648 | 46251.4158 | 34062.9155
Expense
Mobilization |  | 1448.6417 | 0 | 0
Fixed Operation & Maintenance |  | 1242.4817 | 1279.7562 | 1318.1489
Variable Operation & Maintenance |  | 375.12 | 386.3736 | 397.9648
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 322.2511 | 331.9187 | 341.8762
Property Taxes |  | 158.1 | 158.1 | 158.1
Total Expense |  | 4918.0231 | 3568.7199 | 3671.0385 | 4918.0231
EBITDA |  | 63808.9417 | 42682.696 | 30391.877
Salvage Value |  | 0 | 0 | 162018.0287
Without Salvage Value
Net Equity Cashflow | 0 | 63808.9417 | 42682.696 | 30391.877
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 108324.7954
With Salvage Value
Net Equity Cashflow | 0 | 63808.9417 | 42682.696 | 192409.9058
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 215888.1873
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Wheatland
INCOME STATEMENT - WHEATLAND
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 20.226 | 8.4646 | 6.1199
Capacity Revenue from Desk (Real $) |  | 64649.6085 | 36963.7077 | 24855.895
Capacity Revenue from Desk (Nominal $) |  | 65774.9583 | 40477.5487 | 29265.4672
Expense
Mobilization |  | 1580.424 | 0 | 0
Fixed Operation & Maintenance |  | 1515.7903 | 1561.264 | 1608.1019
Variable Operation & Maintenance |  | 446.16 | 459.5448 | 473.3311
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 306.2677 | 315.4557 | 324.9194
Property Taxes |  | 174.2349 | 174.2349 | 174.2349
Total Expense |  | 5394.3054 | 3923.0708 | 4035.5359 | 5394.3054
EBITDA |  | 60380.6529 | 36554.4778 | 25229.9313
Salvage Value |  | 0 | 0 | 152898.8151
Without Salvage Value
Net Equity Cashflow | 0 | 60380.6529 | 36554.4778 | 25229.9313
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 97243.3108
With Salvage Value
Net Equity Cashflow | 0 | 60380.6529 | 36554.4778 | 178128.7464
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 198752.4779

## Wilton
INCOME STATEMENT - WILTON CENTER
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 18.1966 | 8.284 | 6.0035
Capacity Revenue from Desk (Real $) |  | 75381.0736 | 47033.1897 | 31703.6114
Capacity Revenue from Desk (Nominal $) |  | 76698.6761 | 51505.5526 | 37326.859
Expense
Mobilization |  | 1471.68 | 0 | 0
Fixed Operation & Maintenance |  | 1448.5406 | 1491.9968 | 1536.7567
Variable Operation & Maintenance |  | 528 | 543.84 | 560.1552
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 400.6471 | 412.6666 | 425.0466
Property Taxes |  | 572.0571 | 572.0571 | 572.0571
Total Expense |  | 5792.3534 | 4433.1319 | 4548.9642 | 5792.3534
EBITDA |  | 70906.3227 | 47072.4207 | 32777.8948
Salvage Value |  | 0 | 0 | 197582.9619
Without Salvage Value
Net Equity Cashflow | 0 | 70906.3227 | 47072.4207 | 32777.8948
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 119441.1089
With Salvage Value
Net Equity Cashflow | 0 | 70906.3227 | 47072.4207 | 230360.8567
Weighted Average Cost of Capital | 14.63%
Enterprise Value | 250615.977

## Depreciation
GENCO BOOK DEPRECIATION
Current
('000 $) | Initial Book Value | 1999-12-31 | 2000-06-05 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
(30-yr SL, 10% Residual)
Brownsville
No. of Months in Operation |  | 6.538 | 5.1581 | 6.8419 | 12 | 12
% Depreciated |  | 1.634% | 1.29% | 1.71% | 3% | 3% | 10.63% | 10.64%
Beginning Book Value | 128000.722 | 128000.722 | 125908.5541 | 124257.9493 | 122068.5325 | 118228.5108
Depreciation | 0 | 2092.1679 | 1650.6048 | 2189.4169 | 3840.0217 | 3840.0217
Ending Book Value | 128000.722 | 125908.5541 | 124257.9493 | 122068.5325 | 118228.5108 | 114388.4892
Caledonia
No. of Months in Operation |  | 6.538 | 5.1581 | 6.8419 | 12 | 12
% Depreciated |  | 1.634% | 1.29% | 1.71% | 3% | 3% | 10.63% | 10.64%
Beginning Book Value | 154763.971 | 154763.971 | 152234.3587 | 150238.6344 | 147591.4395 | 142948.5204
Depreciation | 0 | 2529.6123 | 1995.7243 | 2647.1948 | 4642.9191 | 4642.9191
Ending Book Value | 154763.971 | 152234.3587 | 150238.6344 | 147591.4395 | 142948.5204 | 138305.6013
New Albany
No. of Months in Operation |  | 6.0123 | 5.1581 | 6.8419 | 12 | 12
% Depreciated |  | 1.503% | 1.29% | 1.71% | 3% | 3% | 10.5% | 10.51%
Beginning Book Value | 148835.468 | 148835.468 | 146598.3517 | 144679.0771 | 142133.2877 | 137668.2236
Depreciation | 0 | 2237.1163 | 1919.2746 | 2545.7894 | 4465.064 | 4465.064
Ending Book Value | 148835.468 | 146598.3517 | 144679.0771 | 142133.2877 | 137668.2236 | 133203.1596
Gleason
No. of Months in Operation |  | 0 | 0.13115 | 6.8689 | 12 | 12
% Depreciated |  | 0% | 0.03279% | 1.684% | 3% | 3% | 7.717% | 7.745%
Beginning Book Value | 174785.715 | 174785.715 | 174785.715 | 174728.4082 | 171784.2718 | 166540.7004
Depreciation | 0 | 0 | 57.3068 | 2944.1364 | 5243.5715 | 5243.5715
Ending Book Value | 174785.715 | 174785.715 | 174728.4082 | 171784.2718 | 166540.7004 | 161297.1289
Wheatland
No. of Months in Operation |  | 0 | 0.13115 | 6.8689 | 12 | 12
% Depreciated |  | 0% | 0.03279% | 1.684% | 3% | 3% | 7.717% | 7.745%
Beginning Book Value | 159883.6976 | 159883.6976 | 159883.6976 | 159831.2767 | 157138.1538 | 152341.6428
Depreciation | 0 | 0 | 52.4209 | 2693.1229 | 4796.5109 | 4796.5109
Ending Book Value | 159883.6976 | 159883.6976 | 159831.2767 | 157138.1538 | 152341.6428 | 147545.1319
Wilton
No. of Months in Operation |  | 0 | 0.13115 | 6.8689 | 12 | 12
% Depreciated |  | 0% | 0.03279% | 1.684% | 3% | 3% | 7.717% | 7.745%
Beginning Book Value | 257413.2224 | 257413.2224 | 257413.2224 | 257328.8247 | 252992.8888 | 245270.4922
Depreciation | 0 | 0 | 84.3978 | 4335.9358 | 7722.3967 | 7722.3967
Ending Book Value | 257413.2224 | 257413.2224 | 257328.8247 | 252992.8888 | 245270.4922 | 237548.0955
1999 Assets | 431600.161 | 424741.2645 | 419175.6608 | 411793.2597 | 398845.2549 | 385897.25
2000 Assets | 592082.6351 | 592082.6351 | 591888.5096 | 581915.3144 | 564152.8353 | 546390.3563
Total GenCo | 1023682.7961 | 1016823.8996 | 1011064.1704 | 993708.5741 | 962998.0902 | 932287.6063
Asset Breakdown
Brownsville | 12.5%
Caledonia | 15.12%
New Albany | 14.54%
Gleason | 17.07%
Wheatland | 15.62%
Wilton | 25.15%
Total | 100%

## Notes (hidden)
NOTES
OUTSTANDING ISSUES | STATUS
For Amy Copeland:
1. Confirm 1999 Capital Cost | Amy will send spreadsheet
2. Confirm 2000 Capital Cost #s | Ignore Summary Sheets as per Amy
(2 different #s in spreadsheet)
For Jenny Latham:
1. When deriving $/kW-mo, use what MWs? | * For $/kW-mo, Jenny uses MWs different from
* For MTM purposes, Jenny uses:
From Apr-Oct: 95%*Summer MW
From Nov-Mar: 120%*Summer MW*75% avail.
2. Gleason only has 6 months revenue in 2000? | Jenny will check with Presto
3. Jenny calculated weighted average price using 7 months in 2000 | Model did not use the numbers
For Don:
1. Use what spreads?
For Theresa Wiesmann:
1. CE vs. budget for 2000 projections? | Use CE, changed
2. No. of operating months in 1999 | Changed
3. Depreciation Assumptions | OK
Do:
1. Change annualized Opex for 2000 projects | Changed

## Process (hidden)
PROCESS
Inputs |  | Outputs
Weekly: | Monthly: | Enterprise Values (6+1)
1999 O&M | Capex | Treasury, Spreads
2000 O&M |  | Capacity Prices (6+1)
Treasury Rates
Spreads
Desk
Libor Forward Curve
Weekly GenCo
Valuation Model
Desk
(Jenny Latham x3-3982)
Weekly
Annual Real
Project
Revenues
Accounting
(Theresa Wiesmann x5-8173)
Weekly
1999 and 2000
O&M Numbers
Accounting
(Amy Copeland x3-7805)
Monthly
2000 Assets
Capex Draw
Schedule
http://home.ect.enron.com/dept/irfx/curves/
Weekly
USD Libor
Forward Curve
Bloomberg
(Page “PX1”)
Weekly
10-year
Treasury Rate
TD
Weekly
Spreads

## Changes
CHANGES
| CHANGES | DATE | COMMENTS
May 29 2000 Valuation
1 | Update Treasury | 2000-06-02 | Update from Bloomberg on 6/2/00
2 | Update Spread | 2000-06-02 | Update from Bloomberg on 6/2/00
4 | Update Real Revenue from Desk | 2000-06-01 | Received from Jenny Latham on 06/2/00
5 | Update Libor forward curve | 2000-06-02 | Downloaded from internet on 6/2/00
May 29 2000 Valuation
1 | Update Treasury | 2000-05-26 | Update from Bloomberg on 5/26/00
2 | Update Spread | 2000-05-26 | Update from Bloomberg on 5/26/00
4 | Update Real Revenue from Desk | 2000-05-25 | Received from Jenny Latham on 05/25/00
5 | Update Libor forward curve | 2000-05-26 | Downloaded from internet on 5/26/00
May 22 2000 Valuation
1 | Update Treasury | 2000-05-19 | Update from Bloomberg on 5/19/00
2 | Update Spread | 2000-05-19 | Update from Bloomberg on 5/19/00
4 | Update Real Revenue from Desk | 2000-05-18 | Received from Jenny Latham on 05/18/00
5 | Update Libor forward curve | 2000-05-19 | Downloaded from internet on 5/19/00
May 15 2000 Valuation
1 | Update Treasury | 2000-05-12 | Update from Bloomberg on 5/12/00
2 | Update Spread | 2000-05-12 | Update from Bloomberg on 5/12/00
4 | Update Real Revenue from Desk | 2000-05-11 | Received from Jenny Latham on 05/11/00
5 | Update Libor forward curve | 2000-05-12 | Downloaded from internet on 5/12/00
May 8 2000 Valuation
1 | Update Treasury | 2000-05-08 | Update from Bloomberg on 5/08/00
2 | Update Spread | 2000-05-08 | Update from Bloomberg on 5/08/00
3 | Update 1999, 2000 O&M | 2000-03-31 | Received from Theresa Wiesmann on 4/25/00
4 | Update Real Revenue from Desk | 2000-05-04 | Received from Jenny Latham on 05/04/00
5 | Update Libor forward curve | 2000-04-28 | Downloaded from internet on 4/28/00
6 | Update Capex | 2000-05-05 | Model from Amy Copeland dated 5/05/2000
April 21 2000 Valuation
1 | Update Treasury | 2000-04-24
2 | Update Real Revenue from Desk | 2000-04-20 | Received from Mitzie Scott on 4/24/00
3 | Update Libor forward curve | 2000-04-24 | Downloaded from internet on 4/24/00
April 14 2000 Valuation
1 | Update Treasury | 2000-04-14
2 | Update 1999, 2000 O&M | 2000-02-29 | Received from Theresa Wiesmann on 4/14/00
3 | Update Real Revenue from Desk | 2000-04-13 | Received from Jenny Latham on 4/14/00
Note:
a. Jenny changed the MWs for Summer, Winter, and Shoulder months.
b. The availability for shoulder months has changed from 95% to 75%
c. As per Jenny, Gleason will start operating on 6/2000 instead of 7/2000, at 350MW gross
4 | Update Libor forward curve | 2000-04-14 | Downloaded from internet on 4/14/00
5 | Update Capex | 2000-04-07 | Model from Amy Copeland dated 4/11/2000

## Start Charge Matrix (hidden)
BLOCK CHARGE MATRIX
Starts/ yr | Unit Cost per Start (1999 $) |  |  |  | Major Maintenance Charge per Turbine per Start ($) | [5 empty] | Major Maintenance Charge ($000)
| 501D5A | GE7EA,GE7B | 501D5 | 501F, 501FD | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Number of Turbines
[5 empty] | 4 | 6 | 6 | 3 | 4 | 8
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 704 | 457 | 1164 | 1374 | 934 | 457 | 457 | 1374 | 1164 | 457 | 74.72 | 54.84 | 54.84 | 82.44 | 93.12 | 73.12
30 | 704 | 457 | 1164 | 1374 | 934 | 457 | 457 | 1374 | 1164 | 457 | 112.08 | 82.26 | 82.26 | 123.66 | 139.68 | 109.68
40 | 1407 | 457 | 2140 | 3334 | 1773.5 | 457 | 457 | 3334 | 2140 | 457 | 283.76 | 109.68 | 109.68 | 400.08 | 342.4 | 146.24
50 | 1407 | 457 | 2140 | 3334 | 1773.5 | 457 | 457 | 3334 | 2140 | 457 | 354.7 | 137.1 | 137.1 | 500.1 | 428 | 182.8
60 | 1407 | 1243 | 2140 | 3334 | 1773.5 | 1243 | 1243 | 3334 | 2140 | 1243 | 425.64 | 447.48 | 447.48 | 600.12 | 513.6 | 596.64
70 | 1407 | 1243 | 2140 | 3334 | 1773.5 | 1243 | 1243 | 3334 | 2140 | 1243 | 496.58 | 522.06 | 522.06 | 700.14 | 599.2 | 696.08
80 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1249.44 | 596.64 | 596.64 | 1352.16 | 1385.6 | 795.52
90 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1405.62 | 671.22 | 671.22 | 1521.18 | 1558.8 | 894.96
100 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1561.8 | 745.8 | 745.8 | 1690.2 | 1732 | 994.4
110 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1717.98 | 820.38 | 820.38 | 1859.22 | 1905.2 | 1093.84
120 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 1973.28 | 1349.28 | 1349.28 | 2296.44 | 2078.4 | 1799.04
130 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2137.72 | 1461.72 | 1461.72 | 2487.81 | 2251.6 | 1948.96
140 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2302.16 | 1574.16 | 1574.16 | 2679.18 | 2424.8 | 2098.88
150 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2466.6 | 1686.6 | 1686.6 | 2870.55 | 2598 | 2248.8
160 | 5022 | 1874 | 6112 | 7118 | 5567 | 1874 | 1874 | 7118 | 6112 | 1874 | 3562.88 | 1799.04 | 1799.04 | 3416.64 | 3911.68 | 2398.72
170 | 5022 | 1874 | 6112 | 7118 | 5567 | 1874 | 1874 | 7118 | 6112 | 1874 | 3785.56 | 1911.48 | 1911.48 | 3630.18 | 4156.16 | 2548.64
180 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4008.24 | 2786.4 | 2786.4 | 3843.72 | 4400.64 | 3715.2
190 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4230.92 | 2941.2 | 2941.2 | 4057.26 | 4645.12 | 3921.6
200 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4453.6 | 3096 | 3096 | 4270.8 | 4889.6 | 4128
210 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4676.28 | 3250.8 | 3250.8 | 4484.34 | 5134.08 | 4334.4
220 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4898.96 | 3405.6 | 3405.6 | 4697.88 | 5378.56 | 4540.8
230 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 5121.64 | 3560.4 | 3560.4 | 4911.42 | 5623.04 | 4747.2
240 | 5265 | 3137 | 6393 | 9120 | 5829 | 3137 | 3137 | 9120 | 6393 | 3137 | 5595.84 | 4517.28 | 4517.28 | 6566.4 | 6137.28 | 6023.04
250 | 5265 | 3137 | 6393 | 9120 | 5829 | 3137 | 3137 | 9120 | 6393 | 3137 | 5829 | 4705.5 | 4705.5 | 6840 | 6393 | 6274
Note on G7: ect: Average cost per turbine used due to different turbine types